| PART 1 - GENERAL |  |
| --- | --- |
| 1.1 SECTION INCLUDES | .1 Performance specification for building envelope criteria for concrete floor slabs .1 Concrete slab .2 Associated surface sealant .3 Moisture – Vapour Barrier |
| 1.2 RELATED SECTIONS | .1 Division 01 |
| 1.3 DESIGN PERFORMANCE REQUIREMENTS | .1 Design components / assemblies to comply with requirements for “Post Disaster” buildings. .2 This project shall be designed and constructed in accordance with Section 01 47 13, LEED Requirements. .3 Provide continuous, reinforced, moisture / vapour barrier under floor slab .4 Construct Garage floors reflecting requirement for Minimum Energy Performance and Minimum Insulation values complying with Ashrae 90.1 – 2004 set out in LEED credit EA Prereq 2 |
| 1.4 QUALITY ASSURANCE | .1 Quality Assurance in accordance with Division 01 |
| PART 2 - PRODUCTS |  |
| 2.1 MATERIALS | .1 Slab CIP Concrete .2 Moisture Barrier 10 mil Polyethylene, reinforced, taped joints |
| PART 3 - EXECUTION |  |
| 3.1 INSTALLATION | .1 Install Envelope components to concrete floors at grade |
| 3.2 COMMISSIONING | .1 Verify fit, finish and compatibility |