| PART 1 - GENERAL |  |
| --- | --- |
| 1.1 SECTION INCLUDES | .1 Steel Stud & Drywall Partition Systems .2 Masonry Partitions |
| 1.2 RELATED SECTIONS | .1 Division 01 |
| 1.3 STANDARDS |  |
| 1.4 SYSTEM DESCRIPTION AND PERFORMANCE REQUIREMENTS | .1 Design components / assemblies to comply with requirements for “Post Disaster” buildings. .2 This project shall be designed and constructed in accordance with Section 01 47 13, LEED Requirements. .3 Partition Types Steel Stud & Drywall Partitions – unrated Steel Stud & Drywall Partitions – 1 HR FRR Concrete Block Partitions – unrated Concrete Block Partitions – 1 HR FRR Concrete Block Partitions – 2 HR FRR .4 Sound transmission Ratings: Storage Rooms: STC 45 General Rooms: STC 50 Conference / Meeting Rooms: STC 55 Elevator Shaft: STC 55 |
| 1.5 QUALITY ASSURANCE | .1 Install mock-ups of all types of Steel stud / Drywall partitions – 10 M² |
| PART 2 - PRODUCTS |  |
| 2.1 STEEL STUD / DRYWALL | .1 Steel Stud / Drywall Partition System: 1 Basic system: full height partitions to underside of deck above. of metal stud type framing faced with gypsum board faced both sides. .2 Partition assembly: non-combustible construction, fire resistance / sound-rated rated where indicated / required by code |
| 2.2 MASONRY | .1 Masonry: .1 Concrete masonry units – size commensurate with structural, fire separation and acoustic attenuation requirements .2 Construct continuous control joints as required. .3 Build in continuous expansion joints as required. .4 Do masonry mortar and grout work in accordance with CSA A179. .5 Install reinforced concrete block or steel lintels over openings |
| PART 3 - EXECUTION |  |
| 3.1 INSTALLATION | .1 Install Partition Systems |
| 3.2 COMMISSIONING | .1 Verify fit, finish and compatibility |