| PART 1 - GENERAL |  |
| --- | --- |
| 1.1 SECTION INCLUDES | .1 Performance criteria for Finished Flooring: Ceramic tile .2 Performance criteria for Finished Flooring: Resilient flooring .3 Performance criteria for Finished Flooring: Carpet tile |
| 1.2 RELATED SECTIONS | .1 Division 01 |
| 1.3 STANDARDS |  |
| 1.4 DESIGN & PERFORMANCE REQUIREMENTS | .1 Design components / assemblies to comply with requirements for “Post Disaster” buildings. .2 This project shall be designed and constructed in accordance with Section 01 47 13, LEED Requirements. .3 Follow manufacturer’s directions for handling, storing and preparing materials |
| 1.5 QUALITY ASSURANCE | .1 Execute the work with personnel experienced and familiar with systems of this type |
| PART 2 - PRODUCTS |  |
| 2.1 CERAMIC TILE | .1 Provide Ceramic tile flooring system including: .1 Public Floors: Minimum 450 X 450, unglazed .2 Room Floors: Minimum 300 X 300, unglazed .3 Walls: Minimum 200 X 200, glazed .4 Edge strips, caps, transition pieces as required – aluminum / stainless steel |
| 2.2 RESILIENT FLOORING | .1 Provide Resilient flooring system including: .1 Floors: 2.5 – 3.0 mm commercial sheet vinyl, heat welded, through-colour .2 Base: 100 mm integral cove |
| 2.3 CARPET TILE | ..1 Provide Carpet Tile flooring system including: .1 Module: 450 x 450 .2 Base: 100 mm carpet with vinyl cap .3 Type: Level loop, solution-dyed nylon, 32 ounce, 10 Kilotex |
| PART 3 - EXECUTION |  |
| 3.1 INSTALLATION | .1 Ensure substrate preparation in accordance with manufacturer’s requirements for strength, levelness, smoothness and compatibility |
| 3.2 COMMISSIONING | .1 Verify fit, finish |