| PART 1 - GENERAL |  |
| --- | --- |
| 1.1 SECTION INCLUDES | .1 Interior Signage .1 Performance criteria for room signage. .2 Performance criteria for Way finding Systems .2 Exterior Signage .1 Performance criteria for building signage. |
| 1.2 RELATED SECTIONS | .1 Division 01 |
| 1.3 STANDARDS |  |
| 1.4 DESIGN & PERFORMANCE REQUIREMENTS | .1 Design components / assemblies to comply with requirements for “Post Disaster” buildings. .2 This project shall be designed and constructed in accordance with Section 01 47 13, LEED Requirements. |
| 1.5 QUALITY ASSURANCE | .1 Execute the work with personnel experienced and familiar with systems of this type |
| PART 2 - PRODUCTS |  |
| 2.1 INTERIOR SIGNAGE | .1 Reception / Building Identifier / Divisional Indicator .1 Cast Aluminum: 1.5 “ – 3” Helvetica .2 Wayfinding .1 Acrylic Sheet type .3 Doors / Room Signage .1 Aluminum plates – vinyl lettering |
| 2.2 EXTERIOR SIGNAGE | .1 Building Identifier .1 Reveal Edge Aluminum, 24”, Lighted .2 Public ‘ Contractor Identifiers .1 Cast Aluminum, 4” |
| PART 3 - EXECUTION |  |
| 3.1 INSTALLATION | .1 Install Signage plumb and level .2 Install Signage with fasteners appropriate for stresses involved |
| 3.2 COMMISSIONING | .1 Verify fit, finish |