## FORM B - PRICES
FORM B (R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
JUBILEE AVENUE OVERPASS REHABILITATION AND ASSOCIATED ROADWORKS
| A | Bridge Works
| A.1 | Mobilization and Demobilization | E4 | L.S. | 1 |  | 0
| A.2 | Removal of Existing Median | E17 | L.S. | 1 |  | 0
| A.3 | Removal of Concrete Deck by Hydro-demolition | E17 | L.S. | 1 |  | 0
| A.4 | Removal of Approach Slabs | E17 | L.S. | 1 |  | 0
| A.5 | Removal of Existing Barrier Curb | E17 | L.S. | 1 |  | 0
| A.6 | Removal of Wingwalls | E17 | L.S. | 1 |  | 0
| A.7 | Removal and Salvaging of Existing Barrier Railing | E17 | m | 116 |  | 0
| A.8 | Post-Tensioned Cable Break Detection | E18 | L.S. | 1 |  | 0
| A.9 | Excavation and Backfilling for Deck Extension Construction | E19 | L.S. | 1 |  | 0
| A.10 | Bearing Replacement | E20 | each | 6 |  | 0
| A.11 | Pier Columns Corrosion Protection | E21 | L.S. | 1 |  | 0
| A.12 | Bridge Deck Corrosion Protection | E22 | L.S. | 1 |  | 0
| A.13 | Supply and Place Structural Concrete | E23
| i) | Deck Extension and Wingwalls |  | L.S. | 1 |  | 0
| ii) | Median and Barriers |  | L.S. | 1 |  | 0
| iii) | Deck Replacement |  | L.S. | 1 |  | 0
| iv) | Approach Slabs |  | L.S. | 1 |  | 0
| v) | Sleeper Slab |  | L.S. | 1 |  | 0
| vi) | (250 mm thick) Reinforced Concrete Pavement |  | m3 | 121 |  | 0
| A.14 | Overhead Sign Pile Foundation | E13 | m3 | 3 |  | 0
| A.15 | Supply and Place High Performance Concrete (HPC) Overlay | E31 | L.S. | 1 |  | 0
| A.16 | Supplying and Placing GFRP Reinforcing Bars | E24
| i) | Supplying and Placing 16 mm (#5) GFRP Reinforcing Bars |  | m | 7690 |  | 0
| ii) | Supplying 22 mm (#7) GFRP Reinforcing Bars (Supply) |  | m | 1536 |  | 0
| iii) | Placing 22 mm (#7) GFRP Reinforcing Bars (Installation) |  | m | 1536 |  | 0
| A.17 | Supplying and Placing Reinforcing Steel Bars | E24
| i) | Galvanized Reinforcing Steel |  | kg | 33000 |  | 0
| ii) | Stainless Steel Reinforcing Bars |  | kg | 10940 |  | 0
| A.18 | MSE Retaining Wall | E26 | m2 | 306 |  | 0
| A.19 | Supply and Installation of Aluminum Balanced Traffic Barrier Rail | E27 | m | 137 |  | 0
| A.20 | Supply and Installation of Aluminum Traffic Barrier Rail Posts | E28 | each | 40 |  | 0
| A.21 | Expansion Joint Seals | E29
| i) | Compression Seal |  | m | 38 |  | 0
| ii) | Compression Seal With Steel Armour |  | m | 13 |  | 0
| A | Bridge Works |  |  |  | Subtotal: | 0
| B | Road Works
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R12 | m³ | 6400 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R12 | m² | 6200 |  | 0
A007 | B.3 | Crushed Sub-base Material | CW 3110-R12
A008 | i) | 50 mm - Limestone |  | tonne | 2700 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 7700 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R12, E11 | m³ | 1000 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R12 | m² | 8000 |  | 0
A014 | B.6 | Boulevard Excavation | CW 3110-R12 | m³ | 850 |  | 0
A016 | B.7 | Removal of Existing Concrete Bases | CW 3110-R12
A017 | i) | 600 mm Diameter or Less |  | each | 9 |  | 0
A018 | ii) | Greater than 600 mm Diameter |  | each | 4 |  | 0
A030 | B.8 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 600 |  | 0
A034 | B.9 | Preparation of Existing Ground Surface | CW 3170-R3 | m² | 1550 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | B.10 | Pavement Removal | CW 3110-R12
B002 | i) | Concrete Pavement |  | m² | 6000 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 85 |  | 0
B004 | B.11 | Slab Replacement | CW 3230-R6
B010 | i) | 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 210 |  | 0
B017 | B.12 | Partial Slab Patches | CW 3230-R6
B022 | i) | 230 mm Concrete Pavement (Type A) |  | m² | 5 |  | 0
B023 | ii) | 230 mm Concrete Pavement (Type B) |  | m² | 30 |  | 0
B064-72 | B.13 | Slab Replacement - Early Opening (72 Hour) | CW 3230-R6
B070-72 | i) | 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 210 |  | 0
B077-72 | B.14 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R6
B083-72 | i) | 230 mm Concrete Pavement (Type B) |  | m² | 30 |  | 0
B081-72 | ii) | 250 mm Concrete Pavement (Type D) |  | m² | 40 |  | 0
B094 | B.15 | Drilled Dowels | CW 3230-R6
B095 | i) | 19.1 mm Diameter |  | each | 75 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 130 |  | 0
B097 | B.16 | Drilled Tie Bars | CW 3230-R6
B098 | i) | 20 M Deformed Tie Bar |  | each | 500 |  | 0
B100r | B.17 | Miscellaneous Concrete Slab Removal | CW 3235-R7
B101r | i) | Median Slab |  | m² | 750 |  | 0
B104r | ii) | Sidewalk |  | m² | 250 |  | 0
B105r | iii) | Bullnose |  | m² | 5 |  | 0
B107i | B.18 | Miscellaneous Concrete Slab Installation | CW 3235-R7
B109i | i) | Monolithic Median Slab | SD-226A | m² | 135 |  | 0
B112i | ii) | Bullnose | SD-227C | m² | 5 |  | 0
B114rl | B.19 | Miscellaneous Concrete Slab Renewal | CW 3235-R7
B118rl | i) | Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 45 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 140 |  | 0
B126r | B.20 | Concrete Curb Removal | CW 3240-R8
B127r | i) | Barrier Separate |  | m | 10 |  | 0
B135i | B.21 | Concrete Curb Installation | CW 3240-R8
B211i | i) | Splash Strip (150 mm ht. Monolithic Barrier Curb, 750 mm width) Slip Form Paving | SD-223A | m | 210 |  | 0
B154rl | B.22 | Concrete Curb Renewal | CW 3240-R8
B155rl | i) | Barrier (150 mm ht Dowelled) Slip Form Paving | SD-205, SD-206A
B156rl | a) | Less than 3 m |  | m | 10 |  | 0
B157rl | b) | 3 m to 30 m |  | m | 30 |  | 0
B158rl | c) | Greater than 30 m |  | m | 130 |  | 0
B214rl | ii) | Curb ramp (10 - 15 mm ht. Monolithic) | SD-229C,D | m | 20 |  | 0
B200 | B.23 | Planing of Pavement | CW 3450-R5
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 700 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 3000 |  | 0
B189 | B.24 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | B.25 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R14
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) "Slip Form Paving" |  | m² | 3750 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) "Hand Placement" |  | m² | 1000 |  | 0
C014 | iii) | Construction of Concrete Median Slabs | SD-227A | m² | 115 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 60 |  | 0
C016 | v) | Construction of Concrete Safety Medians | SD-226B | m² | 280 |  | 0
C018 | vi) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C019 | B.26 | Concrete Pavements for Early Opening | CW 3310-R14
C025 | i) | Construction of 230 mm Concrete Pavement for Early Opening, 72 hour (Plain-Dowelled) "Hand Placement" |  | m² | 350 |  | 0
C032 | B.27 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R14
C034 | i) | Construction of Barrier (180 mm ht, Separate) "Slip Form Paving" | SD-203A | m | 105 |  | 0
C037 | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 10 |  | 0
C046 | iii) | Construction of Curb Ramp (10-15 mm ht, Integral) | SD-229C | m | 20 |  | 0
C066 | iv) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) "Hand Placement" | SD-223A | m | 60 |  | 0
C066 | v) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) "Slip Form Paving" | SD-223A | m | 1000 |  | 0
C067 | vi) | Construction of Splash Strip (180 mm ht, Monolithic Modified Barrier Curb, 750 mm width) "Hand Placement" | SD-223A | m | 10 |  | 0
C050 | B.28 | Supply and Installation of Dowel Assemblies | CW 3310-R14 | m | 1760 |  | 0
C051 | B.29 | 100 mm Concrete Sidewalk | CW 3325-R3 | m² | 360 |  | 0
C055 | B.30 | Construction of Asphaltic Concrete Pavements | CW 3410-R8
C056 | i) | Main line Paving
C058 | a) | Type IA |  | tonne | 760 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 100 |  | 0
C064 | B.31 | Construction of Asphalt Patches | CW 3410-R8 | m² | 30 |  | 0
JOINT AND CRACK SEALING
D006 | B.32 | Reflective Crack Maintenance | CW 3250-R7 | m | 700 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| B.33 | Manholes | CW 2130-R11
| i) | SD-010
| a) | 1500 mm Base |  | vert.m. | 2.6 |  | 0
E003 | B.34 | Catch Basin | CW 2130-R11
E004 | i) | SD-024, 1800 mm deep |  | each | 8 |  | 0
E006 | B.35 | Catch Pit | CW 2130-R11
E007 | i) | SD-023 |  | each | 3 |  | 0
E008 | B.36 | Sewer Service | CW 2130-R11
E009 | i) | 250 mm, PVC LDS
E011 | a) | Trenchless Installation, Class B Type 3 Bedding, Class 3 Backfill |  | m | 160 |  | 0
E009 | ii) | 300 mm PVC LDS
E011 | a) | Trenchless, Class B Type 3 Bedding, Class 3 Backfill |  | m | 25 |  | 0
E012 | B.37 | Drainage Connection Pipe | CW 2130-R11 | m | 10 |  | 0
E013 | B.38 | Sewer Service Risers | CW 2130-R11
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert m | 22 |  | 0
E014 | ii) | 300 mm
E016 | a) | SD-015 |  | vert m | 5 |  | 0
E023 | B.39 | Replacing Standard Frames & Covers | CW 2130-R11
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
E032 | B.40 | Connecting to Existing Manhole | CW 2130-R11
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E034 | B.41 | Connecting to Existing Catch Basin | CW 2130-R11
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 3 |  | 0
E036 | B.42 | Connecting to Existing Sewer | CW 2130-R11
E037 | i) | 250 mm PVC LDS
| a) | Connecting to 750 mm Clay CS |  | each | 1 |  | 0
| b) | Connecting to 1800 mm x 2300 mm CS |  | each | 6 |  | 0
| ii) | 300 mm PVC LDS
| a) | Connecting to 1800 mm X 2300 mm CS |  | each | 1 |  | 0
E046 | B.43 | Removal of Existing Catch Basins | CW 2130-R11 | each | 9 |  | 0
E047 | B.44 | Removal of Existing Catch Pit | CW 2130-R11 | each | 8 |  | 0
E050 | B.45 | Abandoning Existing Drainage Inlets | CW 2130-R11 | each | 2 |  | 0
E051 | B.46 | Installation of Subdrains | CW 3120-R3 | m | 70 |  | 0
ADJUSTMENTS
F001 | B.47 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 4 |  | 0
F002 | B.48 | Replacing Existing Risers | CW 2130-R11
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F009 | B.49 | Adjustment of Valve Boxes | CW 3210-R7 | each | 2 |  | 0
F011 | B.50 | Adjustment of Curb Stop Boxes | CW 3210-R7 | each | 2 |  | 0
F028 | B.51 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R7 | each | 6 |  | 0
F003 | B.52 | Lifter Rings | CW 3210-R7
F005 | i) | 51mm |  | each | 2 |  | 0
LANDSCAPING
G001 | B.53 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 7900 |  | 0
MISCELLANEOUS
H002 | B.54 | Polyethylene Waterline, 100 mm | CW 3530-R3 | m | 50 |  | 0
H005 | B.55 | Removal of Irrigation Pipe and Sprinkler Heads | CW 3530-R3 | m | 600 |  | 0
| B.56 | Installation of Barrier Posts | CW 3650-R5 / E12 | each | 62 |  | 0
| B.57 | Installation of Barrier Rail | CW 3650-R5 / E12 | m | 373 |  | 0
| B.58 | Salvaging Existing Barrier Rail | CW 3650-R5 / E12 | m | 603 |  | 0
| B.59 | Salvaging Existing Barrier Posts | CW 3650-R5 / E12 | each | 92 |  | 0
| B.60 | Removal and Salvage of Existing GREAT Unit | E32 | each | 1 |  | 0
| B.61 | Removal, Salvage and Relocation of Overhead Sign Structures | E13
| i) | Removal and Salvage of Pole Mount Sign Structure (S-540) |  | each | 1 |  | 0
| ii) | Relocation of Cantilever Sign Structure (S-678) |  | each | 1 |  | 0
| B.62 | Relocation of Precast Frangible Planters | E14
| i) | Relocation of 1240 mm x 1240 mm x 900 mm Planter |  | each | 1 |  | 0
| ii) | Relocation of 1240 mm x 1240 mm x 1350 mm Planter |  | each | 1 |  | 0
| iii) | Relocation of 1800 mm x 1800 mm x 900 mm Planter |  | each | 1 |  | 0
| B.63 | Construction of Planter Foundations | E14 | m | 18 |  | 0
| B.64 | Constructon of 230 mm Concrete Pavement (Plain Dowelled, Tinted) | E25 | m2 | 70 |  | 0
| B.65 | Exposing Existing Underground Utilities | E15 | Lump Sum | 1 |  | 0
| B.66 | Placement of Pre-cast Concrete Barriers | E16 | each | 12 |  | 0
B219 | B.67 | Detectable Warning Surface Tiles | E30 | each | 12 |  | 0
| B | Road Works |  |  |  | Subtotal: | 0
SUMMARY
| A | Bridge Works |  |  |  | Subtotal: | 0
| B | Road Works |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
(in words) _______________________________________________________________________________________________
Note on A79: Suffix added to code to assist with checking and integrity of average annual unit price compilation.