## 6-2018_Add 2
FORM B(R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | PHASE I - RECONSTRUCTION: NOTRE DAME AVENUE FROM ADELAIDE STREET TO PORTAGE AVENUE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R19 | m³ | 3400 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 6200 |  | 0
A007 | A.3 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 2350 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 6150 |  | 0
A010A | A.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 680 |  | 0
A016 | A.5 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 6 |  | 0
A018 | ii) | Greater than 600 mm Diameter |  | each | 3 |  | 0
A022 | A.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 6200 |  | 0
A022A | A.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 6200 |  | 0
| A.8 | Removal of Street Car Track Bedding | E15 | m³ | 1200 |  | 0
ROADWORKS - RENEWALS
B001 | A.9 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 5850 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B017 | A.10 | Partial Slab Patches | CW 3230-R8
B029 | i) | 200 mm Concrete Pavement (Type D) |  | m² | 115 |  | 0
B094 | A.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 45 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 60 |  | 0
B097 | A.12 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 50 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 275 |  | 0
B100r | A.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2340 |  | 0
B107i | A.14 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | 100 mm Sidewalk | SD-228A | m² | 10 |  | 0
| ii) | 100 mm Sidewalk c/w Paving Stone Band (Paving Band Paid Separately) | SD-228A | m² | 2340 |  | 0
B112i | iii) | Bullnose | SD-227C | m² | 30 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 40 |  | 0
B135i | A.16 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (180 mm reveal ht, Dowelled) | SD-205 | m | 15 |  | 0
B150i | ii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 10 |  | 0
B154rl | A.17 | Concrete Curb Renewal | CW 3240-R10
B159rl | i) | Barrier (150 mm reveal ht, Separate) | SD-203A
B160rl | a) | Less than 3 m |  | m | 10 |  | 0
B161rl | b) | 3 m to 30 m |  | m | 10 |  | 0
B189 | A.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B200 | A.19 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 200 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 50 |  | 0
B219 | A.20 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 40 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.21 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 4625 |  | 0
C008 | ii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
C014 | iii) | Construction of Concrete Median Slabs | SD-227A | m² | 255 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 95 |  | 0
C019 | A.22 | Concrete Pavements for Early Opening | CW 3310-R17
C025 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 315 |  | 0
C025 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 675 |  | 0
C026 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 180 |  | 0
C026 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 15 |  | 0
C032 | A.23 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C034 | i) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 525 |  | 0
C034 | ii) | Construction of Barrier (230 mm ht, Separate) | SD-203A | m | 5 |  | 0
C037 | iii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 85 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 200 |  | 0
C050 | A.24 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1110 |  | 0
| A.25 | Interlocking Paving Stones | CW 3330-R5, E33
| i) | Concrete Pavers |  | m² | 145 |  | 0
| ii) | Clay Pavers |  | m² | 210 |  | 0
| A.26 | Removal and Stockpiling of Existing Paving Stones | E32 | m² | 45 |  | 0
| A.27 | Reinstallation of Stockpiled Pavers | E33 | m² | 45 |  | 0
C055 | A.28 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 55 |  | 0
B206 | A.29 | Pavement Repair Fabric | E11 | m² | 55 |  | 0
JOINT AND CRACK SEALING
D006 | A.30 | Reflective Crack Maintenance | CW 3250-R7 | m | 180 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.31 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 6 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 4 |  | 0
E006 | A.32 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 4 |  | 0
| A.33 | Catch Basin Flow Restrictors | E16 | each | 10 |  | 0
E008 | A.34 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, SDR PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 55 |  | 0
E012 | A.35 | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E017 | A.36 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017I | i) | 375mm Combined Sewer
E017J | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | A.37 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020I | i) | 375 mm Combined Sewer
E020J | a) | Class 3 Backfill |  | m | 3 |  | 0
E022A | A.38 | Sewer Inspection ( following repair) | CW2145-R4
E022F | i) | 375 mm, Clay Combined Sewer |  | m | 250 |  | 0
E022H | ii) | 600 mm, Combined Sewer |  | m | 80 |  | 0
E023 | A.39 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E036 | A.40 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E039 | a) | Connecting to 375 mm Clay Sewer |  | each | 6 |  | 0
E041A | b) | Connecting to 600 mm Clay Sewer |  | each | 2 |  | 0
E041B | c) | Connecting to 1250 mm SRS |  | each | 1 |  | 0
E042 | A.41 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm |  | each | 1 |  | 0
E043 | ii) | 250 mm |  | each | 2 |  | 0
E046 | A.42 | Removal of Existing Catch Basins | CW 2130-R12 | each | 10 |  | 0
E047 | A.43 | Removal of Existing Catch Pit | CW 2130-R12 | each | 8 |  | 0
| A.44 | Abandoning Existing Sewer Services under Existing or Future Pavements | CW 2130-R12 | each | 5 |  | 0
E050A | A.45 | Catch Basin Cleaning | CW 2140-R4 | each | 10 |  | 0
E051 | A.46 | Installation of Subdrains | CW 3120-R4 | m | 225 |  | 0
E072 | A.47 | Watermain and Water Service Insulation | E14
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 75 |  | 0
| A.48 | Catchpit and Catchbasin Insulation | E13 | each | 2 |  | 0
ADJUSTMENTS
F001 | A.49 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F002 | A.50 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 4 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
| A.51 | Grout Hole in Existing Manhole | CW2130-R12 | each | 3 |  | 0
| A.52 | Manhole Inspection | CW2145-R4 | each | 4 |  | 0
F003 | A.53 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F007 | iii) | 76 mm |  | each | 2 |  | 0
F009 | A.54 | Adjustment of Valve Boxes | CW 3210-R8 | each | 12 |  | 0
F010 | A.55 | Valve Box Extensions | CW 3210-R8 | each | 16 |  | 0
F011 | A.56 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
F015 | A.57 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 1 |  | 0
F018 | A.58 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F028 | A.59 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
| A.60 | Plant Material | E39
| i) | Brandon Elm (65 mm cal.) |  | each | 3 |  | 0
| A.61 | Tree Vaults | E34 | m² | 130 |  | 0
| A.62 | Supply and Install Tree Grate | E34
| i) | 1.2 x 1.2 |  | each | 11 |  | 0
| A.63 | Supply and Install Tree Grate Frame | E34
| i) | 1.2 x 1.2 |  | each | 11 |  | 0
| A.64 | Supply and Install Tree Vault Covers | E34
| i) | Vault Cover A |  | each | 49 |  | 0
| ii) | Vault Cover B |  | each | 9 |  | 0
| iii) | Vault Cover C |  | each | 10 |  | 0
| A.65 | Supply and Install Planting Medium Soil | E35 | m³ | 105 |  | 0
| A.66 | Long Term Maintenance | E40
| i) | General Maintenance of Plant Material |  | yrs | 2 |  | 0
| A.67 | Supply and Install Bicycle Rack | E36 | each | 10 |  | 0
| A.68 | Salvage and Re-install Bicycle Hoop | E37 | each | 2 |  | 0
| A.69 | Black Granite Mulch | E34 | m² | 15 |  | 0
MISCELLANEOUS
| A.70 | Hydro Excavation | E12 | hrs | 180 |  | 0
| A.71 | Adjustment of Manitoba Hydro Frames and Covers | E19 | each | 20 |  | 0
| A.72 | Supply and Installation of Green Bike Lane Treatment | E20
| i) | Existing Asphalt |  | m² | 80 |  | 0
| ii) | New Concrete |  | m² | 240 |  | 0
| A.73 | Supply and Installation of Poly Posts | E22 | each | 16 |  | 0
| A.74 | Removal and Refurbishment of Stittsville Lights | E23, E24 | each | 2 |  | 0
| A.75 | Removal, Refurbishment and Reinstallation of Stittsville Lights | E23, E24 | each | 11 |  | 0
| A.76 | Installation of Conduit | E45 | m | 100 |  | 0
| A.77 | Removal of Planters | E46 | each | 2 |  | 0
| A | PHASE I - RECONSTRUCTION: NOTRE DAME AVENUE FROM ADELAIDE STREET TO PORTAGE AVENUE |  |  |  | Subtotal: | 0
| B | PHASE I - MILL AND FILL AND RELATED WORKS: PRINCESS AVENUE FROM NOTRE DAME AVENUE TO WILLIAM AVENUE
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R19 | m³ | 15 |  | 0
A010A | B.2 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 15 |  | 0
ROADWORKS - RENEWALS
B017 | B.3 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 40 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 100 |  | 0
B029 | iii) | 200 mm Concrete Pavement (Type D) |  | m² | 85 |  | 0
B094 | B.4 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 30 |  | 0
B097 | B.5 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 35 |  | 0
B100r | B.6 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 350 |  | 0
B107i | B.7 | Miscellaneous Concrete Slab Installation | CW 3235-R9
| i) | Construction of Monolithic Concrete Bullnose |  | m² | 70 |  | 0
| ii) | 100 mm Sidewalk c/w Paving Stone Band (Paving Band Paid Separately) | SD-228A | m² | 350 |  | 0
B126r | B.8 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 65 |  | 0
B132r | ii) | Curb Ramp |  | m | 60 |  | 0
B135i | B.9 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (125 mm reveal ht, Dowelled) | SD-205 | m | 45 |  | 0
B137i | ii) | Barrier (125 mm reveal ht, Separate) | SD-203A | m | 25 |  | 0
B150i | iii) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 60 |  | 0
B200 | B.10 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1700 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 3400 |  | 0
B219 | B.11 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 18 |  | 0
| B.12 | Interlocking Paving Stones | CW 3330-R5, E33
| i) | Clay Pavers |  | m² | 30 |  | 0
| B.13 | Removal and Stockpiling of Existing Paving Stones | E32 | m² | 40 |  | 0
| B.14 | Reinstallation of Stockpiled Pavers | E33 | m² | 40 |  | 0
| B.15 | Regrading Existing Inerlocking Paving Stones | CW 3330-R5 | m² | 100 |  | 0
C055 | B.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 1000 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 60 |  | 0
B206 | B.17 | Pavement Repair Fabric | E11 | m² | 450 |  | 0
JOINT AND CRACK SEALING
D006 | B.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 1500 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.19 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E007D | B.20 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 2 |  | 0
| B.21 | Catch Basin Flow Restrictors | E16 | each | 10 |  | 0
E008 | B.22 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 7 |  | 0
E012 | B.23 | Drainage Connection Pipe | CW 2130-R12 | m | 5 |  | 0
E022A | B.24 | Sewer Inspection ( following repair) | CW2145-R4
E022I | i) | 575 mm, PVC, Combined Sewer |  | m | 85 |  | 0
E023 | B.25 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 6 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 12 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 6 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 6 |  | 0
E034 | B.26 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 2 |  | 0
E036 | B.27 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E040 | a) | Connecting to 450 mm (Type PVC) Sewer |  | each | 1 |  | 0
ADJUSTMENTS
F001 | B.28 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 6 |  | 0
F003 | B.29 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 7 |  | 0
F007 | ii) | 76 mm |  | each | 5 |  | 0
F010 | B.30 | Valve Box Extensions | CW 3210-R8 | each | 10 |  | 0
F014 | B.31 | Adjustment of Curb Inlet with New Inlet Box | CW 3210-R8 | each | 2 |  | 0
F019 | B.32 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
| B.33 | Tree Vaults | E34 | m2 | 15 |  | 0
| B.34 | Supply and Install Tree Grate | E34
| i) | 1.2 x 1.2 |  | each | 1 |  | 0
| B.35 | Supply and Install Tree Grate Frame | E34
| i) | 1.2 x 1.2 Frame |  | each | 1 |  | 0
| B.36 | Supply and Install Tree Vault Covers | E34
| i) | Vault Cover A |  | each | 8 |  | 0
| B.37 | Supply and Install Planting Medium Soil | E35 | m³ | 15 |  | 0
| B.38 | Supply and Install Bicycle Rack | E36 | each | 3 |  | 0
| B.39 | Salvage and Re-install Bicycle Hoop | E37 | each | 1 |  | 0
| B.40 | Black Granite Mulch | E34 | m² | 5 |  | 0
MISCELLANEOUS
| B.41 | Supply and Installation of Green Bike Lane Treatment | E20
| i) | New Asphalt |  | m² | 70 |  | 0
| ii) | Existing Asphalt |  | m² | 80 |  | 0
| B.42 | Supply and Installation of Poly Posts | E22 | each | 20 |  | 0
| B.43 | Removal of Planters | E46 | each | 2 |  | 0
| B | PHASE I - MILL AND FILL AND RELATED WORKS: PRINCESS AVENUE FROM NOTRE DAME AVENUE TO WILLIAM AVENUE |  |  |  | Subtotal: | 0
| C | PHASE I - PAVEMENT RECONSTRUCTION AND STREETSCAPING: GARRY STREET FROM NOTRE DAME AVENUE TO PORTAGE AVENUE
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R19 | m³ | 920 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R19 | m² | 2000 |  | 0
A007 | C.3 | Crushed Sub-base Material | CW 3110-R19
A008 | i) | 50 mm - Limestone |  | tonne | 760 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 2000 |  | 0
A010A | C.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R19 | m³ | 215 |  | 0
A016 | C.5 | Removal of Existing Concrete Bases | CW 3110-R19
A017 | i) | 600 mm Diameter or Less |  | each | 3 |  | 0
A018 | ii) | Greater than 600 mm Diameter |  | each | 1 |  | 0
A022 | C.6 | Separation Geotextile Fabric | CW 3130-R4 | m² | 2000 |  | 0
A022A | C.7 | Supply and Install Geogrid | CW 3135-R1 | m² | 2000 |  | 0
| C.8 | Removal of Street Car Track Bedding | E15 | m³ | 500 |  | 0
ROADWORKS - RENEWALS
B001 | C.9 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 1950 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 15 |  | 0
B094 | C.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 15 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 35 |  | 0
B097 | C.11 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 25 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 110 |  | 0
B100r | C.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 610 |  | 0
B114rl | C.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 40 |  | 0
B154rl | C.14 | Concrete Curb Renewal | CW 3240-R10
B159rl | i) | Barrier (150 mm reveal ht, Separate) | SD-203A
B160rl | a) | Less than 3 m |  | m | 10 |  | 0
B161rl | b) | 3 m to 30 m |  | m | 30 |  | 0
B200 | C.15 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 25 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 85 |  | 0
B219 | C.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 7 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1610 |  | 0
C008 | ii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 25 |  | 0
C014 | iii) | Construction of Concrete Median Slabs | SD-227A | m² | 65 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 15 |  | 0
C019 | C.18 | Concrete Pavements for Early Opening | CW 3310-R17
C025 | i) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 185 |  | 0
C025 | ii) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 105 |  | 0
C026 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 25 |  | 0
C026 | iv) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 15 |  | 0
B107i | C.19 | Miscellaneous Concrete Slab Installation | CW 3235-R9
| i) | 100mm Sidewalk c/w Paving Stone Band (Paving Band Paid Separately) | SD-228A | m² | 650 |  | 0
B111i | ii) | 100 mm Sidewalk | SD-228A | m² | 20 |  | 0
C032 | C.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C034 | i) | Construction of Barrier (230 mm ht, Separate) | SD-203A | m | 15 |  | 0
C034 | ii) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 185 |  | 0
C037 | iii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 15 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 40 |  | 0
C050 | C.21 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 350 |  | 0
| C.22 | Interlocking Paving Stones | CW 3330-R5, E33
| i) | Concrete Pavers |  | m² | 85 |  | 0
| C.23 | Removal and Stockpiling of Existing Paving Stones | E32 | m² | 5 |  | 0
| C.24 | Reinstallation of Stockpiled Pavers | E33 | m² | 5 |  | 0
C055 | C.25 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 25 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.26 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 3 |  | 0
| C.27 | Catch Basin Flow Restrictors | E16 | each | 3 |  | 0
E008 | C.28 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, SDR PVC
E010 | a) | In a Trench, Class B Bedding, Class 2 Backfill |  | m | 21 |  | 0
E022A | C.29 | Sewer Inspection ( following repair) | CW2145-R4
E022F | i) | 375 mm, PVC, SRS |  | m | 155 |  | 0
E022I | ii) | 1250 mm, Concrete Combined Sewer |  | m | 65 |  | 0
E023 | C.30 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 5 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E036 | C.31 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type SDR35) Connecting Pipe
E039 | a) | Connecting to 375 mm (Type PVC ) Sewer |  | each | 3 |  | 0
E046 | C.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
E047 | C.33 | Removal of Existing Catch Pit | CW 2130-R12 | each | 2 |  | 0
| C.34 | Abandoning Existing Sewer Services under Existing or Future Pavements | CW 2130-R12 | each | 2 |  | 0
E051 | C.35 | Installation of Subdrains | CW 3120-R4 | m | 65 |  | 0
E072 | C.36 | Watermain and Water Service Insulation | E14
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 70 |  | 0
| C.37 | Catchpit and Catch Basin Insulation | E15 | each | 2 |  | 0
ADJUSTMENTS
F001 | C.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | C.39 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | C.40 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 3 |  | 0
F009 | C.41 | Adjustment of Valve Boxes | CW 3210-R8 | each | 5 |  | 0
F010 | C.42 | Valve Box Extensions | CW 3210-R8 | each | 4 |  | 0
F011 | C.43 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 3 |  | 0
F018 | C.44 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
| C.45 | Adjustment of Traffic Signal Service Box Frames |  | each | 1 |  | 0
MISCELLANEOUS
| C.46 | Hydro Excavation | E12 | hrs | 100 |  | 0
| C.47 | Adjustment of Manitoba Hydro Frames and Covers | E19 | each | 4 |  | 0
| C.48 | Supply and Installation of Green Bike Lane Treatment | E20
| i) | New Concrete |  | m² | 170 |  | 0
| C.49 | Supply Pedestrian Light Fixtures | E21 | each | 3 |  | 0
| C.50 | Installation of Asphalt Speed Bumps | E43 | each | 2 |  | 0
| C.51 | Installation of Conduit | E45 | m | 100 |  | 0
| C | PHASE I - PAVEMENT RECONSTRUCTION AND STREETSCAPING: GARRY STREET FROM NOTRE DAME AVENUE TO PORTAGE AVENUE |  |  |  | Subtotal: | 0
| D | PHASE II - PAVEMENT REHABILITATION AND STREETSCAPING: GARRY STREET FROM PORTAGE AVENUE TO ASSINIBOINE AVENUE
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R19 | m³ | 390 |  | 0
A010 | D.2 | Supplying and Placing Base Course Material | CW 3110-R19 | m³ | 360 |  | 0
ROADWORKS - RENEWALS
B001 | D.3 | Pavement Removal | CW 3110-R19
B002 | i) | Concrete Pavement |  | m² | 1160 |  | 0
B017 | D.4 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 50 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 360 |  | 0
B029 | iii) | 200 mm Concrete Pavement (Type D) |  | m² | 860 |  | 0
B094 | D.5 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1300 |  | 0
B097 | D.6 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 1300 |  | 0
B100r | D.7 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 20 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 5430 |  | 0
B107i | D.8 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B108i | i) | Median Slab | SD-227A | m² | 50 |  | 0
B109i | ii) | Monolithic Median Slab | SD-226A | m² | 20 |  | 0
B110i | iii) | Safety Median | SD-226B | m² | 10 |  | 0
| iv) | 100 mm Sidewalk c/w Paving Stone Band (Paving Band Paid Separately) | SD-228A | m² | 5380 |  | 0
B126r | D.9 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Integral |  | m | 1000 |  | 0
B135i | D.10 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 1000 |  | 0
B137i | ii) | Barrier (100 mm reveal ht, Separate) | SD-203A | m | 470 |  | 0
B139i | iii) | Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 200 |  | 0
B150i | iv) | Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 400 |  | 0
B200 | D.11 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 5800 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 7900 |  | 0
B219 | D.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 44 |  | 0
B206 | D.13 | Pavement Repair Fabric | E11 | m² | 1000 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | D.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C008 | i) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 1160 |  | 0
C014 | ii) | Construction of Concrete Median Slabs | SD-227A | m² | 455 |  | 0
C018 | iii) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 70 |  | 0
| D.15 | Interlocking Paving Stones | CW 3330-R5, E33
| i) | Concrete Pavers |  | m² | 525 |  | 0
| D.16 | Removal and Stockpiling of Existing Paving Stones | E32 | m² | 175 |  | 0
| D.17 | Reinstallation of Stockpiled Pavers | E33 | m² | 175 |  | 0
C055 | D.18 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 2500 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 240 |  | 0
JOINT AND CRACK SEALING
D006 | D.19 | Reflective Crack Maintenance | CW 3250-R7 | m | 1800 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.20 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 12 |  | 0
E006 | D.21 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 5 |  | 0
| D.22 | Catch Basin Flow Restrictors | E16 | each | 12 |  | 0
E008 | D.23 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 2 Backfill |  | m | 40 |  | 0
E012 | D.24 | Drainage Connection Pipe | CW 2130-R12 | m | 22 |  | 0
E017 | D.25 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm Combined Sewer
E017H | a) | Class 2 Backfill |  | each | 3 |  | 0
E022A | D.26 | Sewer Inspection ( following repair) | CW2145-R4
E022F | i) | 375 mm, PVC, SRS |  | m | 155 |  | 0
E022I | ii) | 1250 mm, Concrete Combined Sewer |  | m | 70 |  | 0
E023 | D.27 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E032 | D.28 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E034 | D.29 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 5 |  | 0
E036 | D.30 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Sewer |  | each | 3 |  | 0
E039 | b) | Connecting to 375 mm Concrete Sewer |  | each | 2 |  | 0
E042 | D.31 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 4 |  | 0
E046 | D.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 8 |  | 0
E047 | D.33 | Removal of Existing Catch Pit | CW 2130-R12 | each | 7 |  | 0
E050 | D.34 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 5 |  | 0
ADJUSTMENTS
F001 | D.35 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F003 | D.36 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 5 |  | 0
F005 | ii) | 51 mm |  | each | 19 |  | 0
F007 | iii) | 76 mm |  | each | 7 |  | 0
F009 | D.37 | Adjustment of Valve Boxes | CW 3210-R8 | each | 23 |  | 0
F010 | D.38 | Valve Box Extensions | CW 3210-R8 | each | 10 |  | 0
F011 | D.39 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 20 |  | 0
F018 | D.40 | Curb Stop Extensions | CW 3210-R8 | each | 10 |  | 0
F028 | D.41 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G005 | D.42 | Salt Tolerant Grass Seeding | E42 | m² | 450 |  | 0
| D.43 | Tree Removal | E31 | each | 2 |  | 0
| D.44 | Tree Vaults | E34 | m² | 385 |  | 0
| D.45 | Supply and Install Tree Grate | E34
| i) | 1.2 x 1.2 |  | each | 28 |  | 0
| D.46 | Supply and Install Tree Grate Frame | E34
| i) | 1.2 x 1.2 Frame |  | each | 28 |  | 0
| D.47 | Supply and Install Tree Vault Covers | E34
| i) | Vault Cover A |  | each | 114 |  | 0
| ii) | Vault Cover B |  | each | 120 |  | 0
| D.48 | Supply and Install Tree Guard | E35 | each | 28 |  | 0
| D.49 | Supply and Install Planting Medium Soil | E35 | m³ | 350 |  | 0
| D.50 | Plant Material | E39
| i) | Brandon Elm (65 mm cal.) |  | each | 11 |  | 0
| ii) | Silver Cloud Silver Maple (65 mm cal.) |  | each | 9 |  | 0
| iii) | Manitoba Maple (50 mm cal.) |  | each | 1 |  | 0
| iv) | Delta Hackberry (65 mm cal.) |  | each | 5 |  | 0
| v) | Prairie Horizon Alder (50 mm cal.) |  | each | 3 |  | 0
| vi) | Discovery Elm (65 mm cal.) |  | each | 1 |  | 0
| vii) | Japanese Tree Lilac (50 mm cal.) |  | each | 1 |  | 0
| D.51 | Long Term Maintenance | E40
| i) | General Maintenance of Plant Material |  | yrs | 2 |  | 0
| D.52 | Supply and Install Bicycle Rack | E36 | each | 44 |  | 0
| D.53 | Salvage and Re-install Bicycle Hoop | E36 | each | 2 |  | 0
| D.54 | Black Granite Mulch | E34 | m² | 8 |  | 0
| D.55 | Wood Chip Mulch | E34 | m³ | 20 |  | 0
| D.56 | Supply and Install Metal Bench | E36 | each | 5 |  | 0
| D.57 | Construct Concrete Ramp, Stairs and Wall including Metal Handrailings and Guardrail | E38 | l.s. | 1 |  | 0
MISCELLANEOUS
| D.58 | Hydro Excavation | E12 | hrs | 120 |  | 0
| D.59 | Adjustment of Manitoba Hydro Frames and Covers | E19 | each | 15 |  | 0
| D.60 | Supply and Installation of Green Bike Lane Treatment | E20
| i) | New Concrete |  | m² | 780 |  | 0
| ii) | Existing Concrete |  | m² | 235 |  | 0
| D.61 | Supply Pedestrian Light Fixtures | E21 | each | 27 |  | 0
| D | PHASE II - PAVEMENT REHABILITATION AND STREETSCAPING: GARRY STREET FROM PORTAGE AVENUE TO ASSINIBOINE AVENUE |  |  |  | Subtotal: | 0
PART 2 WORK FUNDED BY WINNIPEG POLICE SERVICE (See B9.5, B15.2.1, B16.4, D2, D14.2-3, D16.4)
| E | WINNIPEG POLICE SERVICE BUILDING BOLLARDS
| E.1 | Supply and Installation of Bollards | E27
| i) | Type A Shallow Mount |  | each | 5 |  | 0
| ii) | Type B Deep Mount |  | each | 116 |  | 0
| E.2 | Removal of Precast Concrete Traffic Barriers | E25 | l.s. | 1 |  | 0
| E | WINNIPEG POLICE SERVICE BUILDING BOLLARDS |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | PHASE I - RECONSTRUCTION: NOTRE DAME AVENUE FROM ADELAIDE STREET TO PORTAGE AVENUE |  |  |  | Subtotal: | 0
| B | PHASE I - MILL AND FILL AND RELATED WORKS: PRINCESS AVENUE FROM NOTRE DAME AVENUE TO WILLIAM AVENUE |  |  |  | Subtotal: | 0
| C | PHASE I - PAVEMENT RECONSTRUCTION AND STREETSCAPING: GARRY STREET FROM NOTRE DAME AVENUE TO PORTAGE AVENUE |  |  |  | Subtotal: | 0
| D | PHASE II - PAVEMENT REHABILITATION AND STREETSCAPING: GARRY STREET FROM PORTAGE AVENUE TO ASSINIBOINE AVENUE |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 WORK FUNDED BY WINNIPEG POLICE SERVICE (See B9.5, B15.2.1, B16.4, D2, D14.2-3, D16.4)
| E | WINNIPEG POLICE SERVICE BUILDING BOLLARDS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on C53: Pheifer, Henly: old version has 0 - 50
Note on C199: Pheifer, Henly: old version has 0 - 50
Note on C300: Pheifer, Henly: old version has 0 - 50
Note on C405: Pheifer, Henly: old version has 0 - 50