## FORM B - PRICES
FORM B(R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | NAIRN AVE PAVEMENT RECONSTRUCTION - STADACONA ST TO WATT ST
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 5700 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 10500 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A008A1 | i) | 100 mm Granular A Limestone |  | tonne | 10600 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1275 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R21 | m² | 1450 |  | 0
A022 | A.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 10500 |  | 0
A022A4 | A.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 10300 |  | 0
| A.8 | Supplying and Placing of Clay Fill Material | CW 3170-R3, E32 | m³ | 200 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.9 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 9825 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 300 |  | 0
B094 | A.10 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 220 |  | 0
B097 | A.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 240 |  | 0
B100r | A.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 50 |  | 0
B102r | ii) | Monolithic Median Slab |  | m² | 45 |  | 0
B104r | iii) | 100 mm Sidewalk |  | m² | 260 |  | 0
B114rl | A.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E25
B115rl | i) | Type 2 Concrete Median Slab | SD-227A | m² | 10 |  | 0
B118rl | ii) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 80 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 2500 |  | 0
B124 | A.14 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B189 | A.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
B190 | A.16 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 225 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 70 |  | 0
B200 | A.17 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 1400 |  | 0
B219 | A.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 16 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E25
C004 | i) | Construction of 260 mm Type 1 Concrete Pavement (Plain-Dowelled) (Slip Form Paving) | E33 | m² | 7700 |  | 0
C004 | ii) | Construction of 260 mm Type 1 Concrete Pavement (Plain-Dowelled) | E33 | m² | 1400 |  | 0
C014 | iii) | Construction of Type 2 Concrete Median Slabs | SD-227A | m² | 110 |  | 0
C015 | iv) | Construction of Monolithic Type 2 Concrete Median Slabs | SD-226A | m² | 110 |  | 0
C018 | v) | Construction of Monolithic Type 2 Concrete Bull-noses | SD-227C | m² | 25 |  | 0
C019 | A.20 | Concrete Pavements for Early Opening | CW 3310-R17, E25
C022-72 | i) | Construction of 260 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 375 |  | 0
C032 | A.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E25
C033B | i) | Construction of Barrier (180 mm ht, Type 2, Dowelled) | SD-205 | m | 125 |  | 0
C035 | ii) | Construction of Barrier (100 mm ht, Type 1, Integral) | SD-204 | m | 15 |  | 0
C035B | iii) | Construction of Barrier (180 mm ht, Type 1, Integral), Slip Form | SD-204 | m | 810 |  | 0
C035 | iv) | Construction of Barrier (240 mm ht, Type 1, Integral) | SD-204 | m | 15 |  | 0
C037B | v) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 160 |  | 0
C042 | vi) | Construction of Mountable Curb (120 mm, Type 1, Integral) | SD-201 | m | 5 |  | 0
C046 | vii) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 215 |  | 0
| A.22 | Raked Asphalt Median | E22 | tonne | 55 |  | 0
C050 | A.23 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 1615 |  | 0
C051 | A.24 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5, E25 | m² | 325 |  | 0
| A.25 | Supply and Installation of MMA Marking with Anti-Skid | E19 | m | 925 |  | 0
| A.26 | Turfstone Units | E30 | m² | 35 |  | 0
JOINT AND CRACK SEALING
D006 | A.27 | Reflective Crack Maintenance | CW 3250-R7 | m | 250 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.28 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 10 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 1 |  | 0
E008 | A.29 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 65 |  | 0
| ii) | 300 mm, PVC
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 20 |  | 0
E023 | A.30 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
E032 | A.31 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 4 |  | 0
E033 | ii) | 300 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | A.32 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm Connecting Pipe
E038 | a) | Connecting to 300 mm Sewer |  | each | 2 |  | 0
E041B | b) | Connecting to 750 mm Sewer |  | each | 2 |  | 0
E046 | A.33 | Removal of Existing Catch Basins | CW 2130-R12 | each | 12 |  | 0
E047 | A.34 | Removal of Existing Catch Pit | CW 2130-R12 | each | 5 |  | 0
E051 | A.35 | Installation of Subdrains | CW 3120-R4 | m | 88 |  | 0
| A.36 | Watermain and Water Service Insulation | E14
| i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 830 |  | 0
ADJUSTMENTS
F001 | A.37 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 21 |  | 0
F003 | A.38 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 14 |  | 0
F009 | A.39 | Adjustment of Valve Boxes | CW 3210-R8 | each | 8 |  | 0
F010 | A.40 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | A.41 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 14 |  | 0
F018 | A.42 | Curb Stop Extensions | CW 3210-R8 | each | 14 |  | 0
F022 | A.43 | Raising of Existing Hydrant | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | A.44 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 330 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1120 |  | 0
G004 | A.45 | Grass Seed Mix | CW 3520-R7, E31 | m² | 35 |  | 0
MISCELLANEOUS
| A.46 | Temporary Removal and Reinstall of Existing Fencing | E21
H007 | i) | Chain Link Fence | CW 3550-R3
H008 | a) | 1.22m Height |  | m | 50 |  | 0
H009 | b) | 1.83m Height |  | m | 50 |  | 0
| A.47 | Tree Removal | E17 | each | 7 |  | 0
| A | NAIRN AVE PAVEMENT RECONSTRUCTION - STADACONA ST TO WATT ST |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
MANHOLE REPAIRS
MH40009957
| B.1 | Patching Existing Manhole | CW 2130-R12, E24 | vert. m | 0.1 |  | 0
MH40010145
F002 | B.2 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.25 |  | 0
MH40010146
E023 | B.3 | Replace Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
MH40010163
| B.4 | Patching Existing Manhole | CW 2130-R12, E24 | vert. m | 0.1 |  | 0
MH40010197
F002 | B.5 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.85 |  | 0
| ii) | Repair Benching | E23 | each | 1 |  | 0
MH40010198
E023 | B.6 | Replace Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
SURFACE RESTORATIONS
| B.7 | Cement Stabilized Fill |  | m³ | 10 |  | 0
WATERMAIN
| B.8 | Watermain Renewal | CW 2110
| i) | 200 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 310 |  | 0
| B.9 | Fire Hydrant Assembly | CW 2110
| i) | Standard | SD-006 | each | 2 |  | 0
| ii) | Short | SD-007 | each | 2 |  | 0
| B.10 | Watermain Valve | CW 2110
| i) | 150 mm |  | each | 2 |  | 0
| ii) | 200 mm |  | each | 2 |  | 0
| B.11 | Horizontal Fittings | CW 2110, SD-004
| i) | Bends
| a) | 200 mm - 11 1/4° |  | each | 1 |  | 0
| b) | 200 mm - 45° |  | each | 4 |  | 0
| B.12 | Vertical Fittings | CW 2110, SD-005
| i) | Bends
| a) | 200 mm - 11 1/4° |  | each | 1 |  | 0
| b) | 200 mm - 45° |  | each | 1 |  | 0
| B.13 | Reducers | CW 2110
| i) | 150mm - 100 mm |  | each | 1 |  | 0
| B.14 | Water Services | CW 2110
| i) | 20 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 40 |  | 0
| ii) | 150 mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0
| B.15 | Corporation Stops | CW 2110
| i) | 20 mm |  | each | 9 |  | 0
| ii) | 25 mm |  | each | 5 |  | 0
| B.16 | Curb Stops | CW 2110
| i) | 20 mm |  | each | 5 |  | 0
| B.17 | Curb Stop Boxes | CW 2110
| i) | 20 mm |  | each | 5 |  | 0
| B.18 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110
| i) | In-line connection - no plug existing
| a) | 200 mm |  | each | 2 |  | 0
| ii) | Perpendicular Connection
| a) | 150 mm |  | each | 2 |  | 0
| B.19 | Connecting Existing Copper Water Services to New Watermains | CW 2110
| i) | 20 mm |  | each | 4 |  | 0
| ii) | 25 mm |  | each | 5 |  | 0
| B.20 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110
| i) | On Water Services |  | each | 40 |  | 0
|  | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS
Nairn & Stadacona
| C.1 | Installation of Conduit - Single | CW 3620 | m | 110 |  | 0
| C.2 | Installation of Conduit - Double | CW 3620 | m | 250 |  | 0
| C.3 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E26, E28 | each | 3 |  | 0
| C.4 | Signal Pole Base Early Open - Type OD | CW 3620, SD-313, SD-315.A, E28 | each | 5 |  | 0
| C.5 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| C.6 | Service Box- Pre-Cast (17" x 30") | CW 3620, SD-322, E26 | each | 6 |  | 0
| C.7 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 11 |  | 0
| C.8 | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| C.9 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.10 | Cutovers | CW 3620 | each | 2 |  | 0
Allan & Nairn
| C.11 | Installation of Conduit - Single | CW 3620 | m | 40 |  | 0
| C.12 | Installation of Conduit - Double | CW 3620 | m | 120 |  | 0
| C.13 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E26, E28 | each | 2 |  | 0
| C.14 | Signal Pole Base Early Open - Type OD | CW 3620, SD-313, SD-315.A, E28 | each | 2 |  | 0
| C.15 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| C.16 | Service Box- Pre-Cast (17" x 30") | CW 3620, SD-322, E26 | each | 4 |  | 0
| C.17 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 1 |  | 0
| C.18 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
Nairn & Watt
| C.19 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
| C.20 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
|  | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOLIBIZATION
I001 | D.1 | Mobilization/Demobilization | E3 | L. sum | 1 |  | 0
|  | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | NAIRN AVE PAVEMENT RECONSTRUCTION - STADACONA ST TO WATT ST |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on H211: Mob/Demob should be in a separate section. Delete the summary if there is only one section and no Mob/Demob.