## Unit prices
FORM B(R1):PRICES
(See "Prices" clause in tender document)
UNIT PRICES
Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
1 | BACnet, 15” Touch Panel Display, 1024x768, frameless glass front and capacitive touch, black | E2.1.1 | each | 11 |  | $ -
2 | Mounting frame for 15” Touch Panel Display | E2.1.2 | each | 11 |  | $ -
3 | Current Switch Device (CSD) – Split core, setpoint adjustable 1.25 to 135 amps | E2.1.3 | each | 66 |  | $ -
4 | Power supply full wave 2 amp/half wave 1 amp (jumper selectable) | E2.1.4 | each | 44 |  | $ -
5 | Energy Eye Infrared ice surface temperature sensor | E2.1.5 | each | 11 |  | $ -
6 | BACnet, Current / Voltage Transducers, CVT, small, 800A, 6ft leads, 3 phase kit | E2.1.6 | each | 11 |  | $ -
7 | Comat Releco, 24vac coil 8-pin standard relay, 10A @250vac / 30vdc | E2.1.7 | each | 66 |  | $ -
8 | Comat Releco, socket for 8 pin relay | E2.1.8 | each | 66 |  | $ -
TOTAL BID PRICE (GST extra) (in numbers) |  |  |  |  | 0
Name of Bidder
Note on C2: Insert reference to "Prices" clause from the "Bidding Procedures". Also Revise the Header by inserting Tender # and revising the Tender Version number to match the Tender template used.
Note on A3: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##