## Kenaston
FORM B(R1): PRICES
(SEE B9)
KENASTON UNDERPASS PROJECT
STERLING LYON PARKWAY (EAST)
ROAD WORKS, LDS AND MISCELLAENOUS UNDERGROUND WORKS
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART I - UNDERGROUND WORKS
| A | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - CPR LA RIVIERE TO VICTOR LEWIS DRIVE
GRAVITY SEWERS AND RELATED WORKS
| A.1 | Land Drainage Sewers | E18
| i) | 1500mm C76-III
|  | a) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 5 |  | 0
| ii) | 750mm C76-IV
|  | a) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 4 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 116 |  | 0
| iii) | 600mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill, 4-5m deep |  | m | 90 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 4 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 26 |  | 0
| iv) | 525mm C76 IV
|  | a) in a trench, Class B bedding, Class 5 Backfill, 4-5m deep |  | m | 92 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 4 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 18 |  | 0
| v) | 450mm C76 III
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 135 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 8 |  | 0
| vi) | 450mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 108 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 4 |  | 0
| vii) | 375mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 159 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 16 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 58 |  | 0
| viii) | 300mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 35 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 26 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 110 |  | 0
| A.2 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1200mm Base |  | v.m | 20 |  | 0
|  | b) 2700mm Base |  | v.m | 6 |  | 0
| ii) | SD-011
|  | a) 1200mm Base |  | v.m | 4 |  | 0
E003 | A.3 | Catch Basin | CW 2130-R9
E004 | i) | SD-024 |  | each | 13 |  | 0
| ii) | SD-025 c/w ditch inlet grate | E18 | each | 7 |  | 0
E006 | A.4 | Catch Pit | CW 2130-R9
E007 | i) | SD-023 |  | each | 9 |  | 0
E012 | A.5 | Drainage Connection Pipe | CW 2130-R9 | m | 18 |  | 0
E023 | A.6 | Replacing Standard Frames & Covers | CW 2130-R9
E028 | i) | AP-008 - Barrier Curb and Gutter Inlet Frame and Box |  | each | 2 |  | 0
E029 | ii) | AP-009 - Barrier Curb and Gutter Inlet Cover |  | each | 2 |  | 0
E036 | A.7 | Connecting to Existing Sewer | CW 2130-R9
E037 | i) | 1500mm LDS of connecting pipe to 1500 mm LDS of Sewer
E038 |  | a) Connecting to 1500mm LDS |  | each | 1 |  | 0
E032 | A.8 | Connecting to Existing Manhole | CW 2130-R9
E033 | i) | 375mm |  | each | 1 |  | 0
| A.9 | Removal of Existing Manhole | CW 2130-R9 | each | 1 |  | 0
E046 | A.10 | Removal of Existing Catchbasins | CW 2130-R9 | each | 1 |  | 0
| A.11 | Plugging Existing Sewer Services Smaller than 300mm | CW 2130-R9 | each | 1 |  | 0
A013 | A.12 | Ditch Grading | CW 3110-R7 | m² | 7085 |  | 0
A015 | A.13 | Ditch Excavation | CW 3110-R7 | m³ | 830 |  | 0
| A.14 | Concrete Pipe 3 Edge Bearing Test | CW 2130-R9
| i) | 750mm C76-III |  | each | 1 |  | 0
| ii) | 600mm C76-III |  | each | 1 |  | 0
| iii) | 450mm C76-III |  | each | 1 |  | 0
H013 | A.15 | Grouted Stone RipRap | CW 3615-R2 | m³ | 16.5 |  | 0
| A.16 | Televised Sewer Inspection | CW 2145-R2
| i) | Land Drainage Sewers
|  | a) 375mm |  | m | 316 |  | 0
|  | b) 450mm |  | m | 285 |  | 0
|  | c) 600mm |  | m | 120 |  | 0
|  | d) 750mm |  | m | 120 |  | 0
| A | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - CPR LA RIVIERE TO VICTOR LEWIS DRIVE |  |  |  | Subtotal: | 0
| B | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - KENASTON BOULEVARD TO CPR LA RIVIERE
GRAVITY SEWERS AND RELATED WORKS
| B.1 | Land Drainage Sewers | E18
| i) | 1800mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill, 5-6m deep |  | m | 207 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 133 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 20 |  | 0
| ii) | 1650mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill, 5-6m deep |  | m | 97 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 4 |  | 0
| iii) | 1650mm C76-V
|  | a) in a trench, class B bedding, Class 5 Backfill, 5-6m deep |  | m | 66 |  | 0
|  | b) in a trench, class B bedding, Class 3 Backfill, 5-6m deep |  | m | 4 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 30 |  | 0
| iv) | 750mm C76-V
|  | a) in a trench, class B bedding, Class 3 Backfill, 5-6m deep |  | m | 15 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 40 |  | 0
| v) | 525mm C76-III
|  | a) in a trench, Class B bedding, Class 5 Backfill, 4-5m deep |  | m | 87 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 4 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 26 |  | 0
| vi) | 375mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 77 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 18 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 115 |  | 0
| vii) | 300mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 13 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 25 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 70 |  | 0
| B.2 | Special Precast Fittings | E-18
| i) | 1800x900 Wye in a trench, Class B bedding, Class 3 Backfill |  | each | 1 |  | 0
| ii) | 1800-22.5° Bend, in a trench, Class B bedding, Class 3 Backfill |  | each | 2 |  | 0
| iii) | 2100x1800 Reducer in a trench, Class B bedding, Class 3 Backfill |  | each | 1 |  | 0
| iv) | 2100-22.5° Bend, in a trench, Class B bedding, Class 3 Backfill |  | each | 1 |  | 0
| B.3 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1200mm Base |  | v.m | 3 |  | 0
|  | b) 2700mm Base |  | v.m | 6 |  | 0
| ii) | SD-011
|  | a) 1800mm Base |  | v.m | 24 |  | 0
|  | b) 1650mm Base |  | v.m | 6 |  | 0
E003 | B.4 | Catch Basin | CW 2130-R9
E004 | i) | SD-024 |  | each | 8 |  | 0
E005 | ii) | SD-025 c/w ditch inlet grate | E18 | each | 10 |  | 0
E006 | B.5 | Catch Pit | CW 2130-R9
E007 | i) | SD-023 |  | each | 4 |  | 0
E012 | B.6 | Drainage Connection Pipe | CW 2130-R9 | m | 12 |  | 0
E036 | B.7 | Connecting to Existing Sewer | CW 2130-R9
E037 | i) | 2100mm LDS of connecting pipe to 2100 mm LDS of Sewer
E038 |  | a) Connecting to 2100mm LDS |  | each | 1 |  | 0
A013 | B.8 | Ditch Grading | CW 3110-R7 | m² | 1930 |  | 0
A015 | B.9 | Ditch Excavation | CW 3110-R7 | m³ | 275 |  | 0
H013 | B.10 | Grouted Stone Riprap | CW 3615-R2 | m³ | 24 |  | 0
| B.11 | Concrete Pipe 3 Edge Bearing Test | CW 2130-R9
| i) | 1800mm C76-III |  | each | 1 |  | 0
| ii) | 1650mm C76-III |  | each | 1 |  | 0
| iii) | 1650mm C76-V |  | each | 1 |  | 0
| iv) | 750mm C76-V |  | each | 1 |  | 0
| v) | 525mm C76-III |  | each | 1 |  | 0
| B.12 | Televised Sewer Inspection | CW 2145-R2
| i) | Land Drainage Sewers
|  | a) 375mm |  | m | 221 |  | 0
|  | b) 525mm |  | m | 104 |  | 0
|  | c) 750mm |  | m | 55 |  | 0
| B | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - KENASTON BOULEVARD TO CPR LA RIVIERE |  |  |  | Subtotal: | 0
| C | LAND DRAINAGE SEWERS - PATRICK WAY
| C.1 | Land Drainage Sewers | E-18
| i) | 1500mm C76 III
|  | a) in a trench, Class B bedding, Class 5 Backfill, 5-6m deep |  | m | 91 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 41 |  | 0
| ii) | 1350mm C76 III
|  | a) in a trench, class B bedding, Class 5 Backfill, 5-6m deep |  | m | 289 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 34 |  | 0
| iii) | 450mm C14-3
|  | a) in a trench, class B bedding, Class 5 Backfill |  | m | 18 |  | 0
|  | b) in a trench, class B bedding, Class 3 Backfill |  | m | 4 |  | 0
| iv) | 375mm C14-3
|  | a) in a trench, Class B bedding, Class 5 backfill |  | m | 11 |  | 0
|  | b) in a trench, Class B bedding, Class 5 backfill |  | m | 4 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 15 |  | 0
| C.2 | Manholes | CW 2130-R9
| i) | SD-011
|  | a) 1500mm Base |  | v.m | 12 |  | 0
|  | b) 1350mm Base |  | v.m | 18 |  | 0
E003 | C.3 | Catch Basin | CW 2130-R9
| i) | SD-025 c/w ditch inlet grade | E18 | each | 2 |  | 0
| C.4 | Concrete Pipe 3 Edge Bearing Test | CW 2130-R9
| i) | 1500mm C76-III |  | each | 1 |  | 0
| ii) | 1350mm C76-III |  | each | 1 |  | 0
| iii) | 450mm C76-III |  | each | 1 |  | 0
H013 | C.5 | Grouted Stone Riprap | CW 3615-R2 | m³ | 5 |  | 0
| C.6 | Televised Sewer Inspection | CW 2145-R2
| i) | Land Drainage Sewers
|  | a) 450mm |  | m | 22 |  | 0
|  | b) 375mm |  | m | 30 |  | 0
| C | LAND DRAINAGE SEWERS - PATRICK WAY |  |  |  | Subtotal: | 0
| D | FORCEMAIN AND LAND DRAINAGE SEWERS - KENASTON BOULEVARD
| D.1 | Land Drainage Sewers | E18
| i) | 900mm C76-III
|  | a) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 3 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 24 |  | 0
| ii) | 750mm C76-III On-Line Renewal
|  | a) in a trench, Class B bedding, Class 5 Backfill, 5-6m deep |  | m | 30 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 56 |  | 0
|  | c) in a trench, Class B bedding, Class 5 Backfill, 4-5m deep |  | m | 38 |  | 0
|  | d) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 77.5 |  | 0
| iii) | 750mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill, 4-5m deep |  | m | 2.5 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill, 4-5m deep |  | m | 13.5 |  | 0
| iv) | 375mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill |  | m | 99 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 10 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 17 |  | 0
| v) | 300mm C14-3
|  | a) in a trench, class B bedding, Class 5 Backfill |  | m | 8 |  | 0
| vi) | 250mm SDR-35
|  | a) in a trench, class B bedding, Class 3 Backfill |  | m | 10 |  | 0
| D.2 | Forcemain | E21
| i) | 750mm Forcemain
|  | a) in a trench, Class B bedding, Class 5 Backfill, 4-5m deep |  | m | 168 |  | 0
|  | b) in a trench, class B bedding, Class 3 Backfill, 4-5m deep |  | m | 77 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 102 |  | 0
| D.3 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1500mm Base |  | v.m | 5 |  | 0
|  | b) 1350mm Base |  | v.m | 5 |  | 0
| ii) | SD-011
|  | a) 1200mm Base |  | v.m | 6 |  | 0
E046 | D.4 | Removal of Existing Catchbasins | CW 2130-R9 | each | 2 |  | 0
E046 | D.5 | Removal of Existing Manholes | CW 2130-R9 | each | 2 |  | 0
E003 | D.6 | Catch Basin | CW 2130-R9
E004 | i) | SD-024 |  | each | 1 |  | 0
E006 | D.7 | Catch Pit | CW 2130-R9
E007 | i) | SD-023 |  | each | 2 |  | 0
E012 | D.8 | Drainage Connection Pipe | CW 2130-R9 | m | 4 |  | 0
E032 | D.9 | Connecting to Existing Manhole | CW 2130-R9
E033 | i) | 750mm |  | each | 1 |  | 0
E033 | ii) | 900mm |  | each | 1 |  | 0
| D.10 | Reconnect Existing Catch Basin Lead to New 750 LDS | CW 2130-R9 | each | 1 |  | 0
F001 | D.11 | Adjustment of Catch basins / Manholes Frames | CW 3210-R6 | each | 3 |  | 0
| D.12 | Remove and Relocate Chain Link Fencing (Manitoba Hydro Property) | E21 | m | 170 |  | 0
| D.13 | Televised Sewer Inspection | CW 2145-R2
| i) | Land Drainage Sewers
|  | a) 600mm |  | m | 84 |  | 0
|  | b) 750mm |  | m | 217 |  | 0
|  | c) 900mm |  | m | 27 |  | 0
| D | FORCEMAIN AND LAND DRAINAGE SEWERS - KENASTON BOULEVARD |  |  |  | Subtotal: | 0
| E | MISCELLANEOUS MUNICIPAL SERVICES
WATERMAINS ON STERLING LYON PARKWAY (EAST) - CPR LA RIVIERE TO VICTOR LEWIS DRIVE
| E.1 | Watermains | CW 2110-R7
| i) | 300mm PVC
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 6 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 24 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 50 |  | 0
| E.2 | Watermain Valve | CW 2110-R7
| i) | 300mm |  | each | 2 |  | 0
| E.3 | Fittings | CW 2110-R7
| i) | Tees
|  | a) 300mmx300mmx300mm |  | each | 1 |  | 0
| ii) | Plugs
|  | a) 300mm |  | each | 3 |  | 0
| iii) | Reducers
|  | a) 300-250 |  | each | 1 |  | 0
| iv) | Bends (SD-004)
|  | a) 300mm-45 Bend |  | each | 2 |  | 0
| E.4 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R8
| i) | Inline Connection - Plug Existing
|  | a) 250mm |  | each | 1 |  | 0
|  | b) 300mm |  | each | 1 |  | 0
WASTEWATER SEWERS ON STERLING LYON PARKWAY (EAST) - CPR LA RIVIERE TO VICTOR LEWIS DRIVE
| E.5 | Wastewater Sewers | CW 2130-R9
| i) | 375mm C76-V
|  | a) in a trench, Class B bedding, Class 3 Backfill, 5-6m deep |  | m | 12 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 23 |  | 0
| E.6 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1200mm Base |  | v.m | 6 |  | 0
E036 | E.7 | Connecting to Existing Sewer | CW 2130-R9
E037 | i) | 375mm WWS of connecting pipe to 375 mm WWS of Sewer
E039 |  | a) Connecting to 375mm WWS Sewer |  | each | 1 |  | 0
| E.8 | Removal of Existing Manhole | CW2130-R9 | each | 1 |  | 0
WATERMAINS ON KENASTON BOULEVARD
| E.9 | Watermains | CW 2110-R8
| i) | 300mm PVC
|  | a) in a trench, Class B sand bedding, Class 3 Backfill |  | m | 6 |  | 0
| ii) | 250mm
|  | a) in a trench, Class B sand bedding, Class 3 Backfill |  | m | 5 |  | 0
| iii) | 200mm
|  | a) in a trench, Class B sand bedding, Class 3 Backfill |  | m | 2.5 |  | 0
| E.10 | Watermain Valve | CW 2110-R8
| i) | 300mm |  | each | 3 |  | 0
| ii) | 250mm |  | each | 1 |  | 0
| iii) | 200mm |  | each | 1 |  | 0
| E.11 | New Watermain Valve on Existing Watermain | CW 2110-R8
| i) | 300mm |  | each | 1 |  | 0
| E.12 | New Hydrant on Existing Watermain | CW 2110-R8 | each | 1 |  | 0
| E.13 | Fittings | CW 2110-R8
| i) | Reducers
|  | a) 300-250 |  | each | 2 |  | 0
| ii) | Tees
|  | a) 300mmx300mmx300mm |  | each | 1 |  | 0
|  | b) 250mmx200mmx250mm |  | each | 1 |  | 0
|  | c) 300mmx200mmx300mm |  | each | 1 |  | 0
| E.14 | Connecting to Existing Watermains and Large Diameter Water Services
| i) | Inline connection - no plug existing
|  | a) 200mm |  | each | 1 |  | 0
|  | b) 250mm |  | each | 2 |  | 0
|  | c) 300mm |  | each | 3 |  | 0
| E.15 | Valve Pit Removal | E21 | each | 2 |  | 0
| E | MISCELLANEOUS MUNICIPAL SERVICES |  |  |  | Subtotal: | 0
| F | DND UTILITY RELOCATIONS
WATERMAINS
| F.1 | Watermains | CW 2110-R8
| i) | 200mm PVC
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 85 |  | 0
|  | b)in a trench, Class B sand bedding, Class 3 Backfill |  | m | 14 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 187 |  | 0
| F.2 | Fittings | CW 2110-R8
| i) | Tees
|  | a) 200x200x200 |  | each | 1 |  | 0
| ii) | Bends (SD-004)
|  | a) 200mm-45° |  | each | 3 |  | 0
|  | b) 200mm-90° |  | each | 1 |  | 0
|  | c) 200mm-11.25° |  | each | 2 |  | 0
| iii) | Reducers
|  | a) 200-150mm |  | each | 1 |  | 0
| F.3 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R8
| i) | Inline Connection - No Plug Existing
|  | a) 150mm |  | each | 3 |  | 0
|  | b) 200mm |  | each | 1 |  | 0
| ii) | Perpendicular Connection - No Plug Existing
|  | a) 200mm |  | each | 2 |  | 0
| F.4 | Abandoning Existing Small Diameter Water Services | CW 2110-R8
|  | a) 50mm |  | each | 3 |  | 0
| F.5 | Hydrant Assembly | CW 2110-R8
| i) | SD-006 |  | each | 3 |  | 0
| F.6 | Adjustment of Valve Boxes | CW 2110-R8 | each | 1 |  | 0
| F.7 | Water Services | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
| F.8 | Corporation Stops | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
| F.9 | Curb Stop and Box | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
COMBINED SEWERS
| F.10 | Combined Sewers | CW 2130-R9
| i) | 250mm SDR-35
|  | a) in a trench, Class B bedding, Class 3 |  | m | 7 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 7 |  | 0
| ii) | 300mm C67-III
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 41 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 40 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 246 |  | 0
| F.11 | Connecting Existing Sewer Service to New Sewer | CW 2130-R9
| i) | 150mm |  | each | 9 |  | 0
| F.12 | Plugging Existing Services Smaller than 300mm | CW 2130-R9
| i) | 150mm |  | each | 7 |  | 0
| ii) | 250mm |  | each | 6 |  | 0
| iii) | 300mm |  | each | 1 |  | 0
| F.13 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1200mm |  | v.m. | 12 |  | 0
| F.14 | New Manhole on Existing Sewer | CW 2130-R9
| i) | SD - 010
|  | a) 1800mm Base |  | v.m. | 4 |  | 0
E048 | F.15 | Relocation of Existing Catchbasins | CW 2130-R9 | each | 2 |  | 0
E046 | F.16 | Removal of Existing Catchbasins | CW 2130-R9 | each | 2 |  | 0
| F.17 | Televised Sewer Inspection | CW 2145-R2
| i) | Combined Sewers
|  | a) 250mm |  | m | 14 |  | 0
|  | b) 300mm |  | m | 326 |  | 0
SURFACE WORKS
B126 | F.18 | Concrete Curb Removal | CW 3240-R5
B127 | i) | Barrier Curb (Separate) - 150mm |  | m | 49 |  | 0
B128 | ii) | Modified Barrier Curb (Separate) - 180mm |  | m | 11 |  | 0
B135 | F.19 | Concrete Curb Installation | CW 3240-R5
B137 | i) | Barrier (150mm ht, Separate) | SD-203A | m | 25 |  | 0
B139 | ii) | Modified Barrier (180mm ht, Dowelled) | SD-203B | m | 11 |  | 0
B190 | F.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R6
B194 | i) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 60 |  | 0
B199 | F.21 | Construction of Asphalt Patches | CW 3410-R6 | m² | 300 |  | 0
| F.22 | Salvage of Existing Dust Collector | E37 | l.sum | 1 |  | 0
| F | DND UTILITY RELOCATIONS |  |  |  | Subtotal: | 0
| G | DITCHING ON WILKES - KENASTON BOULEVARD TO CPR LA RIVIERE
A013 | G.1 | Ditch Grading | CW 3110-R7 | m² | 9785 |  | 0
A015 | G.2 | Ditch Excavation | CW 3110-R7 | m³ | 920 |  | 0
E052 | G.3 | Corrugated Steel Pipe - Supply | CW 3610-R3
E055 | i) | 450mm - 2mm Gauge | E20 | m | 67 |  | 0
E057 | G.4 | Corrugated Steel Pipe - Install | CW 3610-R3
E060 | i) | 450mm - 2mm Gauge | E20 | m | 67 |  | 0
B190 | G.5 | Construction of Asphaltic Concrete Overlay | CW 3410-R6
B194 | i) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 30 |  | 0
B199 | G.6 | Construction of Asphalt Patches | CW 3410-R6 | m² | 130 |  | 0
| G.7 | Remove and Reinstall Existing Culverts | E20 | each | 10 |  | 0
| G.8 | Construction of Hydrant Approach | E20 | each | 6 |  | 0
| G | DITCHING ON WILKES - KENASTON BOULEVARD TO CPR LA RIVIERE |  |  |  | Subtotal: | 0
| H | PROVISIONAL ITEMS
| H.1 | Remove Existing Culverts | E20 | each | 3 |  | 0
| H.2 | Curb Stop Boxes-Replace Existing | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
| H.3 | Curb Stops-Replace Existing | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
E017 | H.4 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R9
E018 | i) | 450mm
E019 |  | a) Class 3 Backfill |  | each | 1 |  | 0
E018 | ii) | 600mm
E019 |  | a) Class 3 Backfill |  | each | 1 |  | 0
| H.5 | Regrading of Existing Sewer Service - Up to 1.5m Long | CW 2110-R8
| i) | in a trench,Class B sand bedding, Class 3 Backfill
|  | a) 150mm |  | each | 1 |  | 0
|  | b) 200mm |  | each | 1 |  | 0
| H.6 | Regrading of Existing Sewer Service - Longer Than 1.5m | CW 2110-R8
150mm
|  | a) in a trench,Class B sand bedding, Class 3 Backfill |  | m | 10 |  | 0
200mm
|  | b) in a trench,Class B sand bedding, Class 3 Backfill |  | m | 10 |  | 0
E023 | H.7 | Replacing Standard Frames & Covers | CW 2130-R9
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
F001 | H.8 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R6 | each | 5 |  | 0
F003 | H.9 | Lifter Rings | CW 3210-R6
F004 | i) | 38mm |  | each | 4 |  | 0
F005 | ii) | 51mm |  | each | 1 |  | 0
F006 | iii) | 64mm |  | each | 1 |  | 0
| H | PROVISIONAL ITEMS |  |  |  | Subtotal: | 0
| I | STERLING LYON PARKWAY EAST
EARTH AND BASE WORKS
A001 | I.1 | Clearing and Grubbing | CW 3010-R4 | ha | 3 |  | 0
A002 | I.2 | Stripping and Stockpiling Topsoil | CW 3110-R7 | m³ | 5000 |  | 0
A003 | I.3 | Excavation | CW 3110-R7 E-10 | m³ | 56500 |  | 0
A004 | I.4 | Sub-Grade Compaction | CW 3110-R7 | m² | 41000 |  | 0
A005 | I.5 | Placing Suitable Site Sub-base Material | CW 3110-R7 | m³ | 7000 |  | 0
A007 | I.6 | Crushed Sub-base Material | CW 3110-R7
A008 | i) | 50 mm - Limestone |  | tonne | 16500 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 62000 |  | 0
A010 | I.7 | Supplying and Placing Base Course Material | CW 3110-R7 | m³ | 4100 |  | 0
A012 | I.8 | Grading of Boulevards | CW 3110-R7 | m² | 38200 |  | 0
A013 | I.9 | Ditch Grading | CW 3110-R7 | m² | 15700 |  | 0
A014 | I.10 | Boulevard Excavation | CW 3110-R7 | m³ | 2000 |  | 0
A015 | I.11 | Ditch Excavation | CW 3110-R7 | m³ | 3500 |  | 0
A022 | I.12 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 41000 |  | 0
| I.13 | Remove Existing Bollards | E31 | each | 35 |  | 0
| I.14 | Remove Existing Fence | E32 | m | 90 |  | 0
| I.15 | Concrete Excavation | CW 2030-R7 | m³ | 250 |  | 0
| I.16 | Infrastructure Signs | E9 | each | 6 |  | 0
ROADWORKS - RENEWALS
B094 | I.17 | Drilled Dowels | CW 3230-R4
B096 | i) | 28.6 mm Diameter |  | each | 800 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 50 |  | 0
B190 | I.18 | Construction of Asphaltic Concrete Overlay | CW 3410-R6
B194 | i) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 50 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | I.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R9
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled - Slip Form) |  | m² | 35300 |  | 0
C018 | ii) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 150 |  | 0
C025 | iii) | Construction of 230 mm Concrete Pavement for Early Opening 72 hour(Plain-Dowelled) |  | m² | 1125 |  | 0
C032 | I.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R9
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 210 |  | 0
C034 | ii) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 130 |  | 0
C036 | iii) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 20 |  | 0
C046 | iv) | Construction of Ramp Curb (12mm ht, Separate) | SD-229E | m | 76 |  | 0
C048 | v) | Construction of Splash Strip (180 mm ht, Barrier Curb, Integral, 600mm width) | SD-227B | m | 6420 |  | 0
C049 | vi) | Construction of Splash Strip (180 mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 580 |  | 0
C050 | I.21 | Supply and Installation of Dowel Assemblies | CW 3310-R9 | m | 6700 |  | 0
C051 | I.22 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 555 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E051 | I.23 | Installation of Subdrains | CW 3120-R1 | m | 3450 |  | 0
| I | STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| J | INTERSECTION OF KENASTON BOULEVARD AND STERLING LYON PARKWAY EAST
EARTH AND BASE WORKS
A003 | J.1 | Excavation | CW 3110-R7 | m³ | 3950 |  | 0
A004 | J.2 | Sub-Grade Compaction | CW 3110-R7 | m² | 3250 |  | 0
A007 | J.3 | Crushed Sub-base Material | CW 3110-R7
A008 | i) | 50 mm - Limestone |  | tonne | 1200 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 6000 |  | 0
A010 | J.4 | Supplying and Placing Base Course Material | CW 3110-R7 | m³ | 300 |  | 0
A012 | J.5 | Grading of Boulevards | CW 3110-R7 | m² | 1000 |  | 0
A022 | J.6 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 3250 |  | 0
ROADWORKS - RENEWALS
B001 | J.7 | Pavement Removal | CW 3110-R7
B002 | i) | Concrete Pavement |  | m² | 275 |  | 0
B017 | J.8 | Partial Slab Patches | CW 3230-R4
B018 | i) | 250 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B019 | ii) | 250 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B020 | iii) | 250 mm Concrete Pavement (Type C) |  | m² | 20 |  | 0
B021 | iv) | 250 mm Concrete Pavement (Type D) |  | m² | 50 |  | 0
B094 | J.9 | Drilled Dowels | CW 3230-R4
B096 | i) | 28.6 mm Diameter |  | each | 50 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 1420 |  | 0
B126 | J.10 | Concrete Curb Removal | CW 3240-R5
B127 | i) | Barrier (180mm ht, Separate) |  | m | 235 |  | 0
B135 | J.11 | Concrete Curb Installation | CW 3240-R5
B136 | i) | Barrier (180 mm ht, Dowelled) | SD-205 | m | 60 |  | 0
B137 | ii) | Barrier (180 mm ht, Separate) | SD-203A | m | 50 |  | 0
B139 | iii) | Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 15 |  | 0
B190 | J.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R6
B194 | i) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 100 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | J.13 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R9
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 2850 |  | 0
C015 | ii) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 400 |  | 0
C017 | iii) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 55 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 25 |  | 0
C033 | v) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 100 |  | 0
C034 | vi) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 130 |  | 0
C036 | vii) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 20 |  | 0
C046 | viii) | Construction of Ramp Curb (12mm ht, Separate) | SD-229E | m | 80 |  | 0
C048 | ix) | Construction of Splash Strip (180 mm ht, Barrier Curb, Integral, 600mm width) | SD-227B | m | 155 |  | 0
C049 | x) | Construction of Splash Strip (180 mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 20 |  | 0
C050 | J.14 | Supply and Installation of Dowel Assemblies | CW 3310-R9 | m | 650 |  | 0
| J | INTERSECTION OF KENASTON BOULEVARD AND STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| K | INTERSECTION OF WILKES AVENUE/VICTOR LEWIS DRIVE AND STERLING LYON PARKWAY EAST
EARTH AND BASE WORKS
A003 | K.1 | Excavation | CW 3110-R7 | m³ | 1250 |  | 0
A004 | K.2 | Sub-Grade Compaction | CW 3110-R7 | m² | 990 |  | 0
A007 | K.3 | Crushed Sub-base Material | CW 3110-R7
A008 | i) | 50 mm - Limestone |  | tonne | 360 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 900 |  | 0
A010 | K.4 | Supplying and Placing Base Course Material | CW 3110-R7 | m³ | 100 |  | 0
A012 | K.5 | Grading of Boulevards | CW 3110-R7 | m² | 500 |  | 0
A022 | K.6 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 990 |  | 0
ROADWORKS - RENEWALS
B001 | K.7 | Pavement Removal | CW 3110-R7
B002 | i) | Concrete Pavement |  | m² | 135 |  | 0
B017 | K.8 | Partial Slab Patches | CW 3230-R4
B026 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B027 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 20 |  | 0
B028 | iii) | 200 mm Concrete Pavement (Type C) |  | m² | 20 |  | 0
B029 | iv) | 200 mm Concrete Pavement (Type D) |  | m² | 50 |  | 0
B094 | K.9 | Drilled Dowels | CW 3230-R4
B096 | i) | 28.6 mm Diameter |  | each | 50 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 700 |  | 0
B126 | K.10 | Concrete Curb Removal | CW 3240-R5
B127 | i) | Barrier Separate |  | m | 66 |  | 0
B135 | K.11 | Concrete Curb Installation | CW 3240-R5
B136 | i) | Barrier (180 mm ht, Dowelled) | SD-205 | m | 40 |  | 0
B137 | ii) | Barrier (180 mm ht, Separate) | SD-203A | m | 132 |  | 0
B139 | iii) | Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 15 |  | 0
B190 | K.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R6
B194 | i) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 20 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | K.13 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R9
C010 | i) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) |  | m² | 750 |  | 0
C015 | ii) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 120 |  | 0
C017 | iii) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 50 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 25 |  | 0
C032 | K.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R9
C033 | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 10 |  | 0
C034 | ii) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 10 |  | 0
C036 | iii) | Construction of Modified Barrier ( 180mm ht, Dowelled) | SD-203B | m | 20 |  | 0
C046 | iv) | Construction of Ramp Curb (12mm ht, type) | SD-229E | m | 6 |  | 0
C049 | v) | Construction of Splash Strip (180 mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 10 |  | 0
C050 | K.15 | Supply and Installation of Dowel Assemblies | CW 3310-R9 | m | 175 |  | 0
JOINT AND CRACK SEALING
D001 | K.16 | Joint Sealing | CW 3250-R6 | m | 100 |  | 0
D002 | K.17 | Crack Sealing | CW 3250-R6
D003 | i) | 2mm to 10mm Wide |  | m | 100 |  | 0
D004 | ii) | >10mm to 25mm Wide |  | m | 20 |  | 0
D006 | K.18 | Reflective Crack Maintenance | CW 3250-R6 | m | 100 |  | 0
| K | INTERSECTION OF WILKES AVENUE/VICTOR LEWIS DRIVE AND STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| L | MULTI-USE SIDEWALK
A004 | L.1 | Sub-Grade Compaction | CW 3110-R7 | m² | 7200 |  | 0
A007 | L.2 | Crushed Sub-base Material | CW 3110-R7
A008 | i) | 50 mm - Limestone |  | tonne | 2500 |  | 0
A010 | L.3 | Supplying and Placing Base Course Material | CW 3110-R7 | m³ | 390 |  | 0
A022 | L.4 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 7200 |  | 0
C051 | L.5 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 350 |  | 0
| L.6 | Construction of Asphaltic Concrete Sidewalk | CW 3410-R6
C056 | i) | Main Line Paving
C058 |  | a) Type IA |  | tonne | 1160 |  | 0
| L | MULTI-USE SIDEWALK |  |  |  | Subtotal: | 0
| M | LANDSCAPING
| M.1 | Supply and Installation of Nursery Sod cw 100mm Topsoil and Finish Grading | CW3510-R8 E25 | m² | 21700 |  | 0
| M.2 | Edge Sod cw 50mm Growing Medium | E23 | m² | 2750 |  | 0
| M.3 | Planting Beds and Planting Soil Mixture (300mm depth) | E25 | m² | 3730 |  | 0
| M.4 | Wood Chip Mulch (50mm) | E25 | m² | 3730 |  | 0
| M.5 | Soil Amendments for Native Seeding and Ditch Seed | E25 | m² | 14740 |  | 0
| M.6 | Erosion Control Blanket | E25 | m² | 10 |  | 0
| M.7 | Straw Wattle | E25 | lin. m. | 170 |  | 0
| M.8 | Heavy Duty Black Plastic Edging (200mm) | E25 | lin. m. | 765 |  | 0
| M.9 | Seed Mixes | CW3540-R3
| i) | Turf Grass Seed Mix (incl. Hydro Mulch) | E24 | m² | 1200 |  | 0
| ii) | Trefoil and Clover Seed Mix (incl. Hydro Mulch) | E24 | m² | 4600 |  | 0
| iii) | Ditch Seed Mix (incl. Hydro Mulch) | E24 | m² | 2750 |  | 0
| iv) | Salt-tolerant Prairie Grass Seed Mix (incl. Hydro Mulch) | E24 | m² | 6800 |  | 0
| v) | Big Bluestem Seed (incl. Hydro Mulch) | E24 | m² | 300 |  | 0
| vi) | Little Bluestem Seed Mix (incl. Hydro Mulch) | E24 | m² | 1560 |  | 0
| vii) | Wildflower and Grass Seed Mix (incl. Hydro Mulch) | E24 | m² | 1150 |  | 0
| viii) | Trefoil and Vetch Over-seed Mix | E24 | m² | 21700 |  | 0
| M.10 | Street Trees | E26/E28
| i) | Silver Maple (65mm cal.) | E26/E28 | each | 13 |  | 0
| ii) | Delta Hackberry (50mm cal.) | E26/E28 | each | 6 |  | 0
| iii) | Northern Blaze White Ash (65mm Cal.) | E26/E28 | each | 4 |  | 0
| iv) | Fallgold Ash (65mm cal.) | E26/E28 | each | 14 |  | 0
| v) | Green Ash (65mm cal.) | E26/E28 | each | 12 |  | 0
| vi) | Bergeson Ash (65mm cal.) | E26/E28 | each | 4 |  | 0
| vii) | Patmore Ash (65mm cal.) | E26/E28 | each | 4 |  | 0
| viii) | Summit Ash (65mm cal.) | E26/E28 | each | 2 |  | 0
| ix) | American Basswood (65mm cal.) | E26/E28 | each | 11 |  | 0
| x) | Little Leaf Linden (60mm cal.) | E26/E28 | each | 8 |  | 0
| xi) | Dropmore Linden (60mm cal.) | E26/E28 | each | 5 |  | 0
| xii) | Japanese Tree Lilac (50mm cal.) | E26/E28 | each | 8 |  | 0
| xiii) | American Elm (65mm cal.) | E26/E28 | each | 21 |  | 0
| xiv) | Discovery Elm (60mm cal.) | E26/E28 | each | 6 |  | 0
| M.11 | Planting Bed Trees, Shrubs and Herbaceous Material | E26/E28
| i) | Silver Maple (65mm cal.) | E26/E28 | each | 4 |  | 0
| ii) | Manitoba Maple (50mm cal.) | E26/E28 | each | 14 |  | 0
| iii) | Green Ash (65mm cal.) | E26/E28 | each | 5 |  | 0
| iv) | Butternut (50mm cal.) | E26/E28 | each | 1 |  | 0
| v) | Bur Oak (40mm cal.) | E26/E28 | each | 10 |  | 0
| vi) | Plains Cottonwood (50mm cal.) | E26/E28 | each | 1 |  | 0
| vii) | Ussurian Pear (40mm cal.) | E26/E28 | each | 2 |  | 0
| viii) | Pincherry (40mm cal.) | E26/E28 | each | 6 |  | 0
| ix) | Japanese Tree Lilac (50mm cal.) | E26/E28 | each | 3 |  | 0
| x) | American Elm (65mm cal.) | E26/E28 | each | 1 |  | 0
| xi) | Colorado Spruce (2.0 m ht.) | E26/E28 | each | 4 |  | 0
| xii) | Scots Pine (2.0 m ht.) | E26/E28 | each | 2 |  | 0
| xiii) | Amur Maple (750mm ht.) | E26/E28 | each | 17 |  | 0
| xiv) | Saskatoon (750mm ht.) | E26/E28 | each | 61 |  | 0
| xv) | Coronation Triumph Potentilla (500mm ht.) | E26/E28 | each | 36 |  | 0
| xvi) | Abbotswood Potentilla (500 mm ht.) | E26/E28 | each | 7 |  | 0
| xvii) | Jackman's Variety Potentilla (500 mm ht.) | E26/E28 | each | 55 |  | 0
| xviii) | Hansa Rose (500mm ht.) | E26/E28 | each | 42 |  | 0
| xix) | Assiniboine Rose (600mm ht.) | E26/E28 | each | 20 |  | 0
| xx) | Silver Buffaloberry (750mm ht.) | E26/E28 | each | 66 |  | 0
| xxi) | Western Snowberry (600mm ht.) | E26/E28 | each | 114 |  | 0
| xxii) | Meyer Lilac (600mm ht.) | E26/E28 | each | 14 |  | 0
| xxiii) | Charles Joli Lilac (Common Lilac) (750mm ht.) | E26/E28 | each | 22 |  | 0
| xxiv) | Royalty Lilac (750mm ht.) | E26/E28 | each | 54 |  | 0
| xxv) | Donald Wyman Lilac (750mm ht.) | E26/E28 | each | 49 |  | 0
| xxvi) | Highbush Cranberry (600mm ht.) | E26/E28 | each | 40 |  | 0
| xxvii) | Virginia Creeper (2 yr.) | E26/E28 | each | 32 |  | 0
| xxviii) | Sedum (1 yr.) | E26/E28 | each | 42 |  | 0
| xxix) | Big Bluestem (plugs) | E26/E28 | each | 180 |  | 0
| xxx) | Purple Prairie Coneflower (plugs) | E26/E28 | each | 20 |  | 0
| M.12 | Concrete Paving Stone | CW3335
| i) | 57. Barkman Concrete Roman Pavers | E30 | m² | 270 |  | 0
| M.13 | Long - Term Maintenance | E27/E29
| i) | General Plant Material and Planting Bed Maintenance | E27/E29 | annual | 2 |  | 0
| ii) | General Sod Maintenance | E27/E29 | annual | 2 |  | 0
| iii) | General Maintenance of Seeded Turf Grass Areas (including Ditch Seed Mix) | E27/E29 | annual | 2 |  | 0
| iv) | General Maintenance of Native Grass and Wildflower Areas | E27/E29 | annual | 2 |  | 0
| v) | General Maintenance of Trefoil and Clover Areas | E27/E29 | annual | 2 |  | 0
| vi) | General Cleanup Operations | E27 | annual | 2 |  | 0
| vii) | Annual Spring Cleanup of Landscaped Areas (including Salt and Sand Removal) | E27 | annual | 2 |  | 0
| M | LANDSCAPING |  |  |  | Subtotal: | 0
| N | ELECTRICAL WORKS
EARTH AND BASE WORKS
| N.1 | Removal of Light Standards | E22 | each | 6 |  | 0
| N.2 | Removal of Outdoor Car Block heater Receptacles and Wooden Parts | E22 | each | 18 |  | 0
| N.3 | Removal of outdoor Power Transformer | E22 | each | 1 |  | 0
| N.4 | Outdoor Wall Mounted Lighting Fixture | E22 | each | 8 |  | 0
| N.5 | Circuit Breakers and Wiring for Building P1 Light Fixtures | E22 | each | 1 |  | 0
| N.6 | Circuit Breakers and Wiring for Building C4 Light Fixtures | E22 | each | 1 |  | 0
| N.7 | Underground Trenching and Cabling to Existing Light Standards Adjacent to Building C4 | E22 | each | 1 |  | 0
| N | ELECTRICAL WORKS |  |  |  | Subtotal: | 0
SUMMARY
| A | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - CPR LA RIVIERE TO VICTOR LEWIS DRIVE |  |  |  | Subtotal: | 0
| B | LAND DRAINAGE SEWERS - STERLING LYON PARKWAY (EAST) - KENASTON BOULEVARD TO CPR LA RIVIERE |  |  |  | Subtotal: | 0
| C | LAND DRAINAGE SEWERS - PATRICK WAY |  |  |  | Subtotal: | 0
| D | FORCEMAIN AND LAND DRAINAGE SEWERS - KENASTON BOULEVARD |  |  |  | Subtotal: | 0
| E | MISCELLANEOUS MUNICIPAL SERVICES |  |  |  | Subtotal: | 0
| F | DND UTILITY RELOCATIONS |  |  |  | Subtotal: | 0
| G | DITCHING ON WILKES - KENASTON BOULEVARD TO CPR LA RIVIERE |  |  |  | Subtotal: | 0
| H | PROVISIONAL ITEMS |  |  |  | Subtotal: | 0
| I | STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| J | INTERSECTION OF KENASTON BOULEVARD AND STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| K | INTERSECTION OF WILKES AVENUE/VICTOR LEWIS DRIVE AND STERLING LYON PARKWAY EAST |  |  |  | Subtotal: | 0
| L | MULTI-USE SIDEWALK |  |  |  | Subtotal: | 0
| M | LANDSCAPING |  |  |  | Subtotal: | 0
| N | ELECTRICAL WORKS |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
(in words) _______________________________________________________________________________________________
_____________________________________________________________________________________________