## Bid Opportunity No. 23-2006
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | Construction of a new Portland Concrete Pavement on Kenaston Boulevard from Kenaston Intermodal Ltd. Access to Taylor Avenue
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R8, E18 | m³ | 108000 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 13000 |  | 0
A005 | A.3 | Placing Suitable Site Sub-base Material | CW 3110-R8 | m³ | 150 |  | 0
A007 | A.4 | Crushed Sub-base Material | CW 3110-R8
A008 | i) | 50 mm - Limestone |  | tonne | 5500 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 21500 |  | 0
| A.5 | Place Reclaimed Ballast Material | E27 | m³ | 1300 |  | 0
A010 | A.6 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 1100 |  | 0
A012 | A.7 | Grading of Boulevards | CW 3110-R8 | m² | 25000 |  | 0
A013 | A.8 | Ditch Grading | CW 3110-R8 | m² | 9000 |  | 0
A014 | A.9 | Boulevard Excavation | CW 3110-R8 | m³ | 5500 |  | 0
A015 | A.10 | Ditch Excavation | CW 3110-R8 | m³ | 1500 |  | 0
A016 | A.11 | Removal of Existing Concrete Bases | CW 3110-R8
A017 | i) | 600mm Diameter or Less |  | each | 28 |  | 0
A022 | A.12 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 13000 |  | 0
ROADWORKS - RENEWALS
B001 | A.13 | Pavement Removal | CW 3110-R8
B002 | i) | Concrete Pavement |  | m² | 4900 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 6550 |  | 0
B094 | A.14 | Drilled Dowels | CW 3230-R5
B096 | i) | 28.6 mm Diameter |  | each | 50 |  | 0
B097 | A.15 | Drilled Tie Bars | CW 3230-R5
B099 | i) | 25 M Deformed Tie Bar |  | each | 200 |  | 0
B126 | A.16 | Concrete Curb Removal | CW 3240-R6
B127 | i) | Barrier Separate |  | m | 50 |  | 0
B135 | A.17 | Concrete Curb Installation | CW 3240-R6
B139 | i) | Modified Barrier (180mm ht, Dowelled) | SD-203B | m | 95 |  | 0
| A.18 | Remove Temporary Asphalt and Base on Exisiting Concerete | E19 | m² | 2300 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R10
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 11020 |  | 0
C014 | ii) | Construction of Concrete Median Slabs | SD-227A | m² | 565 |  | 0
C015 | iii) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 30 |  | 0
C019 | A.20 | Concrete Pavements for Early Opening | CW 3310-R10
C022 | i) | Construction of 250 mm Concrete Pavement for Early Opening 72 hour (Plain-Dowelled) Slip Form Paving |  | m² | 250 |  | 0
C022 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 24 hour (Plain-Dowelled) Slip Form Paving |  | m² | 150 |  | 0
C032 | A.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R10
C042 | i) | Construction of Mountable Curb 120 mm (Integral) | SD-201 | m | 550 |  | 0
C048 | ii) | Construction of Splash Strip (180mm ht, Barrier Curb, Integral, 600mm width) Slip Form Paving | SD-227B | m | 2230 |  | 0
C049 | iii) | Construction of Splash Strip (180mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 10 |  | 0
C050 | A.22 | Supply and Installation of Dowel Assemblies | CW 3310-R10 | m | 2300 |  | 0
C050 | A.23 | Supply and Installation of Dowel Assemblies (Skewed) | CW 3310-R10 | m | 120 |  | 0
E051 | A.24 | Installation of Subdrains | CW 3120-R1 | m | 805 |  | 0
MISCELLANEOUS
H007 | A.25 | Chain Link Fence | CW 3550-R2
H008 | i) | 1.83m Height |  | m | 160 |  | 0
H007 | A.26 | Chain Link Fence (Install post in concrete) | E20
H008 | i) | 1.83m Height |  | m | 90 |  | 0
H011 | A.27 | Remove and Reinstall Gates | E20 | m | 10 |  | 0
| A.28 | Remove and Salvage Chain Link Fence | E20 | m | 1750 |  | 0
| A.29 | Install Salvaged Chain Link Fence | E20 | m | 1750 |  | 0
| A.30 | Traffic Diversion | E7 | l.s. | 2 |  | 0
| A | Construction of a new Portland Concrete Pavement on Kenaston Boulevard from Kenaston Intermodal Ltd. Access to Taylor Avenue |  |  |  | Subtotal: | 0
| B | Construction of Intersection Improvements at Kenaston Boulevard and Taylor Avenue
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R8 | m³ | 3900 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 3800 |  | 0
A007 | B.3 | Crushed Sub-base Material | CW 3110-R8
A008 | i) | 50 mm - Limestone |  | tonne | 1400 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 5200 |  | 0
| B.4 | Place Reclaimed Sub-base Material | E27
| i) | 50 mm - Limestone |  | m³ | 200 |  | 0
| ii) | 150 mm - Limestone |  | m³ | 1000 |  | 0
A010 | B.5 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 330 |  | 0
A016 | B.6 | Removal of Existing Concrete Bases | CW 3110-R8
A017 | i) | 600mm Diameter or Less |  | each | 4 |  | 0
A022 | B.7 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 3800 |  | 0
ROADWORKS - RENEWALS
B001 | B.8 | Pavement Removal | CW 3110-R8
B002 | i) | Concrete Pavement |  | m² | 1760 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 175 |  | 0
B094 | B.9 | Drilled Dowels | CW 3230-R5
B095 | i) | 19.1 mm Diameter |  | each | 30 |  | 0
B097 | B.10 | Drilled Tie Bars | CW 3230-R5
B098 | i) | 20 M Deformed Tie Bar |  | each | 30 |  | 0
B154 | B.11 | Concrete Curb Renewal | CW 3240-R6
B155 | i) | Barrier (180mm ht, Dowelled) | SD-205, SD206A
B156 |  | a) Less than 3 m |  | m | 6 |  | 0
B157 |  | b) 3 m to 30 m |  | m | 30 |  | 0
B190 | B.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R7
B191 | i) | Main Line Paving
B193 |  | a) Type IA |  | tonne | 380 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 20 |  | 0
B200 | B.13 | Planing of Pavement | CW 3450-R4
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 1500 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 200 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R10
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 1865 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 785 |  | 0
C015 | iii) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 20 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 10 |  | 0
C019 | B.15 | Concrete Pavements for Early Opening | CW 3310-R10
C020 | i) | Construction of 250 mm Concrete Pavement for Early Opening 24 hour |  | m² | 250 |  | 0
C020 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 72 hour |  | m² | 350 |  | 0
C025 | iii) | Construction of 230 mm Concrete Pavement for Early Opening 24 hour (Plain-Dowelled) |  | m² | 50 |  | 0
C025 | iv) | Construction of 230 mm Concrete Pavement for Early Opening 72 hour (Plain-Dowelled) |  | m² | 150 |  | 0
C032 | B.16 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R10
C034 | i) | Construction of Barrier (180 mm ht, Separate) | SD-203A | m | 110 |  | 0
C036 | ii) | Construction of Modified Barrier (180mm ht, Dowelled) | SD-203B | m | 115 |  | 0
C038 | iii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600mm width, 150mm Plain Concrete Pavement) | SD-200 | m | 120 |  | 0
C046 | iv) | Construction of Curb Ramp (10mm ht, type) | SD-229E | m | 55 |  | 0
C048 | v) | Construction of Splash Strip (180mm ht, Barrier Curb, Integral, 600mm width) | SD-227B | m | 140 |  | 0
C049 | vi) | Construction of Splash Strip (180mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 120 |  | 0
C050 | B.17 | Supply and Installation of Dowel Assemblies | CW 3310-R10 | m | 650 |  | 0
C051 | B.18 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 110 |  | 0
C055 | B.19 | Construction of Asphaltic Concrete Pavements | CW 3410-R7
C056 | i) | Main Line Paving
C058 |  | a) Type IA |  | tonne | 100 |  | 0
C063 | B.20 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R7 | tonne | 100 |  | 0
E051 | B.21 | Installation of Subdrains | CW 3120-R1 | m | 50 |  | 0
JOINT AND CRACK SEALING
D006 | B.22 | Reflective Crack Maintenance | CW 3250-R6 | m | 100 |  | 0
| B | Construction of Intersection Improvements at Kenaston Boulevard and Taylor Avenue |  |  |  | Subtotal: | 0
| C | Construction of a new Portland Concrete Pavement and Asphalt Resurfacing on Kenaston Boulevard from Taylor Avenue to North Limit of Contract at Kenaston Boulevard
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R8 | m³ | 650 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 940 |  | 0
A007 | C.3 | Crushed Sub-base Material | CW 3110-R8
A008 | i) | 50 mm - Limestone |  | tonne | 550 |  | 0
| C.4 | Place Reclaimed Sub-base Material | E27
| i) | 50 mm - Limestone |  | m³ | 100 |  | 0
A010 | C.5 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 100 |  | 0
A012 | C.6 | Grading of Boulevards | CW 3110-R8 | m² | 2760 |  | 0
A022 | C.7 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 940 |  | 0
|  | ROADWORKS - RENEWALS |  |  |  | 0
B001 | C.8 | Pavement Removal | CW 3110-R8 |  |  | 0
B002 | i) | Concrete Pavement |  | m² | 85 |  | 0
B094 | C.9 | Drilled Dowels | CW 3230-R5
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 100 |  | 0
B097 | C.10 | Drilled Tie Bars | CW 3230-R5
B098 | i) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 300 |  | 0
B100 | C.11 | Miscellaneous Concrete Slab Removal | CW 3235-R6
B102 | i) | Monolithic Median Slab |  | m² | 145 |  | 0
B104 | ii) | Sidewalk |  | m² | 490 |  | 0
B107 | C.12 | Miscellaneous Concrete Slab Installation | CW 3235-R6
B109 | i) | Monolithic Median Slab | SD-226A | m² | 110 |  | 0
B112 | ii) | Bullnose | SD-227C | m² | 10 |  | 0
B114 | C.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R6
B118 | i) | Sidewalk | SD-228A
B119 |  | a) Less than 5 sq.m. |  | m² | 10 |  | 0
B120 |  | b) 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B121 |  | c) Greater than 20 sq.m. |  | m² | 75 |  | 0
B126 | C.14 | Concrete Curb Removal | CW 3240-R6
B127 | i) | Barrier (180 mm, Separate) |  | m | 30 |  | 0
B135 | C.15 | Concrete Curb Installation | CW 3240-R6
B136 | i) | Barrier (180mm ht, Dowelled) | SD-205 | m | 20 |  | 0
B137 | ii) | Barrier (180mm ht, Separate) | SD-203A | m | 20 |  | 0
B139 | iii) | Modified Barrier (180mm ht, Dowelled) | SD-203B | m | 10 |  | 0
B150 | iv) | Curb Ramp (10mm ht, type) | SD-229A,B,C | m | 10 |  | 0
B152 | v) | Splash Strip (180mm ht, Barrier Curb, Integral, 600mm width) Slip Form Paving | SD-227B | m | 205 |  | 0
B153 | vi) | Splash Strip (180mm ht, Modified Barrier Curb, Integral, 600mm width) | SD-227B SD-203B | m | 10 |  | 0
B154 | C.16 | Concrete Curb Renewal | CW 3240-R6
B155 | i) | Barrier (180 mm ht, Dowelled) | SD-205, SD206A
B156 |  | a) Less than 3 m |  | m | 5 |  | 0
B157 |  | b) 3 m to 30 m |  | m | 60 |  | 0
B158 |  | c) Greater than 30 m |  | m | 35 |  | 0
B190 | C.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R7
B191 | i) | Main Line Paving
B193 |  | a) Type IA |  | tonne | 450 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 |  | a) Type IA |  | tonne | 10 |  | 0
B200 | C.18 | Planing of Pavement | CW 3450-R4
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 1500 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 200 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R10
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 850 |  | 0
C015 | ii) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 110 |  | 0
C017 | iii) | Construction of Monolithic Curb and Sidewalk | SD-228B | m² | 20 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 10 |  | 0
C032 | C.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R10
C033 | i) | Construction of Barrier (180mm ht, Dowelled) | SD-205 | m | 45 |  | 0
C046 | ii) | Construction of Curb Ramp (10mm ht, type) | SD-229E | m | 15 |  | 0
C048 | iii) | Construction of Splash Strip (180mm ht, Barrier Curb, Integral, 600mm width) Slip Form (for Asphalt Overlay) | SD-227B | m | 180 |  | 0
C050 | C.21 | Supply and Installation of Dowel Assemblies | CW 3310-R10 | m | 180 |  | 0
C051 | C.22 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 420 |  | 0
E051 | C.23 | Installation of Subdrains | CW 3120-R1 | m | 80 |  | 0
MISCELLANEOUS
| C.24 | Tree Removal | CW 3010-R4, E57 | each | 4 |  | 0
| C | Construction of a new Portland Concrete Pavement and Asphalt Resurfacing on Kenaston Boulevard from Taylor Avenue to North Limit of Contract at Kenaston Boulevard |  |  |  | Subtotal: | 0
| D | Construction of Multi-use Sidewalk on Kenaston Boulevard from Sterling Lyon Parkway to Taylor Avenue
MULTI-USE SIDEWALK
A004 | D.1 | Sub-Grade Compaction | CW 3110-R8 | m² | 4100 |  | 0
A007 | D.2 | Crushed Sub-base Material | CW 3110-R8
A008 | i) | 50 mm - Limestone |  | tonne | 750 |  | 0
| D.3 | Place Reclaimed Sub-base Material | E27
| i) | 50 mm - Limestone |  | m³ | 350 |  | 0
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 350 |  | 0
A022 | D.5 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 4100 |  | 0
C051 | D.6 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 30 |  | 0
C055 | D.7 | Construction of Asphaltic Concrete Pavements | CW 3410-R7 |  |  | 0
C056 | i) | Main Line Paving |  |  |  | 0
C058 |  | a) Type IA |  | tonne | 670 |  | 0
D006 | D.8 | Reflective Crack Maintenance | CW 3250-R6 | m | 50 |  | 0
E052 | D.9 | Corrugated Steel Pipe - Supply | CW 3610-R3
E053 | i) | (300 mm, 2 mm gauge) |  | m | 10 |  | 0
E057 | D.10 | Corrugated Steel Pipe - Install | CW 3610-R3
E058 | i) | (300 mm, 2 mm gauge) |  | m | 10 |  | 0
| D | Construction of Multi-use Sidewalk on Kenaston Boulevard from Sterling Lyon Parkway to Taylor Avenue |  |  |  | Subtotal: | 0
| E | Construction of Ramp to Wilkes Avenue from Kenaston Boulevard
EARTH AND BASE WORKS
A003 | E.1 | Excavation | CW 3110-R8 | m³ | 3470 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 1970 |  | 0
A007 | E.3 | Crushed Sub-base Material | CW 3110-R8
A008 | i) | 50 mm - Limestone |  | tonne | 320 |  | 0
A009 | ii) | 150 mm -Limestone |  | tonne | 950 |  | 0
| E.4 | Place Reclaimed Sub-base Material | E27
| i) | 50 mm - Limestone |  | m³ | 300 |  | 0
| ii) | 150 mm -Limestone |  | m³ | 900 |  | 0
A010 | E.5 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 230 |  | 0
A012 | E.6 | Grading of Boulevards | CW 3110-R8 | m² | 2650 |  | 0
A013 | E.7 | Ditch Grading | CW 3110-R8 | m² | 3520 |  | 0
A014 | E.8 | Boulevard Excavation | CW 3110-R8 | m³ | 400 |  | 0
A015 | E.9 | Ditch Excavation | CW 3110-R8 | m³ | 350 |  | 0
A022 | E.10 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 2570 |  | 0
|  | ROADWORKS - NEW CONSTRUCTION |  |  |  | 0
C032 | E.11 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R10 |  |  | 0
C038 | i) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600mm width, 150mm Plain Concrete Pavement) Slip Form Paving | SD-200 | m | 620 |  | 0
C055 | E.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R7
C056 | i) | Main Line Paving
C058 |  | a) Type IA |  | tonne | 325 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 |  | a) Type IA |  | tonne | 10 |  | 0
C063 | E.13 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R7 | tonne | 275 |  | 0
E051 | E.14 | Installation of Subdrains | CW 3120-R1 | m | 270 |  | 0
JOINT AND CRACK SEALING
D006 | E.15 | Reflective Crack Maintenance | CW 3250-R6 | m | 50 |  | 0
| E | Construction of Ramp to Wilkes Avenue from Kenaston Boulevard |  |  |  | Subtotal: | 0
| F | Construction of Lorimer Boulevard from Sterling Lyon Parkway to Wilkes Avenue
EARTH AND BASE WORKS
A003 | F.1 | Excavation | CW 3110-R8 | m³ | 4450 |  | 0
A004 | F.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 5100 |  | 0
A005 | F.3 | Placing Suitable Site Sub-base Material | CW 3110-R8 | m³ | 970 |  | 0
A007 | F.4 | Place Reclaimed Sub-base Material | E27
A008 | i) | 50 mm - Limestone |  | m³ | 770 |  | 0
A009 | ii) | 150 mm - Limestone |  | m³ | 2300 |  | 0
A010 | F.5 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 400 |  | 0
A012 | F.6 | Grading of Boulevards | CW 3110-R8 | m² | 5277 |  | 0
A013 | F.7 | Ditch Grading | CW 3110-R8 | m² | 800 |  | 0
A014 | F.8 | Boulevard Excavation | CW 3110-R8 | m³ | 100 |  | 0
A015 | F.9 | Ditch Excavation | CW 3110-R8 | m³ | 120 |  | 0
A022 | F.10 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 5100 |  | 0
|  | ROADWORKS - RENEWALS |  |  |  | 0
B190 | F.11 | Construction of Asphaltic Concrete Overlay | CW 3410-R7 |  |  | 0
B194 | i) | Tie-ins and Approaches |  |  |  | 0
B195 |  | a) Type IA |  | tonne | 26 |  | 0
B200 | F.12 | Planing of Pavement | CW 3450-R4
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 210 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | F.13 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R10
C008 | i) | Construction of 200 mm Concrete Pavement (Reinforced) Slip Form Paving |  | m² | 1250 |  | 0
C010 | ii) | Construction of 200 mm Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 1500 |  | 0
C032 | F.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R10
C037 | i) | Construction of Modified Barrier (180mm ht, Integral) | SD-203B | m | 550 |  | 0
C038 | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600mm width, 150mm Plain Concrete Pavement) Slip Form Paving | SD-200 | m | 280 |  | 0
C050 | F.15 | Supply and Installation of Dowel Assemblies | CW 3310-R10 | m | 310 |  | 0
C055 | F.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R7
C056 | i) | Main Line Paving
C058 |  | a) Type IA |  | tonne | 220 |  | 0
C063 | F.17 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R7 | tonne | 330 |  | 0
E051 | F.18 | Installation of Subdrains | CW 3120-R1 | m | 870 |  | 0
JOINT AND CRACK SEALING
D006 | F.19 | Reflective Crack Maintenance | CW 3250-R6 | m | 100 |  | 0
| F | Construction of Lorimer Boulevard from Sterling Lyon Parkway to Wilkes Avenue |  |  |  | Subtotal: | 0
| G | Decommissioning of Kenaston Boulevard Detour
EARTH AND BASE WORKS
A003 | G.1 | Excavation | CW 3110-R8, E18 | m³ | 4000 |  | 0
A012 | G.2 | Grading of Boulevards | CW 3110-R8 | m² | 9000 |  | 0
A013 | G.3 | Ditch Grading | CW 3110-R8 | m² | 1800 |  | 0
ROADWORKS - RENEWALS
B001 | G.4 | Pavement Removal | CW 3110-R8
B003 | i) | Asphalt Pavement |  | m² | 10700 |  | 0
MISCELLANEOUS
H020 | G.5 | Salvaging Existing Barrier Rail | CW 3650-R4 | m | 110.7 |  | 0
H021 | G.6 | Salvaging Existing Barrier Posts | CW 3650-R4 | each | 20 |  | 0
| G.7 | Remove "Energite" Barrels | E21
| i) | 640 kg barrel |  | each | 6 |  | 0
| ii) | 320 kg barrel |  | each | 3 |  | 0
| iii) | 180 kg barrel |  | each | 1 |  | 0
| iv) | 90 kg barrel |  | each | 2 |  | 0
| G.8 | Remove Pre-cast Concrete Barriers, and Aluminum Balanced Barrier | E25 | m | 550 |  | 0
| G.9 | Reinstallation of " Quadguard System" Crash Cushions | E24 | each | 2 |  | 0
| G.10 | Removal of "Quadguard System" Crash Cushions | E23 | each | 1 |  | 0
| G | Decommissioning of Kenaston Boulevard Detour |  |  |  | Subtotal: | 0
| H | Decommissioning of CN Rivers Subdivision Rail Mainline Detour
|  | EARTH AND BASE WORKS |  |  |  | 0
A003 | H.1 | Excavation | CW 3110-R8, E18 | m³ | 1950 |  | 0
A012 | H.2 | Grading of Boulevards | CW 3110-R8 | m² | 7800 |  | 0
LANDSCAPING
G004 | H.4 | Seeding | CW 3520-R6 | m² | 6500 |  | 0
| H | Decommissioning of CN Rivers Subdivision Rail Mainline Detour |  |  |  | Subtotal: | 0
| I | DND Restoration
A003 | I.1 | Excavation | CW 3110-R8 | m³ | 1300 |  | 0
A004 | I.2 | Sub-Grade Compaction | CW 3110-R8 | m² | 850 |  | 0
| I.3 | Reclaim Existing Sub-base Material | E27
A008 | i) | 50 mm - Limestone |  | m³ | 200 |  | 0
A010 | I.4 | Supplying and Placing Base Course Material | CW 3110-R8 | m³ | 65 |  | 0
A012 | I.5 | Grading of Boulevards | CW 3110-R8 | m² | 2500 |  | 0
A022 | I.6 | Separation/Reinforcement Geotextile Fabric | CW 3130-R1 | m² | 850 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | I.7 | Pavement Removal | CW 3110-R8
B002 | i) | Concrete Pavement |  | m² | 2010 |  | 0
B126 | I.8 | Concrete Curb Removal | CW 3240-R6
B127 | i) | Barrier 180mm, Separate |  | m | 100 |  | 0
B135 | I.9 | Concrete Curb Installation | CW 3240-R6
B136 | i) | Barrier (180mm ht, Dowelled) | SD-205 | m | 30 |  | 0
| I.10 | Patching of Existing Pavement | E26 | m² | 200 |  | 0
C051 | I.11 | 100 mm Concrete Sidewalk | CW 3325-R2 | m² | 70 |  | 0
C055 | I.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R7
C056 | i) | Main Line Paving
C058 |  | a) Type IA |  | tonne | 300 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 |  | a) Type IA |  | tonne | 10 |  | 0
LANDSCAPING
G001 | I.13 | Sodding | CW 3510-R8, E48
G002 | i) | width < 600mm |  | m² | 250 |  | 0
G003 | ii) | width > or = 600mm |  | m² | 2250 |  | 0
MISCELLANEOUS
| I.14 | Demolition of Guardhouse and Gate (6m x 6m) | E58 | l.s. | 1 |  | 0
| I | DND Restoration |  |  |  | Subtotal: | 0
| J | Bridge Works
| J.1 | Structural Concrete for Slope Paving, F-Shape Traffic Barrier, and Quadguard Base | E41
| i) | Slope Paving |  | l.s | 1 |  | 0
| ii) | F-Shape Traffic Barrier |  | l.s. | 1 |  | 0
| iii) | Quad Guard Crash Unit Slab |  | l.s. | 1 |  | 0
| J.2 | Reinforcing Steel for Slope Paving, F-Shape Traffic Barrier, and Quadguard Base | E42 | kg | 13375 |  | 0
| J.3 | Modular Block Retaining Wall | E43 | l.s | 1 |  | 0
| J.4 | Timber Bumper Fence and Curb | E44 | l.s. | 1 |  | 0
| J.5 | Electrical Scope of Work | E45 | l.s. | 1 |  | 0
| J | Bridge Works |  |  |  | Subtotal: | 0
| K | Land Drainage Sewers - Kenaston Boulevard
GRAVITY SEWERS AND RELATED WORKS
| K.1 | Gravity Sewers | E34
| i) | 750mm C76-V
|  | a) in a trench, Class B bedding, Class 3 Backfill, 0-4m deep |  | m | 3 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 36.6 |  | 0
| ii) | 750mm C76-III
|  | a) in a trench, Class B bedding, Class 3 Backfill, 0-4m deep |  | m | 50 |  | 0
| iii) | 600mm C76-III
|  | a) in a trench, class B bedding, Class 5 Backfill |  | m | 35.6 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 39 |  | 0
| iv) | 450mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 134.6 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 12 |  | 0
| v) | 375mm C76-III
|  | a) in a trench, Class B bedding, Class 3 Backfill |  | m | 12 |  | 0
|  | b) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 12 |  | 0
| vi) | 375mm C14-3
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 74 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 6 |  | 0
| K.2 | Sewer Services | CW 2130-R9
| i) | 300mm C76-III
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 62 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 40 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 215 |  | 0
| ii) | 250mm PVC SDR35
|  | a) in a trench, Class B bedding, Class 5 Backfill |  | m | 22 |  | 0
|  | b) in a trench, Class B bedding, Class 3 Backfill |  | m | 10.5 |  | 0
|  | c) trenchless installation, Class B bedding, Class 3 Backfill |  | m | 91.5 |  | 0
| K.3 | Manholes | CW 2130-R9
| i) | SD-010
|  | a) 1200mm Base |  | v.m | 9.2 |  | 0
|  | b) 1350mm Base |  | v.m | 2.7 |  | 0
E003 | K.4 | Catch Basin | CW 2130-R9
E004 | i) | SD-024 |  | each | 27 |  | 0
| ii) | SD-025 c/w ditch inlet grates | E38 | each | 9 |  | 0
E006 | K.5 | Catch Pit | CW 2130-R9
E007 | i) | SD-023 |  | each | 24 |  | 0
| K.6 | Supply and Install Pre-cast Sag Inlet Structure | E36 | each | 2 |  | 0
| K.7 | Supply and Install Grit Chamber (2100mm base) | E37 | each | 1 |  | 0
E036 | K.8 | Connecting to Existing Sewer | CW 2130-R9
|  | 750mm LDS Connecting Pipe to 750mm LDS Sewer |  | each | 1 |  | 0
E012 | K.9 | Drainage Connection Pipe (150 mm diameter)
|  | a) 250 mm diameter PVC SDR35 | CW 2130-R9 | m | 81.5 |  | 0
| K.10 | Bridge Drain Connection Pipe | E39
|  | a) 150mm PVC SDR35 - in a trench, Class B bedding, Class 5 Backfill |  | m | 34 |  | 0
| K.11 | Valve Pit Drain Pipe | E40
|  | a) 150mm PVC SDR35 - trenchless installation, Class B bedding, Class 3 Backfill |  | m | 32 |  | 0
E023 | K.12 | Replacing Standard Frames & Covers | CW 2130-R9
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E026 | ii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E036 | K.13 | Connecting to Existing Sewer | CW 2130-R9
E037 | i) | 250mm Sewer Service to 375 mm LDS of Sewer |  | each | 2 |  | 0
| ii) | 300mm Sewer Service to 375 mm LDS of Sewer |  | each | 3 |  | 0
| iii) | 250mm Sewer Service to 600 mm CS of Sewer |  | each | 3 |  | 0
| iv) | 300mm Sewer Service to 600 mm CS of Sewer |  | each | 1 |  | 0
| v) | 250mm Sewer Service to 1200 mm CS of Sewer |  | each | 2 |  | 0
E032 | K.14 | Connecting to Existing Manhole | CW 2130-R9
E033 | i) | 250mm |  | each | 2 |  | 0
| ii) | 300mm |  | each | 1 |  | 0
| K.15 | Concrete Pipe 3 Edge Bearing Test | CW 2130-R9
| i) | 750mm C76-V |  | each | 1 |  | 0
| ii) | 750mm C76-III |  | each | 1 |  | 0
| iii) | 600mm C76-III |  | each | 1 |  | 0
| iv) | 450mm C76-III |  | each | 1 |  | 0
H013 | K.16 | Grouted Stone RipRap | CW 3615-R2 | m³ | 24.3 |  | 0
| K.17 | Televised Sewer Inspection | CW 2145-R2
| i) | Land Drainage Sewers
|  | a) 375mm |  | m | 104 |  | 0
|  | b) 450mm |  | m | 146.5 |  | 0
|  | c) 600mm |  | m | 74.5 |  | 0
|  | d) 750mm |  | m | 84.5 |  | 0
| K | Land Drainage Sewers - Kenaston Boulevard |  |  |  | Subtotal: | 0
| L | Decomissioning Existing Underground Works - Kenaston Boulevard
| L.1 | Removal of Existing Manhole | CW 2130-R9 | each | 4 |  | 0
E046 | L.2 | Removal of Existing Catchbasins | CW 2130-R9 | each | 23 |  | 0
| L.3 | Removal of Existing Drainage Inlets | CW 2130-R9 | each | 6 |  | 0
| L.4 | Plugging Existing Sewer Services Smaller than 300mm | CW 2130-R9, E35
| i) | 200mm |  | each | 10 |  | 0
E003 | ii) | 250mm |  | each | 11 |  | 0
| L.5 | Abandoning Existing Sewers with Cement-Stabilized Flowable Fill | CW 2130-R9 | m³ | 5.5 |  | 0
| L.6 | Removal of Existing 600 AC Feedermain | E35 | m | 86 |  | 0
| L.7 | Removal of Existing 900 AC Feedermain | E35 | m | 126 |  | 0
| L.8 | Removal of Existing 300 AC Watermain | E35 | m | 126 |  | 0
| L.9 | Removal of Existing Valve Chambers | E35 | each | 2 |  | 0
| L.10 | Removal of Existing Hydrant Assemblies | E35 | each | 3 |  | 0
| L.11 | Removal of Abandoned 350 Gas Lines | E35 | m | 450 |  | 0
| L | Decomissioning Existing Underground Works - Kenaston Boulevard |  |  |  | Subtotal: | 0
| M | Land Drainage Sewers - Lorimer Boulevard
| M.1 | Sewer Services | CW 2130-R9
| i) | 300mm C14-3
|  | a) in a trench, class B bedding, Class 2 Backfill |  | m | 15 |  | 0
| ii) | 250mm SDR-35
|  | a) in a trench, class B bedding, Class 4 Backfill |  | m | 15 |  | 0
E003 | M.2 | Catch Basin | CW 2130-R9
E004 | i) | SD-024 |  | each | 4 |  | 0
E006 | M.3 | Catch Pit | CW 2130-R9
E007 | i) | SD-023 |  | each | 2 |  | 0
E012 | M.4 | Drainage Connection Pipe | CW 2130-R9
|  | a) 250 mm diameter PVC SDR35 |  | m | 4 |  | 0
| M.5 | Connecting New Sewer Services to Existing Sewer Services | CW 2130-R9 | each | 4 |  | 0
| M | Land Drainage Sewers - Lorimer Boulevard |  |  |  | Subtotal: | 0
| N | Ditching on Wilkes and CN Rivers North - West of Kenaston Boulevard
A013 | N.1 | Ditch Grading | CW 3110-R8 | m² | 6285 |  | 0
A015 | N.2 | Ditch Excavation | CW 3110-R8 | m³ | 960 |  | 0
| N.3 | Ditch Seed Mix (incl. Hydro Mulch) | CW3540-R3, E49 | m² | 8415 |  | 0
| N | Ditching on Wilkes and CN Rivers North - West of Kenaston Boulevard |  |  |  | Subtotal: | 0
| O | Underground Works Provisional Items
| O.1 | Removal of Existing Culverts | E22 | each | 3 |  | 0
| O.2 | Curb Stop Boxes-Replace Existing | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
| O.3 | Curb Stops-Replace Existing | CW 2110-R8
| i) | 50mm |  | each | 1 |  | 0
E017 | O.4 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R9
E018 | i) | 1200mm
E019 |  | a) Class 3 Backfill |  | each | 1 |  | 0
E018 | ii) | 600mm
E019 |  | a) Class 3 Backfill |  | each | 1 |  | 0
| O.5 | Regrading of Existing Sewer Service - Up to 1.5m Long | CW 2110-R8
| i) | in a trench,Class B sand bedding, Class 3 Backfill
|  | a) 150mm |  | each | 1 |  | 0
|  | b) 200mm |  | each | 1 |  | 0
| O.6 | Regrading of Existing Sewer Service - Longer Than 1.5m | CW 2110-R8
| i) | 150mm
|  | a) in a trench,Class B sand bedding, Class 3 Backfill |  | m | 10 |  | 0
| ii) | 200mm
|  | a) in a trench,Class B sand bedding, Class 3 Backfill |  | m | 10 |  | 0
E023 | O.7 | Replacing Standard Frames & Covers | CW 2130-R9
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
F001 | O.8 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R6 | each | 5 |  | 0
F003 | O.9 | Lifter Rings | CW 3210-R6
F004 | i) | 38mm |  | each | 4 |  | 0
F005 | ii) | 51mm |  | each | 1 |  | 0
F006 | iii) | 64mm |  | each | 1 |  | 0
| O | Underground Works Provisional Items |  |  |  | Subtotal: | 0
| P | Landscaping
| P.1 | Supply and Installation of Nursery Sod cw Topsoil and Finish Grading (+600mm) | CW3510-R8, E48 | m² | 5640 |  | 0
| P.2 | Supply and Installation of Nursery Sod (less than 600mm - no topsoil) | E48 | m² | 3145 |  | 0
| P.3 | Touch-up Grading | CW 3170-R3 | m² | 45215 |  | 0
| P.4 | Imported Topsoil for Ditch Seed Mix | CW 3540-R4, E49 | m³ | 1095 |  | 0
| P.5 | Soil Amendments (for Native Seed Mixes) | E49 | m² | 17700 |  | 0
| P.6 | Planting Beds and Planting Soil Mixture (300mm compacted depth) | CW 3540-R4 | m² | 3375 |  | 0
| P.7 | Wood Chip Mulch (50mm) | E50 | m² | 3375 |  | 0
| P.8 | Erosion Control Blanket | E50 | m² | 20 |  | 0
| P.9 | Straw Wattle | E50 | l.m. | 100 |  | 0
| P.10 | Black Plastic Edging | E50 | l.m. | 1225 |  | 0
| P.11 | Chemical Application | E50 | m² | 20 |  | 0
SEED MIXES
| P.12 | Ditch Seed Mix (incl. Hydro Mulch) | CW3540-R3, E49 | m² | 20295 |  | 0
| P.13 | Salt-tolerant Prairie Grass Seed Mix (incl. Hydro Mulch) | E49 | m² | 9775 |  | 0
| P.14 | Wildflower and Grass Seed Mix (incl. Hydro Mulch) | E49 | m² | 6360 |  | 0
| P.15 | Trefoil and Vetch Over-seed Mix | E49 | m² | 8785 |  | 0
TREES, SHRUBS AND VINES
| P.16 | Manitoba Maple (50mm cal.) | E51/E53 | each | 6 |  | 0
| P.17 | Green Ash (65mm cal.) | E51/E53 | each | 4 |  | 0
| P.18 | 18. Plains Cottonwood (50mm cal.) | E51/E53 | each | 1 |  | 0
| P.19 | Pincherry (40mm cal.) | E51/E53 | each | 5 |  | 0
| P.20 | Bur Oak (40mm cal.) | E51/E53 | each | 7 |  | 0
| P.21 | American Elm (65mm cal.) | E51/E53 | each | 3 |  | 0
| P.22 | Amur Maple (750mm ht.) | E51/E53 | each | 20 |  | 0
| P.23 | Saskatoon (750mm ht.) | E51/E53 | each | 49 |  | 0
| P.24 | Coronation Triumph Potentilla (450mm ht.) | E51/E53 | each | 76 |  | 0
| P.25 | Abbotswood Potentilla (450 mm ht.) | E51/E53 | each | 18 |  | 0
| P.26 | Jackman's Variety Potentilla (450 mm ht.) | E51/E53 | each | 152 |  | 0
| P.27 | Hansa Rose (450mm ht.) | E51/E53 | each | 78 |  | 0
| P.28 | Adelaide Hoodless Rose (600mm ht.) | E51/E53 | each | 121 |  | 0
| P.29 | Silver Buffaloberry (750mm ht.) | E51/E53 | each | 64 |  | 0
| P.30 | Western Snowberry (600mm ht.) | E51/E53 | each | 339 |  | 0
| P.31 | Charles Joli Lilac (Common Lilac) (750mm ht.) | E51/E53 | each | 35 |  | 0
| P.32 | Donald Wyman Lilac (750mm ht.) | E51/E53 | each | 44 |  | 0
| P.33 | Highbush Cranberry (600mm ht.) | E51/E53 | each | 170 |  | 0
| P.34 | Engleman's Ivy (2 yr.) | E51/E53 | each | 26 |  | 0
CONCRETE PAVING STONE
| P.35 | Paving Stones on a Lean Concrete Base | E55 | m² | 215 |  | 0
| P.36 | Grouted Tyndall Stone Pieces | E56 | m³ | 90 |  | 0
LONG-TERM MAINTENANCE
| P.37 | General Plant Material and Planting Bed Maintenance | E52/E54 | annual | 2 |  | 0
| P.38 | General Sod Maintenance | E52/E54 | annual | 2 |  | 0
| P.39 | General Maintenance of Ditch Seed Mix Areas | E52/E54 | annual | 2 |  | 0
| P.40 | General Maintenance of Salt-tolerant Prairie Grass Seed Areas | E52/E54 | annual | 2 |  | 0
| P.41 | General Maintenance of Wildflower and Grass Seed Areas | E52/E54 | annual | 2 |  | 0
| P.42 | General Cleanup Operations | E52 | annual | 2 |  | 0
| P.43 | Annual Spring Cleanup of Landscaped Areas (including Salt and Sand Removal) | E52 | per time | 2 |  | 0
| P.44 | Watering of Sod Areas | E52 | per time | 8 |  | 0
| P.45 | Watering of Ditch Seed Mix Areas | E52 | per time | 8 |  | 0
| P.46 | Watering of Salt-tolerant Prairie Grass and Wildflower and Grass Areas | E52 | per time | 8 |  | 0
| P.47 | Watering of Trees, Shrubs and Vines | E52 | per time | 8 |  | 0
| P | Landscaping |  |  |  | Subtotal: | 0
SUMMARY
| A | Construction of a new Portland Concrete Pavement on Kenaston Boulevard from Kenaston Intermodal Ltd. Access to Taylor Avenue |  |  |  | Subtotal: | 0
| B | Construction of Intersection Improvements at Kenaston Boulevard and Taylor Avenue |  |  |  | Subtotal: | 0
| C | Construction of a new Portland Concrete Pavement and Asphalt Resurfacing on Kenaston Boulevard from Taylor Avenue to North Limit of Contract at Kenaston Boulevard |  |  |  | Subtotal: | 0
| D | Construction of Multi-use Sidewalk on Kenaston Boulevard from Sterling Lyon Parkway to Taylor Avenue |  |  |  | Subtotal: | 0
| E | Construction of Ramp to Wilkes Avenue from Kenaston Boulevard |  |  |  | Subtotal: | 0
| F | Construction of Lorimer Boulevard from Sterling Lyon Parkway to Wilkes Avenue |  |  |  | Subtotal: | 0
| G | Decommissioning of Kenaston Boulevard Detour |  |  |  | Subtotal: | 0
| H | Decommissioning of CN Rivers Subdivision Rail Mainline Detour |  |  |  | Subtotal: | 0
| I | DND Restoration |  |  |  | Subtotal: | 0
| J | Bridge Works |  |  |  | Subtotal: | 0
| K | Land Drainage Sewers - Kenaston Boulevard |  |  |  | Subtotal: | 0
| L | Decomissioning Existing Underground Works - Kenaston Boulevard |  |  |  | Subtotal: | 0
| M | Land Drainage Sewers - Lorimer Boulevard |  |  |  | Subtotal: | 0
| N | Ditching on Wilkes and CN Rivers North - West of Kenaston Boulevard |  |  |  | Subtotal: | 0
| O | Underground Works Provisional Items |  |  |  | Subtotal: | 0
| P | Landscaping |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
(in words) _____________________________________________________________________________________________________________________________
______________________________________________________________________________________________________________________________