## FORM B - PRICES
FORM B(R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | WATERMAIN RENEWAL
| A.1 | Watermain Renewal | CW 2110-R11
| i) | 150mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 35 |  | 0
| ii) | 200mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
| iii) | 250mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 12 |  | 0
| iv) | 300mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 255 |  | 0
| A.2 | Hydrant Assembly | CW 2110-R11
| i) | SD-006 |  | each | 3 |  | 0
| A.3 | Watermain Valve | CW 2110-R11
| i) | 150mm |  | each | 3 |  | 0
| ii) | 250m |  | each | 1 |  | 0
| iii) | 300mm |  | each | 5 |  | 0
| A.4 | Fittings | CW 2110-R11
| i) | Tees
| a) | 300mm X 300mm X 150mm |  | each | 6 |  | 0
| b) | 300mm X 300mm X 250mm |  | each | 1 |  | 0
| c) | 300mm X 300mm X 300mm |  | each | 1 |  | 0
| ii) | Bends(SD-004)
| a) | 250mm - 90° Bend |  | each | 2 |  | 0
| iii) | Vertical Bends (SD-005)
| a) | 300mm - 22.5° Bend |  | each | 4 |  | 0
| b) | 150mm - 45° Bend |  | each | 8 |  | 0
| c) | 250mm - 45° Bend |  | each | 2 |  | 0
| iv) | Reducers
| a) | 250mm - 200mm |  | each | 1 |  | 0
| A.5 | Water Services | CW 2110-R11
| i) | 25mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 55 |  | 0
| A.6 | Corporation Stops | CW 2110-R11
| i) | 25mm |  | each | 3 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.7 | Curb Stops - Replace Existing | CW 2110-R11
| i) | 25mm |  | each | 3 |  | 0
| A.8 | Curb Stop Boxes - Replace Existing | CW 2110-R11
| i) | 25mm |  | each | 3 |  | 0
| A.9 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | Inline Connection - No Plug Existing
| a) | 150mm |  | each | 6 |  | 0
| b) | 200mm |  | each | 1 |  | 0
| c) | 250mm |  | each | 1 |  | 0
| d) | 300mm |  | each | 2 |  | 0
| A.10 | Connecting Existing Copper Water Services to New Watermains | E16
| i) | 25mm |  | each | 3 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.11 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11
| i) | On Metallic Watermains |  | each | 5 |  | 0
| ii) | On Water Service |  | each | 7 |  | 0
| A.12 | Continuity Bonding | CW 2110-R11 | each | 2 |  | 0
| A.13 | Concrete Curb Renewal | CW 3240-R9
| i) | Barrier Curb (SD-203A)
| a) | Less than 3 m |  | m | 12 |  | 0
| b) | 3 m to 30 m |  | m | 10 |  | 0
| ii) | Ramp Curb
| a) | Less than 3 m |  | m | 3 |  | 0
| A.14 | Regrading Existing Interlocking Paving Stone Installations | CW 3330-R5 | m² | 65 |  | 0
| A.15 | Construction of Asphaltic Concrete Patches Type 1A | CW 3410-R9 | m² | 100 |  | 0
PROVISIONAL ITEMS
| A.16 | Cement Stabilized Fill | CW 2030-R7 | m³ | 10 |  | 0
| A.17 | Water Service | CW 2110-R11
| i) | 38mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 15 |  | 0
| ii) | 50mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 15 |  | 0
| A.18 | Corporation Stops | CW 2110-R11
| i) | 38mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.19 | Curb Stops | CW 2110-R11
| i) | 38mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.20 | Curb Stop Boxes | CW 2110-R11
| i) | 38mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.21 | Street Light Cable | E13
| i) | Trench Installation |  | m | 50 |  | 0
| ii) | Trenchless Installation |  | m | 50 |  | 0
| A.22 | Connecting Existing Copper Water Services to New Watermains | CW 2110-R11
| i) | 38mm |  | each | 1 |  | 0
| ii) | 50mm |  | each | 1 |  | 0
| A.23 | Regrading Existing Sewer Service – Up to 1.5 Metres Long | CW 2130-R12
| i) | 100mm - Class 3 Backfill |  | each | 1 |  | 0
| ii) | 150mm - Class 3 Backfill |  | each | 1 |  | 0
| iii) | 250mm - Class 3 Backfill |  | each | 1 |  | 0
| A | WATERMAIN RENEWAL |  |  |  | Subtotal: | 0
| B | ROAD WORKS
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R16 | m³ | 1750 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R16 | m² | 2500 |  | 0
A007 | B.3 | Crushed Sub-base Material | CW 3110-R16
A007A | i) | 50 mm |  | tonne | 990 |  | 0
A009 | ii) | 150 mm - Limestone |  | tonne | 2610 |  | 0
A010A | B.4 | Supplying and Placing Limestone Base Course Material | CW 3110-R16 | m³ | 210 |  | 0
A022 | B.5 | Separation Geotextile Fabric | CW 3130-R4 | m² | 2500 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | B.6 | Pavement Removal | CW 3110-R16
B002 | i) | Concrete Pavement |  | m² | 1450 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 550 |  | 0
B017 | B.7 | Partial Slab Patches | CW 3230-R7
B023 | i) | 230 mm Concrete Pavement (Type B) |  | m² | 30 |  | 0
B094 | B.8 | Drilled Dowels | CW 3230-R7
B095 | i) | 19.1 mm Diameter |  | each | 20 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R7
B098 | i) | 20 M Deformed Tie Bar |  | each | 50 |  | 0
B154rl | B.10 | Concrete Curb Renewal | CW 3240-R9
B155rl | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B157rl | a) | 3 m to 30 m |  | m | 20 |  | 0
B200 | B.11 | Planing of Pavement | CW 3450-R5
B201 | i) | 0 - 50 mm Depth (Asphalt) |  | m² | 150 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | B.12 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R14
C005 | i) | Construction of 230 mm Concrete Pavement (Reinforced) |  | m² | 220 |  | 0
C008 | ii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 245 |  | 0
C032 | B.13 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R14
C035 | i) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 50 |  | 0
C038 | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement, Slip Form Paving) | SD-200 | m | 220 |  | 0
C039 | iii) | Construction of Curb and Gutter ( 180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B | m | 70 |  | 0
C041 | iv) | Construction of Curb and Gutter (10-15 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 48 |  | 0
| v) | Construction of Curb and Gutter (100 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-202B | m | 8 |  | 0
C055 | B.14 | Construction of Asphaltic Concrete Pavements | CW 3410-R9
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 280 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 50 |  | 0
C063 | B.15 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R9 | tonne | 432 |  | 0
JOINT AND CRACK SEALING
D001 | B.16 | Joint Sealing | CW 3250-R7 | m | 330 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.17 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1800 mm deep |  | each | 5 |  | 0
E008 | B.18 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, SDR-35
E011 | a) | Trenchless Installation, Class B Bedding, Class 3 Backfill |  | m | 30 |  | 0
E036 | B.19 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type SDR-35) Connecting Pipe
E039 | a) | Connecting to 375 mm Sewer |  | each | 5 |  | 0
E046 | B.20 | Removal of Existing Catch Basins | CW 2130-R12 | each | 5 |  | 0
E051 | B.21 | Installation of Subdrains | CW 3120-R4 | m | 160 |  | 0
| B.22 | Plugging Existing Sewers and Sewer Services Smaller Than 300 mm | CW 2130-R12 | each | 5 |  | 0
ADJUSTMENTS
F001 | B.23 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R7 | each | 10 |  | 0
F002 | B.24 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | B.25 | Lifter Rings | CW 3210-R7
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 2 |  | 0
F009 | B.26 | Adjustment of Valve Boxes | CW 3210-R7 | each | 7 |  | 0
F010 | B.27 | Valve Box Extensions | CW 3210-R7 | each | 2 |  | 0
| B | ROAD WORKS |  |  |  | Subtotal: | 0
| C | STREETSCAPING
EXCAVATIONS AND REMOVALS
| C.1 | Removal of Concrete Sidewalk | CW 3235-R9 E19 | m² | 745 |  | 0
| C.2 | Remove and Stockpile Unit Pavers for Reinstallation | CW 3330-R5 E21
| i) | Endicott Brick Pavers |  | m² | 25 |  | 0
| ii) | Pre-cast Concrete Unit Pavers |  | m² | 75 |  | 0
| C.3 | Remove and Stockpile Unit Pavers and Delivery to Public Works | CW 3330-R5 E21 | m² | 230 |  | 0
| C.4 | Remove and Dispose of Existing Bumper Guard Fence Including Foundations | E19 | l.s. | 1 |  | 0
| C.5 | Removal of Existing Trees Including Root Mass | E20 | each | 3 |  | 0
| C.6 | Removal of Existing Waste Receptacle and Bike Loop and Delivery to Public Works | E19 | l.s. | 1 |  | 0
| C.7 | Removal and Dispose of Landscape Islands and Bollards. Replace with Asphalt at Pacific Avenue Approach | E19 | l.s. | 1 |  | 0
CONCRETE WORKS
| C.8 | Supply and Install CIP Reinforced Concrete Pile for Pedestrian Light (Including Excavation, Anchor Bolts, and Conduit for Electrical) | E22 | each | 11 |  | 0
| C.9 | Supply and Install CIP Reinforced Concrete Pile for Tree Vault Grade Beam (Including Excavation) | E22 | each | 12 |  | 0
| C.10 | Parking Screen Foundation | E22
| i) | Supply and Install CIP Reinforced Concrete Grade Beam (Including Excavation, and Weld Plates) |  | each | 2 |  | 0
| ii) | Supply and Install CIP Reinforced Concrete Grade Beam and Piles (Including Excavation, Conduit for Electrical and Weld Plates) |  | each | 1 |  | 0
| C.11 | Supply and Install Temporary Paving Isolations at Existing and Proposed Street Light Locations (600 mm x 600 mm) | E25 | each | 8 |  | 0
PAVING WORKS
| C.12 | Supply and Install 100 mm Concrete Sidewalk | CW 3325-R4 E23 | m² | 1585 |  | 0
| C.13 | Supply and Install Concrete Sidewalk with 200 mm ht Monolithic Curb | CW 3325-R4 | m² | 8 |  | 0
| C.14 | Reinstall Stockpiled Unit Paving (Including Sand Levelling Course) | CW 3330-R5 CW 3335-R1 E24
| i) | Endicott Brick Pavers |  | m² | 25 |  | 0
| ii) | Pre-cast Concrete Unit Pavers |  | m² | 75 |  | 0
| C.15 | Supply and Install Endicott Brick Pavers - Dark Ironspot | E24 | m² | 200 |  | 0
| C.16 | Supply and Install Heavy Duty Mahogany Holland Stone (80 mm) Unit Paving | E24 | m² | 15 |  | 0
| C.17 | Detectable Hazard Panel (1500 mm x 600 mm) | E12 | each | 7 |  | 0
TREE WELLS AND COVERS
| C.18 | Supply and Install CIP Concrete Tree Well (Including Tree Pit Excavation, Drainage Course, Filter Fabric, Root Barrier, Planting Soil, Compacted Granular as Required) as Monolithic Pour with Sidewalk | E26
| i) | 1520 mm x 13000 mm |  | each | 4 |  | 0
| ii) | 1520 mm x 7290 mm |  | each | 2 |  | 0
| C.19 | Supply and Install Pre-cast Concrete Sidewalk Panels | E26 E27 | each | 33 |  | 0
| C.20 | Supply and Install Pre-cast Concrete Tree Cover | E26 E27 | each | 10 |  | 0
| C.21 | Supply and Install Concrete Panel for Pedestrian Lights | E27 | each | 3 |  | 0
SITE FURNITURE
| C.22 | Supply and Install Pre-cast Concrete Parking Screen Wall (3 m length) | E27 | each | 8 |  | 0
| C.23 | Supply and Install Pre-cast Concrete Planter | E27 | each | 8 |  | 0
| C.24 | Supply and Install Tree Guard | E28 | each | 10 |  | 0
| C.25 | Supply and Install Waste Receptacle | E28 | each | 2 |  | 0
| C.26 | Supply and Install Benches | E28 | each | 8 |  | 0
| C.27 | Supply and Install Bicycle Loop | E28 | each | 5 |  | 0
| C.28 | Supply and Install Illuminated Poster Board Screen (Including Mounting to Pre-cast Concrete Parking Screen Wall, Electrical Connection) | E28 | each | 2 |  | 0
ELECTRICAL WORK
| C.29 | Supply and Install Pedestrian Light (Including Pole, Luminaires, Shroud, Base Plate, Fasteners, Electrical Connection, etc.) | E33 | each | 11 |  | 0
| C.30 | Supply and Install CSTE (Including Panel 'A', Manitoba Hydro Power Supply Connection Costs) | E33 | l.s. | 1 |  | 0
| C.31 | Supply and Install Conduit and Wiring (Including Trenching, Electrical Marking Tape, Backfilling, and Surface Repair as Required) | E33
| i) | Conduit and Electrical Wiring for Pedestrian Lights |  | m | 250 |  | 0
| ii) | 50 mm Conduit and Outdoor Rated CAT 6 Ethernet Cable |  | m | 175 |  | 0
| iii) | 50 mm Conduit and Electrical Wiring |  | m | 175 |  | 0
| C.32 | Supply and Install 50 mm Conduit (Including Trenching, Backfilling, and Surface Repair as Required) | E33 | m | 90 |  | 0
PLANT MATERIAL
| C.33 | Supply and Install Deciduous Trees | E29
| i) | American Elm |  | each | 4 |  | 0
| ii) | Dropmore Linden |  | each | 6 |  | 0
| C.34 | Maintenance of Trees for Two (2) Years | E32 | year | 2 |  | 0
| C.35 | Supply and Install Topsoil and Sod | E30 E31 | m² | 130 |  | 0
| C | STREETSCAPING |  |  |  | Subtotal: | 0
SUMMARY
| A | WATERMAIN RENEWAL |  |  |  | Subtotal: | 0
| B | ROAD WORKS |  |  |  | Subtotal: | 0
| C | STREETSCAPING |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
(in words) _______________________________________________________________________________________________
_____________________________________________________________________________________________