## FORM B - PRICES
FORM B (R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | WATER MAIN RENEWAL
| A.1 | Water Main Renewal | CW 2110-R11
| i) | 300 mm
| a) | trenchless installation, class B sand bedding, Class 3 backfill |  | m | 65 |  | 0
| b) | trenchless installation, class B sand bedding, Class 5 backfill |  | m | 10 |  | 0
| ii) | 300 mm within an Encasement Pipe | E14
| a) | trenchless installation, class B sand bedding, Class 3 backfill |  | m | 20 |  | 0
| iii) | 250 mm
| a) | trenchless installation, class B sand bedding, Class 3 backfill |  | m | 5 |  | 0
| A.2 | Water Main Valve | CW 2110-R11 |  |  |  | 0
| i) | 250 mm |  | each | 1 |  | 0
| ii) | 300 mm |  | each | 2 |  | 0
| A.3 | Fittings | CW 2110-R11
| i) | Tees
| a) | 300 mm x 300 mm x 250 mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 300 mm - 45° |  | each | 4 |  | 0
| A.4 | Water Services | CW 2110-R11
| i) | 50 mm
| a) | trenchless installation, class B sand bedding, Class 3 backfill |  | m | 10 |  | 0
| A.5 | Corporation Stops | CW 2110-R11 |  |  |  | 0
| i) | 50 mm |  | each | 1 |  | 0
| A.6 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110-R11
| i) | In-line connection - no plug existing
| a) | 250 mm |  | each | 1 |  | 0
| b) | 300 mm |  | each | 2 |  | 0
| A.7 | Connecting to Existing Copper Water Services to New Watermains | CW 2110-R11 |  |  |  | 0
| i) | 50 mm |  | each | 1 |  | 0
| A.8 | 10.9 Kilogram Sacifical Zinc Anodes | CW 2110-R11 |  |  |  | 0
| i) | On Water Services |  | each | 1 |  | 0
|  | PROVISIONAL ITEMS |  |  |  |  | 0
| A.9 | Regrading of Existing Sewer Service - Up to 1.5 meters long | CW 2130-R12, E10
| i) | 150mm |  | each | 1 |  | 0
| ii) | 200mm |  | each | 1 |  | 0
| iii) | 250mm |  | each | 1 |  | 0
| A.10 | Fittings | CW 2110-R11, E10
| i) | Bends (SD-005)
| a) | 250 mm - 11.25° |  | each | 2 |  | 0
| b) | 250 mm - 22.5° |  | each | 2 |  | 0
| c) | 250 mm - 45° |  | each | 2 |  | 0
| d) | 300 mm - 11.25° |  | each | 2 |  | 0
| e) | 300 mm - 22.5° |  | each | 2 |  | 0
| f) | 300 mm - 45° |  | each | 2 |  | 0
| A.11 | Curb Stops | CW 2110-R11, E10
| i) | 50 mm |  | each | 1 |  | 0
| A.12 | Curb Stops Boxes | CW 2110-R11, E10
| i) | 50 mm |  | each | 1 |  | 0
| A | WATER MAIN RENEWAL |  |  |  | Subtotal: | 0
| B | SHERWIN ROAD CULVERT REPLACEMENT AT OMANDS CREEK
| B.1 | Creek Flow Maintenance | E20 | L.S. | 1 |  | 0
| B.2 | Creek Bank Excavation | E21 | L.S. | 1 |  | 0
| B.3 | Rockfill Shear Key | E22 | tonne | 800 |  | 0
| B.4 | Supply and Install Silt Fence Barrier | E23 | m | 100 |  | 0
| B.5 | Supply and Install Erosion Control Blanket | E24 | m2 | 650 |  | 0
| B.6 | Culvert Demolition and Removals | E26 | L.S. | 1 |  | 0
| B.7 | Structural Backfill | E27
| i) | Base Course Material - Granular A |  | L.S. | 1 |  | 0
| ii) | Graded Granular Fill |  | L.S. | 1 |  | 0
| iii) | Granular Sub-Base Course Material |  | L.S. | 1 |  | 0
| B.8 | Supplying and Placing Reinforcing Steel | E28
| i) | Black |  | kg | 60000 |  | 0
| ii) | Stainless Steel |  | kg | 8458 |  | 0
| B.9 | Supply and Place Structural Concrete | E29
| i) | Type 1 |  | L.S. | 1 |  | 0
| ii) | Type 2 |  | L.S. | 1 |  | 0
| B.10 | Concrete Heating and Hoarding | E29 | L.S. | 1 |  | 0
| B.11 | Board Insulation | E30 | m2 | 375 |  | 0
| B.12 | Cellular Concrete | E31 | m3 | 120 |  | 0
| B.13 | Hot-Poured Rubberized Asphalt Waterproofing | E32 | m2 | 150 |  | 0
| B.14 | Random Stone Riprap | CW 3615-R4 | m3 | 185 |  | 0
| B.15 | Chain Link Fencing | CW 3550-R3, E35 | L.S. | 1 |  | 0
| B.16 | Subdrain Systems | E34 | L.S. | 1 |  | 0
| B.17 | Native Grass Planting | E37 | m2 | 650 |  | 0
| B.18 | Weed Control | E37 | L.S. | 1 |  | 0
| B | SHERWIN ROAD CULVERT REPLACEMENT AT OMANDS CREEK |  |  |  | ` | 0
| C | SHERWIN ROAD - SASKATCHEWAN AVENUE TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R21 | m³ | 13000 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 18000 |  | 0
A007 | C.3 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A2 | i) | 50 mm Granular A |  | tonne | 13500 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R21
A010A2 | i) | Base Course Material - Granular A |  | m³ | 3000 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R21 | m² | 12000 |  | 0
A022 | C.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 18000 |  | 0
A022A4 | C.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1300 |  | 0
A022A6 | ii) | Class B Geogrid |  | m² | 2000 |  | 0
A030 | C.8 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 1000 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.9 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 13000 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 2200 |  | 0
| iii) | Temporary Asphalt Pavement |  | m² | 3000 |  | 0
B094 | C.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 660 |  | 0
B097 | C.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 75 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 650 |  | 0
B100r | C.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 35 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 20 |  | 0
B126r | C.13 | Concrete Curb Removal | CW 3240-R10
B127rA | i) | Barrier Integral |  | m | 800 |  | 0
B190 | C.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 40 |  | 0
B199 | C.15 | Construction of Asphalt Patches | CW 3410-R12 | m² | 400 |  | 0
B200 | C.16 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 225 |  | 0
B219 | C.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 18 |  | 0
| C.18 | Removal of Existing Bollards | E15 | each | 6 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled), Slip-formed |  | m² | 8200 |  | 0
C008 | ii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 2000 |  | 0
C014 | iii) | Construction of Concrete Median Slabs | SD-227A | m² | 40 |  | 0
C018 | iv) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 5 |  | 0
C019 | C.20 | Concrete Pavements for Early Opening | CW 3310-R17
C025-72 | i) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 1900 |  | 0
C026-72 | ii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 1350 |  | 0
C032 | C.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033B | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 775 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 695 |  | 0
C036B | iii) | Construction of Modified Barrier (180 mm ht, Dowelled) | SD-203B | m | 180 |  | 0
C037B | iv) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 475 |  | 0
C045 | v) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 20 |  | 0
C046 | vi) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 35 |  | 0
C046A | vii) | Construction of Curb Ramp (8-12 mm ht, Monolithic) | SD-229C | m | 85 |  | 0
C047 | viii) | Construction of Safety Curb (330 mm ht) | SD-206B | m | 50 |  | 0
C047A | ix) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 285 |  | 0
C050 | C.22 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2300 |  | 0
C051 | C.23 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 150 |  | 0
C055 | C.24 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 325 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 20 |  | 0
TEMPORARY CONSTRUCTION/STAGING WORKS
A003 | C.25 | Excavation | CW 3110-R21 | m³ | 200 |  | 0
A004 | C.26 | Sub-Grade Compaction | CW 3110-R21 | m² | 375 |  | 0
A007 | C.27 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A2 | i) | 50 mm Granular A |  | tonne | 275 |  | 0
A010 | C.28 | Supplying and Placing Base Course Material | CW 3110-R21
A010A2 | i) | Base Course Material - Granular A |  | m³ | 50 |  | 0
A022 | C.29 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 375 |  | 0
C055 | C.30 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 525 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 25 |  | 0
JOINT AND CRACK SEALING
D006 | C.31 | Reflective Crack Maintenance | CW 3250-R7 | m | 50 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.32 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 15 |  | 0
| ii) | SD-025, 1200 mm deep c/w AP-006 and AP-009 |  | each | 1 |  | 0
E005A | iii) | SD-025, 1800 mm deep |  | each | 1 |  | 0
E008 | C.33 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, CB Lead
E010 | a) | In a Trench, Class 2 Type B Bedding, Class 2 Backfill |  | m | 60 |  | 0
E011 | b) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 60 |  | 0
E023 | C.34 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 11 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E036 | C.35 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm CB Lead Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete Combined Sewer |  | each | 2 |  | 0
E040 | b) | Connecting to 450 mm Concrete Combined Sewer |  | each | 2 |  | 0
E040 | c) | Connecting to 450 mm CSP LDS |  | each | 1 |  | 0
E041A | d) | Connecting to 600 mm Concrete Combined Sewer |  | each | 2 |  | 0
E041A | e) | Connecting to 600 mm Concrete LDS |  | each | 4 |  | 0
E041B | f) | Connecting to 750 mm Concrete LDS |  | each | 6 |  | 0
E046 | C.36 | Removal of Existing Catch Basins | CW 2130-R12 | each | 12 |  | 0
E047 | C.37 | Removal of Existing Catch Pit | CW 2130-R12 | each | 3 |  | 0
E050 | C.38 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 1 |  | 0
| C.39 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 14 |  | 0
E051 | C.40 | Installation of Subdrains | CW 3120-R4 | m | 192 |  | 0
E069 | C.41 | Removal of Existing Culverts | CW 3610-R5 | m | 25 |  | 0
ADJUSTMENTS
F001 | C.42 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 11 |  | 0
F002 | C.43 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | C.44 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 11 |  | 0
F009 | C.45 | Adjustment of Valve Boxes | CW 3210-R8 | each | 20 |  | 0
F010 | C.46 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | C.47 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 10 |  | 0
F018 | C.48 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | C.49 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 400 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 11600 |  | 0
MISCELLANEOUS
| C.50 | Remove, Salvage, and Reinstall Existing Brick Retaining Wall | E17 | L.S. | 1 |  | 0
E072 | C.51 | Watermain and Water Service Insulation | E13
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 75 |  | 0
| C.52 | Tree Removal | E16
| i) | 0 - 10 cm diameter |  | each | 2 |  | 0
| ii) | 10 - 30 cm diameter |  | each | 1 |  | 0
| C | SHERWIN ROAD - SASKATCHEWAN AVENUE TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOBILIZATION
| D.1 | Watermain Renewal Mobilization/Demobilization (Part A) | E2 | L.S. | 1 |  | 0
| D.2 | Structural Mobilization/Demobilization (Part B) | E2 | L.S. | 1 |  | 0
I001 | D.3 | Roadworks Mobilization/Demobilization (Part C) | E2 | L.S. | 1 |  | 0
| D | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.6, D3, D14.4-5, D15.5)
| E | STREET LIGHTING AND ASSOCIATED WORKS
| E.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E38 | each | 2 |  | 0
| E.2 | Removal of 25' street light pole including davit arm, luminaire and appurtenances and install 25' straight shaft c/w 2-1.8m arms and luminaires on existing base | E38 | each | 13 |  | 0
| E.3 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E38 | lin m | 660 |  | 0
| E.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E38 | each | 9 |  | 0
| E.5 | height adjustment for 25' pole, davit arm and precast concrete base including luminaire and appurtenances. | E38 | each | 2 |  | 0
| E.6 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E38 | each | 6 |  | 0
| E.7 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E38 | each | 1 |  | 0
| E.8 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E38 | set | 13 |  | 0
| E.9 | change out luminaire on davit or overhead street light arm | E38 | each | 13 |  | 0
| E.10 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E38 | each | 3 |  | 0
| E | STREET LIGHTING AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | WATER MAIN RENEWAL |  |  |  | Subtotal: | 0
| B | SHERWIN ROAD CULVERT REPLACEMENT AT OMANDS CREEK |  |  |  | Subtotal: | 0
| C | SHERWIN ROAD - SASKATCHEWAN AVENUE TO NOTRE DAME AVENUE - CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
| E | STREET LIGHTING AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0