## FORM B -(2 Part w cond funds)
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | WILLIAM AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST.
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 5035 |  | 0
A007 | A.2 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 2915 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 4850 |  | 0
A010 | A.3 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1210 |  | 0
A012 | A.4 | Grading of Boulevards | CW 3110-R21 | m² | 1350 |  | 0
A016 | A.5 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 2 |  | 0
A022 | A.6 | Geotextile Fabric | CW 3130-R5
A022A2 | ii) | Separation/Filtration Fabric |  | m² | 6650 |  | 0
A022A4 | A.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 6650 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.8 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement (Up to 400mm) |  | m² | 6210 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 265 |  | 0
B094 | A.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 250 |  | 0
B097 | A.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B100r | A.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2055 |  | 0
B114rl | A.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 100 |  | 0
B154rl | A.13 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA2 | a) | 3 m to 30 m |  | m | 10 |  | 0
B184rlA | ii) | Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 30 |  | 0
| A.14 | Private Walk Renewal | E21
| i) | 100 mm Concrete |  | m² | 115 |  | 0
| ii) | Paving Stones |  | m² | 20 |  | 0
B200 | A.15 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 250 |  | 0
B219 | A.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 20 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | A.17 | Concrete Pavements for Early Opening | CW 3310-R17
C026-72 | i) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 330 |  | 0
C032 | A.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C037B | i) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 16 |  | 0
C038A | ii) | Construction of Curb and Gutter (150 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) Slip Form Paving | SD-200 | m | 210 |  | 0
C038B | iii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) Slip Form Paving | SD-200 | m | 480 |  | 0
C039B | iv) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B | m | 15 |  | 0
C041 | v) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-229E | m | 45 |  | 0
C045 | vi) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 60 |  | 0
C046 | vii) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 25 |  | 0
| viii) | Construction of Retaining Curb (150mm ht, Separate) | E23 | m | 55 |  | 0
| A.19 | 100 mm Sidewalk with Block Outs | CW 3325-R5, E14 | m² | 2055 |  | 0
| A.20 | Supply and Installation of Interlocking Paving Stones | CW 3335-R1, E15
| i) | Holland Stone - Charcoal - Sidewalk Pavers (210mm x 210mm x 60mm) |  | m² | 155 |  | 0
| ii) | Holland Stone - Blue - Transit Stop Pavers (210mm x 105mm x 60mm) |  | m² | 3 |  | 0
C055 | A.21 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 660 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 200 |  | 0
C063 | A.22 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 1550 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.23 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 10 |  | 0
| A.24 | Supply and Install Sewer Service Outlet Restrictor | CW 2130-R12, E24
| i) | 100mm |  | each | 2 |  | 0
| ii) | 150mm |  | each | 6 |  | 0
E008 | A.25 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 86.7 |  | 0
E013 | A.26 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 7.2 |  | 0
E023 | A.27 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 12 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 12 |  | 0
E036 | A.28 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm Sewer |  | each | 4 |  | 0
E041B | b) | Connecting to 400 mm Sewer |  | each | 6 |  | 0
E044 | A.29 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 6 |  | 0
E047 | A.30 | Removal of Existing Catch Pit | CW 2130-R12 | each | 2 |  | 0
E051 | A.31 | Installation of Subdrains | CW 3120-R4 | m | 360 |  | 0
| A.32 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R12 | each | 6 |  | 0
E072 | A.33 | Watermain and Water Service Insulation | E16
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 1660 |  | 0
| A.34 | Valve Cleaning | E20 | each | 11 |  | 0
| A.35 | ADJUSTMENTS
F001 | A.36 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 12 |  | 0
F003 | A.37 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 12 |  | 0
F009 | A.38 | Adjustment of Valve Boxes | CW 3210-R8 | each | 9 |  | 0
F010 | A.39 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.40 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 60 |  | 0
F018 | A.41 | Curb Stop Extensions | CW 3210-R8 | each | 20 |  | 0
LANDSCAPING
G001 | A.42 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 1200 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 500 |  | 0
| A | WILLIAM AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST. |  |  |  | Subtotal: | 0
| B | SELKIRK AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST.
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R21 | m³ | 6700 |  | 0
A007 | B.2 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 12000 |  | 0
A010 | B.3 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1780 |  | 0
A012 | B.4 | Grading of Boulevards | CW 3110-R21 | m² | 2200 |  | 0
A016 | B.5 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 2 |  | 0
A022 | B.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 13900 |  | 0
A022A4 | B.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 13900 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.8 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement (Up to 400mm) |  | m² | 13200 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 500 |  | 0
B094 | B.9 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 250 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 200 |  | 0
B097 | B.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 100 |  | 0
B100r | B.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2900 |  | 0
B114rl | B.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B154rl | B.13 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA2 | a) | 3 m to 30 m |  | m | 100 |  | 0
| B.14 | Private Walk Renewal | E21
| i) | 100 mm Concrete |  | m² | 65 |  | 0
| ii) | Paving Stones |  | m² | 65 |  | 0
B190 | B.15 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 315 |  | 0
B200 | B.16 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 800 |  | 0
B219 | B.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 18 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.18 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C007 | i) | Construction of 230 mm Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 9300 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled), Hand Placed |  | m² | 1200 |  | 0
C014 | iii) | Construction of Concrete Median Slabs | SD-227A | m² | 10 |  | 0
C019 | B.19 | Concrete Pavements for Early Opening | CW 3310-R17
C025-72 | i) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled), Hand Placed |  | m² | 430 |  | 0
C026-24 | ii) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced), Hand Placed |  | m² | 250 |  | 0
C026-72 | iii) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 520 |  | 0
C029-72 | iv) | Construction of 150 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 60 |  | 0
C032 | B.20 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C035B | i) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 1850 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 100 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 50 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 165 |  | 0
C050 | B.21 | Supply and Installation of Dowel Assemblies | CW 3310-R17 | m | 2335 |  | 0
| B.22 | 100 mm Sidewalk with Block Outs | CW 3325-R5, E14 | m² | 4675 |  | 0
| B.23 | Supply and Installation of Interlocking Paving Stones | CW 3335-R1, E15 | m²
| i) | Holland Stone - Charcoal - Sidewalk Pavers (210mm x 210mm x 60mm) |  | m² | 375 |  | 0
| ii) | Holland Stone - Blue - Transit Stop Pavers (210mm x 105mm x 60mm) |  | m² | 8 |  | 0
JOINT AND CRACK SEALING
D006 | B.24 | Reflective Crack Maintenance | CW 3250-R7 | m | 50 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.25 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 20 |  | 0
| B.26 | Supply and Install Sewer Service Outlet Restrictor | CW 2130-R12, E24
| i) | 150mm |  | each | 1 |  | 0
| ii) | 200mm |  | each | 17 |  | 0
E008 | B.27 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 120.3 |  | 0
E013 | B.28 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 11 |  | 0
E023 | B.29 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 12 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 12 |  | 0
E036 | B.30 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (PVC) Connecting Pipe
E041B | a) | Connecting to 250 mm Sewer |  | each | 2 |  | 0
E038 | b) | Connecting to 300 mm Sewer |  | each | 10 |  | 0
E039 | c) | Connecting to 375 mm Sewer |  | each | 2 |  | 0
E040 | d) | Connecting to 450 mm Sewer |  | each | 6 |  | 0
E044 | B.31 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 20 |  | 0
E046 | B.32 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
E047 | B.33 | Removal of Existing Catch Pit | CW 2130-R12 | each | 11 |  | 0
E051 | B.34 | Installation of Subdrains | CW 3120-R4 | m | 720 |  | 0
| B.35 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R12 | each | 22 |  | 0
E072 | B.36 | Watermain and Water Service Insulation | E16
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 1460 |  | 0
| B.37 | Valve Cleaning | E20 | each | 24 |  | 0
ADJUSTMENTS
F001 | B.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 12 |  | 0
F003 | B.39 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 12 |  | 0
F009 | B.40 | Adjustment of Valve Boxes | CW 3210-R8 | each | 24 |  | 0
F010 | B.41 | Valve Box Extensions | CW 3210-R8 | each | 6 |  | 0
F011 | B.42 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 130 |  | 0
F018 | B.43 | Curb Stop Extensions | CW 3210-R8 | each | 30 |  | 0
LANDSCAPING
G001 | B.44 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 2200 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 500 |  | 0
MISCELLANEOUS
| B.45 | Removal of Existing Street Car Track Bedding | E19 | m³ | 1900 |  | 0
| B.46 | Removal of Existing Street Car Track Rails | E19 | m | 4100 |  | 0
| B | SELKIRK AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST. |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS
McPhillips St. and William Ave.
INSTALLATIONS
| C.1 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench - Single |  | m | 40 |  | 0
| ii) | Installation of Conduit in Open Trench - Double |  | m | 20 |  | 0
| C.2 | Installation of Concrete Bases - Early Open | CW 3620
| ii) | Signal Pole Base - Type G (Light Duty - 32 Dia. Bolts) |  | Ea. | 2 |  | 0
| C.3 | Installation of Service Boxes | CW 3620
| i) | Service Box - Pre-Cast (17" x 30") |  | Ea. | 2 |  | 0
| C.4 | Installation of Conduit into Existing Utility Manholes and Service Boxes | CW 3620
| C.5 | Ground Rods (Electrodes) | CW 3620 | Ea. | 1 |  | 0
REMOVALS
| C.6 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base or Service Box |  | Ea. | 2 |  | 0
| ii) | Controller Base or Pedestal Base |  | Ea. | 1 |  | 0
MISCELLANEOUS
| C.7 | Cutovers | CW 3620 | Ea. | 4 |  | 0
Selkirk Ave. and Sinclair St.
INSTALLATIONS
| C.8 | Installation of Conduit | CW 3620
| i) | Installation of Conduit in Open Trench - Single |  | m | 25 |  | 0
| C.9 | Installation of Concrete Bases - Early Open | CW 3620
| i) | Signal Pole Base - Type OD (Medium Duty - 32 Dia. Bolts) |  | Ea. | 1 |  | 0
| ii) | Signal Pole Base - Type G (Light Duty - 32 Dia. Bolts) |  | Ea. | 1 |  | 0
| C.10 | Ground Rods (Electrodes) | CW 3620 | Ea. | 1 |  | 0
REMOVALS
| C.11 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Signal Pole Base or Service Box |  | Ea. | 2 |  | 0
MISCELLANEOUS
| C.12 | Cutovers | CW 3620 | Ea. | 1 |  | 0
| C | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK - WILLIAM AVE.
MH REPAIR (S-MH20017493)
F002 | D.1 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.2 |  | 0
MH REPAIR (S-MH20017500)
| D.2 | Patching Existing Manholes | CW 2130-R12 | v.m. | 2 |  | 0
MH REPAIR (S-MH70008138)
F002 | D.3 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0
MH REPAIR (S-MH20017498)
F002 | D.4 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
MH REPAIR (S-MH20017497)
F002 | D.5 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.8 |  | 0
MH REPAIR (S-MH70008180)
F002 | D.6 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.2 |  | 0
SEWER REPAIR (S-MA20019483)
E017 | D.7 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E018 | i) | 400 mm
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | D.8 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E021 | i) | 400 mm
E022 | a) | Class 3 Backfill |  | m | 1 |  | 0
E022A | D.9 | Sewer Inspection ( following repair) | CW 2145-R4
E022I | i) | 400 mm |  | m | 64 |  | 0
| D | WATER AND WASTE WORK - WILLIAM AVE. |  |  |  | Subtotal: | 0
| E | WATER AND WASTE WORK - SELKIRK AVE.
MH REPAIR (S-MH00012609)
| E.1 | Remove and Replace Existing Manhole | CW 2130-R12
| i) | SD-010
| a) | 1200mm diameter base |  | v.m. | 3.32 |  | 0
MH REPAIR (S-MH00012650)
| E.2 | Patching Existing Manholes | CW 2130-R12 | v.m. | 1 |  | 0
MH REPAIR (S-MH00008715)
F002 | E.3 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.1 |  | 0
MH REPAIR (S-MH00008700)
F002 | E.4 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.2 |  | 0
MH REPAIR (S-MH00008761)
F002 | E.5 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.7 |  | 0
| E.6 | Repair of Concrete Benching (up to 0.5 m2) | E28 | each | 1 |  | 0
SEWER REPAIR (S-MA00010838)
E017 | E.7 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E008 | E.8 | Sewer Service | CW 2130-R12
E009 | i) | 150 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
E042 | E.9 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm |  | each | 2 |  | 0
E022A | E.10 | Sewer Inspection ( following repair) | CW 2145-R4
E022E | i) | 300 mm |  | m | 114 |  | 0
SEWER REPAIR (S-MA00010935)
E017 | E.11 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E008 | E.12 | Sewer Service | CW 2130-R12
E009 | i) | 150 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
E042 | E.13 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm |  | each | 1 |  | 0
E022A | E.14 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm |  | m | 106 |  | 0
| E | WATER AND WASTE WORK - SELKIRK AVE. |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK
| F | WILLIAM AVE. - STREETLIGHT WORKS
NEW STREET LIGHT INSTALLATION
| F.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E22 | each | 14 |  | 0
| F.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E22 | lin.m | 488 |  | 0
| F.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E22 | each | 14 |  | 0
| F.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E22 | each | 5 |  | 0
| F.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E22 | each | 2 |  | 0
| F.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E22 | set | 1 |  | 0
| F.7 | Splicing 1/0 AL triplex cable or 3 single conductor street light cables. | E22 | set | 1 |  | 0
| F.8 | Installation of break-away base and reaction plate on base mounted poles up to 35'. | E22 | each | 14 |  | 0
| F.9 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E22 | per span | 14 |  | 0
| F.10 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E22 | per span | 14 |  | 0
| F.11 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E22 | each | 1 |  | 0
| F | WILLIAM AVE. - STREETLIGHT WORKS |  |  |  | Subtotal: | 0
| G | SELKIRK AVE. - STREETLIGHT WORKS
Arlington St. to Battery St. (2021)
NEW STREET LIGHT INSTALLATION
| G.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E22 | each | 4 |  | 0
| G.2 | Removal of 35' "Trolley" poles, poured in place concrete base, arm and luminaire | E22 | each | 16 |  | 0
| G.3 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E22 | lin.m | 1160 |  | 0
| G.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E22 | each | 20 |  | 0
| G.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E22 | each | 11 |  | 0
| G.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E22 | each | 5 |  | 0
| G.7 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E22 | each | 8 |  | 0
| G.8 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E22 | set | 20 |  | 0
| G.9 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E22 | per span | 20 |  | 0
| G.10 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E22 | per span | 20 |  | 0
McPhillips St. to Battery St. (2022)
NEW STREET LIGHT INSTALLATION
| G.11 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E22 | each | 2 |  | 0
| G.12 | Removal of 35' "Trolley" poles, poured in place concrete base, arm and luminaire | E22 | each | 12 |  | 0
| G.13 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E22 | lin.m | 625 |  | 0
| G.14 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E22 | each | 13 |  | 0
| G.15 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E22 | each | 7 |  | 0
| G.16 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E22 | each | 3 |  | 0
| G.17 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E22 | each | 4 |  | 0
| G.18 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E22 | set | 13 |  | 0
| G.19 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E22 | per span | 11 |  | 0
| G.20 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E22 | per span | 11 |  | 0
| G | SELKIRK AVE. - STREETLIGHT WORKS |  |  |  | Subtotal: | 0
| H | MOBILIZATION /DEMOLIBIZATION
I001 | H.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| H | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | WILLIAM AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST. |  |  |  | Subtotal: | 0
| B | SELKIRK AVE. RECONSTRUCTION - ARLINGTON ST. TO MCPHILLIPS ST. |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK - WILLIAM AVE. |  |  |  | Subtotal: | 0
| E | WATER AND WASTE WORK - SELKIRK AVE. |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK
| F | WILLIAM AVE. - STREETLIGHT WORKS |  |  |  | Subtotal: | 0
| G | SELKIRK AVE. - STREETLIGHT WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| H | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on D2: Insert reference to "Prices" clause from the "Bidding Procedures". Revise the Header by inserting the Tender #.
Note on E78: Pheifer, Henly: old version has vert m ( no period)
Note on E179: Pheifer, Henly: old version has vert m ( no period)
Note on B313: Verify clause numbering corresponds with the finalized Tender Document Eg. If you deleted B3 Site Investigation and D3 Definitions then the references will need to be revised.