## FORM B
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | WALL STREET ASPHALT RECONSTRUCTION - ST MATTHEWS AVE TO NOTRE DAME AVE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 22300 |  | 0
| A.2 | Hydro-Excavation | E14 | hour | 100 |  | 0
| A.3 | Sand Backfill Material | CW 2030-R7 | tonne | 100 |  | 0
A004 | A.4 | Sub-Grade Compaction | CW 3110-R21 | m² | 23830 |  | 0
A007 | A.5 | Supplying and Placing Sub-base Material | CW 3110-R21
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 10800 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 22200 |  | 0
A010 | A.6 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 3600 |  | 0
A012 | A.7 | Grading of Boulevards | CW 3110-R21 | m² | 5500 |  | 0
A016 | A.8 | Removal of Existing Concrete Bases | CW 3110-R21
A017 | i) | 600 mm Diameter or Less |  | each | 8 |  | 0
A022 | A.9 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 24000 |  | 0
A022A4 | A.10 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 24000 |  | 0
ROADWORKS - NEW CONSTRUCTION
B001 | A.11 | Pavement Removal | CW 3110-R21
B002 | i) | Concrete Pavement |  | m² | 24700 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 880 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 500 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 80 |  | 0
| iii) | 31.8 mm Diameter |  | each | 670 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 450 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B100r | A.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 20 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 5500 |  | 0
B124 | A.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | A.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B189 | A.17 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
C052 | A.18 | Supply Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B200 | A.19 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1500 |  | 0
B190 | A.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 120 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 20 |  | 0
B199 | A.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 900 |  | 0
C001 | A.22 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17
C004 | i) | Construction of 250 mm Concrete Pavement (Plain-Dowelled) |  | m² | 230 |  | 0
C007 | ii) | Construction of 230 mm Concrete Pavement (Plain-Dowelled) |  | m² | 25 |  | 0
C008 | iii) | Construction of 200 mm Concrete Pavement (Reinforced) |  | m² | 820 |  | 0
C015 | iv) | Construction of Monolithic Concrete Median Slabs | SD-226A | m² | 15 |  | 0
C018 | v) | Construction of Monolithic Concrete Bull-noses | SD-227C | m² | 10 |  | 0
C019 | A.23 | Concrete Pavements for Early Opening | CW 3310-R17
C022-24 | i) | Construction of 250 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 50 |  | 0
C022-72 | ii) | Construction of 250 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 660 |  | 0
C025-24 | iii) | Construction of 230 mm Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 10 |  | 0
C025-72 | iv) | Construction of 230 mm Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 60 |  | 0
C026-24 | v) | Construction of 200 mm Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 50 |  | 0
C026-72 | vi) | Construction of 200 mm Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 2450 |  | 0
C032 | A.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17
C033B | i) | Construction of Barrier (180 mm ht, Dowelled) | SD-205 | m | 30 |  | 0
C037B | ii) | Construction of Modified Barrier (180 mm ht, Integral) | SD-203B | m | 610 |  | 0
C045 | iii) | Construction of Lip Curb (40 mm ht, Integral) | SD-202B | m | 35 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Integral) | SD-229C | m | 480 |  | 0
| v) | Construction of Splash Strip (180 mm ht, Monolithic Barrier Curb, 750 mm width) for Asphalt Pavement | E19 | m | 2900 |  | 0
C047C | vi) | Construction of Splash Strip, ( Separate, 600 mm width) | SD-223B | m | 580 |  | 0
C035B | vii) | Construction of Barrier (180 mm ht, Integral) | SD-204 | m | 160 |  | 0
C050 | A.25 | Supply and Installation of Dowel Assemblies (31.8mm dowels) | CW 3310-R17 | m | 200 |  | 0
C051 | A.26 | 100 mm Concrete Sidewalk | CW 3325-R5 | m² | 5200 |  | 0
B114A | A.27 | 100 mm Sidewalk with Block Outs | E16 | m² | 220 |  | 0
| A.28 | Paving Stone Indicator Surface | E17 | m² | 20 |  | 0
B219 | A.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 37 |  | 0
C055 | A.30 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 2560 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 170 |  | 0
C063 | A.31 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 7130 |  | 0
JOINT AND CRACK SEALING
D006 | A.32 | Reflective Crack Maintenance | CW 3250-R7 | m | 5500 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.33 | Catch Basin | CW 2130-R12, E21
E004A | i) | SD-024, 1800 mm deep |  | each | 35 |  | 0
E004A | ii) | SD-024, 1800 mm deep c/w TF-100 |  | each | 7 |  | 0
E005A | iii) | SD-025, 1800 mm deep c/w solid cover (AP-007) |  | each | 1 |  | 0
E006 | A.34 | Catch Pit | CW 2130-R12, E21
E007 | i) | SD-023 |  | each | 5 |  | 0
E007 | ii) | SD-023 c/w TF-100 |  | each | 1 |  | 0
E051 | A.35 | Installation of Subdrains | CW 3120-R4 | m | 510 |  | 0
E008 | A.36 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 35 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 230 |  | 0
E009 | ii) | 300 mm, PVC
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 10 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 35 |  | 0
E013 | A.37 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 55.8 |  | 0
E014 | ii) | 300 mm
E016 | a) | SD-015 |  | vert. m | 6.5 |  | 0
E032 | A.38 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E036 | A.39 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E039 | a) | Connecting to 375 mm Sewer |  | each | 8 |  | 0
| b) | Connecting to 400 mm Sewer |  | each | 2 |  | 0
E040 | c) | Connecting to 450 mm Sewer |  | each | 8 |  | 0
E041A | d) | Connecting to 600 mm Sewer |  | each | 14 |  | 0
E041B | e) | Connecting to 750 mm Sewer |  | each | 2 |  | 0
E037 | ii) | 300 mm PVC Connecting Pipe
E040 | a) | Connecting to 450 mm Sewer |  | each | 2 |  | 0
E041A | b) | Connecting to 600 mm Sewer |  | each | 4 |  | 0
E023 | A.40 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 34 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 34 |  | 0
E046 | A.41 | Removal of Existing Catch Basins | CW 2130-R12 | each | 43 |  | 0
E047 | A.42 | Removal of Existing Catch Pit | CW 2130-R12 | each | 11 |  | 0
E050 | A.43 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 19 |  | 0
| A.44 | Abandoning Existing Sewer Service Under Pavement | CW 2130-R12
| i) | Existing Catchbasin Leads (250 mm or smaller) |  | each | 43 |  | 0
| A.45 | Sewer Inspection | CW 2145-R4
| i) | 250 mm, PVC SSP |  | m | 35 |  | 0
ADJUSTMENTS
F001 | A.46 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8, E20 | each | 34 |  | 0
F003 | A.47 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 15 |  | 0
F006 | ii) | 64 mm |  | each | 20 |  | 0
F009 | A.48 | Adjustment of Valve Boxes | CW 3210-R8 | each | 50 |  | 0
F010 | A.49 | Valve Box Extensions | CW 3210-R8 | each | 10 |  | 0
F011 | A.50 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 75 |  | 0
F018 | A.51 | Curb Stop Extensions | CW 3210-R8 | each | 15 |  | 0
F020 | A.52 | Relocating Existing Hydrant - Type B | CW 2110-R11 | each | 1 |  | 0
LANDSCAPING
G001 | A.53 | Sodding | CW 3510-R9
G002 | i) | width < 600 mm |  | m² | 850 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 4650 |  | 0
TEMPORARY WORKS
A003 | A.54 | Excavation | CW 3110-R21 | m³ | 50 |  | 0
A010 | A.55 | Supplying and Placing Base Course Material | CW 3110-R21
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 50 |  | 0
B001 | A.56 | Pavement Removal | CW 3110-R21
| i) | Temporary Asphalt Pavement |  | m² | 880 |  | 0
C055 | A.57 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 35 |  | 0
| A.58 | Remove Existing Concrete Parking Curbs | E22 | m | 5 |  | 0
| A.59 | Supply and Installation of Concrete Parking Curbs | E22 | m | 5 |  | 0
RENEWALS - STREET LIGHTING/SIGNALS
B064-72 | A.60 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Concrete Pavement (Type A) |  | m² | 10 |  | 0
B087-72 | ii) | 200 mm Concrete Pavement (Type B) |  | m² | 10 |  | 0
B094 | A.61 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 40 |  | 0
B097 | A.62 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 40 |  | 0
B114rl | A.63 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 70 |  | 0
B154rl | A.64 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B156rlA1 | a) | Less than 3 m |  | m | 5 |  | 0
B156rlA2 | b) | 3 m to 30 m |  | m | 30 |  | 0
| A | WALL STREET ASPHALT RECONSTRUCTION - ST MATTHEWS AVE TO NOTRE DAME AVE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
EPR (S-MA20009480)
E017 | B.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017G | i) | 300 mm
E017H | a) | Class 3 Backfill |  | each | 1 |  | 0
E036 | B.2 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 150 mm Connecting Pipe
E038 | a) | Connecting to 300 mm Sewer |  | each | 1 |  | 0
E022A | B.3 | Sewer Inspection ( following repair) | CW2145-R4
E022E | i) | 300 mm Sewer |  | m | 86 |  | 0
MH REPLACEMENT (S-MH20008644)
| B.4 | Remove and Replace Existing Manhole | CW 2130-R12
| i) | SD-010 |  | vert. m | 4.1 |  | 0
| B.5 | Manhole Inspection | CW2145-R4 | each | 1 |  | 0
MH REPAIR (S-MH20008665)
F002 | B.6 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.1 |  | 0
| B.7 | Manhole Inspection | CW2145-R4 | each | 1 |  | 0
MH REPAIRS (S-MH20008691)
F002 | B.8 | Remove and Replace Existing Manhole | CW 2130-R12
F002A | i) | SD-010 |  | vert. m | 4.2 |  | 0
| B.9 | Manhole Inspection | CW2145-R4 | each | 1 |  | 0
EPR (S-MA20009476)
E017 | B.10 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017I | i) | 375 mm
E017J | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | B.11 | Sewer Inspection ( following repair) | CW2145-R4
E022F | i) | 375 mm, Combined Sewer |  | m | 86 |  | 0
E008 | B.12 | Sewer Service | CW 2130-R12
E009 | i) | 150 mm, PVC
E011 | a) | Trenchless Installation, Class B sand bedding, Class 3 Backfill |  | m | 9.2 |  | 0
E042 | B.13 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 150 mm |  | each | 1 |  | 0
MH REPAIRS (S-MH20009431)
| B.14 | Patching Existing Manhole | CW2130-R12 | vert. m | 0.6 |  | 0
| B.15 | Manhole Inspection | CW2145-R4 | each | 1 |  | 0
WATER SERVICE INSULATION
E072 | B.16 | Water Service Insulation | E18
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 900 |  | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS
ST MATTHEWS AVE AND WALL ST
| C.1 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 40 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 120 |  | 0
| iii) | Installation of Conduit by Directional Boring- Single |  | m | 40 |  | 0
| iv) | Installation of Conduit by Directional Boring- Double |  | m | 120 |  | 0
| C.2 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313, E23, E26 | each | 4 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A, E23, E26 | each | 3 |  | 0
| iii) | Controller Base |  | each | 1 |  | 0
| C.3 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast (17"x30") | SD-322, E24 | each | 7 |  | 0
REMOVALS
| C.4 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0
| ii) | Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
MISCELLANEOUS
| C.5 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.6 | Cutovers | CW 3620, E12 | each | 1 |  | 0
ELLICE AND WALL
| C.7 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 10 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 10 |  | 0
| C.8 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313, E23, E26 | each | 1 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A, E23, E26 | each | 1 |  | 0
| C.9 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast (17"x30") | SD-322, E24 | each | 1 |  | 0
REMOVALS
| C.10 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
MISCELLANEOUS
| C.11 | Cutovers | CW 3620, E12 | each | 4 |  | 0
WELLINGTON AVE AND WALL STREET
| C.12 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 35 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 100 |  | 0
| iii) | Installation of Conduit by Directional Boring- Single |  | m | 35 |  | 0
| iv) | Installation of Conduit by Directional Boring- Double |  | m | 100 |  | 0
| C.13 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313, E23, E26 | each | 3 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A, E23, E26 | each | 3 |  | 0
| iii) | Controller Base |  | each | 1 |  | 0
| C.14 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast (17"x30") | SD-322, E24 | each | 4 |  | 0
REMOVALS
| C.15 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base or Service Box | CW 3620 | each | 8 |  | 0
| ii) | Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
MISCELLANEOUS
| C.16 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.17 | Cutovers | CW 3620, E12 | each | 1 |  | 0
NOTRE DAME AVE AND WALL ST
| C.18 | Installation of Conduit | CW 3620-R9
| i) | Installation of Conduit in Open Trench- Single |  | m | 220 |  | 0
| ii) | Installation of Conduit in Open Trench- Double |  | m | 70 |  | 0
| C.19 | Installation of Concrete Bases | CW 3620-R9
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) - Early Opening | SD-313, E23, E26 | each | 1 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) - Early Opening | SD-312A, E23, E26 | each | 1 |  | 0
| iii) | Pedestal Base | SD-302 | each | 1 |  | 0
| C.20 | Installation of Service Boxes | CW 3620-R9
| i) | Service Box- Pre-Cast (17"x30") | SD-322, E24 | each | 5 |  | 0
REMOVALS
| C.21 | Removal of Existing Bases and Service Boxes
| i) | Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
| ii) | Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
MISCELLANEOUS
| C.22 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| C.23 | Cutovers | CW 3620, E12 | each | 4 |  | 0
| C | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.6, D3, D13.2-3, D14.5)
| D | STREET LIGHT INSTALLATION
| D.1 | Removal of 25' to 35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E15 | each | 4 |  | 0
| D.2 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E15 | each | 7 |  | 0
| D.3 | Installation of 50mm conduit(s) by open trench method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex) | E15 | m | 605 |  | 0
| D.4 | Installation of 50mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex) | E15 | m | 190 |  | 0
| D.5 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances | E15 | each | 6 |  | 0
| D.6 | Installation of 45' pole, davit arm and precast concrete base including luminaire and appurtenances | E15 | each | 7 |  | 0
| D.7 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod | E15 | each | 7 |  | 0
| D.8 | Install lower 3m of Cable Guard, ground lug, cable up pole, and first 3m section of ground rod per Standard CD 315-5 | E15 | each | 2 |  | 0
| D.9 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10 | E15 | set | 19 |  | 0
| D.10 | Installation of overhead span of #4 duplex between new or existing street light poles and connect luminaire to provide temporary Overhead Feed | E15 | per span | 20 |  | 0
| D.11 | Removal of overheard span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed | E15 | per span | 20 |  | 0
| D.12 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable | E15 | m | 6 |  | 0
| D | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
| E | MOBILIZATION /DEMOLIBIZATION
I001 | E.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | WALL STREET ASPHALT RECONSTRUCTION - ST MATTHEWS AVE TO NOTRE DAME AVE |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.6, D3, D13.2-3, D14.5)
| D | STREET LIGHT INSTALLATION |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0