## Accreditation
|  |  | YES | NO
Item | Description | Spec. Ref | Accredited for Parameter required (Yes/No) | If No, Industry Accreditation possible (Yes/No) | Comment
SECTION A (Water)
1 | Taste and Odour Compounds in water | E3.1
2 | Volatile Organic Compounds in water | E3.2
3 | NDMA in water | E3.3
4 | Total Microcystin in water | E3.4
5 | Total Mercury in water | E3.5
6 | COW Test #12 (Pesticides) in water | E3.6
7 | Chromium, Hexavalent in water | E3.7
8 | Perchlorate in water | E3.8
9 | Total Metals in water | E3.9
10 | Total Kjeldahl Nitrogen in water | E3.10
11 | Total Phosphorus in water | E3.11
12 | Total Reactive Phosphorus in water | E3.12
13 | Blue-Green Algae in water | E3.13
14 | Microtoxicity in water | E3.14
15 | Zebra Mussel Identification in water | E3.15
16 | Alcohol and Glycols in water | E3.16
17 | Algae Toxins in water | E3.17
18 | Surcharge fee for rush analysis | E3.18
SECTION B (Wastewater)
19 | Fecal Coliform in wastewater | E4.1
20 | Fecal Coliform in wastewater to true endpoint | E4.2
21 | Escherichia Coliform in wastewater | E4.3
22 | Escherichia Coliform in wastewater to true end point | E4.4
23 | Total & Escherichia Coliforms in wastewater | E4.5
24 | Total & Escherichia Coliforms in wastewater to true endpoint | E4.6
25 | Total Mercury in wastewater | E4.7
26 | Total Mercury in Dewatered Sludge | E4.8
27 | Total Organic Carbon in Dewatered Sludge | E4.9
28 | Moisture in Dewatered Sludge | E4.10
29 | Total Nitrogen in wastewater | E4.11
30 | Total Organic Carbon in wastewater | E4.12
31 | Dissolved Organic Carbon in wastewater | E4.13
32 | Ammonia in wastewater | E4.14
33 | Total Metals in wastewater | E4.15
34 | Total Nitrogen in wastewater sludge | E4.16
35 | Available Nutrients in Dewatered Sludge | E4.17
36 | Available Ammonia in Dewatered Sludge | E4.18
37 | Loss on Ignition | E4.19
38 | Surcharge fee for rush analysis | E4.20
SECTION C (Schedule A, Wastewater)
39 | Total Metals in wastewater | E5.1
40 | Miscellaneous Compounds in wastewater | E5.2
41 | Volatile Organic Compounds in wastewater | E5.3
42 | Target Compounds (by GC/MS) in wastewater | E5.4
43 | Phenoxyacid Herbicides (by GC/MS) in wastewater | E5.5
44 | Organochlorine Pesticides in wastewater | E5.6
45 | Polychlorinated Biphhenyls (PCBs) in wastewater | E5.7
46 | PCDD (Dioxins) and PCDF (Furans) in wastewater | E5.8
47 | EPA 8270 Extractables in wastewater | E5.9
48 | Nonylphenols and Nonylphenol Ethoxylates in wastewater | E5.10
49 | Schedule A Testing (Complete set, items 39 to 48) | E5.11
50 | Trout Bioassay-Pass/Fail in wastewater | E5.12
51 | Trout Bioassay-Pass/Fail with pH Stabilization in wastewater | E5.13
52 | Nitrate in wastewater | E5.14
53 | Surcharge fee for rush analysis | E5.15 | percent | 1
SECTION D (Giardia & Cryptosporidium)
54 | Testing of Giardia & Cryptosporidium in water | E6.1
55 | Testing of Giardia & Cryptosporidium in wastewater | E6.2
56 | Filta-Max Filter Modules (delivery) | E6.3
57 | Surcharge fee for rush analysis | E6.4
SECTION E (REGULATORY TESTING, Water)
58 | Manitoba Conservation Test 54 PWS (General Chemistry) | E7.1
59 | Bromate | E7.2
60 | Total Metals | E7.3
61 | Surcharge fee for rush analysis | E7.4 | percent | 1
SECTION F (Schedule B, Industrial Waste & Schedule D, Land Drainage)
62 | Total Metals in Industrial Wastewater | E8.1
63 | Total Mercury in Industrial Wastewater | E8.2
64 | Chromium (hexavalent) in Industrial Wastewater | E8.3
65 | Total Cyanide in Industrial Wastewater | E8.4
66 | Biochemical Oxygen Demand in Industrial Wastewater | E8.5
67 | Total Suspended Solids in Industrial Wastewater | E8.6
68 | Fluoride in Industrial Wastewater | E8.7
69 | Total Nitrogen in Industrial Wastewater | E8.8
70 | Total Phosphorus in Industrial Wastewater | E8.9
71 | Total Sulphate in Industrial Wastewater | E8.10
72 | Total Sulphide in Industrial Wastewater | E8.11
73 | Organochorine Pesticides in Industrial Wastewater | E8.12
74 | Total Polychlorinated Biphenols (PCBs) in Industrial Wastewater | E8.13
75 | Volatile Organic Compounds in Industrial Wastewater | E8.14
76 | 3,3-Dichlorobenzidine in Industrial Wastewater | E8.15
77 | Pentachlorophenol (PCP) in Industrial Wastewater | E8.16
78 | Total Polycyclic aromatic hydrocarbons (PAHs) in Industrial Wastewater | E8.17
79 | Nonylphenol and Nonylphenol Ethoxylates in Industrial Wastewater | E8.18
80 | Total Phenolics (4AAP) in Industrial Wastewater | E8.19
81 | Oil and Grease in Industrial Wastewater | E8.20
82 | Hydrocarbons in Industrial Wastewater | E8.21
83 | Schedule B Testing (Complete set, items 62 to 82) | E8.22
84 | Escherichia Coliform in Land Drainage Wastewater | E8.23
85 | Ammonia in Land Drainage Wastewater | E8.24
86 | Biochemical Oxygen Demand in Land Drainage Wastewater | E8.25
87 | Chromium (hexavalent) in Land Drainage Wastewater | E8.26
88 | Total Cyanide in Land Drainage Wastewater | E8.27
89 | Extractables in Land Drainage Wastewater | E8.28
90 | Total Mercury in Land Drainage Wastewater | E8.29
91 | Nonylphenol and Nonylphenol Ethoxylates in Land Drainage Wastewater | E8.30
92 | Organochlorine Pesticides in Land Drainage Wastewater | E8.31
93 | Phenols (4AAP) in Land Drainage Wastewater | E8.32
94 | Total Phosphorus in Land Drainage Wastewater | E8.33
95 | Total Polycyclic aromatic hydrocarbons (PAHs) in Land Drainage Wastewater | E8.34
96 | Total Metals in Land Drainage Wastewater | E8.35
97 | Total Polychlorinated Biphenols (PCBs) in Land Drainage Wastewater | E8.36
98 | Total Suspended Solids in Land Drainage Wastewater | E8.37
99 | Volatile Organic Compounds in Land Drainage Wastewater | E8.38
100 | Oil and Grease in Land Drainage Wastewater | E8.39
101 | Hydrocarbons in in Land Drainage Wastewater | E8.40
102 | Schedule D Testing (Complete set, 84 to 101) | E8.41
103 | Carbon Oxygen Demand in Industrial Wastewater | E8.42
104 | Surcharge fee for rush analysis | E8.43
SECTION G (Water and Soils, from Landfills)
105 | Total Cyanide in landfill water | E9.1
106 | Microbiological parameters in landfill water | E9.2
107 | Anions in landfill water | E9.3
108 | Anions and Nutrients in landfill water | E9.4
109 | Organic/Inorganic Carbon in landfill water | E9.5
110 | Dissolved Metals in landfill water | E9.6
111 | Dissolved Mercury in landfill water | E9.7
112 | Speciated Metals in landfill water | E9.8
113 | Specific OC Pesticide in landfill water | E9.9
114 | Phenoxy Acid Herbicides in landfill water | E9.10
115 | Total Mercury in landfill water | E9.11
116 | Phenol in landfill water | E9.12
117 | Petroleum Hydrocarbons in landfill water | E9.13
118 | Volatile Organic Compounds in landfill water | E9.14
119 | Polycyclic Aromatic Hydrocarbons in landfill water | E9.15
120 | Total Metals in landfill water | E9.16
121 | Oil and Grease in landfill water | E9.17
122 | Specific Polycyclic Aromatic Hydrocarbons in landfill water | E9.18
123 | OC/OP Pesticides and PCB in landfill water | E9.19
124 | Dioxins and Furans in landfill water | E9.20
125 | Low Level Total Mercury in landfill water | E9.21
126 | Low Level Dissolved Mercury in landfill water | E9.22
127 | Dissolved Organic Carbon in landfill water | E9.23
128 | Nutrients in landfill water | E9.24
129 | Calculated Carbon and Nitrogen parameters in landfill soil | E9.25
130 | Anions in landfill soil | E9.26
131 | Hexavalent Chromium in landfill soil | E9.27
132 | Nutrients in landfill soil | E9.28
133 | Physical properties in landfill soil | E9.29
134 | Soluble parameters in landfill soil | E9.30
135 | Total metals in landfill soil | E9.31
136 | Organics in landfill soil | E9.32
137 | Total Organic in landfill soil | E9.33
138 | Soluble parameters in landfill soil | E9.34
139 | Moisture Content in landfill soil | E9.35
140 | Selected Metals in landfill soil | E9.36