## Sheet1
= To be filled out by proponent
Form I(R1): Detailed Prices (See D12) NEWPCC AND SEWPCC MEDIUM AND LOW VOLTAGE EQUIPMENT MAINTENANCE SERVICE CONTRACT
ITEM NO. | DESCRIPTION | SPEC. REF. | UNIT | APPROX. QUANTITY | UNIT PRICE | AMOUNT
1. | 66 kV transformers maintenance for every 12 months. | F1.1 (ii) Maintenance Schedule – MV Liquid transformer | Lump Sum |  |  | 0
2. | 66 kV transformers maintenance for every 24 months. | F1.1 (ii) Maintenance Schedule – MV Liquid transformer | Lump Sum |  |  | 0
3. | 66 kV transformers maintenance for every 60 months. | F1.1 (ii) Maintenance Schedule – MV Liquid transformer | Lump Sum |  |  | 0
4. | 12 kV transformers maintenance for every 12 months. | F1.1 (ii) Maintenance Schedule – MV Padmount transformer | Lump Sum |  |  | 0
5. | 12 kV transformers maintenance for every 60 months. | F1.1 (ii) Maintenance Schedule – MV Padmount transformer | Lump Sum |  |  | 0
6. | 4kV dry type transformers maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – MV and LV Dry Type Transformer | Lump Sum |  |  | 0
7. | 4kV dry type transformers maintenance every 24 months. | F1.1 (ii) Maintenance Schedule – MV and LV Dry Type Transformer | Lump Sum |  |  | 0
8. | CCVT maintenance every 12 months | F1.1 (ii) Maintenance Schedule – Potential Transformer | Lump Sum |  |  | 0
9. | Instrument transformers maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Potential Transformer and Current Transformer | Lump Sum |  |  | 0
10. | LV dry type transformers maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – MV and LV Dry Type Transformer | Lump Sum |  |  | 0
11. | LV dry type transformers maintenance every 24 months. | F1.1 (ii) Maintenance Schedule – MV and LV Dry Type Transformer | Lump Sum |  |  | 0
12. | 66 kV circuit switcher maintenance for every 6 months. | F1.1 (ii) Maintenance Schedule – 66 kV Circuit Switcher | Lump Sum |  |  | 0
13. | 66 kV circuit switcher maintenance for every 12 months. | F1.1 (ii) Maintenance Schedule – 66 kV Circuit Switcher | Lump Sum |  |  | 0
14. | 66 kV circuit switcher maintenance for every 36 months. | F1.1 (ii) Maintenance Schedule – 66 kV Circuit Switcher | Lump Sum |  |  | 0
15. | 66 kV circuit switcher maintenance for every 72 months. | F1.1 (ii) Maintenance Schedule – 66 kV Circuit Switcher | Lump Sum |  |  | 0
16. | 66 kV disconnect maintenance for every 12 months. | F1.1 (ii) Maintenance Schedule – 72.5 kV Disconnect Switches | Lump Sum |  |  | 0
17. | 66 kV disconnect maintenance for every 36 months. | F1.1 (ii) Maintenance Schedule – 72.5 kV Disconnect Switches | Lump Sum |  |  | 0
18. | 66 kV circuit breakers maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – 72.5 kV Disconnect Switches | Lump Sum |  |  | 0
19. | 66 kV circuit breakers maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – 72.5 kV Disconnect Switches | Lump Sum |  |  | 0
20. | MV switchgear (including breakers, fuses, meters, etc.) maintenance every 12 month. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
21. | MV switchgear (including breakers, fuses, meters, etc.) maintenance every 24 month. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
22. | MV switchgear (including breakers, fuses, meters, etc.) maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
23. | LV switchgear (including breakers, fuses, meters, etc.) maintenance every 12 month. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
24. | LV switchgear (including breakers, fuses, meters, etc.) maintenance every 24 month. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
25. | LV switchgear (including breakers, fuses, meters, etc.) maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – 2. Circuit Breaker, 4. Switchgear, & 6. Relay | Lump Sum |  |  | 0
26. | MV cables maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – MV cables | Lump Sum |  |  | 0
27. | MV cables maintenance every 24 months. | F1.1 (ii) Maintenance Schedule – MV cables | Lump Sum |  |  | 0
28. | MV cables maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – MV cables | Lump Sum |  |  | 0
29. | Cable bus and cable tray maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – 5 Cables and Buses | Lump Sum |  |  | 0
30. | Cable bus and cable tray maintenance every 24 months. | F1.1 (ii) Maintenance Schedule – Cables and Buses | Lump Sum |  |  | 0
31. | Cable bus and cable tray maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – Cables and Buses | Lump Sum |  |  | 0
32. | UPS maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – UPS | Lump Sum |  |  | 0
33. | UPS maintenance every 24 months. | F1.1 (ii) Maintenance Schedule – UPS | Lump Sum |  |  | 0
34. | UPS maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – UPS | Lump Sum |  |  | 0
35. | Electronic relays maintenance every 12 months. | F1.1 (ii) Maintenance Schedule - Relays | Lump Sum |  |  | 0
36. | Arresters maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Arresters | Lump Sum |  |  | 0
37. | NGR maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – NGR | Lump Sum |  |  | 0
38. | Load bank maintenance every 6 months. | F1.1 (ii) Maintenance Schedule – Load Bank | Lump Sum |  |  | 0
39. | Load bank maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Load Bank | Lump Sum |  |  | 0
40. | Ground grid maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Grounding Grid | Lump Sum |  |  | 0
41. | Disconnect switch maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Disconnect Switches | Lump Sum |  |  | 0
42. | Disconnect switch maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – Disconnect Switches | Lump Sum |  |  | 0
43. | Transfer Switch maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Transfer Switches | Lump Sum |  |  | 0
44. | Transfer Switch maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – Transfer Switches | Lump Sum |  |  | 0
45. | Battery Bank maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Battery System | Lump Sum |  |  | 0
46. | Battery Bank maintenance every 36 months. | F1.1 (ii) Maintenance Schedule – Battery System | Lump Sum |  |  | 0
47. | Capacitor maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Capacitor | Lump Sum |  |  | 0
48. | Harmonic filter maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Harmonic Filter | Lump Sum |  |  | 0
49. | Distribution panels & MCC maintenance every 12 months. | F1.1 (ii) Maintenance Schedule – Distribution Panel | Lump Sum |  |  | 0
50. | Performing IR scan for equipment, 2 people with AF rated protection – per day. | F1.1 (ii) Maintenance Schedule, | Lump Sum |  |  | 0
51. | Clean the switchyard area (including snow removal) – per day. | D2.1 | Lump Sum |  |  | 0
52. | Hourly rate for misc. tasks as required by the City – Service technicians | D2.6 | Hourly |  |  | 0
53. | Check and record the reading of all gauges of new transformers, SF6 equipment for each site. | F1.1 (ii) Maintenance Schedule | Hourly |  |  | 0
54. | Creating and installing cable tags for MV cables | E3.11 | 1 |  |  | 0
55. | Daily rate for rental of man/ scissor lift | D12.3 | Daily |  |  | 0
56. | Hourly rate for misc. tasks as required by the City – Protection Relay Programming Technician. | D2.9(a)(v) | Hourly |  |  | 0
57. | Maintenance report for all activities during the shutdown period. | E5.1 | Lump Sum |  |  | 0
58. | Hourly rate for emergency services as required by the City | D16.6 | Hourly |  |  | 0
59. | Job meetings | D22.1 | Lump Sum |  |  | 0
60. | Hourly rate for rental of specialty equipment & type of equipment (Add more line as required) Hourly rates shall include all required equipment not included in specific hourly rentals. ***For Equipment Rates and hourly rates add as believed necessary. | E3.10 (k) | Hourly |  |  | 0
61. | Hourly rate for other equipment not especially priced. (Add more line as required) Hourly rates shall include all required equipment not included in specific hourly rentals. ***For Equipment Rates and hourly rates add as believed necessary. |  | Hourly |  |  | 0