## 307-2022
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT | Locked? | Joined, Trimmed, & Cleaned for Checking | MATCH | Format F | Format G | Format H
|  |  | REF. |  | QUANTITY |  |  | LOCKED | REF. | #REF! | G | C2 | G
[8 empty] | LOCKED |  | #REF! | G | C2 | G
| PART 1 CITY FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | C2 | G
| A | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | [5 empty] | LOCKED | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
|  | EARTH AND BASE WORKS |  |  |  |  | 0 | LOCKED | EARTH AND BASE WORKS | #REF! | F0 | C2 | C2
A003 | A.1 | Excavation | CW 3110-R21 | m³ | 3800 |  | 0 |  | A003ExcavationCW 3110-R21m³ | #REF! | F0 | C2 | C2
A004 | A.2 | Sub-Grade Compaction | CW 3110-R21 | m² | 6300 |  | 0 |  | A004Sub-Grade CompactionCW 3110-R21m² | #REF! | F0 | C2 | C2
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R21 |  |  |  | 0 | LOCKED | A007Supplying and Placing Sub-base MaterialCW 3110-R21 | #REF! | F0 | C2 | C2
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1200 |  | 0 |  | A007A150 mm Granular A Limestonetonne | #REF! | F0 | C2 | C2
A007B3 | ii) | 50 mm Granular B |  | tonne | 200 |  | 0 |  | A007B350 mm Granular Btonne | #REF! | F0 | C2 | C2
A008A1 | iii) | 100 mm Granular A Limestone |  | tonne | 5000 |  | 0 |  | A008A1100 mm Granular A Limestonetonne | #REF! | F0 | C2 | C2
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R21 |  |  |  | 0 | LOCKED | A010Supplying and Placing Base Course MaterialCW 3110-R21 | #REF! | F0 | C2 | C2
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1000 |  | 0 |  | A010A1Base Course Material - Granular A Limestonem³ | #REF! | F0 | C2 | C2
A012 | A.5 | Grading of Boulevards | CW 3110-R21 | m² | 1500 |  | 0 |  | A012Grading of BoulevardsCW 3110-R21m² | #REF! | F0 | C2 | C2
A022 | A.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0 | LOCKED | A022Geotextile FabricCW 3130-R5 | #REF! | F0 | C2 | C2
A022A2 | i) | Separation/Filtration Fabric |  | m² | 6300 |  | 0 |  | A022A2Separation/Filtration Fabricm² | #REF! | F0 | C2 | C2
A022A4 | A.7 | Supply and Install Geogrid | CW 3135-R2 |  |  |  | 0 | LOCKED | A022A4Supply and Install GeogridCW 3135-R2 | #REF! | F0 | C2 | C2
A022A5 | i) | Class A Geogrid |  | m² | 6300 |  | 0 |  | A022A5Class A Geogridm² | #REF! | F0 | C2 | C2
|  | ROADWORKS - REMOVALS/RENEWALS |  |  |  |  | 0 | LOCKED | ROADWORKS - REMOVALS/RENEWALS | #REF! | F0 | C2 | C2
B001 | A.8 | Pavement Removal | CW 3110-R21 |  |  |  | 0 | LOCKED | B001Pavement RemovalCW 3110-R21 | #REF! | F0 | C2 | C2
B002 | i) | Concrete Pavement |  | m² | 7500 |  | 0 |  | B002Concrete Pavementm² | #REF! | F0 | C2 | C2
B003 | ii) | Asphalt Pavement |  | m² | 200 |  | 0 |  | B003Asphalt Pavementm² | #REF! | F0 | C2 | C2
B094 | A.9 | Drilled Dowels | CW 3230-R8 |  |  |  | 0 | LOCKED | B094Drilled DowelsCW 3230-R8 | #REF! | F0 | C2 | C2
B095 | i) | 19.1 mm Diameter |  | each | 50 |  | 0 |  | B09519.1 mm Diametereach | #REF! | F0 | C2 | C2
B096 | ii) | 28.6 mm Diameter |  | each | 360 |  | 0 |  | B09628.6 mm Diametereach | #REF! | F0 | C2 | C2
B097 | A.10 | Drilled Tie Bars | CW 3230-R8 |  |  |  | 0 | LOCKED | B097Drilled Tie BarsCW 3230-R8 | #REF! | F0 | C2 | C2
B098 | i) | 20 M Deformed Tie Bar |  | each | 200 |  | 0 |  | B09820 M Deformed Tie Bareach | #REF! | F0 | C2 | C2
B099 | ii) | 25 M Deformed Tie Bar |  | each | 25 |  | 0 |  | B09925 M Deformed Tie Bareach | #REF! | F0 | C2 | C2
B100r | A.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9 |  |  |  | 0 | LOCKED | B100rMiscellaneous Concrete Slab RemovalCW 3235-R9 | #REF! | F0 | C2 | C2
B101r | i) | Median Slab |  | m² | 80 |  | 0 |  | B101rMedian Slabm² | #REF! | F0 | C2 | C2
B102r | ii) | Monolithic Median Slab |  | m² | 155 |  | 0 |  | B102rMonolithic Median Slabm² | #REF! | F0 | C2 | C2
B104r | iii) | 100 mm Sidewalk |  | m² | 270 |  | 0 |  | B104r100 mm Sidewalkm² | #REF! | F0 | C2 | C2
B105r | iv) | Bullnose |  | m² | 5 |  | 0 |  | B105rBullnosem² | #REF! | F0 | C2 | C2
B106r | v) | Monolithic Curb and Sidewalk |  | m² | 1075 |  | 0 |  | B106rMonolithic Curb and Sidewalkm² | #REF! | F0 | C2 | C2
B114A | A.12 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 65 |  | 0 |  | B114AType 5 Concrete 100 mm Sidewalk with Block Outsm² | #REF! | F0 | C2 | C2
B114E | A.13 | Paving Stone Indicator Surfaces |  |  |  |  | 0 | LOCKED | B114EPaving Stone Indicator Surfaces | #REF! | F0 | C2 | C2
| i) | Charcoal Holland Paver (210 mm x 210 mm x 60 mm) | E14 | m² | 10 |  | 0 |  | Charcoal Holland Paver(210 mm x 210 mm x 60 mm)m² | #REF! | F0 | C2 | C2
| ii) | Natural Holland Paver (210 mm x 210 mm x 60 mm and 105 mm x 210 mm x 60 mm) | E17 | m² | 2 |  | 0 |  | Natural Holland Paver(210 mm x 210 mm x 60 mm and105 mm x 210 mm x 60 mm)m² | #REF! | F0 | C2 | C2
B114rl | A.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E28 |  |  |  | 0 | LOCKED | B114rlMiscellaneous Concrete Slab RenewalCW 3235-R9, E28 | #REF! | F0 | C2 | C2
B115rl | i) | Type 2 Concrete Median Slab | SD-227A | m² | 65 |  | 0 |  | B115rlType 2 Concrete Median SlabSD-227Am² | #REF! | F0 | C2 | C2
B124 | A.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 25 |  | 0 |  | B124Adjustment of Precast Sidewalk BlocksCW 3235-R9m² | #REF! | F0 | C2 | C2
B125 | A.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0 |  | B125Supply of Precast Sidewalk BlocksCW 3235-R9m² | #REF! | F0 | C2 | C2
B125A | A.17 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0 |  | B125ARemoval of Precast Sidewalk BlocksCW 3235-R9m² | #REF! | F0 | C2 | C2
B126r | A.18 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0 | LOCKED | B126rConcrete Curb RemovalCW 3240-R10 | #REF! | F0 | C2 | C2
B127rB | i) | Barrier Separate |  | m | 25 |  | 0 |  | B127rBBarrier Separatem | #REF! | F0 | C2 | C2
B134rA | ii) | Splash Strip Monolithic |  | m | 350 |  | 0 |  | B134rASplash Strip Monolithicm | #REF! | F0 | C2 | C2
B135i | A.19 | Concrete Curb Installation | CW 3240-R10 |  |  |  | 0 | LOCKED | B135iConcrete Curb InstallationCW 3240-R10 | #REF! | F0 | C2 | C2
B136i | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 25 |  | 0 |  | B136iType 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205m | #REF! | F0 | C2 | C2
B154rl | A.20 | Concrete Curb Renewal | CW 3240-R10, E28 |  |  |  | 0 | LOCKED | B154rlConcrete Curb RenewalCW 3240-R10, E28 | #REF! | F0 | C2 | C2
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A |  |  |  | 0 | LOCKED | B155rlAType 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205,SD-206A | #REF! | F0 | C2 | C2
B155rlA2 | a) | 3 m to 30 m |  | m | 50 |  | 0 |  | B155rlA23 m to 30 mm | #REF! | F0 | C2 | C2
B184rlA | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 20 |  | 0 |  | B184rlAType 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic)SD-229C,Dm | #REF! | F0 | C2 | C2
B189 | A.21 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0 |  | B189Regrading Existing Interlocking Paving StonesCW 3330-R5m² | #REF! | F0 | C2 | C2
| A.22 | Salvage of Existing Transit Blue Paving Stones | E15 | m² | 2 |  | 0 |  | Salvage of Existing Transit Blue Paving Stonesm² | #REF! | F0 | C2 | C2
B190 | A.23 | Construction of Asphaltic Concrete Overlay | CW 3410-R12 |  |  |  | 0 | LOCKED | B190Construction of Asphaltic Concrete OverlayCW 3410-R12 | #REF! | F0 | C2 | C2
B194 | i) | Tie-ins and Approaches |  |  |  |  | 0 | LOCKED | B194Tie-ins and Approaches | #REF! | F0 | C2 | C2
B195 | a) | Type IA |  | tonne | 100 |  | 0 |  | B195Type IAtonne | #REF! | F0 | C2 | C2
B219 | A.24 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 16 |  | 0 |  | B219Detectable Warning Surface TilesCW 3326-R3each | #REF! | F0 | C2 | C2
|  | ROADWORKS - NEW CONSTRUCTION |  |  |  |  | 0 | LOCKED | ROADWORKS - NEW CONSTRUCTION | #REF! | F0 | C2 | C2
C001 | A.25 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R17, E28 |  |  |  | 0 | LOCKED | C001Concrete Pavements, Median Slabs, Bull-noses, and Safety MediansCW 3310-R17, E28 | #REF! | F0 | C2 | C2
C004 | i) | Construction of 250 mm Type 2 Concrete Pavement (Plain-Dowelled, Slip Form Paving) |  | m² | 3575 |  | 0 |  | C004Construction of 250 mm Type 2 Concrete Pavement (Plain-Dowelled, Slip Form Paving)m² | #REF! | F0 | C2 | C2
C004 | ii) | Construction of 250 mm Type 2 Concrete Pavement (Plain-Dowelled) |  | m² | 550 |  | 0 |  | C004Construction of 250 mm Type 2 Concrete Pavement (Plain-Dowelled)m² | #REF! | F0 | C2 | C2
C008 | iii) | Construction of 200 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 300 |  | 0 |  | C008Construction of 200 mm Type 2 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
| iv) | Construction of 200 mm Type 2 Concrete Pavement (Reinforced) with 50 mm Blockout | E21 | m² | 170 |  | 0 |  | Construction of 200 mm Type 2 Concrete Pavement (Reinforced) with 50 mm Blockoutm² | #REF! | F0 | C2 | C2
C014 | v) | Construction of Type 2 Concrete Median Slabs | SD-227A | m² | 95 |  | 0 |  | C014Construction of Type 2 Concrete Median SlabsSD-227Am² | #REF! | F0 | C2 | C2
C015 | vi) | Construction of Monolithic Type 2 Concrete Median Slabs | SD-226A, E28 | m² | 25 |  | 0 |  | C015Construction of Monolithic Type 2 Concrete Median SlabsSD-226A, E28m² | #REF! | F0 | C2 | C2
C016 | vii) | Construction of Type 2 Concrete Safety Medians | SD-226B | m² | 50 |  | 0 |  | C016Construction of Type 2 Concrete Safety MediansSD-226Bm² | #REF! | F0 | C2 | C2
C018 | viii) | Construction of Monolithic Type 2 Concrete Bull-noses | SD-227C | m² | 10 |  | 0 |  | C018Construction of Monolithic Type 2 Concrete Bull-nosesSD-227Cm² | #REF! | F0 | C2 | C2
C019 | A.26 | Concrete Pavements for Early Opening | CW 3310-R17, E28 |  |  |  | 0 | LOCKED | C019Concrete Pavements for Early OpeningCW 3310-R17, E28 | #REF! | F0 | C2 | C2
C022-24 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 150 |  | 0 |  | C022-24Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled)m² | #REF! | F0 | C2 | C2
C022-72 | ii) | Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 400 |  | 0 |  | C022-72Construction of 250 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled)m² | #REF! | F0 | C2 | C2
C026-72 | iii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 300 |  | 0 |  | C026-72Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced)m² | #REF! | F0 | C2 | C2
| iv) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) with 50 mm Blockout | E21 | m² | 180 |  | 0 |  | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) with 50 mm Blockoutm² | #REF! | F0 | C2 | C2
C032 | A.27 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R17, E28 |  |  |  | 0 | LOCKED | C032Concrete Curbs, Curb and Gutter, and Splash StripsCW 3310-R17, E28 | #REF! | F0 | C2 | C2
C034B | i) | Construction of Barrier (180 mm ht, Type 2, Separate) | SD-203A | m | 50 |  | 0 |  | C034BConstruction of Barrier (180 mm ht, Type 2, Separate)SD-203Am | #REF! | F0 | C2 | C2
C035B | ii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 650 |  | 0 |  | C035BConstruction of Barrier (180 mm ht, Type 1, Integral)SD-204m | #REF! | F0 | C2 | C2
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 120 |  | 0 |  | C037BConstruction of Modified Barrier (180 mm ht, Type 1, Integral)SD-203Bm | #REF! | F0 | C2 | C2
C045 | iv) | Construction of Lip Curb (40 mm ht, Type 1, Integral) | SD-202B | m | 15 |  | 0 |  | C045Construction of Lip Curb (40 mm ht, Type 1, Integral)SD-202Bm | #REF! | F0 | C2 | C2
C046 | v) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 60 |  | 0 |  | C046Construction of Curb Ramp (8-12 mm ht, Type 1, Integral)SD-229Cm | #REF! | F0 | C2 | C2
C050 | A.28 | Supply and Installation of Dowel Assemblies | CW 3310-R17 |  |  |  | 0 | LOCKED | C050Supply and Installation of Dowel AssembliesCW 3310-R17 | #REF! | F0 | C2 | C2
| i) | 31.8mm Diameter |  | m | 1200 |  | 0 |  | 31.8mm Diameterm | #REF! | F0 | C2 | C2
C051 | A.29 | 100 mm Type 2 Concrete Sidewalk | CW 3325-R5, E28 | m² | 1000 |  | 0 |  | C051100 mm Type 2 Concrete SidewalkCW 3325-R5, E28m² | #REF! | F0 | C2 | C2
C055 | A.30 | Construction of Asphaltic Concrete Pavements | CW 3410-R12 |  |  |  | 0 | LOCKED | C055Construction of Asphaltic Concrete PavementsCW 3410-R12 | #REF! | F0 | C2 | C2
C059 | i) | Tie-ins and Approaches |  |  |  |  | 0 | LOCKED | C059Tie-ins and Approaches | #REF! | F0 | C2 | C2
C060 | a) | Type IA |  | tonne | 150 |  | 0 |  | C060Type IAtonne | #REF! | F0 | C2 | C2
| ii) | Bike Path/Multi-Use Path |  |  |  |  | 0 | LOCKED | Bike Path/Multi-Use Path | #REF! | F0 | C2 | C2
| a) | Type IA |  | tonne | 330 |  | 0 |  | Type IAtonne | #REF! | F0 | C2 | C2
|  | JOINT AND CRACK SEALING |  |  |  |  | 0 | LOCKED | JOINT AND CRACK SEALING | #REF! | F0 | C2 | C2
D006 | A.31 | Reflective Crack Maintenance | CW 3250-R7 | m | 500 |  | 0 |  | D006Reflective Crack MaintenanceCW 3250-R7m | #REF! | F0 | C2 | C2
|  | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS |  |  |  |  | 0 | LOCKED | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | #REF! | F0 | C2 | C2
E003 | A.32 | Catch Basin | CW 2130-R12 |  |  |  | 0 | LOCKED | E003Catch BasinCW 2130-R12 | #REF! | F0 | C2 | C2
E004A | i) | SD-024, 1800 mm deep |  | each | 11 |  | 0 |  | E004ASD-024, 1800 mm deepeach | #REF! | F0 | C2 | C2
E008 | A.33 | Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E008Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E009 | i) | 250 mm, PVC |  |  |  |  | 0 | LOCKED | E009250 mm, PVC | #REF! | F0 | C2 | C2
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 20 |  | 0 |  | E010In a Trench, Class B Bedding with Sand, Class 3 Backfillm | #REF! | F0 | C2 | C2
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 180 |  | 0 |  | E011Trenchless Installation, Class B Bedding with Sand, Class 3 Backfillm | #REF! | F0 | C2 | C2
E023 | A.34 | Frames & Covers | CW 3210-R8 |  |  |  | 0 | LOCKED | E023Frames & CoversCW 3210-R8 | #REF! | F0 | C2 | C2
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0 |  | E024AP-006 - Standard Frame for Manhole and Catch Basineach | #REF! | F0 | C2 | C2
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0 |  | E025AP-007 - Standard Solid Cover for Standard Frameeach | #REF! | F0 | C2 | C2
E032 | A.35 | Connecting to Existing Manhole | CW 2130-R12 |  |  |  | 0 | LOCKED | E032Connecting to Existing ManholeCW 2130-R12 | #REF! | F0 | C2 | C2
E033 | i) | 250 mm Catch Basin Lead |  | each | 4 |  | 0 |  | E033250 mm Catch Basin Leadeach | #REF! | F0 | C2 | C2
E036 | A.36 | Connecting to Existing Sewer | CW 2130-R12 |  |  |  | 0 | LOCKED | E036Connecting to Existing SewerCW 2130-R12 | #REF! | F0 | C2 | C2
E037 | i) | 250 mm (PVC) Connecting Pipe |  |  |  |  | 0 | LOCKED | E037250 mm (PVC) Connecting Pipe | #REF! | F0 | C2 | C2
E038 | a) | Connecting to 300 mm (Concrete) Sewer |  | each | 2 |  | 0 |  | E038Connecting to 300 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E040 | b) | Connecting to 450 mm (Concrete) Sewer |  | each | 1 |  | 0 |  | E040Connecting to 450 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E041A | c) | Connecting to 600 mm (Concrete) Sewer |  | each | 3 |  | 0 |  | E041AConnecting to 600 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E042 | A.37 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E042Connecting New Sewer Service to Existing Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E043 | i) | 250 mm |  | each | 3 |  | 0 |  | E043250 mmeach | #REF! | F0 | C2 | C2
E046 | A.38 | Removal of Existing Catch Basins | CW 2130-R12 | each | 11 |  | 0 |  | E046Removal of Existing Catch BasinsCW 2130-R12each | #REF! | F0 | C2 | C2
E047 | A.39 | Removal of Existing Catch Pit | CW 2130-R12 | each | 7 |  | 0 |  | E047Removal of Existing Catch PitCW 2130-R12each | #REF! | F0 | C2 | C2
| A.40 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12 |  |  |  | 0 | LOCKED | Abandoning Existing Sewer Services Under PavementCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | 250 mm |  | each | 10 |  | 0 |  | 250 mmeach | #REF! | F0 | C2 | C2
E051 | A.41 | Installation of Subdrains | CW 3120-R4 | m | 125 |  | 0 |  | E051Installation of SubdrainsCW 3120-R4m | #REF! | F0 | C2 | C2
|  | ADJUSTMENTS |  |  |  |  | 0 | LOCKED | ADJUSTMENTS | #REF! | F0 | C2 | C2
F001 | A.42 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 12 |  | 0 |  | F001Adjustment of Manholes/Catch Basins FramesCW 3210-R8each | #REF! | F0 | C2 | C2
F002 | A.43 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
F003 | A.44 | Lifter Rings (AP-010) | CW 3210-R8 |  |  |  | 0 | LOCKED | F003Lifter Rings (AP-010)CW 3210-R8 | #REF! | F0 | C2 | C2
F005 | i) | 51 mm |  | each | 7 |  | 0 |  | F00551 mmeach | #REF! | F0 | C2 | C2
F009 | A.45 | Adjustment of Valve Boxes | CW 3210-R8 | each | 6 |  | 0 |  | F009Adjustment of Valve BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F010 | A.46 | Valve Box Extensions | CW 3210-R8 | each | 6 |  | 0 |  | F010Valve Box ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F011 | A.47 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 10 |  | 0 |  | F011Adjustment of Curb Stop BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F018 | A.48 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0 |  | F018Curb Stop ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F019 | A.49 | Relocating Existing Hydrant - Type A | CW 2110-R11 | each | 2 |  | 0 |  | F019Relocating Existing Hydrant - Type ACW 2110-R11each | #REF! | F0 | C2 | C2
F020 | A.50 | Relocating Existing Hydrant - Type B | CW 2110-R11 | each | 1 |  | 0 |  | F020Relocating Existing Hydrant - Type BCW 2110-R11each | #REF! | F0 | C2 | C2
|  | LANDSCAPING |  |  |  |  | 0 | LOCKED | LANDSCAPING | #REF! | F0 | C2 | C2
G001 | A.51 | Sodding | CW 3510-R9 |  |  |  | 0 | LOCKED | G001SoddingCW 3510-R9 | #REF! | F0 | C2 | C2
G002 | i) | width < 600 mm |  | m² | 100 |  | 0 |  | G002width < 600 mmm² | #REF! | F0 | C2 | C2
G003 | ii) | width > or = 600 mm |  | m² | 1400 |  | 0 |  | G003width > or = 600 mmm² | #REF! | F0 | C2 | C2
| A.52 | Removal of Existing Trees | E27 |  |  |  | 0 | LOCKED | Removal of Existing Trees | #REF! | F0 | C2 | C2
| i) | 150 mm Diameter |  | each | 3 |  | 0 |  | 150 mm Diametereach | #REF! | F0 | C2 | C2
| ii) | 300 mm Diameter |  | each | 11 |  | 0 |  | 300 mm Diametereach | #REF! | F0 | C2 | C2
| iii) | 450 mm Diameter |  | each | 2 |  | 0 |  | 450 mm Diametereach | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS |  |  |  |  | 0 | LOCKED | MISCELLANEOUS | #REF! | F0 | C2 | C2
| A.53 | Remove Existing Overhead Sign Support Structure | E18 | L. sum | 1 |  | 0 |  | Remove Existing Overhead Sign Support StructureL. sum | #REF! | F0 | C2 | C2
| A.54 | Cast-in-Place Concrete Pile Foundations | E19 |  |  |  | 0 | LOCKED | Cast-in-Place Concrete Pile Foundations | #REF! | F0 | C2 | C2
| i) | 915 mm Diameter Pile |  | each | 1 |  | 0 |  | 915 mm Diameter Pileeach | #REF! | F0 | C2 | C2
| A.55 | Supply and Installation of New Steel Overhead Sign Support Structure | E20 | L. sum | 1 |  | 0 |  | Supply and Installation of New Steel Overhead Sign Support StructureL. sum | #REF! | F0 | C2 | C2
H020 | A.56 | Salvaging Existing Barrier Rail | CW 3650-R6, E18 | m | 70 |  | 0 |  | H020Salvaging Existing Barrier RailCW 3650-R6, E18m | #REF! | F0 | C2 | C2
H021 | A.57 | Salvaging Existing Barrier Posts | CW 3650-R6, E18 | each | 22 |  | 0 |  | H021Salvaging Existing Barrier PostsCW 3650-R6, E18each | #REF! | F0 | C2 | C2
| A.58 | Transit Bus Stop Flag Foundation | E16 | each | 1 |  | 0 |  | Transit Bus Stop Flag Foundationeach | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| A | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0 | LOCKED | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
| B | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | [5 empty] | LOCKED | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
|  | EARTH AND BASE WORKS |  |  |  |  | 0 | LOCKED | EARTH AND BASE WORKS | #REF! | F0 | C2 | C2
A003 | B.1 | Excavation | CW 3110-R21 | m³ | 200 |  | 0 |  | A003ExcavationCW 3110-R21m³ | #REF! | F0 | C2 | C2
A010 | B.2 | Supplying and Placing Base Course Material | CW 3110-R21 |  |  |  | 0 | LOCKED | A010Supplying and Placing Base Course MaterialCW 3110-R21 | #REF! | F0 | C2 | C2
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 200 |  | 0 |  | A010A1Base Course Material - Granular A Limestonem³ | #REF! | F0 | C2 | C2
A012 | B.3 | Grading of Boulevards | CW 3110-R21 | m² | 1500 |  | 0 |  | A012Grading of BoulevardsCW 3110-R21m² | #REF! | F0 | C2 | C2
|  | ROADWORKS - REMOVALS/RENEWALS |  |  |  |  | 0 | LOCKED | ROADWORKS - REMOVALS/RENEWALS | #REF! | F0 | C2 | C2
B001 | B.4 | Pavement Removal | CW 3110-R21 |  |  |  | 0 | LOCKED | B001Pavement RemovalCW 3110-R21 | #REF! | F0 | C2 | C2
B002 | i) | Concrete Pavement |  | m² | 50 |  | 0 |  | B002Concrete Pavementm² | #REF! | F0 | C2 | C2
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0 |  | B003Asphalt Pavementm² | #REF! | F0 | C2 | C2
B004 | B.5 | Slab Replacement | CW 3230-R8, E28 |  |  |  | 0 | LOCKED | B004Slab ReplacementCW 3230-R8, E28 | #REF! | F0 | C2 | C2
B011 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 265 |  | 0 |  | B011200 mm Type 1 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
| ii) | 200 mm Type 6 Concrete Pavement (Reinforced) |  | m² | 175 |  | 0 |  | 200 mm Type 6 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B017 | B.6 | Partial Slab Patches | CW 3230-R8, E28 |  |  |  | 0 | LOCKED | B017Partial Slab PatchesCW 3230-R8, E28 | #REF! | F0 | C2 | C2
B026 | i) | 200 mm Type 1 Concrete Pavement (Type A, Reinforced) |  | m² | 5 |  | 0 |  | B026200 mm Type 1 Concrete Pavement (Type A, Reinforced)m² | #REF! | F0 | C2 | C2
B027 | ii) | 200 mm Type 1 Concrete Pavement (Type B, Reinforced) |  | m² | 115 |  | 0 |  | B027200 mm Type 1 Concrete Pavement (Type B, Reinforced)m² | #REF! | F0 | C2 | C2
B028 | iii) | 200 mm Type 1 Concrete Pavement (Type C, Reinforced) |  | m² | 10 |  | 0 |  | B028200 mm Type 1 Concrete Pavement (Type C, Reinforced)m² | #REF! | F0 | C2 | C2
B029 | iv) | 200 mm Type 1 Concrete Pavement (Type D, Reinforced) |  | m² | 10 |  | 0 |  | B029200 mm Type 1 Concrete Pavement (Type D, Reinforced)m² | #REF! | F0 | C2 | C2
B026 | v) | 200 mm Type 6 Concrete Pavement (Type A, Reinforced) |  | m² | 5 |  | 0 |  | B026200 mm Type 6 Concrete Pavement (Type A, Reinforced)m² | #REF! | F0 | C2 | C2
B027 | vi) | 200 mm Type 6 Concrete Pavement (Type B, Reinforced) |  | m² | 75 |  | 0 |  | B027200 mm Type 6 Concrete Pavement (Type B, Reinforced)m² | #REF! | F0 | C2 | C2
B028 | vii) | 200 mm Type 6 Concrete Pavement (Type C, Reinforced) |  | m² | 5 |  | 0 |  | B028200 mm Type 6 Concrete Pavement (Type C, Reinforced)m² | #REF! | F0 | C2 | C2
B029 | viii) | 200 mm Type 6 Concrete Pavement (Type D, Reinforced) |  | m² | 5 |  | 0 |  | B029200 mm Type 6 Concrete Pavement (Type D, Reinforced)m² | #REF! | F0 | C2 | C2
B064-72 | B.7 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8, E28 |  |  |  | 0 | LOCKED | B064-72Slab Replacement - Early Opening (72 hour)CW 3230-R8, E28 | #REF! | F0 | C2 | C2
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 265 |  | 0 |  | B071-72200 mm Type 4 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B077-72 | B.8 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8, E28 |  |  |  | 0 | LOCKED | B077-72Partial Slab Patches - Early Opening (72 hour)CW 3230-R8,E28 | #REF! | F0 | C2 | C2
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A, Reinforced) |  | m² | 5 |  | 0 |  | B086-72200 mm Type 4 Concrete Pavement (Type A, Reinforced)m² | #REF! | F0 | C2 | C2
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B, Reinforced) |  | m² | 115 |  | 0 |  | B087-72200 mm Type 4 Concrete Pavement (Type B, Reinforced)m² | #REF! | F0 | C2 | C2
B088-72 | iii) | 200 mm Type 4 Concrete Pavement (Type C, Reinforced) |  | m² | 10 |  | 0 |  | B088-72200 mm Type 4 Concrete Pavement (Type C, Reinforced)m² | #REF! | F0 | C2 | C2
B089-72 | iv) | 200 mm Type 4 Concrete Pavement (Type D, Reinforced) |  | m² | 10 |  | 0 |  | B089-72200 mm Type 4 Concrete Pavement (Type D, Reinforced)m² | #REF! | F0 | C2 | C2
B094 | B.9 | Drilled Dowels | CW 3230-R8 |  |  |  | 0 | LOCKED | B094Drilled DowelsCW 3230-R8 | #REF! | F0 | C2 | C2
B095 | i) | 19.1 mm Diameter |  | each | 400 |  | 0 |  | B09519.1 mm Diametereach | #REF! | F0 | C2 | C2
B097 | B.10 | Drilled Tie Bars | CW 3230-R8 |  |  |  | 0 | LOCKED | B097Drilled Tie BarsCW 3230-R8 | #REF! | F0 | C2 | C2
B098 | i) | 20 M Deformed Tie Bar |  | each | 450 |  | 0 |  | B09820 M Deformed Tie Bareach | #REF! | F0 | C2 | C2
B100r | B.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9 |  |  |  | 0 | LOCKED | B100rMiscellaneous Concrete Slab RemovalCW 3235-R9 | #REF! | F0 | C2 | C2
B104r | i) | 100 mm Sidewalk |  | m² | 155 |  | 0 |  | B104r100 mm Sidewalkm² | #REF! | F0 | C2 | C2
B106r | ii) | Monolithic Curb and Sidewalk |  | m² | 1000 |  | 0 |  | B106rMonolithic Curb and Sidewalkm² | #REF! | F0 | C2 | C2
B114C | B.12 | Type 2 Monolithic Curb and 100 mm Sidewalk with Block Outs (100 mm reveal ht, dowelled) | E13, E28 | m² | 900 |  | 0 |  | B114CType 2 Monolithic Curb and 100 mm Sidewalk with Block Outs (100 mm reveal ht, dowelled)m² | #REF! | F0 | C2 | C2
B114C | B.13 | Type 6 Monolithic Curb and 100 mm Sidewalk with Block Outs (100 mm reveal ht, dowelled) | E13, E28 | m² | 300 |  | 0 |  | B114CType 6 Monolithic Curb and 100 mm Sidewalk with Block Outs (100 mm reveal ht, dowelled)m² | #REF! | F0 | C2 | C2
B114E | B.14 | Paving Stone Indicator Surfaces |  |  |  |  | 0 | LOCKED | B114EPaving Stone Indicator Surfaces | #REF! | F0 | C2 | C2
| i) | Charcoal Holland Paver (210 mm x 210 mm x 60 mm) | E14 | m² | 85 |  | 0 |  | Charcoal Holland Paver(210 mm x 210 mm x 60 mm)m² | #REF! | F0 | C2 | C2
B114rl | B.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9, E28 |  |  |  | 0 | LOCKED | B114rlMiscellaneous Concrete Slab RenewalCW 3235-R9, E28 | #REF! | F0 | C2 | C2
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | SD-228A |  |  |  | 0 | LOCKED | B118rl100 mm Type 2 Concrete SidewalkSD-228A | #REF! | F0 | C2 | C2
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0 |  | B119rlLess than 5 sq.m.m² | #REF! | F0 | C2 | C2
B126r | B.16 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0 | LOCKED | B126rConcrete Curb RemovalCW 3240-R10 | #REF! | F0 | C2 | C2
B127rB | i) | Barrier Separate |  | m | 200 |  | 0 |  | B127rBBarrier Separatem | #REF! | F0 | C2 | C2
B134rA | ii) | Splash Strip Monolithic |  | m | 200 |  | 0 |  | B134rASplash Strip Monolithicm | #REF! | F0 | C2 | C2
B135i | B.17 | Concrete Curb Installation | CW 3240-R10 |  |  |  | 0 | LOCKED | B135iConcrete Curb InstallationCW 3240-R10 | #REF! | F0 | C2 | C2
B136i | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 385 |  | 0 |  | B136iType 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205m | #REF! | F0 | C2 | C2
B154rl | B.18 | Concrete Curb Renewal | CW 3240-R10, E28 |  |  |  | 0 | LOCKED | B154rlConcrete Curb RenewalCW 3240-R10, E28 | #REF! | F0 | C2 | C2
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A |  |  |  | 0 | LOCKED | B155rlAType 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205,SD-206A | #REF! | F0 | C2 | C2
B155rlA2 | a) | 3 m to 30 m |  | m | 100 |  | 0 |  | B155rlA23 m to 30 mm | #REF! | F0 | C2 | C2
B167rlA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0 |  | B167rlAType 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled)SD-203Bm | #REF! | F0 | C2 | C2
B188 | B.19 | Supply and Installation of Dowel Assemblies | CW 3310-R17 |  |  |  | 0 | LOCKED | B188Supply and Installation of Dowel AssembliesCW 3310-R17 | #REF! | F0 | C2 | C2
| i) | 19.1 mm Diameter |  | m | 75 |  | 0 |  | 19.1 mm Diameterm | #REF! | F0 | C2 | C2
B189 | B.20 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 25 |  | 0 |  | B189Regrading Existing Interlocking Paving StonesCW 3330-R5m² | #REF! | F0 | C2 | C2
| B.21 | Salvage of Existing Transit Blue Paving Stones | E15 | m² | 2 |  | 0 |  | Salvage of Existing Transit Blue Paving Stonesm² | #REF! | F0 | C2 | C2
B190 | B.22 | Construction of Asphaltic Concrete Overlay | CW 3410-R12 |  |  |  | 0 | LOCKED | B190Construction of Asphaltic Concrete OverlayCW 3410-R12 | #REF! | F0 | C2 | C2
B191 | i) | Main Line Paving |  |  |  |  | 0 | LOCKED | B191Main Line Paving | #REF! | F0 | C2 | C2
B193 | a) | Type IA |  | tonne | 950 |  | 0 |  | B193Type IAtonne | #REF! | F0 | C2 | C2
B194 | ii) | Tie-ins and Approaches |  |  |  |  | 0 | LOCKED | B194Tie-ins and Approaches | #REF! | F0 | C2 | C2
B195 | a) | Type IA |  | tonne | 150 |  | 0 |  | B195Type IAtonne | #REF! | F0 | C2 | C2
B200 | B.23 | Planing of Pavement | CW 3450-R6 |  |  |  | 0 | LOCKED | B200Planing of PavementCW 3450-R6 | #REF! | F0 | C2 | C2
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1875 |  | 0 |  | B2011 - 50 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 1875 |  | 0 |  | B20250 - 100 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B206 | B.24 | Supply and Install Pavement Repair Fabric | E12 |  |  |  | 0 | LOCKED | B206Supply and Install Pavement Repair Fabric | #REF! | F0 | C2 | C2
B206A | i) | Type A |  | m² | 1200 |  | 0 |  | B206AType Am² | #REF! | F0 | C2 | C2
B219 | B.25 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 8 |  | 0 |  | B219Detectable Warning Surface TilesCW 3326-R3each | #REF! | F0 | C2 | C2
|  | JOINT AND CRACK SEALING |  |  |  |  | 0 | LOCKED | JOINT AND CRACK SEALING | #REF! | F0 | C2 | C2
D005 | B.26 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 500 |  | 0 |  | D005Longitudinal Joint & Crack Filling ( > 25 mm in width )CW 3250-R7m | #REF! | F0 | C2 | C2
D006 | B.27 | Reflective Crack Maintenance | CW 3250-R7 | m | 1000 |  | 0 |  | D006Reflective Crack MaintenanceCW 3250-R7m | #REF! | F0 | C2 | C2
|  | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS |  |  |  |  | 0 | LOCKED | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | #REF! | F0 | C2 | C2
E003 | B.28 | Catch Basin | CW 2130-R12 |  |  |  | 0 | LOCKED | E003Catch BasinCW 2130-R12 | #REF! | F0 | C2 | C2
E004A | i) | SD-024, 1800 mm deep |  | each | 8 |  | 0 |  | E004ASD-024, 1800 mm deepeach | #REF! | F0 | C2 | C2
E008 | B.29 | Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E008Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E009 | i) | 250 mm, PVC |  |  |  |  | 0 | LOCKED | E009250 mm, PVC | #REF! | F0 | C2 | C2
E010 | a) | In a Trench, Class B Bedding with Sand, Class 3 Backfill |  | m | 50 |  | 0 |  | E010In a Trench, Class B Bedding with Sand, Class 3 Backfillm | #REF! | F0 | C2 | C2
E011 | b) | Trenchless Installation, Class B Bedding with Sand, Class 3 Backfill |  | m | 15 |  | 0 |  | E011Trenchless Installation, Class B Bedding with Sand, Class 3 Backfillm | #REF! | F0 | C2 | C2
E023 | B.30 | Frames & Covers | CW 3210-R8 |  |  |  | 0 | LOCKED | E023Frames & CoversCW 3210-R8 | #REF! | F0 | C2 | C2
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0 |  | E024AP-006 - Standard Frame for Manhole and Catch Basineach | #REF! | F0 | C2 | C2
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0 |  | E025AP-007 - Standard Solid Cover for Standard Frameeach | #REF! | F0 | C2 | C2
E032 | B.31 | Connecting to Existing Manhole | CW 2130-R12 |  |  |  | 0 | LOCKED | E032Connecting to Existing ManholeCW 2130-R12 | #REF! | F0 | C2 | C2
E033 | i) | 250 mm Catch Basin Lead |  | each | 4 |  | 0 |  | E033250 mm Catch Basin Leadeach | #REF! | F0 | C2 | C2
E036 | B.32 | Connecting to Existing Sewer | CW 2130-R12 |  |  |  | 0 | LOCKED | E036Connecting to Existing SewerCW 2130-R12 | #REF! | F0 | C2 | C2
E037 | i) | 250 mm (PVC) Connecting Pipe |  |  |  |  | 0 | LOCKED | E037250 mm (PVC) Connecting Pipe | #REF! | F0 | C2 | C2
E039 | a) | Connecting to 375 mm (Concrete) Sewer |  | each | 1 |  | 0 |  | E039Connecting to 375 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E040 | b) | Connecting to 450 mm (Concrete) Sewer |  | each | 1 |  | 0 |  | E040Connecting to 450 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E041A | c) | Connecting to 600 mm (Concrete) Sewer |  | each | 1 |  | 0 |  | E041AConnecting to 600 mm (Concrete) Sewereach | #REF! | F0 | C2 | C2
E042 | B.33 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E042Connecting New Sewer Service to Existing Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E043 | i) | 250 mm |  | each | 3 |  | 0 |  | E043250 mmeach | #REF! | F0 | C2 | C2
E046 | B.34 | Removal of Existing Catch Basins | CW 2130-R12 | each | 7 |  | 0 |  | E046Removal of Existing Catch BasinsCW 2130-R12each | #REF! | F0 | C2 | C2
E047 | B.35 | Removal of Existing Catch Pit | CW 2130-R12 | each | 6 |  | 0 |  | E047Removal of Existing Catch PitCW 2130-R12each | #REF! | F0 | C2 | C2
| B.36 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12 |  |  |  | 0 | LOCKED | Abandoning Existing Sewer Services Under PavementCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | 250 mm |  | each | 5 |  | 0 |  | 250 mmeach | #REF! | F0 | C2 | C2
|  | ADJUSTMENTS |  |  |  |  | 0 | LOCKED | ADJUSTMENTS | #REF! | F0 | C2 | C2
F001 | B.37 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0 |  | F001Adjustment of Manholes/Catch Basins FramesCW 3210-R8each | #REF! | F0 | C2 | C2
F003 | B.38 | Lifter Rings (AP-010) | CW 3210-R8 |  |  |  | 0 | LOCKED | F003Lifter Rings (AP-010)CW 3210-R8 | #REF! | F0 | C2 | C2
F004 | i) | 38 mm |  | each | 1 |  | 0 |  | F00438 mmeach | #REF! | F0 | C2 | C2
F005 | ii) | 51 mm |  | each | 6 |  | 0 |  | F00551 mmeach | #REF! | F0 | C2 | C2
F009 | B.39 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0 |  | F009Adjustment of Valve BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F010 | B.40 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0 |  | F010Valve Box ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F011 | B.41 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0 |  | F011Adjustment of Curb Stop BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F018 | B.42 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0 |  | F018Curb Stop ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
|  | LANDSCAPING |  |  |  |  | 0 | LOCKED | LANDSCAPING | #REF! | F0 | C2 | C2
G001 | B.43 | Sodding | CW 3510-R10 |  |  |  | 0 | LOCKED | G001SoddingCW 3510-R10 | #REF! | F0 | C2 | C2
G002 | i) | width < 600 mm |  | m² | 100 |  | 0 |  | G002width < 600 mmm² | #REF! | F0 | C2 | C2
G003 | ii) | width > or = 600 mm |  | m² | 1400 |  | 0 |  | G003width > or = 600 mmm² | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| B | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0 | LOCKED | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
| C | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS | [5 empty] | LOCKED | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
|  | UNIVERSITY CRESCENT AND THATCHER DRIVE |  |  |  |  | 0 | LOCKED | UNIVERSITY CRESCENT AND THATCHER DRIVE | #REF! | F0 | C2 | C2
|  | INSTALLATIONS |  |  |  |  | 0 | LOCKED | INSTALLATIONS | #REF! | F0 | C2 | C2
| C.1 | Installation of Conduit |  |  |  |  | 0 | LOCKED | Installation of Conduit | #REF! | F0 | C2 | C2
| i) | Installation of Conduit - Single | CW 3620 | m | 50 |  | 0 |  | Installation of Conduit - SingleCW 3620m | #REF! | F0 | C2 | C2
| C.2 | Installation of Concrete Bases |  |  |  |  | 0 | LOCKED | Installation of Concrete Bases | #REF! | F0 | C2 | C2
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E23, E25 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E23, E25each | #REF! | F0 | C2 | C2
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E23, E25 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E23, E25each | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS |  |  |  |  | 0 | LOCKED | MISCELLANEOUS | #REF! | F0 | C2 | C2
| C.3 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0 |  | Ground Rods (Electrodes)CW 3620each | #REF! | F0 | C2 | C2
|  | UNIVERSITY CRESCENT AND WEDGEWOOD DRIVE |  |  |  |  | 0 | LOCKED | UNIVERSITY CRESCENT AND WEDGEWOOD DRIVE | #REF! | F0 | C2 | C2
|  | INSTALLATIONS |  |  |  |  | 0 | LOCKED | INSTALLATIONS | #REF! | F0 | C2 | C2
| C.4 | Installation of Conduit |  |  |  |  | 0 | LOCKED | Installation of Conduit | #REF! | F0 | C2 | C2
| i) | Installation of Conduit - Single | CW 3620 | m | 75 |  | 0 |  | Installation of Conduit - SingleCW 3620m | #REF! | F0 | C2 | C2
| C.5 | Installation of Concrete Bases |  |  |  |  | 0 | LOCKED | Installation of Concrete Bases | #REF! | F0 | C2 | C2
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E23, E25 | each | 1 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E23, E25each | #REF! | F0 | C2 | C2
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E23, E25 | each | 3 |  | 0 |  | Signal Pole Base Early Open - Type ODCW 3620, SD-312A, SD-315.C, E23, E25each | #REF! | F0 | C2 | C2
|  | REMOVALS |  |  |  |  | 0 | LOCKED | REMOVALS | #REF! | F0 | C2 | C2
| C.6 | Removal of Concrete Bases |  |  |  |  | 0 | LOCKED | Removal of Concrete Bases | #REF! | F0 | C2 | C2
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 3 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS |  |  |  |  | 0 | LOCKED | MISCELLANEOUS | #REF! | F0 | C2 | C2
| C.7 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0 |  | Ground Rods (Electrodes)CW 3620each | #REF! | F0 | C2 | C2
|  | UNIVERSITY CRESCENT AND PEMBINA HIGHWAY |  |  |  |  | 0 | LOCKED | UNIVERSITY CRESCENT AND PEMBINA HIGHWAY | #REF! | F0 | C2 | C2
|  | INSTALLATIONS |  |  |  |  | 0 | LOCKED | INSTALLATIONS | #REF! | F0 | C2 | C2
| C.8 | Installation of Conduit |  |  |  |  | 0 | LOCKED | Installation of Conduit | #REF! | F0 | C2 | C2
| i) | Installation of Conduit - Single | CW 3620 | m | 45 |  | 0 |  | Installation of Conduit - SingleCW 3620m | #REF! | F0 | C2 | C2
| ii) | Installation of Conduit - Double | CW 3620 | m | 15 |  | 0 |  | Installation of Conduit - DoubleCW 3620m | #REF! | F0 | C2 | C2
| C.9 | Installation of Concrete Bases |  |  |  |  | 0 | LOCKED | Installation of Concrete Bases | #REF! | F0 | C2 | C2
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E23, E25 | each | 2 |  | 0 |  | Signal Pole Base Early Open - Type GCW 3620, SD-313, SD-315.A, E23, E25each | #REF! | F0 | C2 | C2
| C.10 | Installation of Service Boxes |  |  |  |  | 0 | LOCKED | Installation of Service Boxes | #REF! | F0 | C2 | C2
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E23, E24 | each | 1 |  | 0 |  | Service Box - Pre-Cast (17" x 30")CW 3620, SD-322, E23, E24each | #REF! | F0 | C2 | C2
|  | REMOVALS |  |  |  |  | 0 | LOCKED | REMOVALS | #REF! | F0 | C2 | C2
| C.11 | Removal of Concrete Bases |  |  |  |  | 0 | LOCKED | Removal of Concrete Bases | #REF! | F0 | C2 | C2
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0 |  | Removal of Existing Signal Pole Base or Service BoxCW 3620each | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS |  |  |  |  | 0 | LOCKED | MISCELLANEOUS | #REF! | F0 | C2 | C2
| C.12 | Cutovers | CW 3620 | each | 4 |  | 0 |  | CutoversCW 3620each | #REF! | F0 | C2 | C2
| C | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| D | WATER AND WASTE WORK | [5 empty] | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
|  | MANHOLE REPAIR (MH60014428) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60014428) | #REF! | F0 | C2 | C2
F002 | D.1 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.6 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.2 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013884) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013884) | #REF! | F0 | C2 | C2
F002 | D.3 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.4 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013883) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013883) | #REF! | F0 | C2 | C2
F002 | D.5 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.6 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013869) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013869) | #REF! | F0 | C2 | C2
F002 | D.7 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.8 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013871) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013871) | #REF! | F0 | C2 | C2
F002 | D.9 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.10 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013861) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013861) | #REF! | F0 | C2 | C2
F002 | D.11 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.1 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.12 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH60013858) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH60013858) | #REF! | F0 | C2 | C2
F002 | D.13 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.7 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F1 | C2 | C2
| D.14 | Manhole Inspection (following repair) | CW 2145-R5 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R5 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
E072 | D.15 | Watermain and Water Service Insulation | E22 |  |  |  | 0 | LOCKED | E072Watermain and Water Service Insulation | #REF! | F0 | C2 | C2
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 260 |  | 0 |  | E073Pipe Under Roadway Excavation (SD-018)m² | #REF! | F0 | C2 | C2
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0 | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
| PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.3-4, D14.2-3, D16.4, E29) | [6 empty] | LOCKED |  | #REF! | G | G | G
| E | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS | [5 empty] | LOCKED | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| E.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E29 | each | 9 |  | 0 |  | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenanceseach | #REF! | F0 | C2 | C2
| E.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E29 | lin. m | 450 |  | 0 |  | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex).lin. m | #REF! | F0 | C2 | C2
| E.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances | E29 | each | 9 |  | 0 |  | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenanceseach | #REF! | F0 | C2 | C2
| E.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod | E29 | each | 4 |  | 0 |  | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rodeach | #VALUE! | F0 | C2 | C2
| E.5 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E29 | each | 2 |  | 0 |  | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13.each | #REF! | F0 | C2 | C2
| E.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E29 | set | 9 |  | 0 |  | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10.set | #REF! | F0 | C2 | C2
| E.7 | Splicing 1/0 AL triplex cable or 3 single conductor street light cables. | E29 | set | 2 |  | 0 |  | Splicing 1/0 AL triplex cable or 3 single conductor street light cables.set | #REF! | F0 | C2 | C2
| E.8 | Installation of break-away base and reaction plate on base mounted poles up to 35' | E29 | each | 6 |  | 0 |  | Installation of break-away base and reaction plate on base mounted poles up to 35'each | #REF! | F0 | C2 | C2
| E.9 | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed | E29 | per span | 9 |  | 0 |  | Installation of overhead span of #4 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feedper span | #REF! | F0 | C2 | C2
| E.10 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feed | E29 | per span | 9 |  | 0 |  | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary Overhead Feedper span | #REF! | F0 | C2 | C2
| E | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| F | MOBILIZATION /DEMOBILIZATION | [5 empty] | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
I001 | F.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0 |  | I001Mobilization/DemobilizationL. sum | #REF! | F0 | C2 | C2
| F | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0 | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
|  | SUMMARY | [5 empty] | LOCKED | SUMMARY | #REF! | G | G | G
| PART 1 CITY FUNDED WORK | [6 empty] | LOCKED |  | #REF! | G | G | G
| A | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0 | LOCKED | CONCRETE PAVEMENT RECONSTRUCTION: UNIVERSITY CRESCENT (N/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
| B | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0 | LOCKED | PAVEMENT REHABILITATION: UNIVERSITY CRESCENT (S/B) FROM THATCHER DRIVE TO PEMBINA HIGHWAY | #REF! | G | C2 | C2
| C | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | TRAFFIC SIGNAL CONDUIT AND BASE INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0 | LOCKED | WATER AND WASTE WORK | #REF! | G | C2 | C2
[6 empty] | (total price) PART 1 | 0 | LOCKED |  | #REF! | F0 | C2 | C2
| PART 2 MANITOBA HYDRO FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.3-4, D14.2-3, D16.4, E29) | [6 empty] | LOCKED |  | #REF! | G | G | C2
| E | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS |  |  |  | Subtotal: | 0 | LOCKED | STREET LIGHTING INSTALLATION AND ASSOCIATED WORKS | #REF! | G | C2 | C2
[6 empty] | (total price) PART 2 | 0 | LOCKED |  | #REF! | F0 | C2 | C2
| F | MOBILIZATION /DEMOBILIZATION |  |  |  | Total: | 0 | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0 |  | LOCKED |  | #REF! | G | C2 | G
[8 empty] | LOCKED |  | #REF! | G | C2 | G