## Unit prices
FORM B(R1):PRICES
(See "Prices" clause in tender document)
UNIT PRICES
Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
1 | DBPS Storm Pump Pit Weeping Tile Valve Automation
a) | Supply and Installation of 150 mm Actuated Butterfly Valve Including Piping Modifications | E8 | L.S. | 2 |  | 0
b) | Supply and Installation of 100 mm Actuated Butterfly Valve | E8 | L.S. | 1 |  | 0
c) | Removal of Existing Sump Pump and Discharge Pipe | E8 | L.S. | 1 |  | 0
d) | Removal of Existing Backwater Valve and Pipe, and Replacement with Terminal Backwater Valve | E8 | L.S. | 1 |  | 0
e) | Electrical, Instrumentation and Control | E8 | L.S. | 1 |  | 0
2 | DBPS High Level Flood Alarm
a) | Electrical, Instrumentation and Control | E8 | L.S. | 1 |  | 0
3 | WTP LDS Modifications
a) | MH 1 Modification | E8 | L.S. | 1 |  | 0
b) | MH 2 Riser Replacement | E8 | L.S. | 1 |  | 0
c) | Supply and install 1524 AWWA C561 SS Sluice Gate | E8 | L.S. | 1 |  | 0
d) | Supply and Installation of Sod with Imported Topsoil | E8 | m2 | 150 |  | 0
4 | Clearwell Weeping Tile Outlet Modifications
a) | Supply and Installation of 100 mm DR 17 HDPE Force Main | E8 CW 2130 | lin. m | 17 |  | 0
b) | Supply and Installation of 375 mm PVC LDS (Trenchless) | CW 2130 | lin. m | 88 |  | 0
c) | 1200 Manholes | CW 2130 | vert. m | 6 |  | 0
d) | Supply and Installation of 300 mm PVC CB Lead | CW 2130 | lin. m | 15 |  | 0
e) | Supply and Installation of 1200 mm Catch Basin C/W Beehive Cover | CW 2130 AP 009 | L.S. | 1 |  | 0
f) | Supply and Installation of Duckbill Check Valve | E8 | L.S. | 1 |  | 0
g) | Connection to Existing 2134 mm Overflow | CW 2130 | L.S. | 1 |  | 0
h) | Plug and Abandon Existing 100 mm Forcemain | CW 2130 | L.S. | 1 |  | 0
i) | Abandon Existing Catch Basin | CW 2130 | L.S. | 1 |  | 0
j) | Asphalt Road Restoration | E8 | m2 | 15 |  | 0
k) | Abandon Existing 250 mm LDS | CW 2130 | L.S. | 1 |  | 0
l) | Construction of Swale, Regrading and Reseeding | E8 | m2 | 1400 |  | 0
m) | Supply and Installation of New 300 mm CSP Culvert | CW 3610 | lin. m | 10 |  | 0
n) | Replace Concrete Curbs and Gutters | CW 3310 | lin. m | 10 |  | 0
o) | Limestone Gravel Road Surfacing | CW 3150 | Tonne | 40 |  | 0
5 | Supply and Install Pumping System from WTP Weeping Tile Manholes
a) | Supply and Installation of 50 mm HDPE Force Main | E8 CW 2130 | lin. m | 22 |  | 0
b) | Connection to Existing 2134 mm Overflow | E8 CW 2130 | L.S. | 2 |  | 0
c) | Supply and Installation of FOR Sump Pump | E8 CW 2130 | L.S. | 1 |  | 0
d) | Supply and Installation of RWPS Sump Pump | E8 CW 2130 | L.S. | 1 |  | 0
e) | Electrical, Instrumentation and Control | E8 CW 2130 | L.S. | 1 |  | 0
f) | Asphalt Road Restoration | E8 CW 2130 | m2 | 10 |  | 0
g) | Supply and Installation of Sod with Imported Topsoil | E8 CW 2130 | m2 | 100 |  | 0
6 | Site Grading and Gravel Surfacing of Civil Maintenance Building Parking Area
a) | Excavation | CW 3110 | m3 | 1960 |  | 0
b) | Ditch Excavation, Topsoil and Seeding | E8 | m2 | 760 |  | 0
c) | Sub-Grade Compaction | CW 3110 | m2 | 3680 |  | 0
d) | Geotextile/Class A Geogrid Composite | CW 3135 | m2 | 4080 |  | 0
e) | Supplying and Placing Base Course Material - Granular A | CW 3110 | m3 | 555 |  | 0
f) | Supplying and Placing Sub-base Material - 50 mm Granular A | CW 3110 | Tonne | 2530 |  | 0
g) | Salvage and placing 20 mm Limestone Sub-base | E8 | m3 | 60 |  | 0
h) | Supply and Installation of Downspout Splashpads | E8 | Each | 12 |  | 0
TOTAL BID PRICE (GST extra) (in numbers) |  |  |  |  | 0
Name of Bidder
Note on C2: Insert reference to "Prices" clause from the "Bidding Procedures". Also Revise the Header by inserting Tender # and revising the Tender Version number to match the Tender template used.