## Form B
FORM B(R1):PRICES
(See "Prices" clause in tender document)
UNIT PRICES
|  | Item | Description | Spec. Ref | Unit | Approximate Quantity | Unit Price | Amount
|  | A | Taylor Ave - Wilton Street to Poseidon Bay
A | 1 | A.1 | Trenchless Sewer Construction | E15
|  | a) | 1800 mm (C76-4)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 560 |  | 0
|  | b) | 1800 mm (C76-3)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 365 |  | 0
|  | c) | 1200 mm (C76-2)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 1 backfill |  | m | 91 |  | 0
A | 2 | A.2 | Combined Sewer Crossing Structure
Precast Concrete Structures
|  | a) | 2400 x 1200 mm Concrete Box Culvert
|  | i) | Class B Type 3 bedding, Class 1 backfill | E17 | m | 11 |  | 0
|  | b) | Rectangular Concrete Manholes
|  | i) | Rectangular 3.5 m x 2.5 m, 3.0 m high base, 1200 mm dia. riser (MH 211 & MH 212) | E17 | vt.m | 13 |  | 0
A | 3 | A.3 | Manholes
|  | a) | Large Diameter Manholes | E16
|  | i) | 3000 mm Dia x 2.44 m high base & 0.9 m barrel (MH 208, MH 209, MH 213, MH 214 & MH 215) |  | vt.m | 25 |  | 0
|  | ii) | 2400 mm Dia x 2.44 m high base (MH 216) |  | vt.m | 4 |  | 0
|  | b) | Precast Concrete Structures | E17
|  | i) | Rectangular Concrete Manhole 3.5 m x 3.0 m, 3.0 m high base, 1200 mm dia. riser (MH 210) |  | vt.m | 7 |  | 0
A | 4 | A.4 | 1800 mm - 45o Bend | E15 | each | 2 |  | 0
A | 5 | A.5 | Connect to 2400 mm RCP LDS Stub near Wilton Street /Taylor Avenue with Concrete Collar | E18 | each | 1 |  | 0
A | 6 | A.6 | Install 2400 x 1800 Eccentric Reducer |  | each | 1 |  | 0
A | 7 | A.7 | Install and Remove Temporary Plug | E14
|  | a) | 2400 mm dia. |  | each | 1 |  | 0
A | 8 | A.8 | Plug Removal from 2400 mm Stub
|  | a) | Remove 2400 mm Plug | E14 | each | 1 |  | 0
A | 9 | A.9 | New Sewer Inspection | CW 2145
|  | a) | 1800 mm |  | m | 925 |  | 0
|  | b) | 1200 mm |  | m | 91 |  | 0
|  | c) | 2400 x 1200 mm Concrete Box |  | m | 11 |  | 0
A | 10 | A.10 | Concrete Pipe - Three Edge Bearing Test | CW 2130
|  | a) | 1800 mm (C76-3) |  | each | 1 |  | 0
|  | b) | 1800 mm (C76-4) |  | each | 1 |  | 0
|  | c) | 1200 mm (C76-2) |  | each | 1 |  | 0
A | 11 | A.11 | Catch Basin Lead | CW 2130
|  | a) | 250 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 353 |  | 0
|  | b) | 300 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 79 |  | 0
|  | c) | 375 mm PVC SDR35
|  | i) | Trenchless installation, Class B Type 2 bedding, Class 3 Backfill |  | m | 17 |  | 0
A | 12 | A.12 | CB Lead Risers | CW 2130
|  | a) | 250 mm PVC SDR35 |  | vt.m | 36 |  | 0
A | 13 | A.13 | Connection to Existing Catch Basin and Catch Pit | CW 2130 / E20
|  | a) | 250 mm PVC SDR35 |  | each | 21 |  | 0
|  | b) | 300 mm PVC SDR35 |  | each | 2 |  | 0
A | 14 | A.14 | Connect to Existing Catch Basin Lead | CW 2130 / E20 | each | 6 |  | 0
A | 15 | A.15 | Connect Catch Basin Lead to LDS Pipe | CW 2130 / E20 | each | 29 |  | 0
A | 16 | A.16 | Plugging and Abandoning Existing Sewers | CW 2130
|  | a) | Plugging Existing Sewers and Sewer Services Smaller than 300 mm |  | each | 26 |  | 0
A | 17 | A.17 | Abandoning Existing Sewer with Cement-Stabilized Flowable Fill | CW 2130
|  | a) | 300 mm and larger |  | m³ | 12 |  | 0
A | 18 | A.18 | Existing Catch Basin Cleaning and Inspection | E22 | each | 23 |  | 0
A | 19 | A.19 | Watermain Service Replacement | CW 2110
|  | a) | 50 mm
|  | i) | Trench installation, Class B Sand Bedding, Class 3 Backfill |  | m | 11 |  | 0
A | 20 | A.20 | Watermain and Water Service Insulation | CW 2110 | m | 11 |  | 0
A | 21 | A.21 | Connecting to Ex. Water Service (Inline Connection - No Plug Existing) | CW 2110 | each | 4 |  | 0
A | 22 | A.22 | Existing Sewer Cleaning and Inspection
|  | a) | Existing Sewer Cleaning and Inspection (sections of existing CS adjacent to shafts) | CW 2145
|  | i) | Pre-Construction Sewer Inspection |  | m | 80 |  | 0
|  | ii) | Post-Construction Sewer Inspection |  | m | 80 |  | 0
A | 23 | A.23 | Tree Removal |  | each | 3 |  | 0
A | 24 | A.24 | Tree Planting |  | each | 3 |  | 0
|  | A | Taylor Ave - Wilton Street to Poseidon Bay |  |  | SUBTOTAL |  | 0
|  | B | Poseidon Bay - Near Taylor Avenue
B | 1 | B.1 | Sewer Construction | E15
|  | a) | 1050 mm (C76-2)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 21 |  | 0
B | 2 | B.2 | 1050 mm (C76-2) - 22.5o Bend | E15 | each | 1 |  | 0
B | 3 | B.3 | New Sewer Inspection | CW 2145
|  | a) | 1050 mm |  | m | 21 |  | 0
B | 4 | B.4 | Concrete Pipe - Three Edge Bearing Test | CW 2130
|  | a) | 1050 mm (C76-2) |  | each | 1 |  | 0
B | 5 | B.5 | Install Plug | CW 2130
|  | a) | 1050 mm |  | each | 1 |  | 0
|  | B | Poseidon Bay - Near Taylor Avenue |  |  | SUBTOTAL |  | 0
|  | C | Nathaniel Street - Near Taylor Avenue
C | 1 | C.1 | Sewer Construction | E15
|  | a) | 1200 mm (C76-4)
|  | i) | Trenchless installation, Class B Type 3 bedding, Class 3 Backfill |  | m | 37 |  | 0
C | 2
|  | C.2 | New Sewer Inspection
|  | a) | 1200 mm | CW2130 | m | 37 |  | 0
C | 3 | C.3 | Manholes
|  | a) | Large Diameter Manholes | E16.2 (b)
|  | i) | 2100 mm Dia x 2.44 m high base (MH 210A) |  | m | 6.5 |  | 0
C | 4 | C.4 | Existing Sewer Cleaning and Inspection
|  | a) | Existing Sewer Cleaning and Inspection (sections of existing CS adjacent to shafts) | CW 2145
|  | i) | Pre-Construction Sewer Inspection |  | m | 83 |  | 0
|  | ii) | Post-Construction Sewer Inspection |  | m | 83 |  | 0
|  | C | Nathaniel Street - Near Taylor Avenue |  |  | SUBTOTAL |  | 0
|  | D | General Site Works
D | 1 | D.1 | Site Development and Restoration | E7 | Lump Sum | 1 |  | 0
D | 2 | D.2 | Allowance for Vibration Monitoring | E27 | Allow | 1 | 25000 | 25000
D | 3 | D.3 | Allowance for Material Sampling and Testing | E28 | Allow | 1 | 10000 | 10000
|  | D | General Site Works |  |  | SUBTOTAL |  | 35000
|  | E | Provisional Items
E | 1 | E.1 | Change in Contract Conditions | E30 | Allow | 1 | 100000 | 100000
E | 2 | E.2 | Utility Exploration | E10 | each | 5 |  | 0
E | 3 | E.3 | Remove and Replace Existing Catch Basin / Catch Pit | CW 2130
|  | a) | SD-023 |  | each | 1 |  | 0
|  | b) | SD-024 |  | each | 3 |  | 0
E | 4 | E.4 | Manhole Lifter Rings (AP-007) | CW 2130
|  | a) | 38mm |  | each | 3 |  | 0
|  | b) | 51mm |  | each | 3 |  | 0
E | 5 | E.5 | Replacing Standard Frames and Covers | CW 2130
|  | a) | AP-004 Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
|  | b) | AP-005 Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
|  | c) | AP-006 Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
|  | d) | AP-008 Barrier Curb and Gutter Frame |  | each | 2 |  | 0
|  | e) | AP-009 Barrier Curb and Gutter Cover |  | each | 2 |  | 0
E | 6 | E.6 | Replacing Existing Manhole or Catch Basin Rungs | CW 2130 | each | 3 |  | 0
E | 7 | E.7 | Replacing Existing Catch Basin Hoods | CW 2130 | each | 3 |  | 0
E | 8 | E.8 | Patching Existing Manhole or Catch Basin | CW 2130 | each | 5 |  | 0
E | 9 | E.9 | Regrading of Existing Sewer Service | CW 2130/ E23
|  | a) | Up to 1.5m long
|  | i) | 100 |  | each | 1 |  | 0
|  | ii) | 150 |  | each | 1 |  | 0
|  | iii) | 200 |  | each | 1 |  | 0
|  | iv) | 250 |  | each | 1 |  | 0
|  | v) | 300 |  | each | 1 |  | 0
|  | b) | Longer than 1.5m
|  | i) | 100 |  | m | 5 |  | 0
|  | ii) | 150 |  | m | 5 |  | 0
|  | iii) | 200 |  | m | 5 |  | 0
|  | iv) | 250 |  | m | 5 |  | 0
|  | v) | 300 |  | m | 5 |  | 0
E | 10 | E.10 | Connect New Sewer to Existing MH | CW 2130 | each | 1 |  | 0
E | 11 | E.11 | Connect Existing Sewer to New MH | CW 2130 | each | 1 |  | 0
E | 12 | E.12 | Connect Existing Catch Basin Lead to Manhole | CW 2130 | each | 1 |  | 0
E | 13 | E.13 | Watermain Renewal | CW 2110
|  | a) | 150 mm
|  | i) | Trench installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
|  | b) | 200 mm
|  | i) | Trench installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
|  | c) | 250 mm
|  | i) | Trench installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0
E | 14 | E.14 | Connecting to Existing Watermains (Inline Connection - No Plug Existing) | CW 2110 | each | 2 |  | 0
E | 15 | E.15 | Install New Fire Hydrant | CW 2110 | each | 1 |  | 0
E | 16 | E.16 | Watermain Valve | CW 2110
|  | a) | 150 mm Gate Valve |  | each | 1 |  | 0
|  | a) | 200 mm Gate Valve |  | each | 1 |  | 0
|  | b) | 250 mm Gate Valve |  | each | 1 |  | 0
E | 17 | E.17 | Watermain Fittings | CW 2110
|  | a) | Bends
|  | i) | 150 mm - 45o |  | each | 1 |  | 0
|  | i) | 200 mm - 45o |  | each | 1 |  | 0
|  | ii) | 250 mm - 45o |  | each | 1 |  | 0
E | 18 | E.18 | Water Service Replacement | CW 2110 / E23
|  | a) | 19 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 3 |  | 0
|  | b) | 25 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 3 |  | 0
|  | c) | 38 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 3 |  | 0
|  | d) | 50 mm
|  | i) | Trenchless installation, Class B Sand bedding, Class 3 backfill |  | m | 25 |  | 0
E | 19 | E.19 | Curb Stops | CW 2110 / E23
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
E | 20 | E.20 | Corporation Stops | CW 2110 / E23
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
E | 21 | E.21 | Curb Stop Boxes | CW 2110 / E23
|  | a) | 19mm |  | each | 2 |  | 0
|  | b) | 25mm |  | each | 2 |  | 0
|  | c) | 38mm |  | each | 1 |  | 0
|  | d) | 50mm |  | each | 1 |  | 0
E | 22 | E.22 | 10.9 Kilogram Zinc Anode | CW 2110 / E23
|  | a) | On Water Service |  | each | 2 |  | 0
E | 23 | E.23 | Foundation, Bedding and Backfill | CW 2030
|  | a) | Cement Stabilized Fill |  | m3 | 5 |  | 0
|  | b) | Granular Backfill Material |  | m3 | 5 |  | 0
E | 24 | E.24 | Partial Slab Patches | CW 3230
|  | a) | 150 mm Reinforced Concrete Pavement |  | m2 | 5 |  | 0
|  | b) | 200 mm Reinforced Concrete Pavement |  | m2 | 200 |  | 0
E | 25 | E.25 | Concrete Pavement for Early Opening | CW 3310
|  | a) | Construction of 200 mm Concrete Pavement for Early Opening (24 hour) (Reinforced) |  | m2 | 40 |  | 0
E | 26 | E.26 | Concrete Curb Installation | CW 3240
|  | a) | Barrier Curb |  | m | 20 |  | 0
|  | b) | Ramp Curb |  | m | 10 |  | 0
E | 27 | E.27 | Miscellaneous Concrete Slab Renewal | CW 3235
|  | a) | 100 mm Concrete Sidewalk |  | m2 | 20 |  | 0
E | 28 | E.28 | Temporary Surface Restoration | E24
|  | a) | Concrete Pavement |  | m2 | 430 |  | 0
|  | b) | Sidewalk |  | m2 | 20 |  | 0
|  | c) | Curb |  | m | 140 |  | 0
E | 29 | E.29 | Construction of Asphalt Patches | CW 3410 | m2 | 15 |  | 0
E | 30 | E.30 | Construction of Asphaltic Concrete | CW 3410
|  | a) | Overlays Type 1A |  | tonne | 2 |  | 0
E | 31 | E.31 | Asphalt Planing 0-50 mm Depth | CW 3450 | m² | 15 |  | 0
E | 32 | E.32 | Supplying and Placing Base Course Material | CW 3110
|  | a) | Limestone |  | m³ | 25 |  | 0
E | 33 | E.33 | Regrading Existing Surfaces | CW 3330
|  | a) | Sidewalk Blocks |  | m² | 5 |  | 0
E | 34 | E.34 | Tree Removal | E11 | each | 2 |  | 0
E | 35 | E.35 | Tree Planting | E26 | each | 2 |  | 0
E | 36 | E.36 | Sodding | CW 3510 | m2 | 15 |  | 0
|  | E | Provisional Items |  |  | SUBTOTAL |  | 100000
|  | F | TOTAL BID PRICE (Items A + B + C + D + E) (GST extra) (in numbers) |  |  |  | 135000
UNIT PRICES FOR EVALUATION OF BIDS (Refer to B18) The following pricing forms part of the Total Evaluated Bid Price, but not the TOTAL BID PRICE
|  | G | Site Occupancy
|  | a) | Initial Span | D23 | Charged Day |  | 2500 | 0
|  | G | Site Occupancy |  |  | SUBTOTAL |  | 0
|  | H | Daily Equipment Costs
|  | H.1 | Change in Contract Conditions | E31
|  | a) | Daily Equipment Rate |  | day | 10 |  | 0
|  | H | Daily Equipment Costs |  |  | SUBTOTAL |  | 0
|  | TOTAL EVALUATED BID PRICE (Items F + G + H) (GST extra) (in numbers) |  |  |  |  | 135000
Name of Bidder
|  | A | Taylor Ave - Wilton Street to Poseidon Bay |  |  |  |  | 0
|  | B | Poseidon Bay - Near Taylor Avenue |  |  |  |  | 0
|  | C | Nathaniel Street - Near Taylor Avenue |  |  |  |  | 0
|  | D | General Site Works |  |  |  |  | 35000
|  | E | Provisional Items |  |  |  |  | 100000
|  | F | TOTAL BID PRICE (Items A + B + C + D + E) (GST extra) (in numbers) |  |  |  |  | 135000
|  | G | Site Occupancy |  |  |  |  | 0
|  | H | Daily Equipment Costs |  |  |  |  | 0
|  |  | TOTAL EVALUATED PRICE (Items F + G + H) (GST extra) (in numbers) |  |  |  |  | 135000
Note on C3: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##
Note on E5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: To be updated