## 149-2023
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY |  |  | Locked? | Joined, Trimmed, & Cleaned for Checking | MATCH | Format F | Format G | Format H
[8 empty] | LOCKED |  | #REF! | G | C2 | G
| A | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET | [5 empty] | LOCKED | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
|  | EARTH AND BASE WORKS | [5 empty] | LOCKED | EARTH AND BASE WORKS | #REF! | G | C2 | C2
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 750 |  | 0 |  | A003ExcavationCW 3110-R22m³ | #REF! | F0 | C2 | C2
A010 | A.2 | Supplying and Placing Base Course Material | CW 3110-R22 |  |  |  | 0 | LOCKED | A010Supplying and Placing Base Course MaterialCW 3110-R22 | #REF! | F0 | C2 | C2
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 100 |  | 0 |  | A010A1Base Course Material - Granular A Limestonem³ | #REF! | F0 | C2 | C2
A010C3 | ii) | Base Course Material - Granular C |  | m³ | 500 |  | 0 |  | A010C3Base Course Material - Granular Cm³ | #REF! | F0 | C2 | C2
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R22 |  |  |  | 0 | LOCKED | A007Supplying and Placing Sub-base MaterialCW 3110-R22 | #REF! | F0 | C2 | C2
A007B3 | i) | 50 mm Granular B |  | tonne | 20 |  | 0 |  | A007B350 mm Granular Btonne | #REF! | F0 | C2 | C2
A012 | A.4 | Grading of Boulevards | CW 3110-R22 | m² | 3250 |  | 0 |  | A012Grading of BoulevardsCW 3110-R22m² | #REF! | F0 | C2 | C2
A022 | A.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0 | LOCKED | A022Geotextile FabricCW 3130-R5 | #REF! | F0 | C2 | C2
A022A2 | i) | Separation/Filtration Fabric |  | m² | 20 |  | 0 |  | A022A2Separation/Filtration Fabricm² | #REF! | F0 | C2 | C2
|  | ROADWORKS - REMOVALS/RENEWALS |  |  |  |  | 0 | LOCKED | ROADWORKS - REMOVALS/RENEWALS | #REF! | F0 | C2 | C2
B001 | A.6 | Pavement Removal | CW 3110-R22 |  |  |  | 0 | LOCKED | B001Pavement RemovalCW 3110-R22 | #REF! | F0 | C2 | C2
B002 | i) | Concrete Pavement |  | m² | 3750 |  | 0 |  | B002Concrete Pavementm² | #REF! | F0 | C2 | C2
B003 | ii) | Asphalt Pavement |  | m² | 1800 |  | 0 |  | B003Asphalt Pavementm² | #REF! | F0 | C2 | C2
B004 | A.7 | Slab Replacement | CW 3230-R8 |  |  |  | 0 | LOCKED | B004Slab ReplacementCW 3230-R8 | #REF! | F0 | C2 | C2
B011 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 475 |  | 0 |  | B011200 mm Type 1 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B017 | A.8 | Partial Slab Patches | CW 3230-R8 |  |  |  | 0 | LOCKED | B017Partial Slab PatchesCW 3230-R8 | #REF! | F0 | C2 | C2
B026 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 15 |  | 0 |  | B026200 mm Type 1 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B027 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 350 |  | 0 |  | B027200 mm Type 1 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B029 | iii) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 325 |  | 0 |  | B029200 mm Type 1 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B034-24 | A.9 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8 |  |  |  | 0 | LOCKED | B034-24Slab Replacement - Early Opening (24 hour)CW 3230-R8 | #REF! | F0 | C2 | C2
B041-24 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 100 |  | 0 |  | B041-24200 mm Type 1 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B047-24 | A.10 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8 |  |  |  | 0 | LOCKED | B047-24Partial Slab Patches - Early Opening (24 hour)CW 3230-R8 | #REF! | F0 | C2 | C2
B056-24 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 5 |  | 0 |  | B056-24200 mm Type 1 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B057-24 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 125 |  | 0 |  | B057-24200 mm Type 1 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B059-24 | iii) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 125 |  | 0 |  | B059-24200 mm Type 1 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B064-72 | A.11 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8 |  |  |  | 0 | LOCKED | B064-72Slab Replacement - Early Opening (72 hour)CW 3230-R8 | #REF! | F0 | C2 | C2
B071-72 | i) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 125 |  | 0 |  | B071-72200 mm Type 1 Concrete Pavement (Reinforced)m² | #REF! | F0 | C2 | C2
B077-72 | A.12 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8 |  |  |  | 0 | LOCKED | B077-72Partial Slab Patches - Early Opening (72 hour)CW 3230-R8 | #REF! | F0 | C2 | C2
B086-72 | i) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 5 |  | 0 |  | B086-72200 mm Type 1 Concrete Pavement (Type A)m² | #REF! | F0 | C2 | C2
B087-72 | ii) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 125 |  | 0 |  | B087-72200 mm Type 1 Concrete Pavement (Type B)m² | #REF! | F0 | C2 | C2
B089-72 | iii) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 125 |  | 0 |  | B089-72200 mm Type 1 Concrete Pavement (Type D)m² | #REF! | F0 | C2 | C2
B094 | A.13 | Drilled Dowels | CW 3230-R8 |  |  |  | 0 | LOCKED | B094Drilled DowelsCW 3230-R8 | #REF! | F0 | C2 | C2
B095 | i) | 19.1 mm Diameter |  | each | 1350 |  | 0 |  | B09519.1 mm Diametereach | #REF! | F0 | C2 | C2
B097 | A.14 | Drilled Tie Bars | CW 3230-R8 |  |  |  | 0 | LOCKED | B097Drilled Tie BarsCW 3230-R8 | #REF! | F0 | C2 | C2
B098 | i) | 20 M Deformed Tie Bar |  | each | 2500 |  | 0 |  | B09820 M Deformed Tie Bareach | #REF! | F0 | C2 | C2
B100r | A.15 | Miscellaneous Concrete Slab Removal | CW 3235-R9 |  |  |  | 0 | LOCKED | B100rMiscellaneous Concrete Slab RemovalCW 3235-R9 | #REF! | F0 | C2 | C2
B102r | i) | Monolithic Median Slab |  | m² | 35 |  | 0 |  | B102rMonolithic Median Slabm² | #REF! | F0 | C2 | C2
B104r | ii) | 100 mm Sidewalk |  | m² | 1625 |  | 0 |  | B104r100 mm Sidewalkm² | #REF! | F0 | C2 | C2
B105r | iii) | Bullnose |  | m² | 5 |  | 0 |  | B105rBullnosem² | #REF! | F0 | C2 | C2
B107i | A.16 | Miscellaneous Concrete Slab Installation | CW 3235-R9 |  |  |  | 0 | LOCKED | B107iMiscellaneous Concrete Slab InstallationCW 3235-R9 | #REF! | F0 | C2 | C2
B109i | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 30 |  | 0 |  | B109iType 1 Concrete Monolithic Median SlabSD-226Am² | #REF! | F0 | C2 | C2
B111i | ii) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 2050 |  | 0 |  | B111iType 5 Concrete 100 mm SidewalkSD-228Am² | #REF! | F0 | C2 | C2
B112i | iii) | Type 1 Concrete Bullnose | SD-227C | m² | 5 |  | 0 |  | B112iType 1 Concrete BullnoseSD-227Cm² | #REF! | F0 | C2 | C2
B114C | A.17 | Type 1 Concrete Monolithic Curb and 100 mm Sidewalk with Block Outs | E13 | m² | 2000 |  | 0 |  | B114CType 1 Concrete Monolithic Curb and 100 mm Sidewalk with Block Outsm² | #REF! | F0 | C2 | C2
B114E | A.18 | Paving Stone Indicator Surfaces | E14 | m² | 150 |  | 0 |  | B114EPaving Stone Indicator Surfacesm² | #REF! | F0 | C2 | C2
B114rl | A.19 | Miscellaneous Concrete Slab Renewal | CW 3235-R9 |  |  |  | 0 | LOCKED | B114rlMiscellaneous Concrete Slab RenewalCW 3235-R9 | #REF! | F0 | C2 | C2
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A |  |  |  | 0 | LOCKED | B118rl100 mm Type 5 Concrete SidewalkSD-228A | #REF! | F0 | C2 | C2
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0 |  | B119rlLess than 5 sq.m.m² | #REF! | F0 | C2 | C2
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 100 |  | 0 |  | B120rl5 sq.m. to 20 sq.m.m² | #REF! | F0 | C2 | C2
B121rl | c) | Greater than 20 sq.m. |  | m² | 725 |  | 0 |  | B121rlGreater than 20 sq.m.m² | #REF! | F0 | C2 | C2
B126r | A.20 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0 | LOCKED | B126rConcrete Curb RemovalCW 3240-R10 | #REF! | F0 | C2 | C2
B127rB | i) | Barrier Separate |  | m | 150 |  | 0 |  | B127rBBarrier Separatem | #REF! | F0 | C2 | C2
B135i | A.21 | Concrete Curb Installation | CW 3240-R10 |  |  |  | 0 | LOCKED | B135iConcrete Curb InstallationCW 3240-R10 | #REF! | F0 | C2 | C2
B136iA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 370 |  | 0 |  | B136iAType 1 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205m | #REF! | F0 | C2 | C2
B139iA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 260 |  | 0 |  | B139iAType 1 Concrete Modified Barrier (150 mm reveal ht, Dowelled)SD-203Bm | #REF! | F0 | C2 | C2
B150iA | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 215 |  | 0 |  | B150iAType 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic)SD-229A,B,Cm | #REF! | F0 | C2 | C2
B151i | iv) | Type 1 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 70 |  | 0 |  | B151iType 1 Concrete Safety Curb (330 mm reveal ht)SD-206Bm | #REF! | F0 | C2 | C2
B154rl | A.22 | Concrete Curb Renewal | CW 3240-R10 |  |  |  | 0 | LOCKED | B154rlConcrete Curb RenewalCW 3240-R10 | #REF! | F0 | C2 | C2
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A |  |  |  | 0 | LOCKED | B155rlAType 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205,SD-206A | #REF! | F0 | C2 | C2
B155rlA1 | a) | Less than 3 m |  | m | 5 |  | 0 |  | B155rlA1Less than 3 mm | #REF! | F0 | C2 | C2
B155rlA2 | b) | 3 m to 30 m |  | m | 185 |  | 0 |  | B155rlA23 m to 30 mm | #REF! | F0 | C2 | C2
B155rlA3 | c) | Greater than 30 m |  | m | 190 |  | 0 |  | B155rlA3Greater than 30 mm | #REF! | F0 | C2 | C2
B184rlA | ii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 90 |  | 0 |  | B184rlAType 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic)SD-229C,Dm | #REF! | F0 | C2 | C2
B188 | A.23 | Supply and Installation of Dowel Assemblies | CW 3310-R18 | m | 275 |  | 0 |  | B188Supply and Installation of Dowel AssembliesCW 3310-R18m | #REF! | F0 | C2 | C2
B189 | A.24 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 35 |  | 0 |  | B189Regrading Existing Interlocking Paving StonesCW 3330-R5m² | #REF! | F0 | C2 | C2
B190 | A.25 | Construction of Asphaltic Concrete Overlay | CW 3410-R12 |  |  |  | 0 | LOCKED | B190Construction of Asphaltic Concrete OverlayCW 3410-R12 | #REF! | F0 | C2 | C2
B191 | i) | Main Line Paving |  |  |  |  | 0 | LOCKED | B191Main Line Paving | #REF! | F0 | C2 | C2
B193 | a) | Type IA |  | tonne | 2250 |  | 0 |  | B193Type IAtonne | #REF! | F0 | C2 | C2
B194 | ii) | Tie-ins and Approaches |  |  |  |  | 0 | LOCKED | B194Tie-ins and Approaches | #REF! | F0 | C2 | C2
B195 | a) | Type IA |  | tonne | 475 |  | 0 |  | B195Type IAtonne | #REF! | F0 | C2 | C2
B198 | A.26 | Construction of Asphaltic Concrete Base Course (Type III) | CW 3410-R12 | tonne | 725 |  | 0 |  | B198Construction of Asphaltic Concrete Base Course (Type III)CW 3410-R12tonne | #REF! | F0 | C2 | C2
B200 | A.27 | Planing of Pavement | CW 3450-R6 |  |  |  | 0 | LOCKED | B200Planing of PavementCW 3450-R6 | #REF! | F0 | C2 | C2
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1000 |  | 0 |  | B2011 - 50 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 12500 |  | 0 |  | B20250 - 100 mm Depth (Asphalt)m² | #REF! | F0 | C2 | C2
B206 | A.28 | Supply and Install Pavement Repair Fabric | CW 3140-R1 |  |  |  | 0 | LOCKED | B206Supply and Install Pavement Repair FabricCW 3140-R1 | #REF! | F0 | C2 | C2
B206A | i) | Type A |  | m² | 3000 |  | 0 |  | B206AType Am² | #REF! | F0 | C2 | C2
B219 | A.29 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 25 |  | 0 |  | B219Detectable Warning Surface TilesCW 3326-R3each | #REF! | F0 | C2 | C2
| A.30 | Directional Bar Tiles | E20 |  |  |  | 0 | LOCKED | Directional Bar Tiles | #REF! | F0 | C2 | C2
| i) | 305 mm x 610 mm tiles |  | each | 45 |  | 0 |  | 305 mm x 610 mm tileseach | #REF! | F0 | C2 | C2
|  | ROADWORKS - NEW CONSTRUCTION |  |  |  |  | 0 | LOCKED | ROADWORKS - NEW CONSTRUCTION | #REF! | F0 | C2 | C2
C001 | A.31 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18 |  |  |  | 0 | LOCKED | C001Concrete Pavements, Median Slabs, Bull-noses, and Safety MediansCW 3310-R18 | #REF! | F0 | C2 | C2
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 1000 |  | 0 |  | C008Construction of 200 mm Type 1 Concrete Pavement - (Reinforced)m² | #REF! | F0 | C2 | C2
C019 | A.32 | Concrete Pavements for Early Opening | CW 3310-R18 |  |  |  | 0 | LOCKED | C019Concrete Pavements for Early OpeningCW 3310-R18 | #REF! | F0 | C2 | C2
C026-24 | i) | Construction of 200 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 250 |  | 0 |  | C026-24Construction of 200 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced)m² | #REF! | F0 | C2 | C2
C026-72 | ii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 300 |  | 0 |  | C026-72Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced)m² | #REF! | F0 | C2 | C2
|  | JOINT AND CRACK SEALING |  |  |  |  | 0 | LOCKED | JOINT AND CRACK SEALING | #REF! | F0 | C2 | C2
D006 | A.33 | Reflective Crack Maintenance | CW 3250-R7 | m | 7500 |  | 0 |  | D006Reflective Crack MaintenanceCW 3250-R7m | #REF! | F0 | C2 | C2
|  | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS |  |  |  |  | 0 | LOCKED | ASSOCIATED DRAINAGE AND UNDERGROUND WORKS | #REF! | F0 | C2 | C2
E003 | A.34 | Catch Basin | CW 2130-R12 |  |  |  | 0 | LOCKED | E003Catch BasinCW 2130-R12 | #REF! | F0 | C2 | C2
E004A | i) | SD-024, 1800 mm deep |  | each | 19 |  | 0 |  | E004ASD-024, 1800 mm deepeach | #REF! | F0 | C2 | C2
E005A | ii) | SD-025, 1800 mm deep |  | each | 1 |  | 0 |  | E005ASD-025, 1800 mm deepeach | #REF! | F0 | C2 | C2
E006 | A.35 | Catch Pit | CW 2130-R12 |  |  |  | 0 | LOCKED | E006Catch PitCW 2130-R12 | #REF! | F0 | C2 | C2
E007 | i) | SD-023 |  | each | 15 |  | 0 |  | E007SD-023each | #REF! | F0 | C2 | C2
E008 | A.36 | Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E008Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E009 | i) | 250 mm, PVC |  |  |  |  | 0 | LOCKED | E009250 mm, PVC | #REF! | F0 | C2 | C2
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 110 |  | 0 |  | E010In a Trench, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
E011 | b) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 50 |  | 0 |  | E011Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
E012 | A.37 | Drainage Connection Pipe | CW 2130-R12 | m | 90 |  | 0 |  | E012Drainage Connection PipeCW 2130-R12m | #REF! | F0 | C2 | C2
E023 | A.38 | Frames & Covers | CW 3210-R8 |  |  |  | 0 | LOCKED | E023Frames & CoversCW 3210-R8 | #REF! | F0 | C2 | C2
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 15 |  | 0 |  | E024AP-006 - Standard Frame for Manhole and Catch Basineach | #REF! | F0 | C2 | C2
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 15 |  | 0 |  | E025AP-007 - Standard Solid Cover for Standard Frameeach | #REF! | F0 | C2 | C2
E032 | A.39 | Connecting to Existing Manhole | CW 2130-R12 |  |  |  | 0 | LOCKED | E032Connecting to Existing ManholeCW 2130-R12 | #REF! | F0 | C2 | C2
E033 | i) | 250 mm Catch Basin Lead |  | each | 8 |  | 0 |  | E033250 mm Catch Basin Leadeach | #REF! | F0 | C2 | C2
E034 | A.40 | Connecting to Existing Catch Basin | CW 2130-R12 |  |  |  | 0 | LOCKED | E034Connecting to Existing Catch BasinCW 2130-R12 | #REF! | F0 | C2 | C2
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 13 |  | 0 |  | E035250 mm Drainage Connection Pipeeach | #REF! | F0 | C2 | C2
E036 | A.41 | Connecting to Existing Sewer | CW 2130-R12 |  |  |  | 0 | LOCKED | E036Connecting to Existing SewerCW 2130-R12 | #REF! | F0 | C2 | C2
E037 | i) | 250 mm (PVC) Connecting Pipe |  |  |  |  | 0 | LOCKED | E037250 mm (PVC) Connecting Pipe | #REF! | F0 | C2 | C2
E040 | a) | Connecting to 450 mm Concrete Combined Sewer |  | each | 1 |  | 0 |  | E040Connecting to 450 mm Concrete Combined Sewereach | #REF! | F0 | C2 | C2
E041 | b) | Connecting to 800 x 1200 mm Concrete Combined Sewer |  | each | 10 |  | 0 |  | E041Connecting to 800 x 1200 mm Concrete Combined Sewereach | #REF! | F0 | C2 | C2
E042 | A.42 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12 |  |  |  | 0 | LOCKED | E042Connecting New Sewer Service to Existing Sewer ServiceCW 2130-R12 | #REF! | F0 | C2 | C2
E043 | i) | 250 mm |  | each | 5 |  | 0 |  | E043250 mmeach | #REF! | F0 | C2 | C2
E046 | A.43 | Removal of Existing Catch Basins | CW 2130-R12 | each | 21 |  | 0 |  | E046Removal of Existing Catch BasinsCW 2130-R12each | #REF! | F0 | C2 | C2
E047 | A.44 | Removal of Existing Catch Pit | CW 2130-R12 | each | 10 |  | 0 |  | E047Removal of Existing Catch PitCW 2130-R12each | #REF! | F0 | C2 | C2
| A.45 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12 |  |  |  | 0 | LOCKED | Abandoning Existing Sewer Services Under PavementCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | 250 mm Pipe or Smaller | CW 2130-R12 | each | 22 |  | 0 |  | 250 mm Pipe or SmallerCW 2130-R12each | #REF! | F0 | C2 | C2
E050 | A.46 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 19 |  | 0 |  | E050Abandoning Existing Drainage InletsCW 2130-R12each | #REF! | F0 | C2 | C2
E050A | A.47 | Catch Basin Cleaning | CW 2140-R4 | each | 17 |  | 0 |  | E050ACatch Basin CleaningCW 2140-R4each | #REF! | F0 | C2 | C2
|  | ADJUSTMENTS |  |  |  |  | 0 | LOCKED | ADJUSTMENTS | #REF! | F0 | C2 | C2
F001 | A.48 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 30 |  | 0 |  | F001Adjustment of Manholes/Catch Basins FramesCW 3210-R8each | #REF! | F0 | C2 | C2
F002 | A.49 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2.5 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
F003 | A.50 | Lifter Rings (AP-010) | CW 3210-R8 |  |  |  | 0 | LOCKED | F003Lifter Rings (AP-010)CW 3210-R8 | #REF! | F0 | C2 | C2
F004 | i) | 38 mm |  | each | 1 |  | 0 |  | F00438 mmeach | #REF! | F0 | C2 | C2
F005 | ii) | 51 mm |  | each | 17 |  | 0 |  | F00551 mmeach | #REF! | F0 | C2 | C2
F006 | iii) | 64 mm |  | each | 1 |  | 0 |  | F00664 mmeach | #REF! | F0 | C2 | C2
F007 | iv) | 76 mm |  | each | 1 |  | 0 |  | F00776 mmeach | #REF! | F0 | C2 | C2
F009 | A.51 | Adjustment of Valve Boxes | CW 3210-R8 | each | 19 |  | 0 |  | F009Adjustment of Valve BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F010 | A.52 | Valve Box Extensions | CW 3210-R8 | each | 10 |  | 0 |  | F010Valve Box ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
F011 | A.53 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 10 |  | 0 |  | F011Adjustment of Curb Stop BoxesCW 3210-R8each | #REF! | F0 | C2 | C2
F018 | A.54 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0 |  | F018Curb Stop ExtensionsCW 3210-R8each | #REF! | F0 | C2 | C2
|  | LANDSCAPING |  |  |  |  | 0 | LOCKED | LANDSCAPING | #REF! | F0 | C2 | C2
G001 | A.55 | Sodding | CW 3510-R9 |  |  |  | 0 | LOCKED | G001SoddingCW 3510-R9 | #REF! | F0 | C2 | C2
G002 | i) | width < 600 mm |  | m² | 1100 |  | 0 |  | G002width < 600 mmm² | #REF! | F0 | C2 | C2
G003 | ii) | width > or = 600 mm |  | m² | 2150 |  | 0 |  | G003width > or = 600 mmm² | #REF! | F0 | C2 | C2
G004 | A.56 | Removal of Existing Trees | E19 |  |  |  | 0 | LOCKED | G004Removal of Existing Trees | #REF! | F0 | C2 | C2
G005 | i) | 150 mm Diameter |  | each | 1 |  | 0 |  | G005150 mm Diametereach | #REF! | F0 | C2 | C2
G005 | ii) | 450 mm Diameter |  | each | 1 |  | 0 |  | G005450 mm Diametereach | #REF! | F0 | C2 | C2
|  | MISCELLANEOUS |  |  |  |  | 0 | LOCKED | MISCELLANEOUS | #REF! | F0 | C2 | C2
H007 | A.57 | Chain Link Fence | CW 3550-R3 |  |  |  | 0 | LOCKED | H007Chain Link FenceCW 3550-R3 | #REF! | F0 | C2 | C2
H008 | i) | 1.22m Height |  | m | 30 |  | 0 |  | H0081.22m Heightm | #REF! | F0 | C2 | C2
| A.58 | Removal and Disposal of Existing Rail Line | E15 | m | 25 |  | 0 |  | Removal and Disposal of Existing Rail Linem | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| A | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| B | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET | [5 empty] | LOCKED | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
|  | EARTH AND BASE WORKS |  |  |  |  | 0 | LOCKED | EARTH AND BASE WORKS | #REF! | F0 | C2 | C2
A003 | B.1 | Excavation | CW 3110-R22 | m³ | 1900 |  | 0 |  | A003ExcavationCW 3110-R22m³ | #REF! | F0 | C2 | C2
A004 | B.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 4600 |  | 0 |  | A004Sub-Grade CompactionCW 3110-R22m² | #REF! | F0 | C2 | C2
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R22 |  |  |  | 0 | LOCKED | A007Supplying and Placing Sub-base MaterialCW 3110-R22 | #REF! | F0 | C2 | C2
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1700 |  | 0 |  | A007A150 mm Granular A Limestonetonne | #REF! | F0 | C2 | C2
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R22 |  |  |  | 0 | LOCKED | A010Supplying and Placing Base Course MaterialCW 3110-R22 | #REF! | F0 | C2 | C2
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 625 |  | 0 |  | A010A1Base Course Material - Granular A Limestonem³ | #REF! | F0 | C2 | C2
A022 | B.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0 | LOCKED | A022Geotextile FabricCW 3130-R5 | #REF! | F0 | C2 | C2
A022A2 | i) | Separation/Filtration Fabric |  | m² | 4600 |  | 0 |  | A022A2Separation/Filtration Fabricm² | #REF! | F0 | C2 | C2
A022A4 | B.6 | Supply and Install Geogrid | CW 3135-R2 |  |  |  | 0 | LOCKED | A022A4Supply and Install GeogridCW 3135-R2 | #REF! | F0 | C2 | C2
A022A5 | i) | Class A Geogrid |  | m² | 4600 |  | 0 |  | A022A5Class A Geogridm² | #REF! | F0 | C2 | C2
|  | ROADWORKS - NEW CONSTRUCTION |  |  |  |  | 0 | LOCKED | ROADWORKS - NEW CONSTRUCTION | #REF! | F0 | C2 | C2
C055 | B.7 | Construction of Asphaltic Concrete Pavements | CW 3410-R12 |  |  |  | 0 | LOCKED | C055Construction of Asphaltic Concrete PavementsCW 3410-R12 | #REF! | F0 | C2 | C2
C056 | i) | Main Line Paving (Bike Path and Multi-Use Pathway) |  |  |  |  | 0 | LOCKED | C056Main Line Paving (Bike Path and Multi-Use Pathway) | #REF! | F0 | C2 | C2
C058 | a) | Type IA |  | tonne | 600 |  | 0 |  | C058Type IAtonne | #REF! | F0 | C2 | C2
|  | JOINT AND CRACK SEALING |  |  |  |  | 0 | LOCKED | JOINT AND CRACK SEALING | #REF! | F0 | C2 | C2
D006 | B.8 | Reflective Crack Maintenance | CW 3250-R7 | m | 1500 |  | 0 |  | D006Reflective Crack MaintenanceCW 3250-R7m | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| B | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| C | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET | [5 empty] | LOCKED | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
|  | MANHOLE REPAIR (MH50002137) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50002137) | #REF! | F0 | C2 | C2
F002 | C.1 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.2 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50002196) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50002196) | #REF! | F0 | C2 | C2
F002 | C.3 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.3 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.4 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50002197) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50002197) | #REF! | F0 | C2 | C2
F002 | C.5 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.6 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.6 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50002198) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50002198) | #REF! | F0 | C2 | C2
F002 | C.7 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.7 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.8 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50002199) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50002199) | #REF! | F0 | C2 | C2
F002 | C.9 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.4 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.10 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50008628) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50008628) | #REF! | F0 | C2 | C2
F002 | C.11 | Replacing Existing Risers | CW 2130-R12 |  |  |  | 0 | LOCKED | F002Replacing Existing RisersCW 2130-R12 | #REF! | F0 | C2 | C2
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.2 |  | 0 |  | F002APre-cast Concrete Risersvert. m | #REF! | F2 | C2 | C2
| C.12 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPAIR (MH50007230) |  |  |  |  | 0 | LOCKED | MANHOLE REPAIR (MH50007230) | #REF! | F0 | C2 | C2
| C.13 | Stabilization Repair | CW 2130-R12 |  |  |  | 0 | LOCKED | Stabilization RepairCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | Stabilize and grout manhole base walls and around pipe connections from 3.9m to bottom of manhole |  | each | 1 |  | 0 |  | Stabilize and grout manhole base walls and around pipe connections from 3.9m to bottom of manholeeach | #REF! | F0 | C2 | C2
| C.14 | Manhole Inspection (following repair) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following repair)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | MANHOLE REPLACEMENT (MH50008629) |  |  |  |  | 0 | LOCKED | MANHOLE REPLACEMENT (MH50008629) | #REF! | F0 | C2 | C2
| C.15 | Replace Existing Manhole | CW 2130-R12 |  |  |  | 0 | LOCKED | Replace Existing ManholeCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | Pre-cast Concrete Base and Risers |  | vert. m | 5.7 |  | 0 |  | Pre-cast Concrete Base and Risersvert. m | #REF! | F2 | C2 | C2
| C.16 | Manhole Inspection (following replacement) | CW 2145-R4 |  |  |  | 0 | LOCKED | Manhole Inspection (following replacement)CW 2145-R4 | #REF! | F0 | C2 | C2
| i) | Manhole Inspection |  | each | 1 |  | 0 |  | Manhole Inspectioneach | #REF! | F0 | C2 | C2
|  | SEWER ABANDONMENT (MA70060268) |  |  |  |  | 0 | LOCKED | SEWER ABANDONMENT (MA70060268) | #REF! | F0 | C2 | C2
| C.17 | Abandon Existing Sewer | CW 2130-R12 |  |  |  | 0 | LOCKED | Abandon Existing SewerCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | 200 mm |  | m | 8 |  | 0 |  | 200 mmm | #REF! | F0 | C2 | C2
|  | SEWER ABANDONMENT (MA70060269) |  |  |  |  | 0 | LOCKED | SEWER ABANDONMENT (MA70060269) | #REF! | F0 | C2 | C2
| C.18 | Sewer Inspection (pre repair) to confirm no longer in use | CW2145-R4 |  |  |  | 0 | LOCKED | Sewer Inspection (pre repair) to confirm no longer in useCW2145-R4 | #REF! | F0 | C2 | C2
| i) | 200 mm |  | m | 8 |  | 0 |  | 200 mmm | #REF! | F0 | C2 | C2
| C.19 | Abandon Existing Sewer | CW 2130-R12 |  |  |  | 0 | LOCKED | Abandon Existing SewerCW 2130-R12 | #REF! | F0 | C2 | C2
| i) | 200 mm |  | m | 8 |  | 0 |  | 200 mmm | #REF! | F0 | C2 | C2
E072 | C.20 | Water Main and Water Service Insulation | E20 |  |  |  | 0 | LOCKED | E072Water Main and Water Service Insulation | #REF! | F0 | C2 | C2
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 30 |  | 0 |  | E073Pipe Under Roadway Excavation (SD-018)m² | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| C | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| D | WATER MAIN RENEWALS | [5 empty] | LOCKED | WATER MAIN RENEWALS | #REF! | F0 | C2 | C2
|  | ARCHIBALD STREET |  |  |  |  | 0 | LOCKED | ARCHIBALD STREET | #REF! | F0 | C2 | C2
| D.1 | Water Main Renewal | CW 2110-R11 E17 |  |  |  | 0 | LOCKED | Water Main RenewalCW 2110-R11E17 | #REF! | F0 | C2 | C2
| i) | 200mm |  |  |  |  | 0 | LOCKED | 200mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 25 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| ii) | 300mm |  |  |  |  | 0 | LOCKED | 300mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 425 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| D.2 | Hydrant Assembly | CW 2110-R11 |  |  |  | 0 | LOCKED | Hydrant AssemblyCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | SD-006 |  | each | 3 |  | 0 |  | SD-006each | #REF! | F0 | C2 | C2
| ii) | SD-007 |  | each | 2 |  | 0 |  | SD-007each | #REF! | F0 | C2 | C2
| D.3 | Water Main Valve | CW 2110-R11 |  |  |  | 0 | LOCKED | Water Main ValveCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 200mm |  | each | 3 |  | 0 |  | 200mmeach | #REF! | F0 | C2 | C2
| ii) | 300mm |  | each | 3 |  | 0 |  | 300mmeach | #REF! | F0 | C2 | C2
| D.4 | Fittings | CW 2110-R11 |  |  |  | 0 | LOCKED | FittingsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | Tees |  |  |  |  | 0 | LOCKED | Tees | #REF! | F0 | C2 | C2
| a) | 300mm x 300mm x 150 mm |  | each | 1 |  | 0 |  | 300mm x 300mm x 150 mmeach | #REF! | F0 | C2 | C2
| b) | 300mm x 300mm x 200 mm |  | each | 3 |  | 0 |  | 300mm x 300mm x 200 mmeach | #REF! | F0 | C2 | C2
| ii) | Bends (SD-004) |  |  |  |  | 0 | LOCKED | Bends (SD-004) | #REF! | F0 | C2 | C2
| a) | 300mm - 11 1/4° |  | each | 2 |  | 0 |  | 300mm - 11 1/4°each | #REF! | F0 | C2 | C2
| b) | 200mm - 45° |  | each | 2 |  | 0 |  | 200mm - 45°each | #REF! | F0 | C2 | C2
| iii) | Bends (SD-005) |  |  |  |  | 0 | LOCKED | Bends (SD-005) | #REF! | F0 | C2 | C2
| a) | 200mm - 45° |  | each | 6 |  | 0 |  | 200mm - 45°each | #REF! | F0 | C2 | C2
| D.5 | Water Services | CW 2110-R11 |  |  |  | 0 | LOCKED | Water ServicesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  |  |  |  | 0 | LOCKED | 19mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| ii) | 25mm |  |  |  |  | 0 | LOCKED | 25mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| iii) | 38mm |  |  |  |  | 0 | LOCKED | 38mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 5 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| D.6 | Corporation Stops | CW 2110-R11 |  |  |  | 0 | LOCKED | Corporation StopsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 6 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| ii) | 25mm |  | each | 3 |  | 0 |  | 25mmeach | #REF! | F0 | C2 | C2
| iii) | 38mm |  | each | 1 |  | 0 |  | 38mmeach | #REF! | F0 | C2 | C2
| D.7 | Connecting to Existing Water Mains and Large Diameter Water Services | CW 2110-R11 |  |  |  | 0 | LOCKED | Connecting to Existing Water Mains and Large Diameter Water ServicesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | In-line Connection - No Plug Existing |  |  |  |  | 0 | LOCKED | In-line Connection - No Plug Existing | #REF! | F0 | C2 | C2
| a) | 200mm |  | each | 3 |  | 0 |  | 200mmeach | #REF! | F0 | C2 | C2
| b) | 300mm |  | each | 2 |  | 0 |  | 300mmeach | #REF! | F0 | C2 | C2
| D.8 | Connecting Existing Copper Water Services to New Water Mains | E26 |  |  |  | 0 | LOCKED | Connecting Existing Copper Water Services to New Water Mains | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 6 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| ii) | 25mm |  | each | 3 |  | 0 |  | 25mmeach | #REF! | F0 | C2 | C2
| iii) | 38mm |  | each | 1 |  | 0 |  | 38mmeach | #REF! | F0 | C2 | C2
| D.9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11 |  |  |  | 0 | LOCKED | 10.9 Kilogram Sacrificial Zinc AnodesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | On Metallic Water Mains |  | each | 3 |  | 0 |  | On Metallic Water Mainseach | #REF! | F0 | C2 | C2
| ii) | On Water Services |  | each | 5 |  | 0 |  | On Water Serviceseach | #REF! | F0 | C2 | C2
| D.10 | Continuity Bonding | CW 2110-R11 | each | 5 |  | 0 |  | Continuity BondingCW 2110-R11each | #REF! | F0 | C2 | C2
| D.11 | Water Main Under-Crossings - Surcharge | E17 | each | 2 |  | 0 |  | Water Main Under-Crossings - Surchargeeach | #REF! | F0 | C2 | C2
| D.12 | Temporary Surface Restorations: Roadway | E24 | m² | 50 |  | 0 |  | Temporary Surface Restorations: Roadwaym² | #REF! | F0 | C2 | C2
|  | KAVANAGH STREET, GIROUX STREET & BACK LANE |  |  |  |  | 0 | LOCKED | KAVANAGH STREET, GIROUX STREET & BACK LANE | #REF! | F0 | C2 | C2
| D.13 | Partial Slab Patches | E24 |  |  |  | 0 | LOCKED | Partial Slab Patches | #REF! | F0 | C2 | C2
| i) | 150mm reinforced concrete pavement |  | m² | 50 |  | 0 |  | 150mm reinforced concrete pavementm² | #REF! | F0 | C2 | C2
| D.14 | Miscellaneous Concrete Slab Renewal | E24 |  |  |  | 0 | LOCKED | Miscellaneous Concrete Slab Renewal | #REF! | F0 | C2 | C2
| i) | Sidewalk (SD-228A) |  | m² | 100 |  | 0 |  | Sidewalk (SD-228A)m² | #REF! | F0 | C2 | C2
| D.15 | Concrete Curb Renewal | E24 |  |  |  | 0 | LOCKED | Concrete Curb Renewal | #REF! | F0 | C2 | C2
| i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A | m | 15 |  | 0 |  | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled)SD-205,SD-206Am | #REF! | F0 | C2 | C2
| ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 5 |  | 0 |  | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic)SD-229C,Dm | #REF! | F0 | C2 | C2
| D.16 | Construction of Asphalt Patches | E24 | m² | 25 |  | 0 |  | Construction of Asphalt Patchesm² | #REF! | F0 | C2 | C2
| D.17 | Water Main Renewal | CW 2110-R11 E17 |  |  |  | 0 | LOCKED | Water Main RenewalCW 2110-R11E17 | #REF! | F0 | C2 | C2
| i) | 150mm |  |  |  |  | 0 | LOCKED | 150mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 145 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| b) | Trenchless Installation, Class B Sand Bedding, Class 5 Backfill |  | m | 370 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 5 Backfillm | #REF! | F0 | C2 | C2
| D.18 | Hydrant Assembly | CW 2110-R11 |  |  |  | 0 | LOCKED | Hydrant AssemblyCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | SD-007 |  | each | 5 |  | 0 |  | SD-007each | #REF! | F0 | C2 | C2
| D.19 | Water Main Valve |  |  |  |  | 0 | LOCKED | Water Main Valve | #REF! | F0 | C2 | C2
| i) | 150mm |  | each | 5 |  | 0 |  | 150mmeach | #REF! | F0 | C2 | C2
| D.20 | Fittings | CW 2110-R11 |  |  |  | 0 | LOCKED | FittingsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | Tees |  |  |  |  | 0 | LOCKED | Tees | #REF! | F0 | C2 | C2
| a) | 150mm X 150mm X 150mm |  | each | 1 |  | 0 |  | 150mm X 150mm X 150mmeach | #REF! | F0 | C2 | C2
| ii) | Bends (SD-004) |  |  |  |  | 0 | LOCKED | Bends (SD-004) | #REF! | F0 | C2 | C2
| a) | 150mm - 11 1/4° |  | each | 3 |  | 0 |  | 150mm - 11 1/4°each | #REF! | F0 | C2 | C2
| b) | 150mm - 22 1/2° |  | each | 3 |  | 0 |  | 150mm - 22 1/2°each | #REF! | F0 | C2 | C2
| c) | 150mm - 45° |  | each | 4 |  | 0 |  | 150mm - 45°each | #REF! | F0 | C2 | C2
| iii) | Bends (SD-005) |  |  |  |  | 0 | LOCKED | Bends (SD-005) | #REF! | F0 | C2 | C2
| a) | 150mm - 45° |  | each | 4 |  | 0 |  | 150mm - 45°each | #REF! | F0 | C2 | C2
| D.21 | Water Services | CW 2110-R11 |  |  |  | 0 | LOCKED | Water ServicesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  |  |  |  | 0 | LOCKED | 19mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 140 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| D.22 | Corporation Stops | CW 2110-R11 |  |  |  | 0 | LOCKED | Corporation StopsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 45 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| D.23 | Curb Stops | CW 2110-R11 |  |  |  | 0 | LOCKED | Curb StopsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 8 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| D.24 | Curb Stop Boxes | CW 2110-R11 |  |  |  | 0 | LOCKED | Curb Stop BoxesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 8 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| D.25 | Connecting to Existing Water Mains and Large Diameter Water Services | CW 2110-R11 |  |  |  | 0 | LOCKED | Connecting to Existing Water Mains and Large Diameter Water ServicesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | In-line Connection - No Plug Existing |  |  |  |  | 0 | LOCKED | In-line Connection - No Plug Existing | #REF! | F0 | C2 | C2
| a) | 150mm |  | each | 2 |  | 0 |  | 150mmeach | #REF! | F0 | C2 | C2
| D.26 | Connecting Existing Copper Water Services to New Water Mains | CW 2110-R11 |  |  |  | 0 | LOCKED | Connecting Existing Copper Water Services to New Water MainsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 19mm |  | each | 45 |  | 0 |  | 19mmeach | #REF! | F0 | C2 | C2
| D.27 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110-R11 |  |  |  | 0 | LOCKED | 10.9 Kilogram Sacrificial Zinc AnodesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | On Water Services |  | each | 35 |  | 0 |  | On Water Serviceseach | #REF! | F0 | C2 | C2
| D.28 | Continuity Bonding | CW 2110-R11 | each | 17 |  | 0 |  | Continuity BondingCW 2110-R11each | #REF! | F0 | C2 | C2
|  | PROVISIONAL ITEMS | E21 |  |  |  | 0 | LOCKED | PROVISIONAL ITEMS | #REF! | F0 | C2 | C2
| D.29 | Fittings | CW 2110-R11 |  |  |  | 0 | LOCKED | FittingsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | Bends (SD-004) |  |  |  |  | 0 | LOCKED | Bends (SD-004) | #REF! | F0 | C2 | C2
| a) | 300mm - 22 1/2° |  | each | 1 |  | 0 |  | 300mm - 22 1/2°each | #REF! | F0 | C2 | C2
| b) | 300mm - 45° |  | each | 1 |  | 0 |  | 300mm - 45°each | #REF! | F0 | C2 | C2
| ii) | Bends (SD-005) |  |  |  |  | 0 | LOCKED | Bends (SD-005) | #REF! | F0 | C2 | C2
| a) | 300mm - 45° |  | each | 1 |  | 0 |  | 300mm - 45°each | #REF! | F0 | C2 | C2
| D.30 | Water Services | CW 2110-R11 |  |  |  | 0 | LOCKED | Water ServicesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 50mm |  |  |  |  | 0 | LOCKED | 50mm | #REF! | F0 | C2 | C2
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0 |  | Trenchless Installation, Class B Sand Bedding, Class 3 Backfillm | #REF! | F0 | C2 | C2
| D.31 | Corporation Stops | CW 2110-R11 |  |  |  | 0 | LOCKED | Corporation StopsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 50mm |  | each | 1 |  | 0 |  | 50mmeach | #REF! | F0 | C2 | C2
| D.32 | Curb Stops | CW 2110-R11 |  |  |  | 0 | LOCKED | Curb StopsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 25mm |  | each | 1 |  | 0 |  | 25mmeach | #REF! | F0 | C2 | C2
| ii) | 38mm |  | each | 1 |  | 0 |  | 38mmeach | #REF! | F0 | C2 | C2
| iii) | 50mm |  | each | 1 |  | 0 |  | 50mmeach | #REF! | F0 | C2 | C2
| D.33 | Curb Stop Boxes | CW 2110-R11 |  |  |  | 0 | LOCKED | Curb Stop BoxesCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 25mm |  | each | 1 |  | 0 |  | 25mmeach | #REF! | F0 | C2 | C2
| ii) | 38mm |  | each | 1 |  | 0 |  | 38mmeach | #REF! | F0 | C2 | C2
| iii) | 50mm |  | each | 1 |  | 0 |  | 50mmeach | #REF! | F0 | C2 | C2
| D.34 | Water Main Over-Crossings - Surcharge | E17 | each | 1 |  | 0 |  | Water Main Over-Crossings - Surchargeeach | #REF! | F0 | C2 | C2
| D.35 | Water Service Under-Crossings - Surcharge | E17 | each | 1 |  | 0 |  | Water Service Under-Crossings - Surchargeeach | #REF! | F0 | C2 | C2
| D.36 | Water Service Over-Crossings - Surcharge | E17 | each | 1 |  | 0 |  | Water Service Over-Crossings - Surchargeeach | #REF! | F0 | C2 | C2
| D.37 | Water Main and Water Service Insulation | CW 2110-R11 |  |  |  | 0 | LOCKED | Water Main and Water Service InsulationCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | In a Trench (SD-018) |  |  |  |  | 0 | LOCKED | In a Trench (SD-018) | #REF! | F0 | C2 | C2
| a) | 100mm thick |  | m² | 10 |  | 0 |  | 100mm thickm² | #REF! | F0 | C2 | C2
| D.38 | Connecting Existing Copper Water Services to New Water Mains | CW 2110-R11 |  |  |  | 0 | LOCKED | Connecting Existing Copper Water Services to New Water MainsCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 50mm |  | each | 1 |  | 0 |  | 50mmeach | #REF! | F0 | C2 | C2
| D.39 | Maintaining Curb Stop Excavations | CW 2110-R11 | each / day | 10 |  | 0 |  | Maintaining Curb Stop ExcavationsCW 2110-R11each /day | #REF! | F0 | C2 | C2
| D.40 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110-R11 |  |  |  | 0 | LOCKED | Regrading of Existing Sewer Service - Up to 1.5 metres LongCW 2110-R11 | #REF! | F0 | C2 | C2
| i) | 150mm |  | each | 5 |  | 0 |  | 150mmeach | #REF! | F0 | C2 | C2
| D.41 | Granular Backfill Material | CW 2030-R7 | m3 | 10 |  | 0 |  | Granular Backfill MaterialCW 2030-R7m3 | #REF! | F0 | C2 | C2
| D.42 | Cement Stabilized Fill | CW 2030-R7 | m3 | 10 |  | 0 |  | Cement Stabilized FillCW 2030-R7m3 | #REF! | F0 | C2 | C2
| D.43 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0 |  | Adjustment of Precast Sidewalk BlocksCW 3235-R9m² | #REF! | F0 | C2 | C2
G001 | D.44 | Sodding | CW 3510-R10 | m² | 100 |  | 0 |  | G001SoddingCW 3510-R10m² | #REF! | F0 | C2 | C2
[8 empty] | LOCKED |  | #REF! | G | C2 | C2
| D | WATER MAIN RENEWALS |  |  |  | Subtotal: | 0 | LOCKED | WATER MAIN RENEWALS | #REF! | G | C2 | C2
| E | MOBILIZATION /DEMOBILIZATION | [5 empty] | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
I001 | E.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0 |  | I001Mobilization/DemobilizationL. sum | #REF! | F0 | C2 | C2
| E | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0 | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
|  | SUMMARY | [5 empty] | LOCKED | SUMMARY | #REF! | G | G | G
| A | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET PAVEMENT REHABILITATION: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| B | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET BIKE PATH AND MULTI-USE PATHWAY: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| C | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET |  |  |  | Subtotal: | 0 | LOCKED | ARCHIBALD STREET WATER AND WASTE WORK: DOUCET STREET TO PLINGUET STREET | #REF! | G | C2 | C2
| D | WATER MAIN RENEWALS |  |  |  | Subtotal: | 0 | LOCKED | WATER MAIN RENEWALS | #REF! | G | C2 | C2
| E | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0 | LOCKED | MOBILIZATION /DEMOBILIZATION | #REF! | G | C2 | C2
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0 |  | LOCKED |  | #REF! | G | C2 | G
[8 empty] | LOCKED |  | #REF! | G | C2 | G