## FORM B -(2 Part w cond funds)
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | SALTER STREET RECONSTRUCTION - INKSTER BLVD TO JEFFERSON AVE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 9225 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 10750 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 4175 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 8160 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1185 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R22 | m² | 4165 |  | 0
A022 | A.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 10750 |  | 0
A022A4 | A.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 10750 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 10860 |  | 0
B094 | A.9 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 435 |  | 0
B097 | A.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 200 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 110 |  | 0
B100r | A.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2455 |  | 0
B114A | A.12 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E17 | m² | 2000 |  | 0
B114E | A.13 | Paving Stone Indicator Surfaces | E18 | m² | 115 |  | 0
B114rl | A.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 45 |  | 0
B154rl | A.15 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl^2 | a) | 3 m to 30 m |  | m | 55 |  | 0
B190 | A.16 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 20 |  | 0
B200 | A.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 20 |  | 0
B219 | A.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 76 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18, E 20
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 3575 |  | 0
C007 | ii) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) Slip Form Paving |  | m² | 6900 |  | 0
C019 | A.20 | Concrete Pavements for Early Opening | CW 3310-R18, E20
C025-24 | i) | Construction of 230 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 200 |  | 0
C025-72 | ii) | Construction of 230 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 200 |  | 0
C032 | A.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral, Slip Form Paving) | SD-204 | m | 1400 |  | 0
C036B | ii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 130 |  | 0
C046 | iii) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 265 |  | 0
C047C | iv) | Construction of Splash Strip, (Separate, 600 mm width, Type 1) | SD-223B | m | 905 |  | 0
C050 | A.22 | Supply and Installation of Dowel Assemblies 28.6 mm | CW 3310-R18 | m | 805 |  | 0
C051 | A.23 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 1350 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.24 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 7 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 5 |  | 0
| A.25 | Manhole | CW 2130-R12
| i) | SD - 010
| a) | 1200mm diameter base |  | each | 9.4 |  | 0
E008 | A.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 3 Backfill |  | m | 86 |  | 0
E011 | b) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 95 |  | 0
E013 | A.27 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 15 |  | 0
E023 | A.28 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 10 |  | 0
E032 | A.29 | Connecting to Existing Manhole | CW 2130-R12, E22
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E036 | A.30 | Connecting to Existing Sewer | CW 2130-R12, E22
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041B | a) | Connecting to 250 mm (Conc) Sewer |  | each | 1 |  | 0
E038 | b) | Connecting to 300 mm (Conc VC) Sewer |  | each | 2 |  | 0
E041A | c) | Connecting to 600 mm (Conc) Sewer |  | each | 4 |  | 0
E044 | A.31 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 16 |  | 0
E047 | A.32 | Removal of Existing Catch Pit | CW 2130-R12 | each | 13 |  | 0
| A.33 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R12, E22 | each | 1 |  | 0
E051 | A.34 | Installation of Subdrains | CW 3120-R4 | m | 426 |  | 0
E072 | A.35 | Watermain and Water Service Insulation | E19
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 50 |  | 0
ADJUSTMENTS
F001 | A.36 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F003 | A.37 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 10 |  | 0
F009 | A.38 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F011 | A.39 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | A.40 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 4165 |  | 0
TEMPORARY WORKS
A003 | A.41 | Excavation | CW 3110-R22 | m³ | 65 |  | 0
A004 | A.42 | Sub-Grade Compaction | CW 3110-R22 | m² | 125 |  | 0
A007 | A.43 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 40 |  | 0
A010 | A.44 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 25 |  | 0
A022 | A45 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 125 |  | 0
B190 | A.46 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 55 |  | 0
B001 | A.47 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 225 |  | 0
A030 | A.48 | Fill Material | CW 3170-R3
A031 | i) | Placing Suitable Site Material |  | m³ | 50 |  | 0
| A | SALTER STREET RECONSTRUCTION - INKSTER BLVD TO JEFFERSON AVE |  |  |  | Subtotal: | 0
| B | MCPHILLIPS STREET REHABILITATION - SOUTHBOUND - MACHRAY AVE TO MOUNTAIN AVE
ROADWORKS - REMOVALS/RENEWALS
B034-24 | B.1 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B041-24 | i) | 200 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
B047-24 | B.2 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B056-24 | i) | 200 mm Type 3 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B057-24 | ii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 50 |  | 0
B064-72 | B.3 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B071-72 | i) | 200 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 435 |  | 0
B077-72 | B.4 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B086-72 | i) | 200 mm Type 4 Concrete Pavement (Type A) |  | m² | 25 |  | 0
B087-72 | ii) | 200 mm Type 4 Concrete Pavement (Type B) |  | m² | 130 |  | 0
B089-72 | iii) | 200 mm Type 4 Concrete Pavement (Type D) |  | m² | 35 |  | 0
B094 | B.5 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 1940 |  | 0
B097 | B.6 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 585 |  | 0
B114rl | B.7 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B116rl | i) | Type 5 Concrete Monolithic Median Slab | SD-226A | m² | 6 |  | 0
B118rl | ii) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B123rl | iii) | Type 4 Concrete Monolithic Curb and Sidewalk | SD-228B | m² | 175 |  | 0
B154rl | B.8 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 4 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl^1 | a) | Less than 3 m |  | m | 10 |  | 0
B155rl^2 | b) | 3 m to 30 m |  | m | 100 |  | 0
B155rl^3 | c) | Greater than 30 m |  | m | 60 |  | 0
B184rlA | ii) | Type 4 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 40 |  | 0
B188 | B.9 | Supply and Installation of Dowel Assemblies 28.6 mm | CW 3310-R18 | m | 20 |  | 0
B190 | B.10 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1345 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 130 |  | 0
B200 | B.11 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 6070 |  | 0
B219 | B.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
JOINT AND CRACK SEALING
D006 | B.13 | Reflective Crack Maintenance | CW 3250-R7 | m | 1250 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E007A | B.14 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 3 |  | 0
E007D | B.15 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
MCPHILLIPS ST 1+001- CATCH BASIN REPAIR (S-CB00008431)
| B.16 | Remove Existing Manhole or Catch Basin Rungs | CW 2130-R12 | each | 1 |  | 0
MCPHILLIPS ST 1+205- CATCH BASIN REPAIR (S-CB00008461)
E017 | B.17 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | B.18 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 3 Backfill |  | m | 1 |  | 0
E022A | B.19 | Sewer Inspection ( following repair) | CW 2145-R5
E022D | i) | 250 mm, PVC |  | m | 15 |  | 0
MCPHILLIPS ST 1+293- CATCH BASIN REPAIR (S-CB00008513)
| B.20 | Replace Existing Catch Basin Hood, Pins, or Wall Hooks | CW 2130-R12 | each | 1 |  | 0
ADJUSTMENTS
F001 | B.21 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F003 | B.22 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 6 |  | 0
F007 | ii) | 76 mm |  | each | 2 |  | 0
F009 | B.23 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F011 | B.24 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
| B | MCPHILLIPS STREET REHABILITATION - SOUTHBOUND - MACHRAY AVE TO MOUNTAIN AVE |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS WORK
MATHESON & SALTER
| C.1 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620 | m | 60 |  | 0
| C.2 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E25 | each | 2 |  | 0
| C.3 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E24 | each | 1 |  | 0
RUPERTSLAND & SALTER
| C.4 | Installation of Conduit
| i) | Installation of Conduit - Double | CW 3620 | m | 20 |  | 0
| C.5 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E25 | each | 2 |  | 0
| C.6 | Miscellaneous
| i) | Cutovers | CW 3620 | each | 1 |  | 0
JEFFERSON & SALTER
| C.7 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620 | m | 25 |  | 0
| ii) | Installation of Conduit - Double | CW 3620 | m | 20 |  | 0
| C.8 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315A, E25 | each | 1 |  | 0
| ii) | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315C, E25 | each | 1 |  | 0
| C.9 | Installation of Service Boxes
| i) | Service Box - Pre-Cast (13" x 24") | CW 3620, SD-322, E24 | each | 2 |  | 0
| C.10 | Installation of Conduit into Existing Bases/Service Boxes
| i) | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 1 |  | 0
| ii) | Installation of Conduit into Traffic Signal Service Boxes | CW 3620 | each | 1 |  | 0
| C.11 | Removal of Concrete Bases
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 2 |  | 0
| C.12 | Miscellaneous
| i) | Cutovers | CW 3620 | each | 3 |  | 0
MCPHILLIPS & MOUNTAIN
| C.13 | Installation of Conduit
| i) | Installation of Conduit - Single | CW 3620 | m | 5 |  | 0
| C.14 | Installation of Concrete Bases
| i) | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E25 | each | 1 |  | 0
| C.15 | Miscellaneous
| i) | Cutovers | CW 3620 | each | 2 |  | 0
| C | TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
| D | SALTER STREET - WATER AND WASTE WORK
SALTER AT LANSDOWNE - MANHOLE REPAIR (S-MH00011169)
F002 | D.1 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 4.6 |  | 0
SALTER AT CARRUTHERS MANHOLE HEADING SOUTH - ABANDON SEWER (S-MA00009538)
E022A | D.2 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 300 mm, Concrete |  | m | 21 |  | 0
| D.3 | Abandoning Existing Sewers With Cement-Stabilized Flowable Fill | CW 2130-R12 | m³ | 2 |  | 0
PROVISIONAL
| D.4 | Combined Sewers | CW 2130-R12
| i) | 300 mm, PVC, online installation
| a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 21 |  | 0
E008 | D.5 | Sewer Service | CW 2130-R12
E009 | i) | 150 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 2 |  | 0
E032 | D.6 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 300 mm Sewer Service |  | each | 1 |  | 0
| D.7 | Connecting Existing Sewer Service to New Sewer | CW 2130-R12
| i) | 150 mm to 300 mm, PVC |  | each | 1 |  | 0
| D.8 | Manhole | CW 2130-R12
| i) | SD - 010
| a) | 1200mm diameter base |  | each | 1.5 |  | 0
SALTER AT CARRUTHERS MANHOLE HEADING NORTH - ABANDON SEWER (S-MA00009535)
E022A | D.9 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 300 mm, Concrete |  | m | 10 |  | 0
| D.10 | Abandoning Existing Sewers With Cement-Stabilized Flowable Fill | CW 2130-R12 | m³ | 2 |  | 0
PROVISIONAL
| D.11 | Combined Sewers | CW 2130-R12
| i) | 300 mm, PVC, online installation
| a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 10 |  | 0
E008 | D.12 | Sewer Service | CW 2130-R12
E009 | i) | 150 mm, PVC
E010 | a) | In a Trench, Class B Sand Bedding, Class 3 Backfill |  | m | 2 |  | 0
E032 | D.13 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 300 mm Sewer Service |  | each | 1 |  | 0
| D.14 | Connecting Existing Sewer Service to New Sewer | CW 2130-R12
| i) | 150 mm to 300 mm, PVC |  | each | 1 |  | 0
| D.15 | Manhole | CW 2130-R12
| i) | SD - 010
| a) | 1200mm diameter base |  | each | 1.5 |  | 0
SALTER AT MATHESON - MANHOLE REPAIR (S-MH00011186)
F002 | D.16 | Replacing Existing Risers | CW 2130-R12
F002B | i) | Brick Risers |  | vert. m | 0.3 |  | 0
SALTER AT MCADAM - MANHOLE REPAIR (S-MH00011260)
| D.17 | Install Manhole Benching | E21 | each | 1 |  | 0
LANE NORTH OF MCADAM WEST OF SALTER - SEWER REPAIR (S-CL00012578)
E017 | D.18 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | D.19 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm, Concrete |  | m | 23 |  | 0
SALTER AT SMITHFIELD - MANHOLE REPAIR (S-MH00011246)
F002 | D.20 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0
SALTER AT RUPERTSLAND - MANHOLE REPAIR (W&W Asset S-MH00011322#)
F002 | D.21 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1.3 |  | 0
SEVEN OAKS WEST OF SALTER - MANHOLE REPAIR (S-MH00009914)
| D.22 | Patching Existing Manholes | CW 2130-R12 | v.m. | 0.2 |  | 0
| D.23 | Install Manhole Benching | E21 | each | 1 |  | 0
| D | SALTER STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| E | MCPHILLIPS STREET - WATER AND WASTE WORK
MCPHILLIPS ST 1+033 - MANHOLE REPAIR (S-MH00008421)
F002 | E.1 | Replacing Existing Risers | CW 2130-R12
F002B | i) | Brick Risers |  | vert. m | 0.5 |  | 0
MCPHILLIPS ST 1+161 - MANHOLE REPAIR (S-MH00008465)
F002 | E.2 | Replacing Existing Risers | CW 2130-R12
F002B | i) | Brick Risers |  | vert. m | 0.6 |  | 0
MCPHILLIPS ST 1+280 - MANHOLE REPAIR (S-MH00008512)
F002 | E.3 | Replacing Existing Risers | CW 2130-R12
F002B | i) | Brick Risers |  | vert. m | 0.5 |  | 0
| E | MCPHILLIPS STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.1, D14.2-3, D16.4)
| F | P38033 COW SALTER ST JEFFERSON TO INKSTER net 4307791
NEW STREET LIGHT INSTALLATION
| F.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E23 | each | 24 |  | 0
| F.2 | Removal of 45' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E23 | each | 1 |  | 0
| F.3 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E23 | lin.m | 520 |  | 0
| F.4 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E23 | lin.m | 520 |  | 0
| F.5 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E23 | each | 24 |  | 0
| F.6 | Installation of 45' pole, davit arm and precast concrete base including luminaire and appurtenances. | E23 | each | 1 |  | 0
| F.7 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E23 | each | 8 |  | 0
| F.8 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E23 | each | 1 |  | 0
| F.9 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E23 | each | 25 |  | 0
| F.10 | Splicing 1/0 AL triplex cable or 3 single conductor street light cables. | E23 | set | 16 |  | 0
| F.11 | Installation of break-away base and reaction plate on base mounted poles up to 45'. | E23 | each | 26 |  | 0
| F.12 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E23 | per span | 520 |  | 0
| F.13 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E23 | per span | 520 |  | 0
| F.14 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E23 | each | 25 |  | 0
| F | P38033 COW SALTER ST JEFFERSON TO INKSTER net 4307791 |  |  |  | Subtotal: | 0
| G | MOBILIZATION /DEMOLIBIZATION
I001 | G.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | SALTER STREET RECONSTRUCTION - INKSTER BLVD TO JEFFERSON AVE |  |  |  | Subtotal: | 0
| B | MCPHILLIPS STREET REHABILITATION - SOUTHBOUND - MACHRAY AVE TO MOUNTAIN AVE |  |  |  | Subtotal: | 0
| C | TRAFFIC SIGNALS WORK |  |  |  | Subtotal: | 0
| D | SALTER STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| E | MCPHILLIPS STREET - WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B9.6, B17.2.1, B18.5, D3.1, D14.2-3, D16.4)
| F | P38033 COW SALTER ST JEFFERSON TO INKSTER net 4307791 |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on E73: Pheifer, Henly: old version has vert m ( no period)