## FORM B - PRICES
FORM B(R1): PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | Taylor Avenue Reconstruction Westbound - Lindsay Street to Centennial Street
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 3300 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 5700 |  | 0
A007 | A.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 2500 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 4250 |  | 0
A010 | A.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 750 |  | 0
A012 | A.5 | Grading of Boulevards | CW 3110-R22 | m² | 2400 |  | 0
A016 | A.6 | Removal of Existing Concrete Bases | CW 3110-R22
A017 | i) | 600 mm Diameter or Less |  | each | 3 |  | 0
A022 | A.7 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 5700 |  | 0
A022A4 | A.8 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 5700 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.9 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 5300 |  | 0
B094 | A.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 40 |  | 0
B097 | A.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 40 |  | 0
B100r | A.12 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 850 |  | 0
B105r | ii) | Bullnose |  | m² | 15 |  | 0
B107i | A.13 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B114A | i) | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 1650 |  | 0
B114E | A.14 | Paving Stone Indicator Surfaces | E14 | m² | 75 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 70 |  | 0
B126r | A.16 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 220 |  | 0
B132r | ii) | Curb Ramp |  | m | 50 |  | 0
B135i | A.17 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 25 |  | 0
B150iA | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 40 |  | 0
B219 | A.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 48 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 610 |  | 0
C018 | ii) | Construction of Monolithic Type 2 Concrete Bull-noses | SD-227C | m² | 15 |  | 0
| A.20 | Construction of Curb for Asphalt Pavement | CW 3310-R18, E20
| i) | Construction of Barrier Curb for Asphalt Pavement (100 mm ht, Type 2 Concrete Pavement) | SD-200A, E20 | m | 70 |  | 0
| ii) | Construction of Barrier Curb for Asphalt Pavement (180 mm ht, Type 2 Concrete Pavement) | SD-200A, E20 | m | 320 |  | 0
| iii) | Construction of Curb Ramp for Asphalt Pavement (8-12 mm ht, Curb Ramp, 150 mm Plain Type 2 Concrete Pavement) | SD-200A, E20 | m | 30 |  | 0
| iv) | Construction of Splash Strip for Asphalt Pavement (180 mm ht, Monolithic Barrier Curb, 750 mm width, Type 2 Concrete Pavement) | SD-200C, E20 | m | 575 |  | 0
C032 | A.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C037B | i) | Construction of Modified Barrier (180 mm ht, Type 2, Integral) | SD-203B | m | 60 |  | 0
C046 | ii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 150 |  | 0
C051 | A.22 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 90 |  | 0
| A.23 | Construction of Main line Paving (SP1) | E22 | tonne | 650 |  | 0
| A.24 | Construction of Main line Paving (SP2) | E22 | tonne | 1400 |  | 0
| A.25 | Construction of Tie-ins and Approaches (SP1) | E22 | tonne | 180 |  | 0
| A.26 | Construction of Tie-ins and Approaches (SP2) | E22 | tonne | 100 |  | 0
ASPHALT PATHWAY
A003 | A.27 | Excavation | CW 3110-R22 | m³ | 115 |  | 0
A004 | A.28 | Sub-Grade Compaction | CW 3110-R22 | m² | 350 |  | 0
A007 | A.29 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 160 |  | 0
A010 | A.30 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 50 |  | 0
A022 | A.31 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 350 |  | 0
C055 | A.32 | Construction of Asphaltic Concrete Pavements | CW 3410-R12
C059 | i) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 75 |  | 0
JOINT AND CRACK SEALING
D006 | A.33 | Reflective Crack Maintenance | CW 3250-R7 | m | 2000 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.34 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E007A | A.35 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 3 |  | 0
E008 | A.36 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 3 Backfill |  | m | 35 |  | 0
E013 | A.37 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm | [5 empty] | ^ specify diameter
E015 | a) | SD-014 |  | vert. m | 9 |  | 0
E023 | A.38 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 5 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E036 | A.39 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E041B | a) | Connecting to 1200 mm Sewer |  | each | 3 |  | 0
E042 | A.40 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 200 mm |  | each | 2 |  | 0
E046 | A.41 | Removal of Existing Catch Basins | CW 2130-R12 | each | 2 |  | 0
| A.42 | Abandon Existing Sewer Service Under Pavement | CW 2130-R12
| i) | Existing Catchbasin Leads (250mm or smaller) |  | each | 2 |  | 0
ADJUSTMENTS
F001 | A.43 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | A.44 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.5 |  | 0
F003 | A.45 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
LANDSCAPING
G001 | A.46 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 2400 |  | 0
MISCELLANEOUS
| A.47 | Construction of Temporary Median Crossovers and Median Openings | E18 | m² | 200 |  | 0
B114E | A.48 | Transit Paving Stone Indicator Surfaces | E15 | m² | 5 |  | 0
| A | Taylor Avenue Reconstruction Westbound - Lindsay Street to Centennial Street |  |  |  | Subtotal: | 0
| B | Taylor Avenue Rehabilitation Eastbound - Renfrew Street to Lindsay Street
EARTH AND BASE WORKS
A012 | B.1 | Grading of Boulevards | CW 3110-R22 | m² | 250 |  | 0
ROADWORK - REMOVALS/RENEWALS
B004 | B.2 | Slab Replacement | CW 3230-R8
B008 | i) | 230 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 150 |  | 0
B017 | B.3 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Type 1 Concrete Pavement (Type A) |  | m² | 15 |  | 0
B023 | ii) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 140 |  | 0
B025 | iii) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B064-72 | B.4 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B068-72 | i) | 230 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 25 |  | 0
B077-72 | B.5 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B083-72 | i) | 230 mm Type 4 Concrete Pavement (Type B) |  | m² | 25 |  | 0
B085-72 | ii) | 230 mm Type 4 Concrete Pavement (Type D) |  | m² | 10 |  | 0
| B.6 | Asphalt Patching of Miscellaneous Concrete | E19 | m² | 125 |  | 0
B094 | B.7 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 550 |  | 0
B097 | B.8 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 650 |  | 0
B114rl | B.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B126r | B.10 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 155 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 10 |  | 0
B132r | iii) | Curb Ramp |  | m | 15 |  | 0
B135i | B.11 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 60 |  | 0
B150iA | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 15 |  | 0
B153B | iii) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 100 |  | 0
B190 | B.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 330 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | B.13 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 900 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 750 |  | 0
B219 | B.14 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
JOINT AND CRACK SEALING
D006 | B.15 | Reflective Crack Maintenance | CW 3250-R7 | m | 250 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E007A | B.16 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 1 |  | 0
E047 | B.17 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
ADJUSTMENTS
F001 | B.18 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F009 | B.19 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | B.20 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | B.21 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 250 |  | 0
| B | Taylor Avenue Rehabilitation Eastbound - Renfrew Street to Lindsay Street |  |  |  | Subtotal: | 0
| C | Grant Avenue Eastbound - Rockwood Street to Stafford Street
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 20 |  | 0
A005A | C.2 | Imported Fill Material | CW 3110-R22 | m³ | 60 |  | 0
A010 | C.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010C1 | i) | Base Course Material - Granular C Limestone |  | m³ | 20 |  | 0
A012 | C.4 | Grading of Boulevards | CW 3110-R22 | m² | 2700 |  | 0
A016 | C.5 | Removal of Existing Concrete Bases | CW 3110-R22
A017 | i) | 600 mm Diameter or Less |  | each | 2 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | C.6 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 350 |  | 0
B004 | C.7 | Slab Replacement | CW 3230-R8
B008 | i) | 230 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 320 |  | 0
B017 | C.8 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Type 1 Concrete Pavement (Type A) |  | m² | 20 |  | 0
B023 | ii) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 650 |  | 0
B024 | iii) | 230 mm Type 1 Concrete Pavement (Type C) |  | m² | 15 |  | 0
B025 | iv) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 300 |  | 0
B064-72 | C.9 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B068-72 | i) | 230 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
B077-72 | C.10 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B082-72 | i) | 230 mm Type 4 Concrete Pavement (Type A) |  | m² | 15 |  | 0
B083-72 | ii) | 230 mm Type 4 Concrete Pavement (Type B) |  | m² | 75 |  | 0
B084-72 | iii) | 230 mm Type 4 Concrete Pavement (Type C) |  | m² | 15 |  | 0
B085-72 | iv) | 230 mm Type 4 Concrete Pavement (Type D) |  | m² | 40 |  | 0
| C.11 | Asphalt Patching of Miscellaneous Concrete | E19 | m² | 250 |  | 0
B094 | C.12 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 1700 |  | 0
B097 | C.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 75 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 2200 |  | 0
B100r | C.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 90 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 20 |  | 0
B105r | iii) | Bullnose |  | m² | 20 |  | 0
B107i | C.15 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B108i | i) | Type 2 Concrete Median Slab | SD-227A | m² | 135 |  | 0
B111i | ii) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 410 |  | 0
B112i | iii) | Type 2 Concrete Bullnose | SD-227C | m² | 20 |  | 0
B114rl | C.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 15 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 60 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 570 |  | 0
B125A | C.17 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 90 |  | 0
B126r | C.18 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 1575 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 35 |  | 0
B132r | iii) | Curb Ramp |  | m | 85 |  | 0
B134rA | iv) | Splash Strip Monolithic |  | m | 85 |  | 0
B135i | C.19 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 165 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 35 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 85 |  | 0
B153B | iv) | Type 2 Concrete Splash Strip (180 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 1210 |  | 0
B153C | v) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A | m | 20 |  | 0
B190 | C.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1480 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 65 |  | 0
B200 | C.21 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 3700 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 3300 |  | 0
B219 | C.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 20 |  | 0
JOINT AND CRACK SEALING
D006 | C.23 | Reflective Crack Maintenance | CW 3250-R7 | m | 1500 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.24 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E008 | C.25 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 3 Backfill |  | m | 7 |  | 0
E013 | C.26 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm | [5 empty] | ^ specify diameter
E015 | a) | SD-014 |  | vert. m | 6 |  | 0
E023 | C.27 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 4 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 5 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 5 |  | 0
E036 | C.28 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E040 | a) | Connecting to 450 mm Sewer |  | each | 1 |  | 0
E041B | b) | Connecting to 1500 mm Sewer |  | each | 1 |  | 0 | ^ specify size , "Type" opt. if known
E050 | C.29 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
| C.30 | Abandon Existing Sewer Service Under Pavement | CW 2130-R12
| i) | Existing Catchbasin Leads (250mm or smaller) |  | each | 1 |  | 0
ADJUSTMENTS
F001 | C.31 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 12 |  | 0
F002 | C.32 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.7 |  | 0
F003 | C.33 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 6 |  | 0
F005 | ii) | 51 mm |  | each | 6 |  | 0
F009 | C.34 | Adjustment of Valve Boxes | CW 3210-R8 | each | 8 |  | 0
F010 | C.35 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | C.36 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 2700 |  | 0
MISCELLANEOUS
| C.37 | Transit Shelter Foundation | E26 | m² | 15 |  | 0
| C.38 | Directional Tactile Strip | E16 | each | 17 |  | 0
B107i | C.39 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B109i | i) | Type 2 Concrete Monolithic Median Slab (Bike Median) | SD-226A | m² | 35 |  | 0
| C | Grant Avenue Eastbound - Rockwood Street to Stafford Street |  |  |  | Subtotal: | 0
| D | Grant Avenue Westbound - Stafford Street to Harrow Street
EARTH AND BASE WORKS
A010 | D.1 | Supplying and Placing Base Course Material | CW 3110-R22
A010C1 | i) | Base Course Material - Granular C Limestone |  | m³ | 15 |  | 0
A012 | D.2 | Grading of Boulevards | CW 3110-R22 | m² | 500 |  | 0
ROADWORK - REMOVALS/RENEWALS
B004 | D.3 | Slab Replacement | CW 3230-R8
B008 | i) | 230 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 20 |  | 0
B017 | D.4 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 85 |  | 0
B025 | ii) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 225 |  | 0
B064-72 | D.5 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B068-72 | i) | 230 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 20 |  | 0
B077-72 | D.6 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B083-72 | i) | 230 mm Type 4 Concrete Pavement (Type B) |  | m² | 30 |  | 0
B085-72 | ii) | 230 mm Type 4 Concrete Pavement (Type D) |  | m² | 70 |  | 0
| D.7 | Asphalt Patching of Miscellaneous Concrete | E19 | m² | 85 |  | 0
B094 | D.8 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 260 |  | 0
B097 | D.9 | Drilled Tie Bars | CW 3230-R8
B099 | i) | 25 M Deformed Tie Bar |  | each | 610 |  | 0
B100r | D.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 25 |  | 0
B114rl | D.11 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 210 |  | 0
B126r | D.12 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 295 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 15 |  | 0
B132r | iii) | Curb Ramp |  | m | 10 |  | 0
B135i | D.13 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 65 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 10 |  | 0
B153B | iv) | Type 2 Concrete Splash Strip (180 mm reveal ht, Monolithic Barrier Curb, 750 mm width) | SD-223A | m | 245 |  | 0
B190 | D.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 370 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 35 |  | 0
B200 | D.15 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1100 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 680 |  | 0
B219 | D.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | D.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 210 |  | 0
JOINT AND CRACK SEALING
D006 | D.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 300 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | D.19 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 2 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 2 |  | 0
E050 | D.20 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
ADJUSTMENTS
F001 | D.21 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | D.22 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 500 |  | 0
| D | Grant Avenue Westbound - Stafford Street to Harrow Street |  |  |  | Subtotal: | 0
| E | Taylor Avenue - Water and Waste Work
MANHOLE REPAIRS
S-MH60003650
| E.1 | Patching Existing Manholes | CW 2130-R12 | vert. m | 0.6 |  | 0
S-MH60003689
| E.2 | Patching Existing Manholes | CW 2130-R12 | vert. m | 0.6 |  | 0
S-MH60003692
| E.3 | Patching Existing Manholes | CW 2130-R12 | vert. m | 0.7 |  | 0
S-MH60003761
| E.4 | Repair Benching | E27 | each | 1 |  | 0
S-MH60003773
| E.5 | Repair Benching | E27 | each | 1 |  | 0
S-MH70055435
| E.6 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 0.15 |  | 0
| E | Taylor Avenue - Water and Waste Work |  |  |  | Subtotal: | 0
| F | Grant Avenue - Water and Waste Work
MANHOLE REPAIRS
S-MH60009950
| F.1 | Repair Benching | E27 | each | 1 |  | 0
S-MH60009952
| F.2 | Repair Benching | E27 | each | 1 |  | 0
| F | Grant Avenue - Water and Waste Work |  |  |  | Subtotal: | 0
| G | Taylor Avenue - Traffic Signals
TAYLOR & LANARK
| G.1 | Installation of Conduit - Single | CW 3620 | m | 70 |  | 0
| G.2 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E30 | each | 4 |  | 0
| G.3 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E29 | each | 1 |  | 0
| G.4 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| G | Taylor Avenue - Traffic Signals |  |  |  | Subtotal: | 0
| H | Grant Avenue - Traffic Signals
GRANT & HARROW
| H.1 | Installation of Conduit - Single | CW 3620 | m | 15 |  | 0
| H.2 | Installation of Conduit - Double | CW 3620 | m | 130 |  | 0
| H.3 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E28, E30 | each | 2 |  | 0
| H.4 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E30 | each | 2 |  | 0
| H.5 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E29 | each | 4 |  | 0
| H.6 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 2 |  | 0
| H.7 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 4 |  | 0
| H.8 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| H.9 | Cutovers | CW 3620 | each | 2 |  | 0
GRANT & WILTON
| H.10 | Installation of Conduit - Single | CW 3620 | m | 30 |  | 0
| H.11 | Installation of Conduit - Double | CW 3620 | m | 125 |  | 0
| H.12 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E28 E30 | each | 2 |  | 0
| H.13 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E30 | each | 2 |  | 0
| H.14 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| H.15 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E29 | each | 4 |  | 0
| H.16 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 3 |  | 0
| H.17 | Removal of Existing Controller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| H.18 | Cutovers | CW 3620 | each | 3 |  | 0
| H | Grant Avenue - Traffic Signals |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| I | Taylor Avenue Street Lighting
| I.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E32 | each | 16 |  | 0
| I.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E32 | lin.m | 530 |  | 0
| I.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E32 | each | 16 |  | 0
| I.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E32 | each | 8 |  | 0
| I.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E32 | each | 2 |  | 0
| I.6 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E32 | each | 2 |  | 0
| I.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E32 | set | 14 |  | 0
| I.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E32 | per span | 14 |  | 0
| I.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E32 | per span | 14 |  | 0
| I | Taylor Avenue Street Lighting |  |  |  | Subtotal: | 0
| J | MOBILIZATION/ DEMOBILIZATION
| J.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| J | MOBILIZATION/ DEMOBILIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | Taylor Avenue Reconstruction Westbound - Lindsay Street to Centennial Street |  |  |  | Subtotal: | 0
| B | Taylor Avenue Rehabilitation Eastbound - Renfrew Street to Lindsay Street |  |  |  | Subtotal: | 0
| C | Grant Avenue Eastbound - Rockwood Street to Stafford Street |  |  |  | Subtotal: | 0
| D | Grant Avenue Westbound - Stafford Street to Harrow Street |  |  |  | Subtotal: | 0
| E | Taylor Avenue - Water and Waste Work |  |  |  | Subtotal: | 0
| F | Grant Avenue - Water and Waste Work |  |  |  | Subtotal: | 0
| G | Taylor Avenue - Traffic Signals |  |  |  | Subtotal: | 0
| H | Grant Avenue - Traffic Signals |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| I | Taylor Avenue Street Lighting |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| J | MOBILIZATION/ DEMOBILIZATION |  |  |  | Total: | 0
| TOTAL ESTIMATE PRICE (in figures) |  |  |  |  | 0