## Form B
Form B(R1): Prices
(See B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
A003 | A | Underground Works
| A1 | Site Development and Restoration | E8 | l. sum | 1 |  | 0
A004 | A2 | Water Mains | CW 2110, E23 |  |  |  | 0
a) 350 mm Ductile Iron Class 54
|  | i) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 6 |  | 0
|  | b) 350 mm PVC C900 DR 18 |  |  |  |  | 0
|  | i) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 2 |  | 0
|  | c) 400 mm PVC C900 DR 18 |  |  |  |  | 0
|  | i) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 2 |  | 0
|  | d) 600 mm PVC C900 DR 18 |  |  |  |  | 0
|  | i) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 30 |  | 0
|  | d) 750 mm PVC C900 DR 18 |  |  |  |  | 0
|  | i) Trenchless Installation, Class B sand bedding, Class 3 backfill |  | I. m | 50 |  | 0
|  | ii) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 2200 |  | 0
|  | iii) Open Cut Installation, Class B sand bedding, Class 1 backfill, 1200 Steel Casing |  | I. m | 38 |  | 0
|  | iv) Open Cut Installation, Class B sand bedding, Class 3 backfill, Mechanical Restraints |  | I. m | 13 |  | 0
e) Trenchless CPKC Railway Crossing
|  | i) 750 mm PVC C900 DR 18 c/w Mechanical Restraints within 1200 mm Steel Casing Pipe |  | I. m | 76 |  | 0
|  | f) Connecting to Existing Feeder Mains | CW 2110, E23, E40
|  | i) 600 mm - Perpendicular Connection |  | each | 2 |  | 0
| A3 | Water Main Valve | CW 2110 |  |  |  | 0
|  | a) 150 mm Gate Valve |  | each | 1 |  | 0
|  | b) 350 mm Gate Valve |  | each | 1 |  | 0
| A4 | Force Mains | CW 2110, E26 |  |  |  | 0
|  | a) 150 mm PVC C900 DR 18 |  |  |  |  | 0
|  | i) Trenchless Installation, Class B sand bedding, Class 3 backfill |  | I. m | 25 |  | 0
|  | ii) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 567 |  | 0
| A5 | Wastewater Sewers | CW 2130, E26 |  |  |  | 0
|  | a) 375 mm PVC DR 35 |  |  |  |  | 0
|  | i) Open Cut Installation, Class B sand bedding, Class 4 backfill |  | I. m | 16 |  | 0
| A6 | Supply and Installation of Fittings | CW 2110, E23, E26 |  |  |  | 0
|  | a) Tees |  |  |  |  | 0
|  | i) 400x150x400 mm PVC C900 |  | each | 1 |  | 0
|  | ii) 400x350x400 mm PVC C900 |  | each | 1 |  | 0
|  | b) Horizontal Bends (SD-004) |  |  |  |  | 0
|  | i) 150 mm PVC C900 DR 18 - 22.5° |  | each | 1 |  | 0
|  | ii) 150 mm PVC C900 DR 18 - 45° |  | each | 3 |  | 0
|  | iii) 600 mm PVC C900 DR 18 - 45° |  | each | 2 |  | 0
|  | iv) 750 mm PVC C900 DR 18 - Custom 8.5° |  | each | 1 |  | 0
|  | v) 750 mm PVC C900 DR 18 - 11.25° |  | each | 4 |  | 0
|  | vi) 750 mm PVC C900 Dr 18 - 22.5° |  | each | 2 |  | 0
|  | vii) 750 mm PVC C900 DR 18 - Custom 33° |  | each | 2 |  | 0
|  | viii) 750 mm PVC C900 DR 18 - Custom 36° |  | each | 1 |  | 0
|  | ix) 750 mm PVC C900 DR 18 - 45° |  | each | 4 |  | 0
|  | c) Vertical Bends (SD-005) |  |  |  |  | 0
|  | i) 150 mm PVC C900 DR 18 - 45° |  | each | 2 |  | 0
|  | i) 350 mm Ductile Iron Class 54 - 90° |  | each | 2 |  | 0
|  | ii) 750 mm PVC C900 DR 18 - 45° |  | each | 4 |  | 0
| A7 | Supply of Fittings | CW 2110, E23, E26 |  |  |  | 0
|  | a) Bends (SD-004) |  |  |  |  | 0
|  | i) 600 mm PVC C900 DR 18 - 11.25° |  | each | 2 |  | 0
|  | ii) 600 mm PVC C900 DR 18 - 22.5° |  | each | 2 |  | 0
|  | iii) 600 mm PVC C900 DR 18 - 45° |  | each | 1 |  | 0
|  | iv) 750 mm PVC C900 DR 18 - 11.25° |  | each | 2 |  | 0
|  | v) 750 mm PVC C900 DR 18 - 22.5° |  | each | 2 |  | 0
|  | vi) 750 mm PVC C900 DR 18 - 45° |  | each | 1 |  | 0
A004 | A8 | Water Services | CW 2110, E27 |  |  |  | 0
|  | a) 50 mm Pre-Insulated Copper c/w Heat Trace, Class B sand bedding, Class 2 backfill |  | l. m. | 10 |  | 0
| A9 | Foundation, Bedding and Backfill | CW 2030
|  | a) Cement Stabilized Flowable Fill |  | m³ | 95 |  | 0
| A10 | AC Watermain Relocation | CW 2110 |  |  |  | 0
a) Water Mains - 300 mm PVC C900 DR 18 c/w Mechanical Restraints
|  | i) Open Cut Installation, Class B sand bedding, Class 3 backfill |  | l. m. | 10 |  | 0
b) Supply and Installation of Fittings
|  | i) 300 mm PVC C900 DR 18 Bend - Vertical 45° (SD-005) |  | each | 4 |  | 0
|  | c) Connect to Existing Watermain |  | each | 2 |  | 0
| A11 | Water Main Insulation | CW 2110 |  |  |  | 0
|  | a) In a Trench - 100 mm Thick, SD-018 |  |  |  |  | 0
|  | i) 150 mm Diameter |  | I. m | 10 |  | 0
|  | ii) 750 mm Diameter |  | I. m | 25 |  | 0
| A12 | Boulder Excavation | CW 2030, E21 | m³ | 50 |  | 0
| A13 | Solid Rock and Concrete Excavation | CW 2030, E21 | m³ | 200 |  | 0
B199 | A14 | Instrumentation and Monitoring | E33
|  | a) Surface Monitoring Points |  | each | 22 |  | 0
|  | b) Subsurface Monitoring Points |  | each | 2 |  | 0
A004 | A15 | Pre-Cast Concrete Chambers | CW 2130, E34 |  |  |  | 0
|  | a) 2400 mm Dia x 1.83 m high base Check Valve Chamber |  | l. sum | 1 |  | 0
|  | b) 2400 mm Dia x 2.44 m high base Valve Chamber 1 |  | l. sum | 1 |  | 0
|  | c) 2400 mm Dia x 2.44 m high base Valve Chamber 2 |  | l. sum | 1 |  | 0
|  | d) 1800 mm Dia Air Gap Chamber |  | l. sum | 1 |  | 0
A004 | A16 | Cast-in-Place Concrete Structures | CW 2160, E35 |  |  |  | 0
|  | a) Offtake Structure 2 |  | l. sum | 1 |  | 0
|  | b) Offtake Structure 3 |  | l. sum | 1 |  | 0
| A17 | Sacrificial Zinc Anodes | CW 2110, E36
|  | a) On Metallic Water Mains |  | each | 16 |  | 0
A004 | A18 | Automatic Flushing Unit | E38 |  |  |  | 0
|  | a) Hydro-Guard 1203 Smart Flushing Unit |  | l. sum | 1 |  | 0
| A19 | Electrical Servicing | E50 | l. sum | 1 |  | 0
| A20 | Abandoning Existing Feeder Mains with Cement Stabilized Fill | CW 2110 |  |  |  | 0
|  | a) 600 mm PCCP |  | m³ | 5 |  | 0
| A21 | Corrugated Steel Pipe (CSP) Culvert | CW 2130, E44 |  |  |  | 0
|  | a) Supply and Install 450 mm, Galvanized, 1.6 mm Wall Thickness |  | I. m | 14 |  | 0
|  | b) Supply and Install 600 mm, Galvanized, 2.0 mm Wall Thickness |  | I. m | 9 |  | 0
|  | c) Supply and Install 900 mm, Galvanized, 2.0 mm Wall Thickness |  | I. m | 13 |  | 0
| A22 | Testing and Commissioning | CW2125, E41, E43 | l. sum | 1 |  | 0
| A | Underground Works |  |  |  | Subtotal: | 0
A003 | B | Surface Works
| B1 | Offtake Structure & Valve Chamber Site Works | E48
|  | a) Imported Fill Material | CW 3110 | m³ | 310 |  | 0
|  | b) Sub-Grade Compaction | CW 3110 | m2 | 470 |  | 0
|  | c) Geotextile Fabric | CW 3130 | m2 | 437 |  | 0
|  | d) Supply and Place Sub-base Material - 50 mm Granular B | CW 3110 | tonne | 290 |  | 0
|  | e) Supply and Place Base Course Material - Granular B | CW 3110 | m³ | 45 |  | 0
|  | f) Ditch Excavation | CW 3110 | m³ | 26 |  | 0
|  | g) Chain Fencing | E49 | l. sum | 1 |  | 0
| B2 | Sturgeon Road South Reconstruction
a) Concrete Curb Installation
|  | i) Curb and Gutter, SD-200 | CW 3450 | l. m. | 10 |  | 0
|  | b) 110 mm Type III Asphalt | CW 3410 | m2 | 95 |  | 0
|  | c) 50 mm Type IA Asphalt | CW 3410 | m2 | 95 |  | 0
| B3 | Stripping and Stockpiling Topsoil | CW 3170, E45 | m³ | 1700 |  | 0
| B4 | Disposal of Unsuitable Topsoil | E45 | m³ | 200 |  | 0
| B5 | Placement of Stockpiled Topsoil for Seeding | CW3540, E45 | m³ | 1500 |  | 0
| B6 | Placement of Imported Topsoil for Seeding | CW3540, E45 | m³ | 200 |  | 0
| B7 | Sodding | CW3510, E46
|  | a) Zone 1 |  | m2 | 6400 |  | 0
|  | b) Zone 2 |  | m2 | 1050 |  | 0
| B | Surface Works |  |  |  | Subtotal: | 0
A003 | C | Allowances
B199 | C1 | Heritage Resource Mitigation Measures | E4 | Allow. | 1 | 40000 | 40000
| C2 | Material Sampling and Testing | E14 | Allow. | 1 | 15000 | 15000
B199 | C3 | Change in Contract Conditions | E16
|  | a) Change in Contract Conditions Allowance |  | Allow. | 1 | 100000 | 100000
|  | b) Daily Equipment Rate |  | day | 4 | 1
B199 | C4 | CPKC Right-Of-Way Crossing Requirements | E29 | Allow. | 1 | 20000 | 20000
| C5 | Extra Work Allowance | E17 | Allow. | 1 | 250000 | 250000
| C | Allowances |  |  |  | Subtotal: | 425000
| D | Provisional Items
A004 | D1 | Water Main Valve | CW 2110, E37 |  |  |  | 0
|  | a) 750 mm Butterfly Valve |  | each | 2 |  | 0
| D2 | Sewer Main Connection to MH-04 | E39
|  | a) Install End Cap |  | l. sum | 1 |  | 0
|  | b) Connect to MH-04 c/w Flap Gate and Drop Piping |  | l. sum | 1 |  | 0
| D3 | Backfill Material | CW 2030, E21
|  | a) Type 1 Material |  | m³ | 50 |  | 0
| D4 | Installation of Fittings | CW 2110, E23, E26 |  |  |  | 0
|  | a) 600 mm PVC C900 DR 18 - 11.25° |  | each | 2 |  | 0
|  | b) 600 mm PVC C900 DR 18 - 22.5° |  | each | 2 |  | 0
|  | c) 600 mm PVC C900 DR 18 - 45° |  | each | 1 |  | 0
|  | d) 750 mm PVC C900 DR 18 - 11.25° |  | each | 2 |  | 0
|  | e) 750 mm PVC C900 DR 18 - 22.5° |  | each | 2 |  | 0
|  | f) 750 mm PVC C900 DR 18 - 45° |  | each | 1 |  | 0
| D5 | Construction of Asphaltic Concrete Patches Type 1A | CW 3410 | m2 | 30 |  | 0
| D6 | Partial Slab Patches | CW 3230
|  | a) 200 mm Reinforced Concrete Pavement |  | m2 | 50 |  | 0
| D7 | Tree Removal | E12
|  | a) 50 mm to 249 mm Diameter |  | each | 5 |  | 0
|  | b) 250 mm to 499 mm Diameter |  | each | 10 |  | 0
| D8 | Tree Planting | E13 | each | 15 |  | 0
| D9 | Surfacing Material | CW 3150
|  | a) Limestone |  | tonne | 150 |  | 0
| D10 | Supply of Wooden Bollards | E50 | each | 5 |  | 0
| D | Provisional Items |  |  |  | Subtotal: | 0
Summary
| A | Underground Works |  |  |  | 0
| B | Surface Works |  |  |  | 0
| C | Allowances |  |  |  | 425000
| D | Provisional Items |  |  |  | 0
| TOTAL Bid Price (GST extra) |  |  |  |  | 425000