## FORM B - PRICES
FORM B: PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | SOUTHEAST CORNER
CIVIL - TRANSPORTATION
| A.1 | Cement-Stabilized Backfill Material | CW-2030-R7 | m³ | 45 |  | 0
A007 | A.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 15 |  | 0
A010 | A.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 75 |  | 0
A027 | A.4 | Topsoil Excavation | CW 3170-R3 | m³ | 130 |  | 0
| A.5 | Tree Removal | E15 | each | 1 |  | 0
| A.6 | Stump Removal | E16 | each | 1 |  | 0
B001 | A.7 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 85 |  | 0
B004 | A.8 | Slab Replacement | CW 3230-R8
B010 | i) | 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 20 |  | 0
B017 | A.9 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 95 |  | 0
B034-24 | A.10 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B040-24 | i) | 230 mm Type 3 Concrete Pavement (Plain-Dowelled) |  | m² | 20 |  | 0
B047-24 | A.11 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B053-24 | i) | 230 mm Type 3 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 20 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 110 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | A.14 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 525 |  | 0
B114A | A.15 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E9 | m² | 375 |  | 0
| A.16 | Type 5 Concrete 150 mm Reinforced Sidewalk with Block Outs | E9 | m² | 330 |  | 0
| A.17 | Removal of Existing Paving Stones | E12 | m² | 320 |  | 0
B114E | A.18 | Paving Stone Indicator Surfaces | E10 | m² | 115 |  | 0
B126r | A.19 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 130 |  | 0
B135i | A.20 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 30 |  | 0
B137i | ii) | Type 1 Concrete Barrier (200 mm reveal ht, Separate) | SD-203A | m | 70 |  | 0
B137iA | iii) | Type 1 Concrete Barrier (150 mm reveal ht, Separate) | SD-203A | m | 30 |  | 0
B137i | iv) | Type 1 Concrete Barrier (100 mm reveal ht, Separate) | SD-203A | m | 25 |  | 0
B150i | v) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 15 |  | 0
B188 | A.21 | Supply and Installation of Dowel Assemblies 28.6 | CW 3310-R18 | m | 20 |  | 0
B190 | A.22 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 120 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | A.23 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 475 |  | 0
B219 | A.24 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 3 |  | 0
D006 | A.25 | Reflective Crack Maintenance | CW 3250-R7 | m | 150 |  | 0
E003 | A.26 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 3 |  | 0
E006 | A.27 | Catch Pit | CW 2130-R12
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | A.28 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 1 Backfill |  | m | 20 |  | 0
E013 | A.29 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E015 | a) | SD-014 |  | vert. m | 3 |  | 0
E017 | A.30 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 1 Backfill |  | each | 1 |  | 0
E020 | A.31 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E020E | i) | 250 mm
E020F | a) | Class 1 Backfill |  | m | 5 |  | 0
E022A | A.32 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm, PVC |  | m | 30 |  | 0
E022I | ii) | 750 mm, PVC |  | m | 20 |  | 0
E023 | A.33 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | A.34 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | A.35 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041B | a) | Connecting to 750 mm Sewer |  | each | 1 |  | 0
E046 | A.36 | Removal of Existing Catch Basins | CW 2130-R12 | each | 3 |  | 0
E047 | A.37 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E051 | A.38 | Installation of Subdrains | CW 3120-R4 | m | 18 |  | 0
| A.39 | Abandon Existing Sewer Service Under Pavement | CW 2130-R12
| i) | Existing Catchbasin Leads (250mm or smaller) |  | each | 1 |  | 0
F001 | A.40 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F002 | A.41 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | A.42 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F009 | A.43 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | A.44 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.45 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | A.46 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
| A.47 | Remove Wayfinding and Intersection Identification Plaques | E23 | lump sum | 1 |  | 0
CIVIL - STRUCTURAL
| A.48 | Demolition of barrier walls, structural slabs piers and piles as shown on the Drawings. Removal of granular fill, existing waterproofing and insulation to depth as shown on the Drawings. | 02 41 19 | lump sum | 1 |  | 0
| A.49 | Top surface concrete repairs 0-75mm depth | 03 91 10 03 92 12 | m² | 20 |  | 0
| A.50 | Top surface concrete repairs 75-150mm depth | 03 91 10 03 92 12 | m² | 20 |  | 0
| A.51 | Form and pour repairs 0-75mm depth | 03 91 10 03 93 30 | m² | 20 |  | 0
| A.52 | Form and pour repairs 75-150mm depth | 03 91 10 03 93 30 | m² | 20 |  | 0
| A.53 | Preparation of substrate and installation of waterproofing membrane system inclusive of insulation, granular fill and drainage mat as shown on the Drawings | 07 55 56 | lump sum | 1 |  | 0
| A.54 | Unit price for waterproofing repairs not shown on the Drawings | 07 55 56 | m² | 20 |  | 0
| A.55 | Routing and sealing less than or equal to 12mm wide | 07 92 10 | m | 10 |  | 0
| A.56 | Routing and sealing greater than 12mm wide | 07 92 10 | m | 10 |  | 0
| A.57 | New structural concrete slab and walls as shown on the Drawings | 03 20 00 03 30 00 | lump sum | 1 |  | 0
| A.58 | New concrete stairs inclusive of stair topping slab, insulation, structural concrete slab and support walls as shown on the Drawings | 03 20 00 03 30 00 | lump sum | 1 |  | 0
| A.59 | New traffic signals and street light concrete pedestals | 03 20 00 03 30 00 | each | 3 |  | 0
| A.60 | Reinforcing for topping slab as shown on the Drawings | 03 20 00 | lump sum | 1 |  | 0
| A.61 | Wooden handrail extension for extent as shown on the Drawings |  | lump sum | 1 |  | 0
| A.62 | Supplemental reinforcing | 03 20 00 | kg | 75 |  | 0
| A.63 | Supplemental 10M dowels | 03 20 00 | dowel | 20 |  | 0
| A.64 | Supplemental 15M dowels | 03 20 00 | dowel | 20 |  | 0
| A.65 | Unit Price for concrete testing (mortar cubes) | 03 30 00 | per test cube | 12 |  | 0
| A.66 | Unit Price for concrete testing (direct pull-out tensile test) | 03 92 12 03 93 30 | per test | 6 |  | 0
ELECTRICAL WORKS
| A.67 | Light Fixture Removal | 26 05 05 | each | 8 |  | 0
| A.68 | Junction Box, Receptacle, Conduit, Signs, and Wiring removal | 26 05 05 | each | 2 |  | 0
| A | SOUTHEAST CORNER |  |  |  | Subtotal: | 0
| B | NORTHEAST CORNER
CIVIL - TRANSPORTATION
| B.1 | Cement-Stabilized Backfill Material | CW-2030-R7 | m³ | 25 |  | 0
A010 | B.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 120 |  | 0
A027 | B.3 | Topsoil Excavation | CW 3170-R3 | m³ | 110 |  | 0
B017 | B.4 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 40 |  | 0
B047-24 | B.5 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B053-24 | i) | 230 mm Type 3 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B094 | B.6 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 10 |  | 0
B097 | B.7 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 50 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 10 |  | 0
B100r | B.8 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 105 |  | 0
B114A | B.9 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E9 | m² | 95 |  | 0
| B.10 | Type 5 Concrete 150 mm Reinforced Sidewalk with Block Outs | E9 | m² | 80 |  | 0
| B.11 | 150 mm Reinforced Sidewalk with Block Outs - Smoke Gray Colour | 03 30 00 03 35 00 | m² | 25 |  | 0
| B.12 | Removal of Existing Paving Stones | E12 | m² | 5 |  | 0
B114E | B.13 | Paving Stone Indicator Surfaces | E10 | m² | 25 |  | 0
B126r | B.14 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0
B127rB | i) | Barrier Separate |  | m | 35 |  | 0
B135i | B.15 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 5 |  | 0
B137iA | ii) | Type 1 Concrete Barrier (150 mm reveal ht, Separate) | SD-203A | m | 30 |  | 0
B150i | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 15 |  | 0
B188 | B.16 | Supply and Installation of Dowel Assemblies 28.6 | CW 3310-R18 | m | 10 |  | 0
B190 | B.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 40 |  | 0
B200 | B.18 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 110 |  | 0
B219 | B.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
D006 | B.20 | Reflective Crack Maintenance | CW 3250-R7 | m | 70 |  | 0
E003 | B.21 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E008 | B.22 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 1 Backfill |  | m | 3 |  | 0
E042 | B.23 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E046 | B.24 | Removal of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E051 | B.25 | Installation of Subdrains | CW 3120-R4 | m | 6 |  | 0
F001 | B.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
| B.27 | Remove Wayfinding and Intersection Identification Plaques | E23 | lump sum | 1 |  | 0
| B.28 | Supply and Installation of MMA Marking with Anti-Skid | E26 | m | 60 |  | 0
| B.29 | Supply and Install Type B2 Bollard | E27 | each | 1 |  | 0
CIVIL - STRUCTURAL
| B.30 | Demolition of barrier walls piers and piles as shown on the Drawings. Removal of granular fill, existing waterproofing and insulation to depth as shown on the Drawings. | 02 41 19 | lump sum | 1 |  | 0
| B.31 | Top surface concrete repairs 0-75mm depth | 03 91 10 03 92 12 | m² | 10 |  | 0
| B.32 | Top surface soncrete repairs 75-150mm depth | 03 91 10 03 92 12 | m² | 10 |  | 0
| B.33 | Form and pour repairs 0-75mm depth | 03 91 10 03 93 30 | m² | 10 |  | 0
| B.34 | Form and pour repairs 75-150mm depth | 03 91 10 03 93 30 | m² | 10 |  | 0
| B.35 | Preparation of substrate and installation of waterproofing membrane system inclusive of insulation, granular fill and drainage mat as shown on the Drawings | 07 55 56 | lump sum | 1 |  | 0
| B.36 | Unit price for waterproofing repairs not shown on the Drawings | 07 55 56 | m² | 10 |  | 0
| B.37 | Routing and sealing less than or equal to 12mm wide | 07 92 10 | m | 10 |  | 0
| B.38 | Routing and sealing greater than 12mm wide | 07 92 10 | m | 10 |  | 0
| B.39 | New traffic signals and street light concrete pedestals | 03 20 00 03 30 00 | each | 3 |  | 0
| B.40 | Reinforcing for topping slab as shown on the Drawings | 03 20 00 | lump sum | 1 |  | 0
| B.41 | Supplemental reinforcing | 03 20 00 | kg | 50 |  | 0
| B.42 | Supplemental 10M dowels | 03 20 00 | dowel | 10 |  | 0
| B.43 | Supplemental 15M dowels | 03 20 00 | dowel | 10 |  | 0
| B.44 | Unit Price for concrete testing (mortar cubes) | 03 30 00 | per test cube | 12 |  | 0
| B.45 | Unit Price for concrete testing (direct pull-out tensile test) | 03 92 12 03 93 30 | per test | 6 |  | 0
ELECTRICAL WORKS
| B.46 | Light Fixture Removal | 26 05 05 | each | 8 |  | 0
| B.47 | Junction Box, Receptacle, Conduit, Signs, and Wiring removal | 26 05 05 | each | 1 |  | 0
| B | NORTHEAST CORNER |  |  |  | Subtotal: | 0
| C | NORTHWEST CORNER
CIVIL - TRANSPORTATION
| C.1 | Cement-Stabilized Backfill Material | CW-2030-R7 | m³ | 45 |  | 0
A010 | C.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 250 |  | 0
A027 | C.3 | Topsoil Excavation | CW 3170-R3 | m³ | 450 |  | 0
| C.4 | Tree Removal | E15 | each | 1 |  | 0
| C.5 | Stump Removal | E16 | each | 3 |  | 0
B017 | C.6 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 90 |  | 0
B034-24 | C.7 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B040-24 | i) | 230 mm Type 3 Concrete Pavement (Plain-Dowelled) |  | m² | 20 |  | 0
B047-24 | C.8 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B053-24 | i) | 230 mm Type 3 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B094 | C.9 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 15 |  | 0
B097 | C.10 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 110 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 15 |  | 0
B100r | C.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104rA | i) | 150 mm Reinforced Sidewalk |  | m² | 440 |  | 0
| C.12 | Type 5 Concrete 75 mm Reinforced Sidewalk with Block Outs | E9 | m² | 80 |  | 0
B114A | C.13 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E9 | m² | 310 |  | 0
| C.14 | Type 5 Concrete 150 mm Reinforced Sidewalk with Block Outs | E9 | m² | 365 |  | 0
| C.15 | Removal of Existing Paving Stones | E12 | m² | 10 |  | 0
B114E | C.16 | Paving Stone Indicator Surfaces | E10 | m² | 55 |  | 0
B126r | C.17 | Concrete Curb Removal | CW 3240-R10 |  |  |  | 0
B127rB | i) | Barrier Separate |  | m | 100 |  | 0
B135i | C.18 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 10 |  | 0
B137i | ii) | Type 1 Concrete Barrier (200 mm reveal ht, Separate) | SD-203A | m | 65 |  | 0
B137iA | iii) | Type 1 Concrete Barrier (150 mm reveal ht, Separate) | SD-203A | m | 50 |  | 0
B150i | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 15 |  | 0
B151i | v) | Type 1 Concrete Safety Curb (330 mm reveal ht) | SD-206B | m | 5 |  | 0
B188 | C.19 | Supply and Installation of Dowel Assemblies 28.6 | CW 3310-R18 | m | 20 |  | 0
B189 | C.20 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B190 | C.21 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 80 |  | 0
B200 | C.22 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 400 |  | 0
B219 | C.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
D006 | C.24 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
E003 | C.25 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E008 | C.26 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 1 Backfill |  | m | 3 |  | 0
E042 | C.27 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E046 | C.28 | Removal of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E051 | C.29 | Installation of Subdrains | CW 3120-R4 | m | 12 |  | 0
F001 | C.30 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F009 | C.31 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | C.32 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
| C.33 | Remove Flag Poles | E24 | each | 8 |  | 0
| C.34 | Remove Wayfinding and Intersection Identification Plaques | E23 | lump sum | 1 |  | 0
| C.35 | Transition Barrier Wall | E25 | lump sum | 1 |  | 0
| C.36 | Supply and Install Type B1 Bollard | E27 | each | 8 |  | 0
| C.37 | Supply and Install Type B2 Bollard | E27 | each | 17 |  | 0
CIVIL - STRUCTURAL
| C.38 | Demolition of barrier walls, piers and piles as shown on the Drawings. Removal of granular fill, existing waterproofing and insulation to depth as shown on the Drawings. | 02 41 19 | lump sum | 1 |  | 0
| C.39 | Top surface concrete repairs 0-75mm depth | 03 91 10 03 92 12 | m² | 20 |  | 0
| C.40 | Top surface soncrete repairs 75-150mm depth | 03 91 10 03 92 12 | m² | 20 |  | 0
| C.41 | Form and pour repairs 0-75mm depth | 03 91 10 03 93 30 | m² | 20 |  | 0
| C.42 | Form and pour repairs 75-150mm depth | 03 91 10 03 93 30 | m² | 20 |  | 0
| C.43 | Preparation of substrate and installation of waterproofing membrane system inclusive of insulation, granular fill and drainage mat as shown on the Drawings | 07 55 56 | lump sum | 1 |  | 0
| C.44 | Unit price for waterproofing repairs not shown on the Drawings | 07 55 56 | m² | 10 |  | 0
| C.45 | Routing and sealing less than or equal to 12mm wide | 07 92 10 | m | 10 |  | 0
| C.46 | Routing and sealing greater than 12mm wide | 07 92 10 | m | 10 |  | 0
| C.47 | New traffic signals and street light concrete pedestals | 03 20 00 03 30 00 | each | 2 |  | 0
| C.48 | Reinforcing for topping slab as shown on the Drawings | 03 20 00 03 30 00 | lump sum | 1 |  | 0
| C.49 | Supplemental reinforcing | 03 20 00 | kg | 50 |  | 0
| C.50 | Supplemental 10M dowels | 03 20 00 | dowel | 10 |  | 0
| C.51 | Supplemental 15M dowels | 03 20 00 | dowel | 10 |  | 0
| C.52 | Unit Price for concrete testing (mortar cubes) | 03 30 00 | per test cube | 12 |  | 0
| C.53 | Unit Price for concrete testing (direct pull-out tensile test) | 03 92 12 03 93 30 | per test | 6 |  | 0
ELECTRICAL WORKS
| C.54 | Light Fixture Removal | 26 05 05 | each | 8 |  | 0
| C.55 | Junction Box, Receptacle, Conduit, Signs, and Wiring removal | 26 05 05 | each | 6 |  | 0
MECHANICAL WORKS
| C.56 | Selective Demolition (flowerbed sprinklers) | 22 05 05 | lump sum | 1 |  | 0
| C | NORTHWEST CORNER |  |  |  | Subtotal: | 0
| D | SOUTHWEST CORNER
CIVIL - TRANSPORTATION
| D.1 | Cement-Stabilized Backfill Material | CW-2030-R7 | m³ | 45 |  | 0
A010 | D.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 350 |  | 0
A016 | D.3 | Removal of Existing Concrete Bases | CW 3110-R22
A017 | i) | 600 mm Diameter or Less |  | each | 1 |  | 0
A018 | ii) | Greater than 600 mm Diameter |  | each | 1 |  | 0
A027 | D.4 | Topsoil Excavation | CW 3170-R3 | m³ | 210 |  | 0
| D.5 | Tree Removal | E15 | each | 1 |  | 0
B017 | D.6 | Partial Slab Patches | CW 3230-R8
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 90 |  | 0
B094 | D.7 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 20 |  | 0
B097 | D.8 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B099 | ii) | 25 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | D.9 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 400 |  | 0
B114A | D.10 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E9 | m² | 580 |  | 0
| D.11 | Removal of Existing Paving Stones | E12 | m² | 100 |  | 0
B114E | D.12 | Paving Stone Indicator Surfaces | E10 | m² | 190 |  | 0
B126r | D.13 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 130 |  | 0
B135i | D.14 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 30 |  | 0
B136i | ii) | Type 1 Concrete Barrier (200 mm reveal ht, Dowelled) | SD-205 | m | 20 |  | 0
B137i | iii) | Type 1 Concrete Barrier (200 mm reveal ht, Separate) | SD-203A | m | 40 |  | 0
B137iA | iv) | Type 1 Concrete Barrier (150 mm reveal ht, Separate) | SD-203A | m | 40 |  | 0
B150i | v) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 15 |  | 0
B188 | D.15 | Supply and Installation of Dowel Assemblies 28.6 | CW 3310-R18 | m | 20 |  | 0
B189 | D.16 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | D.17 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 75 |  | 0
B200 | D.18 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 300 |  | 0
B219 | D.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
D006 | D.20 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
E003 | D.21 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E008 | D.22 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 1 Backfill |  | m | 3 |  | 0
E042 | D.23 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R12
E043 | i) | 250 mm |  | each | 1 |  | 0
E046 | D.24 | Removal of Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E051 | D.25 | Installation of Subdrains | CW 3120-R4 | m | 6 |  | 0
F001 | D.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F003 | D.27 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | D.28 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | D.29 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
| D.30 | Remove Flag Poles | E24 | each | 6 |  | 0
| D.31 | Remove Wayfinding and Intersection Identification Plaques | E23 | lump sum | 1 |  | 0
CIVIL - STRUCTURAL
| D.32 | Demolition of barrier walls, piers and piles as shown on the Drawings. Removal of existing steel grate, granular fill, existing waterproofing and insulation to depth as shown on the Drawings. | 02 41 19 | lump sum | 1 |  | 0
| D.33 | Top surface concrete repairs 0-75mm depth | 03 91 10 03 92 12 | m² | 10 |  | 0
| D.34 | Top surface soncrete repairs 75-150mm depth | 03 91 10 03 92 12 | m² | 10 |  | 0
| D.35 | Form and pour repairs 0-75mm depth | 03 91 10 03 93 30 | m² | 10 |  | 0
| D.36 | Form and pour repairs 75-150mm depth | 03 91 10 03 93 30 | m² | 10 |  | 0
| D.37 | Preparation of substrate and installation of waterproofing membrane system inclusive of insulation, granular fill and drainage mat as shown on the Drawings | 07 55 56 | lump sum | 1 |  | 0
| D.38 | Unit price for waterproofing repairs not shown on the Drawings | 07 55 56 | m² | 10 |  | 0
| D.39 | Routing and sealing less than or equal to 12mm wide | 07 92 10 | m | 10 |  | 0
| D.40 | Routing and sealing greater than 12mm wide | 07 92 10 | m | 10 |  | 0
| D.41 | New traffic signals and street light concrete pedestals | 03 20 00 03 30 00 | each | 3 |  | 0
| D.42 | Reinforcing for topping slab as shown on the Drawings | 03 20 00 03 30 00 | lump sum | 1 |  | 0
| D.43 | Stuctural steel - installation of new grating as shown on drawings |  | lump sum | 1 |  | 0
| D.44 | Supplemental reinforcing | 03 20 00 | kg | 50 |  | 0
| D.45 | Supplemental 10M dowels | 03 20 00 | dowel | 10 |  | 0
| D.46 | Supplemental 15M dowels | 03 20 00 | dowel | 10 |  | 0
| D.47 | Unit Price for concrete testing (mortar cubes) | 03 30 00 | per test cube | 12 |  | 0
| D.48 | Unit Price for concrete testing (direct pull-out tensile test) | 03 92 12 03 93 30 | per test | 6 |  | 0
ELECTRICAL WORKS
| D.49 | Junction Box, Receptacle, Conduit, Signs, and Wiring removal | 26 05 05 | each | 1 |  | 0
MECHANICAL WORKS
| D.50 | Selective Demolition (FDC) | 22 05 05 | lump sum | 1 |  | 0
| D.51 | FDC piping | 21 13 16 | m | 60 |  | 0
| D.52 | FDC standpipe | 21 13 16 | each | 1 |  | 0
| D | SOUTHWEST CORNER |  |  |  | Subtotal: | 0
| E | MEDIAN AREAS
CIVIL - TRANSPORTATION
A016 | E.1 | Removal of Existing Concrete Bases | CW 3110-R22
A017 | i) | 600 mm Diameter or Less |  | each | 1 |  | 0
| E.2 | Removal of Existing Paving Stones | E12 | m² | 35 |  | 0
B047-24 | E.3 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B053-24 | i) | 230 mm Type 3 Concrete Pavement (Type B) |  | m² | 165 |  | 0
B094 | E.4 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 550 |  | 0
B097 | E.5 | Drilled Tie Bars | CW 3230-R8
B099 | i) | 25 M Deformed Tie Bar |  | each | 40 |  | 0
B100r | E.6 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B102r | i) | Monolithic Median Slab |  | m² | 80 |  | 0
B103r | ii) | Safety Median |  | m² | 5 |  | 0
B107i | E.7 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B109i | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 125 |  | 0
B110i | ii) | Type 1 Concrete Safety Median | SD-226B | m² | 30 |  | 0
B190 | E.8 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 30 |  | 0
B200 | E.9 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 90 |  | 0
CIVIL - STRUCTURAL
| E.10 | New traffic signals and street light concrete pedestals | 03 20 00 03 30 00 | each | 1 |  | 0
| E | MEDIAN AREAS |  |  |  | Subtotal: | 0
| F | TRAFFIC SIGNALS WORKS
| F.1 | Installation of Conduit - Single | CW 3620 | m | 70 |  | 0
| F.2 | Installation of Conduit - Double | CW 3620 | m | 550 |  | 0
| F.3 | Signal Pole Base Early Open - Type G | CW 3620, SD-313, SD-315.A, E30, E32 | each | 2 |  | 0
| F.4 | Signal Pole Base Early Open - Type OD | CW 3620, SD-312A, SD-315.C, E32 | each | 11 |  | 0
| F.5 | Controller Base | CW 3620, SD-300 | each | 1 |  | 0
| F.6 | Service Box - Pre-Cast (17" x 30") | CW 3620, SD-322, E31 | each | 4 |  | 0
| F.7 | Service Box - Pre-Cast (36"x36") | CW 3620, SD-322, 31 | each | 8 |  | 0
| F.8 | Installation of Conduit into Existing Concrete Base | CW 3620 | each | 1 |  | 0
| F.9 | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 19 |  | 0
| F.10 | Cutovers | CW 3620 | each | 8 |  | 0
| F | TRAFFIC SIGNALS WORKS |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B19.3, D3.4)
| G | STREET LIGHTING WORKS (NOT IN CONTRACT) |  |  |  | TBD | TBD
| G | STREET LIGHTING WORKS (NOT IN CONTRACT) |  |  |  | Subtotal: | TBD
| H | MOBILIZATION /DEMOBILIZATION
I001 | H.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| H | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | SOUTHEAST CORNER |  |  |  | Subtotal: | 0
| B | NORTHEAST CORNER |  |  |  | Subtotal: | 0
| C | NORTHWEST CORNER |  |  |  | Subtotal: | 0
| D | SOUTHWEST CORNER |  |  |  | Subtotal: | 0
| E | MEDIAN AREAS |  |  |  | Subtotal: | 0
| F | TRAFFIC SIGNALS WORKS |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B19.3, D3.4)
| G | STREET LIGHTING WORKS (NOT IN CONTRACT) |  |  |  | Subtotal: | TBD
[6 empty] | (total price) PART 2 | 0
| H | MOBILIZATION /DEMOBILIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0