## Instructions
INSTRUCTIONS
1 | Print out these instructions for reference as required.
2 | If your Project includes unsecured Provincial (or other) funding for some locations, select the worksheet "FORM B - (2 Part w cond Funds)" otherwise use "FORM B - PRICES".
3 | Revise the reference in cell D2 to the "Prices" clause number of Part B - Bidding Procedures in your finalized Tender Document.
4 | Insert the location and type of work (see "Scope of Work" in contract documents) as noted in the template, unless otherwise approved by the Project Coordinator.
5 | Open file "20** Surface Works Pay Items.XLS" .
6 | Select -> Window -> Arrange -> Horizontal, to display both workbooks. (2010 - View -Arrange All)
7 | Using the Row indicators Select and copy the required pay items from "20** Surface Works Pay Items...".
8 | Paste Selection into "FORM B - PRICES" using "insert copied cells" from the short cut menu.
Tip - Copying and pasting a large block of items(rows), then deleting the items not required may be a more efficient. If you select non adjacent rows (using CTRL) the "insert copied cells" options becomes unavailable, you can paste in the selected non-adjacent rows but unless there are enough blank lines available cells will be over written.
9 | Renumber items and sections in "FORM B - PRICES", correct line spacing, DO NOT modify CODES unless you have an E-spec that alters the coded standard pay item.
10 | Insert Approx. Quantities in appropriate cells.
11 | The sub-section titles (i.e.. Earthworks and Base Works) under each identified location/section can be modified or deleted at the discretion of the consultant. They are there to assist in copying and pasting from the pay items list and for organizational purposes where there are many pay items.
12 | Correct Spec. references for non Standard items (i.e.. E-##) to match the Specification numbering in the finalized Tender document.
13 | Edit the header inserting the Tender Number.
14 | Hide the codes column "A".
15 | Note; if schedule has only one section (location) and Mobilization/ Demobilization is not included, delete the summary section at the bottom. Otherwise the summary is required even if only one location, to facilitate the Mob/Demob section formatting schema.
16 | If including Mobilization/Demobilization, follow the formatting shown on the Blank Form B's. Embedded formulas for this pay item relative references the Total Bid Price cell in the template and as such will adjust as long as you use the "Total Bid Price" rows in the template.
17 | If using the 2 PART format template be sure to revise the clause references accordingly in the PART 2 title cell i.e. PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D14.2-3, D15.4)
17 | Change view to Page Break Preview and define the print area.
18 | Delete the "Instructions" sheet and all other sheets except the applicable "Form B - Prices" sheet.
19 | Check the file using "20** Quality Control Checks….xls"
20 | When all Tender documents have been approved by the Project Coordinator, protect the sheet and forward with password and the associated quality control check sheet to PW Engineering for review .
21 | Note: Integrate Form 'B' with existing bid tabulation and progress payment spreadsheets. Retain Column 'A' codes and carry forward to the tender tab to assist in compilation of price comparisons.
22 | Send an electronic copy of the Bid Tabulation to PW Engineering.

## FORM B - PRICES
FORM B: PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | BARRINGTON AVENUE From Pullberry Street To St. Mary's Road - Pavement Rehabilitation
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 90 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 450 |  | 0
A010 | A.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A010C3 | ii) | Base Course Material - Granular C |  | m³ | 55 |  | 0
A012 | A.4 | Grading of Boulevards | CW 3110-R22 | m² | 1010 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.5 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 253 |  | 0
B004 | A.6 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 390 |  | 0
B017 | A.7 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 18 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 255 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 8 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 233 |  | 0
B034-24 | A.8 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
B047-24 | A.9 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B060-24 | i) | 150 mm Type 3 Concrete Pavement (Type A) |  | m² | 6 |  | 0
B064-72 | A.10 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
B077-72 | A.11 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 28 |  | 0
B093-72 | ii) | 150 mm Type 4 Concrete Pavement (Type D) |  | m² | 14 |  | 0
B094 | A.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 475 |  | 0
B097 | A.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 15 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 773 |  | 0
B107i | A.14 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111iA | i) | Type 3 Concrete 150 mm Reinforced Sidewalk |  | m² | 98 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 90 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 165 |  | 0
B121rlA | ii) | 150 mm Type 3 Concrete Reinforced Sidewalk
B121rlC | a) | 5 sq.m. to 20 sq.m. |  | m² | 43 |  | 0
B123rl | iii) | Type 2 Concrete Monolithic Curb and Sidewalk | SD-228B | m² | 15 |  | 0
B124 | A.16 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | A.17 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 15 |  | 0
B125A | A.18 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B154rl | A.19 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA1 | a) | Less than 3 m |  | m | 60 |  | 0
B155rlA2 | b) | 3 m to 30 m |  | m | 510 |  | 0
B155rlA3 | c) | Greater than 30 m |  | m | 160 |  | 0
B167rlA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 10 |  | 0
B183rlA | iii) | Type 2 Concrete Modified Lip Curb (75 mm reveal ht, Dowelled) | SD-202C | m | 75 |  | 0
B189 | A.20 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 160 |  | 0
B190 | A.21 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E20
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 1240 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 80 |  | 0
B206 | A.22 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 405 |  | 0
ROADWORKS - NEW CONSTRUCTION
C051 | A.23 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 320 |  | 0
C054A | A.24 | Interlocking Paving Stones | CW 3335-R1 | m² | 10 |  | 0
JOINT AND CRACK SEALING
D006 | A.25 | Reflective Crack Maintenance | CW 3250-R7 | m | 400 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E007D | A.26 | Remove and Replace Existing Catch Pit | CW 2130-R12, E27
E007E | i) | SD-023 |  | each | 7 |  | 0
E012 | A.27 | Drainage Connection Pipe | CW 2130-R12 | m | 12 |  | 0
E023 | A.28 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 3 |  | 0
E028 | iv) | Barrier Curb and Arched Gutter Inlet Frame | E27 | each | 9 |  | 0
E029 | v) | Barrier Curb and Arched Gutter Inlet Frame Cover | E27 | each | 9 |  | 0
E034 | A.29 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 7 |  | 0
E050A | A.30 | Catch Basin Cleaning | CW 2140-R5 | each | 6 |  | 0
ADJUSTMENTS
F001 | A.31 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 9 |  | 0
F002 | A.32 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | A.33 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 5 |  | 0
F006 | iii) | 64 mm |  | each | 5 |  | 0
F007 | iv) | 76 mm |  | each | 2 |  | 0
F009 | A.34 | Adjustment of Valve Boxes | CW 3210-R8 | each | 7 |  | 0
F010 | A.35 | Valve Box Extensions | CW 3210-R8 | each | 9 |  | 0
F011 | A.36 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 20 |  | 0
F018 | A.37 | Curb Stop Extensions | CW 3210-R8 | each | 10 |  | 0
F015 | A.38 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 2 |  | 0
F026 | A.39 | Replacing Existing Flat Top Reducer | CW 2110-R13 | each | 2 |  | 0
LANDSCAPING
G001 | A.40 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 455 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 555 |  | 0
MISCELLANEOUS
H022 | A.41 | Tree Stump Grinding | E17 | each | 1 |  | 0
H023 | A.42 | Tree Removal (Diameter 100mm - 300mm) | E14 | each | 2 |  | 0
| A | BARRINGTON AVENUE From Pullberry Street To St. Mary's Road - Pavement Rehabilitation |  |  |  | Subtotal: | 0
| B | BRONSTONE BOULEVARD From St Marys Road To West Fernwood Road - Sidewalk Reconstruction And Associated Works
EARTH AND BASE WORKS
A010 | B.1 | Supplying and Placing Base Course Material | CW 3110-R22
A010C3 | i) | Base Course Material - Granular C |  | m³ | 10 |  | 0
A012 | B.2 | Grading of Boulevards | CW 3110-R22 | m² | 900 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 8 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 80 |  | 0
B097 | B.4 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B114rl | B.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 12 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 935 |  | 0
B121rlA | ii) | 150 mm Type 3 Concrete Reinforced Sidewalk
B121rlB | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B121rlC | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B123rl | iii) | Type 2 Concrete Monolithic Curb and Sidewalk | SD-228B | m² | 70 |  | 0
B124 | B.6 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | B.7 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125A | B.8 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B135i | B.9 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 10 |  | 0
B140iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Integral) | SD-203B | m | 10 |  | 0
B154rl | B.10 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 10 |  | 0
B184rlA | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 60 |  | 0
B189 | B.11 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 15 |  | 0
B190 | B.12 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E20
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 15 |  | 0
B199 | B.13 | Construction of Asphalt Patches | CW 3410-R12, E20 | m² | 5 |  | 0
B219 | B.14 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 9 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | B.15 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 2 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 2 |  | 0
ADJUSTMENTS
F001 | B.16 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
F009 | B.17 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F011 | B.18 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 36 |  | 0
F018 | B.19 | Curb Stop Extensions | CW 3210-R8 | each | 18 |  | 0
LANDSCAPING
G001 | B.20 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 680 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 220 |  | 0
| B | BRONSTONE BOULEVARD From St Marys Road To West Fernwood Road - Sidewalk Reconstruction And Associated Works |  |  |  | Subtotal: | 0
| C | CAREY PARK From Kingston Row To Elm Park Road - New Asphalt Pathway and Associated Works
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 135 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 370 |  | 0
A007 | C.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A2 | i) | 50 mm Granular A |  | tonne | 130 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A2 | i) | Base Course Material - Granular A |  | m³ | 50 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R22 | m² | 315 |  | 0
A022 | C.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 370 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B100r | C.7 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 135 |  | 0
B114rl | C.8 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B154rl | C.9 | Concrete Curb Renewal | CW 3240-R10
B184rlA | i) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 3 |  | 0
B199 | C.10 | Construction of Asphalt Patches | CW 3410-R12, E20 | m² | 2 |  | 0
ROADWORKS - NEW CONSTRUCTION
C055 | C.11 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E20
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 60 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 5 |  | 0
LANDSCAPING
G001 | C.12 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 115 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 200 |  | 0
MISCELLANEOUS
| C.13 | Remove and Dispose of Existing Park Bench | E26 | each | 1 |  | 0
| C.14 | Salvage and Reinstall Existing Park Bench | E26 | each | 1 |  | 0
| C.15 | Pick up and Install New Park Bench | E26 | each | 1 |  | 0
| C | CAREY PARK From Kingston Row To Elm Park Road - New Asphalt Pathway and Associated Works |  |  |  | Subtotal: | 0
| D | HASTINGS BOULEVARD From Dunkirk Drive To West Limit - Asphalt Pavement Reconstruction and Associated Works
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R22 | m³ | 307 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 660 |  | 0
A007 | D.3 | Hauling and Placing Sub-base Material | CW 3110-R22
A007B2 | i) | 50 mm Granular B Recycled Concrete | E19 | tonne | 445 |  | 0
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 90 |  | 0
A012 | D.5 | Grading of Boulevards | CW 3110-R22 | m² | 270 |  | 0
A022 | D.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 630 |  | 0
A022A4 | D.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 630 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 645 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B097 | D.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 10 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B100r | D.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 6 |  | 0
B114rl | D.11 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 15 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B219 | D.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 5 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | D.13 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 83 |  | 0
C032 | D.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C033B | i) | Construction of Barrier (180 mm ht, Type 2, Dowelled) | SD-205 | m | 10 |  | 0
C038B | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 | m | 90 |  | 0
| iii) | Construction of Concrete Modified Barrier Curb with Reversed Gutter for Asphalt Pavement (180 mm reveal ht, Integral, 486 mm width, 150 mm Plain Type 2 Concrete Pavement) | E13 | m | 25 |  | 0
| iv) | Construction of Concrete Curb Ramp for Asphalt Pavement (8-12 mm reveal ht, Integral, 450 mm width, 150 mm Plain Type 2 Concrete Pavement) | E13 | m | 20 |  | 0
| v) | Construction of Type 2 Concrete Lip Curb for Asphalt Pavement (75mm ht, 20M vertical Tie Bar with 10M longitudinal Deformed Bar and 19.1mm Dowel) | E13 | m | 30 |  | 0
C051 | D.15 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5, E25 | m² | 6 |  | 0
C055 | D.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E20
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 70 |  | 0
C058B | b) | Type MS2 |  | tonne | 90 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 18 |  | 0
C060B | b) | Type MS2 |  | tonne | 11 |  | 0
JOINT AND CRACK SEALING
D006 | D.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.18 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep | E27 | each | 1 |  | 0
E007A | D.19 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 | E27 | each | 1 |  | 0
E023 | D.20 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E028 | iii) | Barrier Curb and Arched Gutter Inlet Frame | E27 | each | 2 |  | 0
E029 | iv) | Barrier Curb and Arched Gutter Inlet Frame Cover | E27 | each | 2 |  | 0
E036 | D.21 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm (Type PVC) Connecting Pipe
E041 | a) | Connecting to 525 mm (LDS) Sewer |  | each | 2 |  | 0
E044 | D.22 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 1 |  | 0
E045 | D.23 | Abandoning Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E051 | D.24 | Installation of Subdrains | CW 3120-R4 | m | 24 |  | 0
E072 | D.25 | Watermain and Water Service Insulation | E11 |  |  |  | 0
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 135 |  | 0
ADJUSTMENTS
F001 | D.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F002 | D.27 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | D.28 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F009 | D.29 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | D.30 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | D.31 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 4 |  | 0
F018 | D.32 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | D.33 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 40 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 230 |  | 0
| D | HASTINGS BOULEVARD From Dunkirk Drive To West Limit - Asphalt Pavement Reconstruction and Associated Works |  |  |  | Subtotal: | 0
| E | SOUTHDALE PATHWAY From Lakewood Boulevard To Park Grove Drive - New Asphalt Pathway And Associated Works
EARTH AND BASE WORKS
A003 | E.1 | Excavation | CW 3110-R22 | m³ | 520 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 1500 |  | 0
A007 | E.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A2 | i) | 50 mm Granular A |  | tonne | 510 |  | 0
A010 | E.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A2 | i) | Base Course Material - Granular A |  | m³ | 195 |  | 0
A012 | E.5 | Grading of Boulevards | CW 3110-R22 | m² | 900 |  | 0
A022 | E.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1480 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B097 | E.7 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 10 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 10 |  | 0
B100r | E.8 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 730 |  | 0
B114rl | E.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E26
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B154rl | E.10 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 10 |  | 0
B184rlA | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 6 |  | 0
B199 | E.11 | Construction of Asphalt Patches | CW 3410-R12, E20 | m² | 2 |  | 0
ROADWORKS - NEW CONSTRUCTION
C055 | E.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E20
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 235 |  | 0
LANDSCAPING
G001 | E.13 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 300 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 600 |  | 0
| E | SOUTHDALE PATHWAY From Lakewood Boulevard To Park Grove Drive - New Asphalt Pathway And Associated Works |  |  |  | Subtotal: | 0
| F | ST DAVID PLACE From St David Road to St David Road - Concrete Pavement Rehabilitation And Associated Works
EARTH AND BASE WORKS
A003 | F.1 | Excavation | CW 3110-R22 | m³ | 60 |  | 0
A004 | F.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 270 |  | 0
A010 | F.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010C3 | i) | Base Course Material - Granular C |  | m³ | 30 |  | 0
A012 | F.4 | Grading of Boulevards | CW 3110-R22 | m² | 198 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B004 | F.5 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 35 |  | 0
B017 | F.6 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 3 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 12 |  | 0
B033 | iii) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 55 |  | 0
B094 | F.7 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 40 |  | 0
B097 | F.8 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 12 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 70 |  | 0
B118rl | iii) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 6 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B124 | F.9 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 2 |  | 0
B125 | F.10 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 2 |  | 0
B125A | F.11 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 2 |  | 0
B154rl | F.12 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 10 |  | 0
B155rl2 | b) | 3 m to 30 m |  | m | 8 |  | 0
B155rl3 | c) | Greater than 30 m |  | m | 90 |  | 0
B167rlA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 30 |  | 0
B190 | F.13 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E20
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 265 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 5 |  | 0
B206 | F.14 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 90 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | F.15 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C017 | i) | Construction of Monolithic Type 2 Curb and Sidewalk | SD-228B | m² | 65 |  | 0
C046 | ii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 15 |  | 0
C051 | F.16 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 , E25 | m² | 140 |  | 0
JOINT AND CRACK SEALING
D006 | F.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 70 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E012 | F.18 | Drainage Connection Pipe | CW 2130-R12 | m | 2 |  | 0
E034 | F.19 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
ADJUSTMENTS
F003 | F.20 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | F.21 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | F.22 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | F.23 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 7 |  | 0
F018 | F.24 | Curb Stop Extensions | CW 3210-R8 | each | 2 |  | 0
F013 | F.25 | Curb Inlet Frames | CW 3210-R8 | each | 1 |  | 0
F014 | F.26 | Adjustment of Curb Inlet with New Inlet Box | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | F.27 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 210 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 10 |  | 0
| F | ST DAVID PLACE From St David Road to St David Road - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| G | ST DAVID ROAD From Fermor Avenue to Havelock Avenue - Concrete Pavement Rehabilitation And Associated Works
EARTH AND BASE WORKS
A003 | G.1 | Excavation | CW 3110-R22 | m³ | 155 |  | 0
A004 | G.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 750 |  | 0
A010 | G.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A010C3 | ii) | Base Course Material - Granular C |  | m³ | 65 |  | 0
A012 | G.4 | Grading of Boulevards | CW 3110-R22 | m² | 1250 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | G.5 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 220 |  | 0
B004 | G.6 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 1115 |  | 0
B017 | G.7 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 20 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 290 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 15 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 710 |  | 0
B034-24 | G.8 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 93 |  | 0
B047-24 | G.9 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B061-24 | i) | 150 mm Type 3 Concrete Pavement (Type B) |  | m² | 8 |  | 0
B063-24 | ii) | 150 mm Type 3 Concrete Pavement (Type D) |  | m² | 25 |  | 0
B064-72 | G.10 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 110 |  | 0
B077-72 | G.11 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 5 |  | 0
B093-72 | ii) | 150 mm Type 4 Concrete Pavement (Type D) |  | m² | 35 |  | 0
B094 | G.12 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 870 |  | 0
B097 | G.13 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 135 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1250 |  | 0
B114rl | G.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 55 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 130 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 55 |  | 0
B121rlA | ii) | 150 mm Type 3 Concrete Reinforced Sidewalk
B121rlC | a) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B124 | G.15 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125 | G.16 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B154rl | G.17 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 45 |  | 0
B155rl2 | b) | 3 m to 30 m |  | m | 280 |  | 0
B155rl3 | c) | Greater than 30 m |  | m | 150 |  | 0
B174rl | ii) | Type 2 Concrete Curb and Gutter (125 mm reveal ht, Modified Barrier, Integral, - 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B
B174rl2 | a) | 3 m to 30 m |  | m | 13 |  | 0
B184rl | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 160 |  | 0
B189 | G.18 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | G.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E20
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 1220 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 127 |  | 0
B199 | G.20 | Construction of Asphalt Patches | CW 3410-R12, E20 | m² | 10 |  | 0
B200 | G.21 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 500 |  | 0
B206 | G.22 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 215 |  | 0
B219 | G.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
ROADWORKS - NEW CONSTRUCTION
C032 | G.24 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C046 | i) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 35 |  | 0
C051 | G.25 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 , E25 | m² | 555 |  | 0
JOINT AND CRACK SEALING
D006 | G.26 | Reflective Crack Maintenance | CW 3250-R7 | m | 700 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E012 | G.27 | Drainage Connection Pipe | CW 2130-R12 | m | 10 |  | 0
E023 | G.28 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 9 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 7 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
E028 | iv) | Barrier Curb and Arched Gutter Inlet Frame | E27 | each | 1 |  | 0
E029 | v) | Barrier Curb and Arched Gutter Inlet Frame Cover | E27 | each | 1 |  | 0
E050 | G.29 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 2 |  | 0
E050A | G.30 | Catch Basin Cleaning | CW 2140-R5 | each | 10 |  | 0
ADJUSTMENTS
F001 | G.31 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 22 |  | 0
F002 | G.32 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | G.33 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 3 |  | 0
F005 | ii) | 51 mm |  | each | 11 |  | 0
F006 | iii) | 64 mm |  | each | 4 |  | 0
F007 | iv) | 76 mm |  | each | 5 |  | 0
F009 | G.34 | Adjustment of Valve Boxes | CW 3210-R8 | each | 5 |  | 0
F010 | G.35 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | G.36 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 30 |  | 0
F018 | G.37 | Curb Stop Extensions | CW 3210-R8 | each | 15 |  | 0
F012 | G.38 | Curb Inlet Box Covers | CW 3210-R8 | each | 6 |  | 0
F013 | G.39 | Curb Inlet Frames | CW 3210-R8 | each | 6 |  | 0
F014 | G.40 | Adjustment of Curb Inlet with New Inlet Box | CW 3210-R8 | each | 6 |  | 0
F025 | G.41 | Installing New Flat Top Reducer | CW 2110-R13 | each | 1 |  | 0
LANDSCAPING
G001 | G.42 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 850 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 400 |  | 0
MISCELLANEOUS
H023 | G.43 | Tree Removal (Diameter 100mm - 300mm) | E14 | each | 2 |  | 0
| G | ST DAVID ROAD From Fermor Avenue to Havelock Avenue - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| H | THORNDALE AVENUE From St David Road to St Marys Road - Concrete Pavement Rehabilitation And Associated Works
EARTH AND BASE WORKS
A010 | H.1 | Supplying and Placing Base Course Material | CW 3110-R22
A010B1 | i) | Base Course Material - Granular B Limestone |  | m³ | 10 |  | 0
A010C3 | ii) | Base Course Material - Granular C |  | m³ | 16 |  | 0
A012 | H.2 | Grading of Boulevards | CW 3110-R22 | m² | 475 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | H.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 20 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 140 |  | 0
B004 | H.4 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 198 |  | 0
B017 | H.5 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 5 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 141 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 30 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 270 |  | 0
B034-24 | H.6 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8
B044-24 | i) | 150 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 32 |  | 0
B047-24 | H.7 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8
B060-24 | i) | 150 mm Type 3 Concrete Pavement (Type A) |  | m² | 5 |  | 0
B061-24 | ii) | 150 mm Type 3 Concrete Pavement (Type B) |  | m² | 15 |  | 0
B063-24 | iii) | 150 mm Type 3 Concrete Pavement (Type D) |  | m² | 33 |  | 0
B064-72 | H.8 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 30 |  | 0
B077-72 | H.9 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B091-72 | i) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 18 |  | 0
B093-72 | ii) | 150 mm Type 4 Concrete Pavement (Type D) |  | m² | 23 |  | 0
B094 | H.10 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 325 |  | 0
B097 | H.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 90 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 675 |  | 0
B114rl | H.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 70 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 216 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 110 |  | 0
B121rlA | ii) | 150 mm Type 3 Concrete Reinforced Sidewalk
B121rlB | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B121rlC | b) | 5 sq.m. to 20 sq.m. |  | m² | 26 |  | 0
B124 | H.13 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 3 |  | 0
B125 | H.14 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 3 |  | 0
B125A | H.15 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 3 |  | 0
B135i | H.16 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 8 |  | 0
B139iA | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 5 |  | 0
B154rl | H.17 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 7 |  | 0
B155rl2 | b) | 3 m to 30 m |  | m | 140 |  | 0
B155rl3 | c) | Greater than 30 m |  | m | 105 |  | 0
B167rl | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 17 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 55 |  | 0
B185rlD | iv) | Type 2 Concrete Splash Strip, (Separate, 600 mm width) | SD-223B | m | 5 |  | 0
B190 | H.18 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E20
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 585 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 40 |  | 0
B199 | H.19 | Construction of Asphalt Patches | CW 3410-R12, E20 | m² | 8 |  | 0
B206 | H.20 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 511 |  | 0
B219 | H.21 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 8 |  | 0
JOINT AND CRACK SEALING
D006 | H.22 | Reflective Crack Maintenance | CW 3250-R7 | m | 300 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E012 | H.23 | Drainage Connection Pipe | CW 2130-R12 | m | 6 |  | 0
E023 | H.24 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 4 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E034 | H.25 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 3 |  | 0
ADJUSTMENTS
F001 | H.26 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | H.27 | Replacing Existing Risers | CW 2130-R12
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | H.28 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 3 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 2 |  | 0
F009 | H.29 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F011 | H.30 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 15 |  | 0
F018 | H.31 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
F012 | H.32 | Curb Inlet Box Covers | CW 3210-R8 | each | 3 |  | 0
F013 | H.33 | Curb Inlet Frames | CW 3210-R8 | each | 3 |  | 0
F014 | H.34 | Adjustment of Curb Inlet with New Inlet Box | CW 3210-R8 | each | 4 |  | 0
LANDSCAPING
G001 | H.35 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 375 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 100 |  | 0
| H | THORNDALE AVENUE From St David Road to St Marys Road - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| I | MOBILIZATION /DEMOLIBIZATION
I001 | I.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| I | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | BARRINGTON AVENUE From Pullberry Street To St. Mary's Road - Pavement Rehabilitation |  |  |  | Subtotal: | 0
| B | BRONSTONE BOULEVARD From St Marys Road To West Fernwood Road - Sidewalk Reconstruction And Associated Works |  |  |  | Subtotal: | 0
| C | CAREY PARK From Kingston Row To Elm Park Road - New Asphalt Pathway and Associated Works |  |  |  | Subtotal: | 0
| D | HASTINGS BOULEVARD From Dunkirk Drive To West Limit - Asphalt Pavement Reconstruction and Associated Works |  |  |  | Subtotal: | 0
| E | SOUTHDALE PATHWAY From Lakewood Boulevard To Park Grove Drive - New Asphalt Pathway And Associated Works |  |  |  | Subtotal: | 0
| F | ST DAVID PLACE From St David Road to St David Road - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| G | ST DAVID ROAD From Fermor Avenue to Havelock Avenue - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| H | THORNDALE AVENUE From St David Road to St Marys Road - Concrete Pavement Rehabilitation And Associated Works |  |  |  | Subtotal: | 0
| I | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0

## FORM B -(2 Part w cond funds)
FORM B: PRICES
(SEE B^)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | (INSERT LOCATION AND TYPE OF WORK)
EARTH AND BASE WORKS
ROADWORKS - REMOVALS/RENEWALS
JOINT AND CRACK SEALING
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
ADJUSTMENTS
LANDSCAPING
MISCELLANEOUS
| A | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| B | (INSERT LOCATION AND TYPE OF WORK)
EARTH AND BASE WORKS
ROADWORKS - REMOVALS/RENEWALS
ROADWORKS - NEW CONSTRUCTION
JOINT AND CRACK SEALING
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
ADJUSTMENTS
LANDSCAPING
MISCELLANEOUS
| B | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| C | (INSERT LOCATION AND TYPE OF WORK)
EARTH AND BASE WORKS
ROADWORKS - REMOVALS/RENEWALS
ROADWORKS - NEW CONSTRUCTION
JOINT AND CRACK SEALING
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
ADJUSTMENTS
LANDSCAPING
MISCELLANEOUS
| C | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK
LOCATION - WORK DESC. (W&W Asset #)
LOCATION - WORK DESC. (W&W Asset #)
LOCATION - WORK DESC. (W&W Asset #)
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D14.2-3, D15.4)
| E | (INSERT LOCATION AND TYPE OF WORK)
EARTH AND BASE WORKS
ROADWORKS - REMOVALS/RENEWALS
ROADWORKS - NEW CONSTRUCTION
JOINT AND CRACK SEALING
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
ADJUSTMENTS
LANDSCAPING
MISCELLANEOUS
| E | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| F | (INSERT LOCATION AND TYPE OF WORK)
EARTH AND BASE WORKS
ROADWORKS - REMOVALS/RENEWALS
ROADWORKS - NEW CONSTRUCTION
JOINT AND CRACK SEALING
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
ADJUSTMENTS
LANDSCAPING
MISCELLANEOUS
| F | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| G | MOBILIZATION /DEMOLIBIZATION
I001 | G.1 | Mobilization/Demobilization | E^ | L. sum | 1 |  | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| B | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| C | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D14.2-3, D15.4)
| E | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
| F | (INSERT LOCATION AND TYPE OF WORK) |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| G | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on D2: Insert reference to "Prices" clause from the "Bidding Procedures". Revise the Header by inserting the Tender #.
Note on B41: Verify clause numbering corresponds with the finalized Tender Document Eg. If you deleted B3 Site Investigation and D3 Definitions then the references will need to be revised.

## SAMPLE 1
FORM B(R1): PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | AMELIA CRESCENT - TU-PELO AVENUE TO McCREEDY ROAD, REHABILITATION
EARTH AND BASE WORKS
A010 | A.1 | Supplying and Placing Base Course Material | CW 3110-R22 | m³ | 10 |  | 0
A012 | A.2 | Grading of Boulevards | CW 3110-R22 | m² | 800 |  | 0
ROADWORKS - RENEWALS
B064-72 | A.3 | Slab Replacement - Early Opening (72 hour) | CW 3230-R8
B074-72 | i) | 150 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 300 |  | 0
B077-72 | A.4 | Partial Slab Patches - Early Opening (72 hour) | CW 3230-R8
B090-72 | i) | 150 mm Type 4 Concrete Pavement (Type A) |  | m² | 20 |  | 0
B091-72 | ii) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 100 |  | 0
B093-72 | iii) | 150 mm Type 4 Concrete Pavement (Type D) |  | m² | 50 |  | 0
B093A | A.5 | Partial Depth Planing of Existing Joints | E16 | m² | 450 |  | 0
B093B | A.6 | Asphalt Patching of Partial Depth Joints | E16 | m² | 450 |  | 0
B094 | A.7 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 300 |  | 0
B097 | A.8 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 300 |  | 0
B114rl | A.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B126r | A.10 | Concrete Curb Removal | CW 3240-R10
B131r | i) | Lip Curb | SD-202C | m | 835 |  | 0
B135i | A.11 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 750 |  | 0
B139i | ii) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 85 |  | 0
B154rl | A.12 | Concrete Curb Renewal | CW 3240-R10
B167rl | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 25 |  | 0
B182rl | ii) | Type 2 Concrete Lip Curb (40 mm reveal ht, Integral) | SD-202B | m | 50 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 19 |  | 0
B189 | A.13 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 35 |  | 0
B190 | A.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
B191 | i) | Main Line Paving
B193 | a) | Type IA |  | tonne | 1210 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 100 |  | 0
B200 | A.15 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 200 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 100 |  | 0
B203 | iii) | 1 - 50 mm Depth (Concrete) |  | m² | 25 |  | 0
B219 | A.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
JOINT AND CRACK SEALING
D006 | A.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 670 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | A.18 | Frames & Covers | CW3210-R8
E028 | i) | AP-011 - Barrier Curb and Gutter Frame |  | each | 8 |  | 0
E029 | ii) | AP-012 - Barrier Curb and Gutter Cover |  | each | 8 |  | 0
E050A | A.19 | Catch Basin Cleaning | CW 2140-R5 | each | 1 |  | 0
ADJUSTMENTS
F001 | A.20 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 3 |  | 0
F003 | A.21 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | A.22 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | A.23 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | A.24 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 300 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1000 |  | 0
MISCELLANEOUS
| A.25 | Adjustment of Sprinkler Head and/or Drainage Pipe | E12 | each | 4 |  | 0
| A.26 | Replacement of Existing Drainage Pipe | E12 | m | 10 |  | 0
| A | AMELIA CRESCENT - TU-PELO AVENUE TO McCREEDY ROAD, REHABILITATION |  |  |  | Subtotal: | 0
| B | CHRISLIND STREET - REGENT AVENUE W TO RAVELSTON AVENUE W, RECONSTRUCTION
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R22 | m³ | 2000 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 3700 |  | 0
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 3350 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R22 |  |  |  | 0
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 425 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R22 | m² | 1150 |  | 0
A022 | B.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | ii) | Separation/Filtration Fabric |  | m² | 3700 |  | 0
ROADWORKS - RENEWALS
B001 | B.7 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 4050 |  | 0
B097 | B.8 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 400 |  | 0
B114rl | B.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 50 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 150 |  | 0
B154rl | B.10 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 10 |  | 0
B219 | B.11 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.12 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C008 | i) | Construction of 200 mm Type ^ Concrete Pavement - (Reinforced), Slip Form Paving |  | m² | 3200 |  | 0
C008 | ii) | Construction of 200 mm Type 2 Concrete Pavement - (Reinforced) |  | m² | 850 |  | 0
C032 | B.13 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C036 | i) | Construction of Modified Barrier (150 mm ht, Type 2 Dowelled) | SD-203B | m | 250 |  | 0
C037 | ii) | Construction of Modified Barrier (150 mm ht, Type 2, Integral) | SD-203B | m | 460 |  | 0
C046A | iii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Monolithic) | SD-229C | m | 20 |  | 0
C001 | B.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C051 | i) | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 680 |  | 0
C064 | B.15 | Construction of Asphalt Patches | CW 3310-R12 | m² | 10 |  | 0
JOINT AND CRACK SEALING
D001 | B.16 | Joint Sealing | CW 3250-R7 | m | 2200 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.17 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 2 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 2 |  | 0
E008 | B.18 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type, Class 3 Backfill |  | m | 37 |  | 0
E023 | B.19 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 3 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E032 | B.20 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 3 |  | 0
E036 | B.21 | Connecting to Existing Sewer | CW 2130-R12
E040 | a) | Connecting to 450 mm Concrete Sewer |  | each | 1 |  | 0
E046 | B.22 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E051 | B.23 | Installation of Subdrains | CW 3120-R4 | m | 48 |  | 0
ADJUSTMENTS
F001 | B.24 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 3 |  | 0
F003 | B.25 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 4 |  | 0
F009 | B.26 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | B.27 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | B.28 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 7 |  | 0
F018 | B.29 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
LANDSCAPING
G001 | B.30 | Sodding | CW 3310-R10
G002 | i) | width < 600 mm |  | m² | 200 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2400 |  | 0
MISCELLANEOUS
| B.31 | Hydro Excavation | E14 | hr | 16 |  | 0
| B | CHRISLIND STREET - REGENT AVENUE W TO RAVELSTON AVENUE W, RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, ASPHALT RECONSTRUCTION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 1190 |  | 0
A007 | C.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 1000 |  | 0
A008B1 | ii) | 100 mm Granular B Limestone |  | tonne | 2000 |  | 0
A010 | C.3 | Supplying and Placing Base Course Material | CW 3110-R22 | m³ | 300 |  | 0
A012 | C.4 | Grading of Boulevards | CW 3110-R22 | m² | 2200 |  | 0
A022 | C.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A1 | i) | Separation Fabric |  | m² | 2635 |  | 0
A022A4 | C.6 | Supply and Install Geogrid | CW 3135-R2 |  |  |  | 0
A022A5 | i) | Class A Geogrid |  | m² | 2635 |  | 0
ROADWORKS - RENEWALS
B001 | C.7 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 2580 |  | 0
B097 | C.8 | Drilled Tie Bars | CW 3230-R8
B098 | i) | 20 M Deformed Tie Bar |  | each | 200 |  | 0
B114rl | C.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B124 | C.10 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 20 |  | 0
B125 | C.11 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B154rl | C.12 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl1 | a) | Less than 3 m |  | m | 10 |  | 0
B189 | C.13 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
B190 | C.14 | Construction of Asphaltic Concrete Overlay | CW 3310-R12
B194 | i) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 20 |  | 0
B200 | C.15 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 135 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.16 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 675 |  | 0
C032 | C.17 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18
C038 | i) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement), Slip Form Paving | SD-200 | m | 350 |  | 0
C038 | ii) | Construction of Curb and Gutter (180 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 | m | 40 |  | 0
C039 | iii) | Construction of Curb and Gutter (180 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Type ^ Concrete Pavement) | SD-200 SD-203B | m | 105 |  | 0
C040 | iv) | Construction of Curb and Gutter (40 mm ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 SD-202B | m | 160 |  | 0
C041 | v) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 SD-229E | m | 14 |  | 0
C054 | C.18 | Lean Concrete Base | CW 3335-R1 | m² | 40 |  | 0
C055 | C.19 | Construction of Asphaltic Concrete Pavements | CW 3310-R12
C056 | i) | Main Line Paving
C058 | a) | Type IA |  | tonne | 540 |  | 0
C059 | ii) | Tie-ins and Approaches
C060 | a) | Type IA |  | tonne | 10 |  | 0
JOINT AND CRACK SEALING
D006 | C.20 | Reflective Crack Maintenance | CW 3250-R7 | m | 310 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.21 | Catch Basin | CW 2130-R12
E004 | i) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 3 |  | 0
E008 | C.22 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding, Class 3 Backfill |  | m | 25 |  | 0
E023 | C.23 | Frames & Covers | CW3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E032 | C.24 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E046 | C.25 | Removal of Existing Catch Basins | CW 2130-R12 | each | 4 |  | 0
E051 | C.26 | Installation of Subdrains | CW 3120-R4 | m | 48 |  | 0
ADJUSTMENTS
F001 | C.27 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
F003 | C.28 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | C.29 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F010 | C.30 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | C.31 | Sodding | CW 3310-R10
G002 | i) | width < 600 mm |  | m² | 200 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2000 |  | 0
MISCELLANEOUS
| C.32 | Hydro Excavation | E14 | hr | 16 |  | 0
| C | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK
AMELIA CRESCENT - SEWER REPAIR (MA40005871)
E017 | D.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | D.2 | Sewer Inspection ( following repair) | CW2145-R3
E022D | i) | 250 mm, Concrete |  | m | 91 |  | 0
CHRISLIND STREET - SEWER REPAIR (MA40012313 & MA40012303)
E017 | D.3 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017C | i) | 200 mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E018 | ii) | 525 mm
E019 | a) | Class 3 Backfill |  | each | 1 |  | 0
E020 | D.4 | Sewer Repair - In Addition to First 3.0 Meters | CW 2130-R12
E021 | i) | 525 mm
E022 | a) | Class 3 Backfill |  | m | 2 |  | 0
E022A | D.5 | Sewer Inspection ( following repair) | CW2145-R3
E022C | i) | 200 mm, Concrete |  | m | 90 |  | 0
E022I | ii) | 525 mm, Concrete |  | m | 120 |  | 0
CHRISLIND STREET - WATERMAIN AND WATER SERVICE INSULATION
E072 | D.6 | Watermain and Water Service Insulation | E13
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 125 |  | 0
PINECREST BAY - WATERMAIN AND WATER SERVICE INSULATION
E072 | D.7 | Watermain and Water Service Insulation | E13
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 455 |  | 0
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| E | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, STREET LIGHTING
| E.1 | Removal of 25' to 35' street light pole and precase, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appuertenances | E15 | each | 7 |  | 0
| E.2 | Installation of 50mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex) | E15 | m | 369 |  | 0
| E.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appertenances | E15 | each | 7 |  | 0
| E.4 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod | E15 | each | 3 |  | 0
| E.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10 | E15 | each | 7 |  | 0
| E.6 | Installation of overhead span of #4 duplex between new or existing street light poles and connect luminaire to provide temporary feed | E15 | per span | 8 |  | 0
| E.7 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed | E15 | per span | 8 |  | 0
| E.8 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable | E15 | each | 1 |  | 0
| E | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, STREET LIGHTING |  |  |  | Subtotal: | 0
| F | MOBILIZATION /DEMOLIBIZATION
I001 | F.1 | Mobilization/Demobilization | E^ | L. sum | 1 |  | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | AMELIA CRESCENT - TU-PELO AVENUE TO McCREEDY ROAD, REHABILITATION |  |  |  | Subtotal: | 0
| B | CHRISLIND STREET - REGENT AVENUE W TO RAVELSTON AVENUE W, RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, ASPHALT RECONSTRUCTION |  |  |  | Subtotal: | 0
| D | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| E | PINECREST BAY - DONWOOD DRIVE TO DONWOOD DRIVE, STREET LIGHTING |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| F | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0

## SAMPLE 2
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 E14 | m³ | 15500 |  | 0
| A.2 | Hydro-Excavation | E15 | hours | 40 |  | 0
A004 | A.3 | Sub-Grade Compaction | CW 3110-R22 | m² | 18500 |  | 0
A007 | A.4 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 7600 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 15200 |  | 0
A010 | A.5 | Supplying and Placing Base Course Material | CW 3110-R22 | m³ | 2000 |  | 0
A012 | A.6 | Grading of Boulevards | CW 3110-R22 | m² | 350 |  | 0
A016 | A.7 | Removal of Existing Concrete Bases | CW 3110-R22
A017 | i) | 600 mm Diameter or Less |  | each | 20 |  | 0
A018 | ii) | Greater than 600 mm Diameter |  | each | 6 |  | 0
A022 | A.8 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A1 | i) | Separation Fabric |  | m² | 17500 |  | 0
A022A4 | A.9 | Supply and Install Geogrid | CW 3135-R1 |  |  |  | 0
A022A6 | i) | Class B Geogrid |  | m² | 5300 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 17200 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 200 |  | 0
B003 | iii) | Temporary Asphalt Pavement |  | m² | 1600 |  | 0
B094 | A.11 | Drilled Dowels | CW 3230-R8
B095 | i) | 19.1 mm Diameter |  | each | 110 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 250 |  | 0
B097 | A.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 250 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 1500 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 10 |  | 0
B100r | A.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 225 |  | 0
B102r | ii) | Monolithic Median Slab |  | m² | 100 |  | 0
B103r | iii) | Safety Median |  | m² | 90 |  | 0
B104r | iv) | 100 mm Sidewalk |  | m² | 4500 |  | 0
B105r | v) | Bullnose |  | m² | 25 |  | 0
B154rl | A.14 | Type 1 Concrete Barrier (180 mm reveal ht, Dowelled) | CW 3240-R10
B167rl | i) | Type 1 Concrete Modified Barrier (180 mm reveal ht, Dowelled) | SD-203B | m | 175 |  | 0
B184rlA | ii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 40 |  | 0
B190 | A.15 | Construction of Asphaltic Concrete Overlay | CW 3410-R12
| i) | Temporary Asphalt Pavement
B193 | a) | Type IA |  | tonne | 300 |  | 0
B194 | ii) | Tie-ins and Approaches
B195 | a) | Type IA |  | tonne | 60 |  | 0
B199 | A.16 | Construction of Asphalt Patches | CW 3410-R12 | m² | 100 |  | 0
B200 | A.17 | Planing of Pavement | CW 3450-R6
B201 | i) | 1-50 mm depth (Asphalt) |  | m² | 300 |  | 0
B219 | A.18 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 54 |  | 0
| A.19 | Remove and Salvage Existing Overhead Sign Structure | E12 | each | 3 |  | 0
| A.20 | Remove Existing Bollards | E19 | each | 5 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.21 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R18 E17
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 12200 |  | 0
C008 | ii) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 850 |  | 0
C014 | iii) | Construction of Type 1 Concrete Median Slabs | SD-227A | m² | 50 |  | 0
C015 | iv) | Construction of Monolithic Type 1 Concrete Median Slabs | SD-226A | m² | 50 |  | 0
C016 | v) | Construction of Type 1 Concrete Safety Medians | SD-226B | m² | 550 |  | 0
C018 | vi) | Construction of Monolithic Type 1 Concrete Bull-noses | SD-227C | m² | 50 |  | 0
C019 | A.22 | Concrete Pavements for Early Opening | CW 3310-R18 E17
C025-72 | i) | Construction of 230 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Plain-Dowelled) |  | m² | 3900 |  | 0
C026-72 | ii) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 250 |  | 0
C032 | A.23 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R18 E17
C033 | i) | Construction of Barrier (180 mm ht, Type 1, Dowelled) | SD-205 | m | 50 |  | 0
C034 | ii) | Construction of Barrier (180 mm ht, Type 1, Separate) | SD-203A | m | 100 |  | 0
C035 | iii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 1500 |  | 0
C036 | iv) | Construction of Modified Barrier (180 mm ht, Type 1, Dowelled) | SD-203B | m | 50 |  | 0
C037 | v) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 450 |  | 0
C046 | vi) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 230 |  | 0
C046A | vii) | Construction of Curb Ramp (8-12 mm ht, Type 1, Monolithic) | SD-229C | m | 15 |  | 0
C047C | viii) | Construction of Splash Strip, (Separate, 600 mm width, Type 1) | SD-223B | m | 20 |  | 0
C050 | A.24 | Supply and Installation of Dowel Assemblies | CW 3310-R18 | m | 3500 |  | 0
C051 | A.25 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 5000 |  | 0
C054A | A.26 | Interlocking Paving Stones | CW 3335-R1 E13 | m² | 1075 |  | 0
C054 | A.27 | Lean Concrete Base | CW 3335-R1 E13 | m² | 1075 |  | 0
D006 | A.28 | Reflective Crack Maintenance | CW 3250-R7 | m | 100 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.29 | Catch Basin | CW 2130-R12 E18
E004 | i) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E004 | ii) | SD-024, 1800 mm deep |  | each | 19 |  | 0
| iii) | SD-024, 1800 mm deep c/w 100mm Outflow Restrictor | E22 | each | 2 |  | 0
E005 | iv) | SD-025, 1800 mm deep |  | each | 1 |  | 0
E006 | A.30 | Catch Pit | CW 2130-R12 E18
E007 | i) | SD-023 |  | each | 6 |  | 0
E008 | A.31 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Bedding with sand, Class 3 Backfill |  | m | 15 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with sand, Class 3 Backfill |  | m | 117 |  | 0
E009 | ii) | 300 mm, PVC
E010 | a) | In a Trench, Class B Bedding with sand, Class 3 Backfill |  | m | 6 |  | 0
E011 | b) | Trenchless Installation, Class B Bedding with sand, Class 3 Backfill |  | m | 47 |  | 0
E012 | A.32 | Drainage Connection Pipe | CW 2130-R12 | m | 12 |  | 0
E013 | A.33 | Sewer Service Risers | CW 2130-R12
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert m | 17 |  | 0
E014 | ii) | 300 mm
E016 | a) | SD-015 |  | vert m | 4 |  | 0
E023 | A.34 | Replacing Existing Manhole and Catch Basin Frames & Covers | CW 2130-R12
E024 | i) | AP-004 - Standard Frame for Manhole and Catch Basin |  | each | 11 |  | 0
E025 | ii) | AP-005 - Standard Solid Cover for Standard Frame |  | each | 11 |  | 0
E026 | iii) | AP-006 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | A.35 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E036 | A.36 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm Catch Basin Lead
E040 | a) | Connecting to 450 mm Storm Relief Sewer |  | each | 1 |  | 0
E039 | b) | Connecting to 375 mm Combined Sewer |  | each | 4 |  | 0
E040 | c) | Connecting to 450 mm Combined Sewer |  | each | 4 |  | 0
| d) | Connecting to 600 mm Combined Sewer |  | each | 4 |  | 0
E037 | ii) | 300 mm Catch Basin Lead
E038 | a) | Connecting to 300 mm Combined Sewer |  | each | 4 |  | 0
E040 | b) | Connecting to 450 mm Combined Sewer |  | each | 2 |  | 0
E046 | A.37 | Removal of Existing Catch Basins | CW 2130-R12 | each | 17 |  | 0
E047 | A.38 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
| A.39 | Abandoning Existing Sewer Services Under Pavement | CW 2130-R12
| i) | Existing Catch Basin Leads (250 mm or smaller) |  | each | 18 |  | 0
E050 | A.40 | Abandoning Existing Drainage Inlets | CW 2130-R12 | each | 3 |  | 0
E051 | A.41 | Installation of Subdrains | CW 3120-R4 | m | 252 |  | 0
| A.42 | Conduit Installation | E16 | m | 600 |  | 0
E072 | A.43 | Watermain and Water Service Insulation | CW 2110-R13 E21
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 200 |  | 0
ADJUSTMENTS
F001 | A.44 | Adjustment of Catch Basins / Manholes Frames | CW 3210-R8 | each | 11 |  | 0
F002 | A.45 | Replacing Existing Risers | CW 2130-R12 E18
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 5 |  | 0
F003 | A.46 | Lifter Rings | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F006 | iii) | 64 mm |  | each | 11 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | A.47 | Adjustment of Valve Boxes | CW 3210-R8 | each | 28 |  | 0
F010 | A.48 | Valve Box Extensions | CW 3210-R8 | each | 5 |  | 0
F011 | A.49 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 2 |  | 0
| A.50 | Patching of Existing Manholes | CW 2130-R12 | vert. m | 2 |  | 0
| A.51 | Replacing Existing Manhole or Catch Basin Rungs | CW 2130-R12 | each | 10 |  | 0
F028 | A.52 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 32 |  | 0
| A.53 | Hydrant Removal and Reinstallation | E23
| i) | Remove and reinstall with existing 600 mm barrel extenstions |  | each | 5 |  | 0
| ii) | Remove and reinstall with new 450 mm barrel extensions |  | each | 4 |  | 0
LANDSCAPING
G001 | A.54 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 100 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 250 |  | 0
WATERMAIN RENEWAL
| A.55 | Watermain Renewals | CW 2110-R13
| i) | 200 mm PVC
| a) | Trenchless Installation, Class B sand bedding, Class 3 backfill |  | m | 13 |  | 0
| A.56 | Watermain Valve | CW 2110-R13
| i) | 200 mm |  | each | 1 |  | 0
| A.57 | Connecting to Existing Watermain and Large Diameter Water Services | CW 2110-R13
| i) | Inline connection - no plug existing
| a) | 200 mm |  | each | 2 |  | 0
| A.58 | Extraction of Existing Watermains to be Abandoned | CW 2110-R13 E20
| i) | 200 mm |  | m | 13 |  | 0
| A | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK
MAROONS ROAD - SEWER REPAIR (MA40005871)
E017 | B.1 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
E017E | i) | 250 mm
E017F | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | B.2 | Sewer Inspection ( following repair) | CW 2145-R4
E022D | i) | 250 mm, Concrete |  | m | 91 |  | 0
NESS AVE - WATERMAIN AND WATER SERVICE INSULATION
E072 | B.3 | Watermain and Water Service Insulation | E13
E073 | i) | Pipe Under Roadway Excavation (SD-018) |  | m² | 125 |  | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| C | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, STREET LIGHTING
| C.1 | Removal of 25' to 35' street light pole and precase, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appuertenances | E15 | each | 7 |  | 0
| C.2 | Installation of 50mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex) | E15 | m | 369 |  | 0
| C.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appertenances | E15 | each | 7 |  | 0
| C | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, STREET LIGHTING |  |  |  | Subtotal: | 0
| D | MAROONS RAOD, STREET LIGHTING
| D.1I.4 | Installation of one (1) 10' ground rod at end of street light circuit. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod | E15 | each | 3 |  | 0
| D.2 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10 | E15 | each | 7 |  | 0
| D.3 | Installation of overhead span of #4 duplex between new or existing street light poles and connect luminaire to provide temporary feed | E15 | per span | 8 |  | 0
| D.4 | Removal of overhead span of #4 duplex between new or existing streetlight poles to remove temporary feed | E15 | per span | 8 |  | 0
| D | MAROONS RAOD, STREET LIGHTING |  |  |  | Subtotal: | 0
| E | MOBILIZATION /DEMOLIBIZATION
I001 | E.1 | Mobilization/Demobilization | E^ | L. sum | 1 |  | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO/PROVINCIALLY FUNDED WORK (See B10.5, B18.2.1, B19.5, D2, D15.2-3, D16.4)
| C | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, STREET LIGHTING |  |  |  | Subtotal: | 0
| D | ST. JAMES STREET, MAROONS ROAD TO PORTAGE AVENUE, STREET LIGHTING |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| E | MOBILIZATION /DEMOLIBIZATION |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0