## Unit prices
FORM B:PRICES
(See B10)
NORTH END WATER POLLUTION CONTROL CENTRE (NEWPCC) DEWATERING CENTRIFUGE OVERHAUL SERVICES
UNIT PRICES
Item | Description | Spec. Ref | O&M Figure (Page) & Item # Ref | OEM Part # Ref | Unit | Approximate Quantity | Unit Price | Amount
Section A - Overhaul Services and Replacement Parts
1 | Transport of centrifuge from NEWPCC loading dock to repair facility including customs fees and insurance. | MEC-001 3.2, 3.6 & RFP E3.2 (a) |  |  | each | 1 | $ - | $ -
2 | Teardown, clenaing and inspection of centrifuge including condition assessment report. | MEC-001 3.3 & RFP E3.2 (b) |  |  | each | 1 | $ - | $ -
3 | Replacement of all bearings, gaskets, seals, o-rings, belts, screws, hardware and silicion sponge cord casing seal. | MEC-001 3.4(1).1 & RFP E3.2 (c) |  |  | lot | 1 | $ - | $ -
4 | Gearbox overhaul including replacement of all bearings, gaskets, seals, o-rings and oil. | MEC-001 3.4(1).2 & RFP E3.2 (d) |  |  | lot | 1 | $ - | $ -
5 | Inspection and wet testing for flow and leaks of polymer flocculant ("floc") tube from floc inlet to outlet, including the floc transfer nozzles and report. | MEC-001 3.4(1).3, 3.4(4) & RFP E3.2 (e) |  |  | each | 16 | $ - | $ -
6 | Dynamic balance of bowl and report. | MEC-001 3.5(1) & RFP E3.2 (f) |  |  | each | 1 | $ - | $ -
7 | Dynamic balance of conveyor and report. | MEC-001 3.5(1) & RFP E3.2 (g) |  |  | each | 1 | $ - | $ -
8 | Assembly of centrifuge, verification of critical dimensions and runouts c/w report. | MEC-001 3.5(2) & RFP E3.2 (h) |  |  | each | 1 | $ - | $ -
9 | Packaging and transport of centrifuge from repair facility to NEWPCC including customs fees and insurance. | MEC-001 3.6 & RFP E3.2 (i) |  |  | each | 1 | $ - | $ -
10 | Project management - per centrifuge | RFP E3.2 (j) |  |  | each | 1 | $ - | $ -
11 | Shop supplies/Environmental fee | MEC-001 3.4(2) & RFP E3.2 (k) |  |  | each | 1 | $ - | $ -
12 | Drive pulley | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 9-1 Items 51 & 54 | 8EU18E | each | 1 | $ - | $ -
13 | Rotating assembly pulley, hub nut and tension bar spacers | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 227 | PE5495-3 | each | 1 | $ - | $ -
14 | Bowl hub nut | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 72 | PC9374-2 | each | 1 | $ - | $ -
15 | Tension bar spacer | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 84 | PC9383-1 | each | 1 | $ - | $ -
16 | Tension bar spacer | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 85 | PC9383-4 | each | 1 | $ - | $ -
17 | Gearbox adapter | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 14-1 Item 224 | PE8877-1 | each | 1 | $ - | $ -
18 | Accelerator | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 41-2 | PE10217-1 | each | 1 | $ - | $ -
19 | Feed nozzle | MEC-001 3.4(2) & RFP E3.2 (k) | Figure Figure 18-1 Item 41-9 | PC16029-1 | each | 8 | $ - | $ -
20 | Feed cone insert (set of 8) | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 41-20 | PC19678-2 | each | 1 | $ - | $ -
21 | Feed cone retainer | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 41-21 | PD13451-1 | each | 8 | $ - | $ -
22 | Feed tube (two pieces - fibreglass inner and SS outer) | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 13-1 Item 82 | PE10043-2 | each | 1 | $ - | $ -
23 | Polymer flocculant "floc" tube | MEC-001 3.4(2) & RFP E3.2 (k) |  |  | each | 16 | $ - | $ -
24 | Wear sleeve | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 19-1 Item 46-15-2-2 | PC14312-1 | each | 8 | $ - | $ -
25 | Wear ring | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 19-1 Item 46-34 | 61425862-70 | each | 1 | $ - | $ -
26 | Wear tile | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 1 (Page 119) | 6124004282 | each | 500 | $ - | $ -
27 | Pulley seal | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 81 | 7BA199 | each | 2 | $ - | $ -
28 | Floc transfer nozzles | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 41-23 | PC19482 | each | 16 | $ - | $ -
29 | Gearbox assembly 1st stage pinion shaft seal | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 4 | 7BA333 | each | 1 | $ - | $ -
30 | Gearbox assembly seal cap | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 1 | PC9166-1 | each | 1 | $ - | $ -
31 | Gearbox assembly inboard cover bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 8 | 11AB171 | each | 1 | $ - | $ -
32 | Gearbox assembly outboard cover bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 8 | 11AB171 | each | 1 | $ - | $ -
33 | Gearbox assembly output spline bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 8 | 11AB171 | each | 1 | $ - | $ -
34 | Gearbox output shaft seals | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 18 | 7BA280 | each | 2 | $ - | $ -
35 | Gearbox input sun-wheel bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 3 | 11AB172 | each | 1 | $ - | $ -
36 | Gearbox 1st stage sun-wheel bearing internal in carrier | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 15 | 11AB298 | each | 1 | $ - | $ -
37 | Front end (Liquid end) pillow block assembly bowl hub seal | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 14-1 Item 385 | PC18080-2 | each | 2 | $ - | $ -
38 | Front end (Liquid end) pillow block assembly seal ring | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 14-1 Item 100 | PD6845-2 | each | 2 | $ - | $ -
39 | Front end (Liquid end) pillow block assembly bowl hub flinger | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 14-1 Item 99 | PC9372-1 | each | 2 | $ - | $ -
40 | Rear end (Solid end) pillow block assembly seal ring | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 100 | PD6845-2 | each | 2 | $ - | $ -
41 | Rear end (Solid end) pillow block assembly bowl hub flinger | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 99 | PC9372-1 | each | 2 | $ - | $ -
42 | Rear end (Solid end) pillow block assembly bowl hub seal | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 385 | PC18080-2 | each | 2 | $ - | $ -
43 | Pulley thrust bearing (inner and outer set) | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 77 | 11BB16 | each | 1 | $ - | $ -
44 | Feed zone liner | MEC-001 3.4(2) & RFP E3.2 (k) |  | PE10224-1 | each | 1 | $ - | $ -
45 | Gearbox assembly 2nd stage pinion bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 12-1 Item 17 | 11AB237 | each | 1 | $ - | $ -
46 | Front end (Liquid end) pillow block assembly conveyor front bearing seal | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 109 | 7BA207 | each | 2 | $ - | $ -
47 | Front end (Liquid end) pillow block assembly conveyor front bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 18-1 Item 129 | 11BC33 | each | 1 | $ - | $ -
48 | Front end (Liquid end) pillow block assembly conveyor front bearing hub sleeve | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 16-1 Item 46-11 | PD7226-1 | each | 1 | $ - | $ -
49 | Front end (Liquid end) pillow block assembly pillow block bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 14-1 Item 298 | 11BC61 | each | 1 | $ - | $ -
50 | Front end (Liquid end) pillow block assembly pillow block | MEC-001 3.4(2) & RFP E3.2 (k), O&M Figure 14-1 Item 11 | Figure 14-1 Item 11 | 6142483-70 | each | 1 | $ - | $ -
51 | Rear end (Solid end) pillow block assembly pillow block bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 68 | 11BC68 | each | 1 | $ - | $ -
52 | Rear end (Solid end) pillow block assembly pillow block | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 15-1 Item 11 | 6142483-70 | each | 1 | $ - | $ -
53 | Rear end (Solid end) pillow block assembly conveyor rear bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 17-1 Item 46-22 | 11BC79 | each | 1 | $ - | $ -
54 | Rear end (Solid end) pillow block assembly thrust bearing | MEC-001 3.4(2) & RFP E3.2 (k) | Figure 17-1 Item 46-22 | 11BC79 | each | 1 | $ - | $ -
Section B - Hourly Rates
55 | Welder | MEC-001 3.3(6) & RFP E3.2 (l) |  |  | $/hr | 12 | $ - | $ -
56 | Millwright | MEC-001 3.3(6) & RFP E3.2 (l) |  |  | $/hr | 5 | $ - | $ -
57 | Machining | MEC-001 3.3(6) & RFP E3.2 (l) |  |  | $/hr | 5 | $ - | $ -
58 | Balancing | MEC-001 3.3(6) & RFP E3.2 (l) |  |  | $/hr | 5 | $ - | $ -
59 | General Labor | MEC-001 3.3(6) & RFP E3.2 (l) |  |  | $/hr | 24 | $ - | $ -
Section C - On-Site Technical Support Rates
60 | On-site technical support - hourly rate (Note 2) | MEC-001 3.8 & RFP E3.2 (m) |  |  | $/hr | 12 | $ - | $ -
61 | On-site technical support - daily rate (Note 2) | MEC-001 3.8 & RFP E3.2 (n) |  |  | $/hr | 5 | $ - | $ -
62 | On-site technical support - weekly rate (Note 2) | MEC-001 3.8 & RFP E3.2 (o) |  |  | $/hr | 2 | $ - | $ -
63 | Round trip travel to the NEWPCC (Note 4) | MEC-001 3.8 & RFP E3.2 (p) |  |  | $/trip | 2 | $ - | $ -
Notes:
1. Items shall include all associated labour and material costs.
2. Items shall include labour rates only.
3. Items shall include labour rates and per diem.
4. Items shall include all round-trip travel costs and disbursements.
= to be filled out by Proponent
TOTAL BID PRICE (GST & MRST extra) (in numbers) | [6 empty] | 0
Name of Bidder
Note on A5: For Tenders with Budgets enter here. Format is BUDGET: $###.###.##