## Instructions
795-2025_Schedule D_Pricing_Form Instructions
Reference | Instructions
1 | Instructions on How to Provide Pricing
1.1 | ALL PRICING IS TO BE QUOTED IN $Canadian (CDN)
1.2 | Proponents should provide the information requested in attached Excel file: 795-2025_Schedule_D-Pricing_Form.
1.3 | Rates quoted by the Proponent must be all-inclusive and must include all labor and material costs, all travel and carriage costs, all insurance costs, all costs of delivery, all costs of installation and set-up, including any pre-delivery inspection charges, operational support costs, and all other overhead, including any fees or other charges required by law.
1.4 | All quantities provided in the attached are estimates based on The City of Winnipeg's ("The City") meter population as of June 2025. The City makes no guarantees on the actual quantities that will be required in the project.
2 | 795-2025_Schedule D_Pricing Form: Instructions
2.1 | When completing 795-2025_Schedule_D-Pricing_Form, Proponents are to comply with the instructions below.
3 | All Tab Instructions:
3.1 | Where a line item requires the Proponent to enter a quantity, the quantity shall be an integer (whole number no decimals).
3.2 | Quantities and prices in blue shall be filled out by the Proponent unless the Proponent fills in “No” in the “Proponent Proposed?” column which will allow the Proponent to not provide pricing. Where a tab does not have a “Proponent Proposed” column all quantities and prices shall be filled out.
3.3 | Quantities and prices in grey are not required.
3.4 | “Proponent Proposed?” column must be filled in with a “Yes” or “No”.
3.5 | Proponents may only provide comments if they feel it provides additional clarity. Proponents comments should not included comments that alter the intended pricing description.
3.6 | Where the financial proposal does not fit into the protected form, the Proponent shall request a change to the Price Form Workbook (795-2025_Schedule_D-Pricing_Form) prior to the Deadline for Questions.
3.7 | If an item is marked as Milestone, the Proponent will provide total price for that item. If the item is marked as Unit Price, the Proponent will provide the unit price, and will calculate the total price based on the quoted unit price and the quantity indicated by the City on the price form. The Proponent will be compensated for the number of units delivered at the agreed upon Unit Price.
3.8 | Unit Price: The Proponent will be compensated for the number of units delivered at the agreed upon Unit Price.
3.9 | If the Proponent makes any mathematical errors on its Price Form Workbook (795-2025_Schedule_D-Pricing_Form), the City will correct those errors as follows: the Unit Price stated on the fee table by the Proponent shall be accepted as being correct; the actual sum and extension based upon the unit price and quantity shall then govern; and the unofficial total shall be revised accordingly. The City also reserves the right to correct any mathematical errors in the summation of the extensions, and to correct any errors made in transferring (recopying) the figures.
4 | Tab B1 Installation Services Instructions:
4.1 | All quantities are provided in tab B1A Install Qty by Year.
4.2 | Proponents shall provide unit pricing for each installation item for each year.
4.3 | Item B1.1 cost shall not exceed 5% of the Total Initial Capital Costs.
5 | Tab B1A Install Qty by Year Instructions:
5.1 | Tab B1A provides the number of installation services per year.
6 | Tab B2 Optional Instructions:
6.1 | Provide costing for products & services that the City considers to be Optional in Tab2 Optional. These Optional offerings will be considered by the City, but their costs will not be factored into the Total Solution Cost.

## B Price Form Summary
Utility: | City of Winnipeg
Proponent: | Vendor A
Project/RFP Number: | 795-2025_RFP - Water Meter Renewal and AMS Project
795-2025_Form_B–Prices | Note: Proponent to fill in cells in blue
Initial Capital Costs - B1
| Tab | Tab Description |  |  | Extended
| B1 | B1 - Installation Services |  |  | 0
| Total Initial Capital Costs - B1 (CDN$) |  |  |  | 0
Total Optional B2
| Tab | Tab Description |  |  | Extended
| B2 | B2 - Optional Products, Services and Software |  |  | 0
| Total Optional B2 (CDN$) |  |  |  | 0
| HST |  |  |  | 0
| Total Optional B2 (CDN$) (HST) |  |  |  | 0
I have read, acknowledge and understand all terms, conditions and requirements contained in this proposal document:
Company Name:
Address:
| Phone Number: |  | E-mail:
Name & Position Of Person Signing:
(Please Print)
| Signature: |  |  | Date:
" I have the authority to bind the Corporation/Company/Partnership"
Please ensure that an original signature (ink) is provided with the original Proposal document. A
photocopy of the signatures will not be accepted on the document marked as the Original. Failure to
provide original signatures on the document marked original may result in the rejection of your Proposal.
The lowest, or any proposal, may not necessarily be accepted

## B1 Installation Services
Utility: |  |  |  | City of Winnipeg
Proponent: |  |  |  | Vendor A
Project/RFP Number: |  |  |  | 795-2025_RFP - Water Meter Renewal and AMS Project
B1 - Installation Services
Note: Proponent to fill in all cells in blue
Item # | Acceptance Category | Description | Size | Unit of Measure | Base | Proponent Proposed? | % | Total Quantity | 2026 | 2027 | 2028 | 2029 | 2030 | Total
B1.1 | Mobilization | Supply of Services to Mobilize the Project. (Capped at 5%). | N/A | Milestone |  | Yes |  | 1 | [5 empty] | 0
B1.2 | Mobilization | Performance Bond for Years 1: Pass through costs for perfomance bonds. | N/A | Milestone |  | Yes | [7 empty] | 0
B1.2 | Mobilization | Performance Bond Extension Year 2: Pass through costs for perfomance bonds. | N/A | Milestone |  | Yes | [7 empty] | 0
B1.2 | Mobilization | Performance Bond Extension Year 3: Pass through costs for perfomance bonds. | N/A | Milestone |  | Yes | [7 empty] | 0
B1.3 | Mobilization | Performance Bond Extension Year 4: Pass through costs for perfomance bonds. | N/A | Milestone |  | Yes | [7 empty] | 0
B1.4 | Mobilization | Performance Bond Extension Year 5: Pass through costs for perfomance bonds. | N/A | Milestone |  | Yes | [7 empty] | 0
B1.5 | Install Equipment | Small Meter Replacement Installation (Inside set with Non-Mechanical Meter): Provide labour and equipment for removal and disposal of existing water meter, installation of a City supplied Non-Mechanical water meter (C715-18) (of the specified size), connection of existing three conductor wire to terminal screws, installation of the new City supplied radio transmitter on the interior of the property, including but not limited to the supply and installation of: meter seal, gaskets, and consumable items. | 15mmx12mm | Each |  | Yes |  | 211352 | [5 empty] | 0
B1.6 |  |  | 15mmx20mm | Each |  | Yes |  | 1000 | [5 empty] | 0
B1.7 |  |  | 20mm | Each |  | Yes |  | 4046 | [5 empty] | 0
B1.8 |  |  | 25mm | Each |  | Yes |  | 3694 | [5 empty] | 0
B1.9 | Install Equipment | Intermediate Meter Replacement Installation (Inside set with Non-Mechanical Meter): Provide labour and equipment for removal and disposal of existing water meter, installation of a City supplied Non-Mechanical water meter (C715-18) (of the specified size), connection of existing three conductor wire to terminal screws, installation of the new City supplied radio transmitter on the interior of the property, including but not limited to supply and installation of: meter seal, gaskets, washers, nuts and bolts, and consumable items. | 40mm | Each |  | Yes |  | 1795 | [5 empty] | 0
B1.10 |  |  | 50mm | Each |  | Yes |  | 1425 | [5 empty] | 0
B1.11 | Install Equipment | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): Provide labour and equipment for removal and disposal of existing water meter, installation of a City supplied Non-Mechanical water meter (C715-18) (of the specified size), connection of existing three conductor wire to terminal screws, installation of the new City supplied radio transmitter on the interior of the property, including but not limited to the supply and installation of: meter seal, gaskets, washers, nuts and bolts, and consumable items. | 75mm | Each |  | Yes |  | 177 | [5 empty] | 0
B1.12 |  |  | 100mm | Each |  | Yes |  | 63 | [5 empty] | 0
B1.13 |  |  | 150mm | Each |  | Yes |  | 23 | [5 empty] | 0
B1.14 |  |  | 200mm | Each |  | Yes |  | 4 | [5 empty] | 0
B1.15 |  |  | 250mm | Each |  | Yes |  | 1 | [5 empty] | 0
B1.16 | Install Equipment | Radio Transmitter Retrofit Installation: Provide labour and equipment to remove and dispose of existing radio transmitter (if required) or touchpad, inspect existing water meter, installation of new wire to the existing register and a City supplied new radio transmitter on an interior location including the supply and installation of: meter seal, UR2 connectors (as required) and consumable items. | 15mm x 25mm | Each |  | Yes |  | 23 | [5 empty] | 0
B1.17 | Install Equipment |  | 40mm to 50mm | Each |  | Yes |  | 18 | [5 empty] | 0
B1.18 | Install Equipment |  | 75mm and greater | Each |  | Yes |  | 41 | [5 empty] | 0
B1.19 | Install Equipment | Small Meter Wire Installation - Exterior (15mmx12mm to 25mm): Supply and installation of 22-AWG three conductor wire from the water meter to an outside location where the water meter is between 15mmx12mm and 25mm. | 15mm x 25mm | Each |  | Yes | 5% | 11006 | [5 empty] | 0 | 0%
B1.20 | Install Equipment | Intermediate Meter Wire Installation - Exterior (40mm to 50mm): Supply and installation of 22-AWG three conductor wire from the water meter to an outside location where the water meter is between 40mm and 50mm. | 40mm to 50mm | Each |  | Yes | 25% | 810 | [5 empty] | 0 | 100%
B1.21 | Install Equipment | Large Meter Wire Installation - Exterior (75mm and greater): Supply and installation of 22-AWG three conductor wire from the water meter to an outside location where the water meter is 75mm or greater. | 75mm and greater | Each |  | Yes | 25% | 78 | [5 empty] | 0
B1.22 | Install Equipment | Intermediate Meter (40mm to 50mm) Pre-Installation Inspection: Perform a pre-installation inspection and completion of a intermediate meter inspection form including picture and recommendations on the work required. Note: The Intermediate meter pre-Installation Inspections will only be required for meters in pits. Note: If a confined space entry is required line B2.52 will apply. | 40mm to 50mm | Each |  | Yes |  | 11 | [5 empty] | 0
B1.23 | Install Equipment | Large Meter (75mm and larger) Pre-Installation Inspection: Perform a pre-installation inspection and completion of a large meter inspection form including picture and recommendations on the work required. Note: If a confined space entry is required line B2.53 will apply. | 75mm and greater | Each | 268 | Yes | 100% | 209 | [5 empty] | 0
B1.24 | Install Equipment | Small Meter Building Control Valve Installation: Supply and installation of a building control stop and waste ball valve of the specified type and size, including adapters to existing pipe, consumables and up to 30 minutes to locate and operate the curb stop as required. Note: This item applies when a building control valve is damaged during an installation. | 15mm to 20mm | Each | 211352 | Yes | 5% | 10819 | [5 empty] | 0
B1.25 |  |  | 25mm | Each | 3694 | Yes | 5% | 9 | [5 empty] | 0
B1.26 | Install Equipment | Intermediate Meter Building Control Valve Installation: Supply and installation of a building control ball valve of the specified size, including fittings and pipe to adapt to existing pipe, including wait time of up to 30 minutes to allow the City to locate and operate the curbstop. Note: This item applies when a building control valve is damaged during an installation. | 40mm | Each | 1795 | Yes | 0.5% | 9 | [5 empty] | 0
B1.27 |  |  | 50mm | Each | 1425 | Yes | 0.5% | 8 | [5 empty] | 0
B1.28 | Install Equipment | Large Building Control Valve Installation: Supply and installation of a building control ball valve of the specified size, including fittings and pipe to adapt to existing pipe, including time of up to 30 minutes to locate and operate the curb stop as required. Note: Pre-Approval Required. Note: This item applies when a building control valve is damaged during an installation. | 75mm | Each | 177 | Yes | 0.5% | 1 | [5 empty] | 0
B1.29 |  |  | 100mm | Each | 63 | Yes | 0.5% | 1 | [5 empty] | 0
B1.30 |  |  | 150mm | Each | 23 | Yes | 0.5% | 1 | [5 empty] | 0
B1.31 |  |  | 200mm | Each | 4 | Yes | 0.5% | 1 | [5 empty] | 0
B1.32 |  |  | 250mm | Each | 1 | Yes | 0.5% | 1 | [5 empty] | 0
B1.33 | Install Equipment | Minor Plumbing: Supply and installation of plumbing modifications of the specified size to accommodate the meter installation including 1 to 3 fittings (copper, plastic, brass), adapters, pipe fittings and consumables. | 15mm to 20mm | Each | 216398 | Yes | 7% | 15148 | [5 empty] | 0
B1.34 |  |  | 25mm | Each | 3694 | Yes | 7% | 259 | [5 empty] | 0
B1.35 | Install Equipment | Normal Plumbing: Supply and installation of plumbing modifications of the specified size to accommodate the meter installation including 4 to 7 fittings (copper, plastic, brass), adapters, pipe and consumables. | 15mm to 20mm | Each | 216398 | Yes | 4% | 8656 | [5 empty] | 0
B1.36 | Install Equipment |  | 25mm | Each | 3694 | Yes | 4% | 148 | [5 empty] | 0
B1.37 | Install Equipment | Major Plumbing (Hourly): This is for pre-approved hourly work. Supply and installation plumbing modifications of the specified size to accommodate the meter installation that requires greater than 7 fittings (copper, plastic, brass), adapters, pipe and consumables. | 15mm to 25mm | Each | 220092 | Yes | 0.5% | 1101 | [5 empty] | 0
B1.38 | Install Equipment | Major Plumbing (Hourly): This is for pre-approved hourly work. Supply and installation plumbing modifications of the specified size to accommodate the meter installation that requires greater than 7 fittings (copper, plastic, brass), adapters, pipe and consumables. | 40mm and greater | Each |  | Yes | [7 empty] | 0
B1.39 | Install Equipment | Compression Fitting Supply and installation of a brass compression fitting of the specified size to adapt to galvanized and lead plumbing and consumables. | 15mm | Each | 9535 | Yes |  | 400 | [5 empty] | 0
B1.40 |  |  | 20mm | Each | 6914 | Yes |  | 400 | [5 empty] | 0
B1.41 |  |  | 25mm | Each | 3397 | Yes |  | 100 | [5 empty] | 0
B1.42 | Install Equipment | Plumbing Fittings: Supply and install a copper, plastic, brass or cast iron fitting, adapter, compression fitting, flanges including gaskets, nuts, bolts, washers and additional consumables as required. | 40mm | Each | 1795 | Yes | 10% | 180 | [5 empty] | 0
B1.43 |  |  | 50mm | Each | 1425 | Yes | 10% | 143 | [5 empty] | 0
B1.44 |  |  | 75mm | Each | 177 | Yes | 10% | 18 | [5 empty] | 0
B1.45 |  |  | 100mm | Each | 63 | Yes | 10% | 7 | [5 empty] | 0
B1.46 |  |  | 150mm | Each | 23 | Yes | 10% | 3 | [5 empty] | 0
B1.47 |  |  | 200mm | Each | 4 | Yes | 10% | 1 | [5 empty] | 0
B1.48 |  |  | 250mm | Each | 1 | Yes | 10% | 1 | [5 empty] | 0
B1.49 | Install Equipment | Minor Carpentry: Equipment and labour to cut open a wall or stud to accommodate a meter installation. Note: This item can only be charged once per installation. | All Sizes | Each | 220092 | Yes | 7% | 15407 | [5 empty] | 0
B1.50 | Install Equipment | Normal Carpentry: Supply and installation of a standard sized cover box, plastic panel, equipment and labour to cut open a wall or stud to accommodate a meter installation. Note: This item can only be charged once per installation. | MDF box - 400mm x 475mm x 50mm | Each | 220092 | Yes | 0.5% | 1101 | [5 empty] | 0
B1.51 |  |  | MDF box - 400mm x 475mm x 100mm | Each | 220092 | Yes | 0.5% | 1101 | [5 empty] | 0
B1.52 |  |  | MDF box - 400mm x 475mm x 150mm | Each | 220092 | Yes | 0.5% | 1101 | [5 empty] | 0
B1.53 |  |  | Plastic flat panel - 300mm x 300mm | Each | 220092 | Yes | 0.5% | 1101 | [5 empty] | 0
B1.54 | Install Equipment | Meter Pit Dewatering (Pumping): Provide the equipment and labour to pump out water out of an existing meter pit or chamber | 40mm to 50mm | Each | 11 | Yes | 75% | 8 | [5 empty] | 0
B1.55 |  |  | 75mm and greater | Each | 22 | Yes | 75% | 12 | [5 empty] | 0
B1.56 | Install Equipment | Crawl Space Premium: Installation in a crawl space that is less than one metre in height and requires two people to safely perform the work, including all required PPE. | 15mm to 25mm | Each | 220092 | Yes | 1% | 1101 | [5 empty] | 0
B1.57 | Install Equipment | Confined Space: Provide all labour and equipment to safely enter and perform work within a confined space for the appropriate sized meter which includes air testing and ventilation, tripod and harness including all PPE and safety personnel as required. | 40mm to 50mm | Each | 11 | Yes | 100% | 11 | [5 empty] | 0
B1.58 | Install Equipment |  | 75mm and greater | Each | 22 | Yes | 100% | 22 | [5 empty] | 0
B1.59 | Install Equipment | Line Freeze - Small Meter (15mm to 25mm): Perform a line freeze with CO2 or electric freeze kit on the appropriate sized pipe. Note: Pre-approval required. Note: This item can only be charged once per installation. | 15mm to 25mm | Each | 10828 | Yes | 10% | 1101 | [5 empty] | 0
B1.60 | Install Equipment | Grounding Straps: - Small Meter (15mm to 25mm) Install two (2) permeant bronze grounding clamps (on Non-mechanical Meters): and #10 copper grounding wire of sufficient length across the existing meter setting where: a the water meter is non-metallic, the water service is metallic and there is no existing ground across the meter setting. Not applicable for metallic water meters. Note: This item can only be charged once per installation. | 15mm to 25mm | Each | [9 empty] | 0
B1.61 | Install Equipment | Programming AMI Radio Transmitter - (All sizes): Where required, program the AMI Radio Transmitter using Installation Contractor supplied smart phone and City supplied bluetooth programming device. Note: Bluetooth enabled AMI Radio Transmitter devices will be provided by the City. Note: This item can only be charged once per installation. | All Sizes | Each | 10828 | Yes | 100% | 223621 | [5 empty] | 0
B1.62 | Install Equipment | RF Investigation Perform a return visit to a previously installed AMI Radio Transmitter to investigate and resolve a meter reading problem including three contact attempts, booking an appointment. Where the issue is deemed to be a Installation Contractor issue, this line item will not be applicable. Note: Pre-approval required. | All Sizes | Each | 18 | Yes | 5% | 11181.05 | [5 empty] | 0
B1.63 | Install Equipment | Meter Disposal Credit: Recycling of brass meter body removed from field. Negative unit price reflects a credit to The City. This credit will be assumed for all meter replacements. Note: The City reserves the right to retain scrap meters themselves. | 15mm to 25mm | Each |  | Yes | [7 empty] | 0
B1.64 |  |  | 40mm to 50mm | Each |  | Yes | [7 empty] | 0
B1.65 |  |  | 75mm and greater | Each |  | Yes | [7 empty] | 0
B1 - Installation Services ($CDN) | [13 empty] | 0
Transfer the total for B1 - Installation Services to B Price Form Summary
Comments (Optional - blue cells do not have to be filled out)
B1.66
B1.67
B1.68
B1.69
B1.70
B1.71
B1.72
B1.73
B1.74
B1.75
Note on I70: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Not in FM

## B1A - Install Qty by Year
Utility: |  | City of Winnipeg
Proposer: |  | Vendor A | [6 empty] | Production Schedule (meters to be replaced Scenario 2) |  | % of Meters
Project/RFP Number: |  | 795-2025_RFP - Water Meter Renewal and AMS Project | [6 empty] | 2026 | 13997.5599 | 6.259%
[9 empty] | 2027 | 50935.565 | 22.77%
Item # | Description | Total Quantities | 2026 | 2027 | 2028 | 2029 | 2030 | Total | 2028 | 68836.5839 | 30.78%
B1A.1 | Small Meter Replacement Installation (Inside set with Non-Mechanical Meter): 15mmx12mm | 211352 | 13228 | 48134 | 65048 | 56866 | 28076 | 211352 | 2029 | 60175.7843 | 26.91%
B1A.2 | Small Meter Replacement Installation (Inside set with Non-Mechanical Meter): 15mmx20mm | 1000 | 63 | 228 | 308 | 269 | 132 | 1000 | 2030 | 29710.507 | 13.28%
B1A.3 | Small Meter Replacement Installation (Inside set with Non-Mechanical Meter): 20mm | 4046 | 254 | 921 | 1245 | 1088 | 538 | 4046 | 2031 |  | 0%
B1A.4 | Small Meter Replacement Installation (Inside set with Non-Mechanical Meter): 25mm | 3692 | 231 | 841 | 1136 | 994 | 492 | 3694 |  | 0 | 0%
B1A.5 | Intermediate Meter Replacement Installation (Inside set with Non-Mechanical Meter): 40mm | 1795 | 112 | 409 | 552 | 483 | 239 | 1795 | Grand Total | 223656
B1A.6 | Intermediate Meter Replacement Installation (Inside set with Non-Mechanical Meter): 50mm | 1425 | 90 | 324 | 438 | 383 | 190 | 1425 | 6.259% | 22.77% | 30.78% | 26.91% | 13.28% | 0%
B1A.7 | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): 75mm | 176 | 12 | 40 | 54 | 47 | 24 | 177
B1A.8 | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): 100mm | 62 | 4 | 14 | 19 | 17 | 9 | 63
B1A.9 | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): 150mm | 22 | 1 | 5 | 7 | 6 | 4 | 23
B1A.10 | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): 200mm | 4 | 0 | 1 | 1 | 1 | 1 | 4
B1A.11 | Large Meter Replacement Installation (Inside set with Non-Mechanical Meter): 250mm | 1 | 0 | 0 | 0 | 1 | 0 | 1
B1A.12 | Radio Transmitter Retrofit Installation: 15mm to 25mm | 24 | 2 | 5 | 7 | 6 | 3 | 23
B1A.13 | Radio Transmitter Retrofit Installation: 40mm to 50mm | 18 | 1 | 4 | 6 | 5 | 2 | 18
B1A.14 | Radio Transmitter Retrofit Installation: 75mm and greater | 41 | 3 | 9 | 13 | 11 | 5 | 41
B1A.15 | Small Meter Wire Installation - Exterior (15mm to 25mm) | 11006 | 689 | 2507 | 3387 | 2961 | 1462 | 11006
B1A.16 | Intermediate Meter Wire Installation - Exterior (40mm to 50mm) | 810 | 51 | 184 | 249 | 218 | 108 | 810
B1A.17 | Large Meter Wire Installation - Exterior (75mm and greater) | 78 | 5 | 18 | 24 | 21 | 10 | 78 |  | AMI WorkTypes - Sceanrio 2
B1A.18 | Intermediate Meter (40mm to 50mm) Pre-Installation Inspection: | 11 | 1 | 3 | 3 | 3 | 1 | 11 | Meter Size | Replace Meter / Install Transmitter | Retain Meter / Install Transmitter | Retain Meter / Install Transmitter | Reprogram Meter / Install Transmitter | Total | 2026 | 2027 | 2028 | 2029 | 2030
B1A.19 | Large Meter (75mm and larger) Pre-Installation Inspection: | 209 | 13 | 48 | 64 | 56 | 28 | 209 | 5/8” | 212350.3944 |  |  |  | 212350.3944 | 13291 | 48362 | 65358 | 57135 | 28210 | 212356
B1A.20 | Small Meter Building Control Valve Installation: 15mm to 20mm | 10820 | 677 | 2464 | 3330 | 2911 | 1437 | 10819 | ‘3/4” | 4045.5986 |  |  |  | 4045.5986 | 254 | 921 | 1245 | 1088 | 538 | 4046
B1A.21 | Small Meter Building Control Valve Installation: 25mm | 185 | 12 | 42 | 57 | 50 | 25 | 186 | 1” | 3692.5647 | 24 |  |  | 3716.5647 | 231 | 841 | 1136 | 994 | 492 | 3694
B1A.22 | Intermediate Meter Building Control Valve Installation: 40mm | 9 | 1 | 2 | 3 | 2 | 1 | 9 | 1.5” | 1795.019 | 1 |  |  | 1796.019 | 112 | 409 | 552 | 483 | 239 | 1795
B1A.23 | Intermediate Meter Building Control Valve Installation: 50mm | 8 | 1 | 2 | 2 | 2 | 1 | 8 | 2” | 1424.6748 | 17 |  |  | 1441.6748 | 90 | 324 | 438 | 383 | 190 | 1425
B1A.24 | Large Building Control Valve Installation: 75mm | 1 | 0 | 1 |  |  |  | 1 | 3” | 175.5321 | 27 | 4 |  | 206.5321 | 12 | 40 | 54 | 47 | 24 | 177
B1A.25 | Large Building Control Valve Installation: 100mm | 1 | 0 |  | 1 |  |  | 1 | 4” | 61.782 | 1 | 1 |  | 63.782 | 4 | 14 | 19 | 17 | 9 | 63
B1A.26 | Large Building Control Valve Installation: 150mm | 1 | 0 |  |  | 1 |  | 1 | 6” | 22.3351 | 5 |  |  | 27.3351 | 1 | 5 | 7 | 6 | 4 | 23
B1A.27 | Large Building Control Valve Installation: 200mm | 1 | 0 |  | 1 |  |  | 1 | 8” | 4.0745 | 2 |  |  | 6.0745 | 0 | 1 | 1 | 1 | 2 | 5
B1A.28 | Large Building Control Valve Installation: 250mm | 1 | 0 |  |  | 1 |  | 1 | 10” | 1.0248 | 1 |  |  | 2.0248 | 0 | 0 | 0 | 1 | 0 | 1
B1A.29 | Minor Plumbing: 15mm to 20mm | 15148 | 948 | 3450 | 4662 | 4076 | 2012 | 15148 | All Sizes | [5 empty] | 0 | 0 | 0 | 0 | 0
B1A.30 | Minor Plumbing: 25mm | 259 | 16 | 59 | 80 | 70 | 34 | 259 | Total | 223573 | 78 | 5 |  | 223656 | 13995 | 50917 | 68810 | 60155 | 29708 | 223585
B1A.31 | Normal Plumbing: 15mm to 20mm | 8656 | 542 | 1971 | 2664 | 2329 | 1150 | 8656
B1A.32 | Normal Plumbing: 25mm | 148 | 9 | 34 | 46 | 40 | 20 | 149
B1A.33 | Major Plumbing (Hourly): 15mm to 25mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.34 | Major Plumbing (Hourly): 40mm and greater | 873 | 55 | 199 | 269 | 235 | 116 | 874
| Compression Fitting: 15mm | 540 | 100 | 325 | 375 | 325 | 250 | 1375
| Compression Fitting: 20mm | 540 | 100 | 325 | 375 | 325 | 250 | 1375
| Compression Fitting: 25mm | 50 | 3 | 11 | 15 | 13 | 7 | 49
B1A.35 | Plumbing Fittings: 40mm | 180 | 11 | 41 | 55 | 48 | 24 | 179
B1A.36 | Plumbing Fittings: 50mm | 143 | 9 | 33 | 44 | 38 | 19 | 143
B1A.37 | Plumbing Fittings: 75mm | 18 | 1 | 4 | 6 | 5 | 2 | 18
B1A.38 | Plumbing Fittings: 100mm | 7 | 0 | 2 | 2 | 2 | 1 | 7
B1A.39 | Plumbing Fittings: 150mm | 3 | 0 | 1 | 1 | 1 | 0 | 3
B1A.40 | Plumbing Fittings: 200mm | 1 | 0 |  | 1 |  |  | 1
B1A.41 | Plumbing Fittings: 250mm | 1 | 0 |  |  | 1 |  | 1
B1A.42 | Minor Carpentry: All sizes | 15407 | 964 | 3509 | 4742 | 4145 | 2047 | 15407
B1A.43 | Normal Carpentry: 400mm x 475mm x 50mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.44 | Normal Carpentry: 400mm x 475mm x 100mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.45 | Normal Carpentry: 400mm x 475mm x 150mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.46 | Normal Carpentry: Plastic flat panel 300mm x 300mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.47 | Meter Pit Dewatering (Pumping): 40mm to 50mm | 8 | 1 | 2 | 2 | 2 | 1 | 8
B1A.48 | Meter Pit Dewatering (Pumping): 75mm and greater | 12 | 1 | 3 | 4 | 3 | 2 | 13
B1A.49 | Crawl Space Premium: 15mm to 25mm | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
B1A.50 | Confined Space: 40mm to 50mm | 11 | 1 | 3 | 3 | 3 | 1 | 11
B1A.51 | Confined Space: 75mm and greater | 22 | 1 | 5 | 7 | 6 | 3 | 22
B1A.52 | Line Freeze - Small Meter (15mm to 25mm) | 1101 | 69 | 251 | 339 | 296 | 146 | 1101
| Grounding Straps: 15mm to 25mm | 110045 | 6887 | 25062 | 33870 | 29608 | 14618 | 110045
| Programming AMI Radio Transmitter: All Sizes | 223575 | 13992 | 50917 | 68812 | 60154 | 29700 | 223575
| RF Signal Investigation: All Sizes | 11181.25 | 700 | 2546 | 3441 | 3008 | 1485 | 11180
| Meter Disposal Credit: 15mm to 25mm | 220090 | 13776 | 50124 | 67737 | 59217 | 29238 | 220092
| Meter Disposal Credit: 40mm to 50mm | 3220 | 202 | 733 | 990 | 866 | 429 | 3220
| Meter Disposal Credit: 75mm and greater | 265 | 17 | 60 | 81 | 72 | 38 | 268
Total Quantity: |  |  | 13995 | 50917 | 68808 | 60155 | 29705 | 223580

## B2 Optional
Utility: |  |  |  | City of Winnipeg
Proponent: |  |  |  | Vendor A
Project/RFP Number: |  |  |  | 795-2025_RFP - Water Meter Renewal and AMS Project
B2 - Optional Products, Services and Software
Note: Proponent to fill in all cells in blue. Proponent Proposed? Yes = Proposed option, No = Not Applicable
Item # | Acceptance Category | Description | Sub-Description | Unit of Measure | Base Qty (hide from bidders) | Proponent Proposed? | Quantity | Price | Extended
B2.1 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.2 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.3 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.4 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.5 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.6 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
B2.7 |  | Optional Proponent Products or Services |  | Each |  | Yes |  |  | 0
Total - B2 - Optional Products, Services and Software(CDN$) | [8 empty] | 0
Transfer the total for B2 - Optional Products, Services and Software to B Price Form Summary
Comments (Optional - blue cells do not have to be filled out)
B2.8
B2.9
B2.10
B2.11
B2.12
B2.13

## Sheet3 (hidden)
Mobilization
Supply and Install Equipment
Software
Mobilization
Support, Maintinance & Subscription
Supplied Equipment

## Sheet1 (hidden)
Yes
No

## Lookups (hidden)
Lookups
Yes
No