## FORM B - PRICES
FORM B: PRICES
(SEE B9)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
PART 1 CITY FUNDED WORK
| A | Day Street - Regent Avenue West to Kildare Avenue West, Major Rehabilitation
EARTH AND BASE WORKS
A010 | A.1 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 30 |  | 0
A012 | A.2 | Grading of Boulevards | CW 3110-R22 | m² | 1050 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | A.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 245 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 150 |  | 0
B004 | A.4 | Slab Replacement | CW 3230-R8, E20
B010 | i) | 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 90 |  | 0
B011 | ii) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 255 |  | 0
B017 | A.5 | Partial Slab Patches | CW 3230-R8, E20
B023 | i) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 70 |  | 0
B025 | ii) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B026 | iii) | 200 mm Type 1 Concrete Pavement (Type A) |  | m² | 30 |  | 0
B027 | iv) | 200 mm Type 1 Concrete Pavement (Type B) |  | m² | 105 |  | 0
B028 | v) | 200 mm Type 1 Concrete Pavement (Type C) |  | m² | 20 |  | 0
B029 | vi) | 200 mm Type 1 Concrete Pavement (Type D) |  | m² | 170 |  | 0
B034-24 | A.6 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8, E20
B040-24 | i) | 230 mm Type 3 Concrete Pavement (Plain-Dowelled) |  | m² | 25 |  | 0
B041-24 | ii) | 200 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 100 |  | 0
B047-24 | A.7 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8, E20
B053-24 | i) | 230 mm Type 3 Concrete Pavement (Type B) |  | m² | 30 |  | 0
B055-24 | ii) | 230 mm Type 3 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B057-24 | iii) | 200 mm Type 3 Concrete Pavement (Type B) |  | m² | 40 |  | 0
B059-24 | iv) | 200 mm Type 3 Concrete Pavement (Type D) |  | m² | 45 |  | 0
B094 | A.8 | Drilled Dowels | CW 3230-R8, E20
B095 | i) | 19.1 mm Diameter |  | each | 600 |  | 0
B096 | ii) | 28.6 mm Diameter |  | each | 160 |  | 0
B097 | A.9 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 260 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 885 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 255 |  | 0
B100r | A.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 370 |  | 0
B114C | A.11 | Type 1 Concrete Monolithic Curb and 100 mm Sidewalk with Block Outs (150 mm reveal ht) | E14 | m² | 380 |  | 0
B114E | A.12 | Paving Stone Indicator Surfaces (Charcoal Holland Paver - 60 mm x 105 mm x 210 mm) | E15 | m² | 45 |  | 0
B114E | A.13 | Paving Stone Indicator Surfaces (Natural Holland Paver - 60 mm x 210 mm x 210 mm) | E15 | m² | 5 |  | 0
| A.14 | Removal of Existing Paving Stones | E16 | m² | 15 |  | 0
B114rl | A.15 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 50 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 235 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 535 |  | 0
B124 | A.16 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | A.17 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125A | A.18 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B126r | A.19 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 500 |  | 0
B128r | ii) | Modified Barrier |  | m | 85 |  | 0
B132r | iii) | Curb Ramp |  | m | 200 |  | 0
B135i | A.20 | Concrete Curb Installation | CW 3240-R10
B136iA | i) | Type 1 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205 | m | 500 |  | 0
B139iA | ii) | Type 1 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 85 |  | 0
B150iA | iii) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 200 |  | 0
B190 | A.21 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E19
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 1080 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 175 |  | 0
B199 | A.22 | Construction of Asphalt Patches | CW 3410-R12, E19 | m² | 20 |  | 0
| A.23 | Asphalt Patching of Miscellaneous Concrete | E23 | m² | 900 |  | 0
B200 | A.24 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 6150 |  | 0
B202 | ii) | 50 - 100 mm Depth (Asphalt) |  | m² | 500 |  | 0
B206 | A.25 | Supply and Install Pavement Repair Fabric | CW 3140-R1, E13
B206A | i) | Type A |  | m² | 425 |  | 0
B219 | A.26 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 43 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | A.27 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C008 | i) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 245 |  | 0
JOINT AND CRACK SEALING
D005 | A.28 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 345 |  | 0
D006 | A.29 | Reflective Crack Maintenance | CW 3250-R7 | m | 1420 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.30 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E006 | A.31 | Catch Pit | CW 2130-R13
E007 | i) | SD-023 |  | each | 7 |  | 0
E008 | A.32 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 3 Backfill |  | m | 33 |  | 0
E017 | A.33 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R13
E017C | i) | 200 mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | A.34 | Sewer Inspection ( following repair) | CW 2145-R5
E022D | i) | 250 mm, PVC |  | m | 50 |  | 0
E023 | A.35 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 8 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 8 |  | 0
E028 | iii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 2 |  | 0
E029 | iv) | AP-012 - Barrier Curb and Gutter Cover |  | each | 2 |  | 0
E031C | v) | AP-018 - Modified Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E031D | vi) | AP-019 - Modified Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E034 | A.36 | Connecting to Existing Catch Basin | CW 2130-R13
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 7 |  | 0
E046 | A.37 | Removal of Existing Catch Basins | CW 2130-R13 | each | 4 |  | 0
ADJUSTMENTS
F001 | A.38 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 21 |  | 0
F002 | A.39 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 2 |  | 0
F003 | A.40 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 10 |  | 0
| A.41 | Supply and Installation of BellMTS Riser Ring | E36 | each | 10 |  | 0
F009 | A.42 | Adjustment of Valve Boxes | CW 3210-R8 | each | 6 |  | 0
F010 | A.43 | Valve Box Extensions | CW 3210-R8 | each | 7 |  | 0
F011 | A.44 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 4 |  | 0
F018 | A.45 | Curb Stop Extensions | CW 3210-R8 | each | 4 |  | 0
F013 | A.46 | Curb Inlet Frames | CW 3210-R8, E20 | each | 2 |  | 0
F014 | A.47 | Adjustment of Curb Inlet with New Inlet Box | CW 3210-R8, E20 | each | 2 |  | 0
LANDSCAPING
G001 | A.48 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 250 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 800 |  | 0
MISCELLANEOUS
| A.49 | Construction of Asphalt Speed Tables | E24 | each | 3 |  | 0
| A.50 | Tree Removal | E30 | each | 2 |  | 0
| A.51 | Tree Stump Removal | E30 | each | 2 |  | 0
| A.52 | Bench From Stockpile | E31 | each | 2 |  | 0
| A.53 | Table with Seating From Stockpile | E31 | each | 3 |  | 0
| A.54 | Waste Receptacle From Stockpile | E31 | each | 1 |  | 0
| A.55 | Planter From Stockpile | E31 | each | 3 |  | 0
| A | Day Street - Regent Avenue West to Kildare Avenue West, Major Rehabilitation |  |  |  | Subtotal: | 0
| B | Yale Avenue - Winona Street to Day Street, Asphalt Reconstruction
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R22 | m³ | 1940 |  | 0
A004 | B.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 3065 |  | 0
A007 | B.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A008A1 | i) | 100 mm Granular A Limestone |  | tonne | 2450 |  | 0
A010 | B.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 390 |  | 0
A012 | B.5 | Grading of Boulevards | CW 3110-R22 | m² | 2980 |  | 0
A022 | B.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 3065 |  | 0
A022A4 | B.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 3065 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | B.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 3005 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 50 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 155 |  | 0
B114rl | B.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 25 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 25 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 825 |  | 0
B124 | B.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | B.12 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125A | B.13 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B189 | B.14 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B206 | B.15 | Supply and Install Pavement Repair Fabric | CW 3140-R1, E13
B206A | i) | Type A |  | m² | 50 |  | 0
B219 | B.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | B.17 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 65 |  | 0
C008 | ii) | Construction of 200 mm Type 2 Concrete Pavement - (Reinforced) |  | m² | 295 |  | 0
C032 | B.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C037B | i) | Construction of Modified Barrier (180 mm ht, Type 2, Integral) | SD-203B | m | 110 |  | 0
C046 | ii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 75 |  | 0
| iii) | Construction of Concrete Barrier Curb and Reversed Gutter for Asphalt Pavement (180 mm reveal ht, Integral, 450 mm width, 150 mm Plain Type 2 Concrete Pavement, Slip Form Paving) | E22 | m | 565 |  | 0
| iv) | Construction of Type 2 Concrete Lip Curb for Asphalt Pavement (40 mm ht, 20M vertical Tie Bar with 10M longitudinal Deformed Bar and 19.1mm Dowel, Slip Form Paving) | E22 | m | 20 |  | 0
C051 | B.19 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5, E20, E25 | m² | 180 |  | 0
C055 | B.20 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E19
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 390 |  | 0
C058B | b) | Type MS2 |  | tonne | 500 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 20 |  | 0
JOINT AND CRACK SEALING
D006 | B.21 | Reflective Crack Maintenance | CW 3250-R7 | m | 680 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.22 | Catch Basin | CW 2130-R13, E20, E21
E004A | i) | SD-024, 1800 mm deep |  | each | 6 |  | 0
E008 | B.23 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 3 Bedding, Class 3 Backfill |  | m | 40 |  | 0
E023 | B.24 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 3 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 3 |  | 0
E036 | B.25 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm PVC Connecting Pipe
E041B | a) | Connecting to 250 mm Sewer |  | each | 2 |  | 0
E039 | b) | Connecting to 375 mm Sewer |  | each | 1 |  | 0
E046 | B.26 | Removal of Existing Catch Basins | CW 2130-R13 | each | 3 |  | 0
E047 | B.27 | Removal of Existing Catch Pit | CW 2130-R13 | each | 3 |  | 0
E051 | B.28 | Installation of Subdrains | CW 3120-R4, E20 | m | 72 |  | 0
ADJUSTMENTS
F001 | B.29 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 7 |  | 0
F002 | B.30 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.9 |  | 0
F003 | B.31 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 7 |  | 0
F009 | B.32 | Adjustment of Valve Boxes | CW 3210-R8 | each | 3 |  | 0
F010 | B.33 | Valve Box Extensions | CW 3210-R8 | each | 3 |  | 0
F011 | B.34 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F018 | B.35 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
LANDSCAPING
G001 | B.36 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 400 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2580 |  | 0
MISCELLANEOUS
| B.37 | Line Painting | E29 | m | 490 |  | 0
| B | Yale Avenue - Winona Street to Day Street, Asphalt Reconstruction |  |  |  | Subtotal: | 0
| C | Sunglow Road - Kildonan Meadow Drive to Dawnville Drive, Thin Bituminous Overlay
EARTH AND BASE WORKS
A012 | C.1 | Grading of Boulevards | CW 3110-R22 | m² | 855 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | C.2 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 125 |  | 0
B004 | C.3 | Slab Replacement | CW 3230-R8
B016 | i) | 150 mm Type 2 Concrete Pavement (Plain-Dowelled) |  | m² | 40 |  | 0
B017 | C.4 | Partial Slab Patches | CW 3230-R8, E20
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 130 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 30 |  | 0
B034-24 | C.5 | Slab Replacement - Early Opening (24 hour) | CW 3230-R8, E20
B044-24 | i) | 150 mm Type 3 Concrete Pavement (Reinforced) |  | m² | 25 |  | 0
B047-24 | C.6 | Partial Slab Patches - Early Opening (24 hour) | CW 3230-R8, E20
B061-24 | i) | 150 mm Type 3 Concrete Pavement (Type B) |  | m² | 30 |  | 0
B094 | C.7 | Drilled Dowels | CW 3230-R8, E20
B095 | i) | 19.1 mm Diameter |  | each | 200 |  | 0
B097 | C.8 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 375 |  | 0
B114rl | C.9 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 25 |  | 0
B124 | C.10 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | C.11 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125A | C.12 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B126r | C.13 | Concrete Curb Removal | CW 3240-R10
B128r | i) | Modified Barrier |  | m | 15 |  | 0
B131r | ii) | Lip Curb | SD-202C | m | 350 |  | 0
B132r | iii) | Curb Ramp |  | m | 10 |  | 0
B135i | C.14 | Concrete Curb Installation | CW 3240-R10
B139iA | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B149i | ii) | Type 2 Concrete Modified Lip Curb (40 mm reveal ht, Dowelled) | SD-202C | m | 20 |  | 0
B149iA | iii) | Type 2 Concrete Modified Lip Curb (75 mm reveal ht, Dowelled) | SD-202C | m | 330 |  | 0
B150iA | iv) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 10 |  | 0
B190 | C.15 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E19
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 300 |  | 0
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 30 |  | 0
B189 | C.16 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
JOINT AND CRACK SEALING
D006 | C.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 435 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | C.18 | Frames & Covers | CW 3210-R8
E031 | i) | AP-015 - Mountable Curb and Gutter Frame |  | each | 2 |  | 0
E031A | ii) | AP-016 - Mountable Curb and Gutter Cover |  | each | 2 |  | 0
ADJUSTMENTS
F001 | C.19 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 5 |  | 0
F002 | C.20 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0
F009 | C.21 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | C.22 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | C.23 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 155 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 700 |  | 0
| C | Sunglow Road - Kildonan Meadow Drive to Dawnville Drive, Thin Bituminous Overlay |  |  |  | Subtotal: | 0
| D | Barry Avenue - Plessis Road to Robson Street, Thin Bituminous Overlay
EARTH AND BASE WORKS
A012 | D.1 | Grading of Boulevards | CW 3110-R22 | m² | 1700 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | D.2 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 100 |  | 0
B004 | D.3 | Slab Replacement | CW 3230-R8, E20
B016 | i) | 150 mm Type 2 Concrete Pavement (Plain-Dowelled) |  | m² | 65 |  | 0
B017 | D.4 | Partial Slab Patches | CW 3230-R8, E20
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 5 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 110 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B094 | D.5 | Drilled Dowels | CW 3230-R8, E20
B095 | i) | 19.1 mm Diameter |  | each | 130 |  | 0
B097 | D.6 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 265 |  | 0
B107i | D.7 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 2 Concrete 100 mm Sidewalk | E20, E25 | m² | 15 |  | 0
B114rl | D.8 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 65 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 100 |  | 0
B124 | D.9 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | D.10 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125A | D.11 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B126r | D.12 | Concrete Curb Removal | CW 3240-R10
B128r | i) | Modified Barrier |  | m | 55 |  | 0
B132r | ii) | Curb Ramp |  | m | 20 |  | 0
B131r | iii) | Lip Curb | SD-202C | m | 380 |  | 0
B135i | D.13 | Concrete Curb Installation | CW 3240-R10
B139iA | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht, Dowelled) | SD-203B | m | 55 |  | 0
B149iA | ii) | Type 2 Concrete Modified Lip Curb (75 mm reveal ht, Dowelled) | SD-202C | m | 380 |  | 0
B150iA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 20 |  | 0
B190 | D.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E19
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 300 |  | 0
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 25 |  | 0
B189 | D.15 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B200 | D.16 | Planing of Pavement | CW 3450-R6
B203 | i) | 1 - 50 mm Depth (Concrete) |  | m² | 60 |  | 0
B219 | D.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
JOINT AND CRACK SEALING
D006 | D.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 410 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | D.19 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 1 |  | 0
E031 | iii) | AP-015 - Mountable Curb and Gutter Frame |  | each | 1 |  | 0
E031A | iv) | AP-016 - Mountable Curb and Gutter Cover |  | each | 1 |  | 0
ADJUSTMENTS
F001 | D.20 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
F002 | D.21 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 0.3 |  | 0
F003 | D.22 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 2 |  | 0
F009 | D.23 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | D.24 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | D.25 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 3 |  | 0
F018 | D.26 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
LANDSCAPING
G001 | D.27 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 250 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1450 |  | 0
| D | Barry Avenue - Plessis Road to Robson Street, Thin Bituminous Overlay |  |  |  | Subtotal: | 0
| E | Plessis Road/Rosseau Avenue West/Ravelston Avenue West/Brewster Street Alley, Asphalt Reconstruction
EARTH AND BASE WORKS
A003 | E.1 | Excavation | CW 3110-R22 | m³ | 955 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 1765 |  | 0
A007 | E.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A008A1 | i) | 100 mm Granular A Limestone |  | tonne | 1355 |  | 0
A010 | E.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 275 |  | 0
A012 | E.5 | Grading of Boulevards | CW 3110-R22 | m² | 250 |  | 0
A022 | E.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1765 |  | 0
A022A4 | E.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1765 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | E.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 1755 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 25 |  | 0
B097 | E.9 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 450 |  | 0
B114rl | E.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 15 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B126r | E.11 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 10 |  | 0
B132r | ii) | Curb Ramp |  | m | 15 |  | 0
B189 | E.12 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 25 |  | 0
B219 | E.13 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | E.14 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 335 |  | 0
C008 | ii) | Construction of 200 mm Type 2 Concrete Pavement - (Reinforced) |  | m² | 50 |  | 0
C032 | E.15 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C037B | i) | Construction of Modified Barrier (180 mm ht, Type 2, Integral) | SD-203B | m | 10 |  | 0
C046 | ii) | Construction of Curb Ramp (8-12 mm ht, Type 2, Integral) | SD-229C | m | 15 |  | 0
| iii) | Type 2 Concrete Mountable Lip Curb (75 mm reveal ht, 300mm Wide) | Contract Drawings | m | 200 |  | 0
C055 | E.16 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E19
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 210 |  | 0
C058B | b) | Type MS2 |  | tonne | 255 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 30 |  | 0
JOINT AND CRACK SEALING
D006 | E.17 | Reflective Crack Maintenance | CW 3250-R7 | m | 490 |  | 0
LANDSCAPING
G001 | E.18 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 100 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 150 |  | 0
| E | Plessis Road/Rosseau Avenue West/Ravelston Avenue West/Brewster Street Alley, Asphalt Reconstruction |  |  |  | Subtotal: | 0
| F | Day Street/Regent Avenue East/Melrose Avenue East/Kanata Street Alley, Rehabilitation
ROADWORK - REMOVALS/RENEWALS
B017 | F.1 | Partial Slab Patches | CW 3230-R8, E20
B031 | i) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 60 |  | 0
B032 | ii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B033 | iii) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 85 |  | 0
B094 | F.2 | Drilled Dowels | CW 3230-R8, E20
B095 | i) | 19.1 mm Diameter |  | each | 100 |  | 0
B097 | F.3 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 210 |  | 0
| F | Day Street/Regent Avenue East/Melrose Avenue East/Kanata Street Alley, Rehabilitation |  |  |  | Subtotal: | 0
| G | Sanford Fleming Road/Devonshire Drive/Whiteway Road/Clouston Drive Alley, Rehabilitation
EARTH AND BASE WORKS
A012 | G.1 | Grading of Boulevards | CW 3110-R22 | m² | 100 |  | 0
ROADWORK - REMOVALS/RENEWALS
B004 | G.2 | Slab Replacement | CW 3230-R8, E20
B016 | i) | 150 mm Type 2 Concrete Pavement (Plain-Dowelled) |  | m² | 195 |  | 0
B017 | G.3 | Partial Slab Patches | CW 3230-R8, E20
B030 | i) | 150 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B031 | ii) | 150 mm Type 2 Concrete Pavement (Type B) |  | m² | 175 |  | 0
B032 | iii) | 150 mm Type 2 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B033 | iv) | 150 mm Type 2 Concrete Pavement (Type D) |  | m² | 90 |  | 0
B094 | G.4 | Drilled Dowels | CW 3230-R8, E20
B095 | i) | 19.1 mm Diameter |  | each | 255 |  | 0
B097 | G.5 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 580 |  | 0
B114rl | G.6 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B126r | G.7 | Concrete Curb Removal | CW 3240-R10
B131r | i) | Lip Curb | SD-202C | m | 30 |  | 0
B132r | ii) | Curb Ramp |  | m | 10 |  | 0
B135i | G.8 | Concrete Curb Installation | CW 3240-R10
B139iB | i) | Type 2 Concrete Modified Barrier (180 mm reveal ht, Dowelled) | SD-203B | m | 30 |  | 0
B150i | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 10 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E023 | G.9 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 1 |  | 0
E026 | ii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
ADJUSTMENTS
F001 | G.10 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
LANDSCAPING
G001 | G.11 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 40 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 60 |  | 0
| G | Sanford Fleming Road/Devonshire Drive/Whiteway Road/Clouston Drive Alley, Rehabilitation |  |  |  | Subtotal: | 0
| H | Alley Surface Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement
EARTH AND BASE WORKS
A003 | H.1 | Excavation | CW 3110-R22 | m³ | 525 |  | 0
A004 | H.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 920 |  | 0
A007 | H.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007B3 | i) | 100 mm Granular A Limestone |  | tonne | 750 |  | 0
A010 | H.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 165 |  | 0
A012 | H.5 | Grading of Boulevards | CW 3110-R22 | m² | 300 |  | 0
A022 | H.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 920 |  | 0
A022A4 | H.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 920 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | H.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 160 |  | 0
B135i | H.9 | Concrete Curb Installation | CW 3240-R10
| i) | Type 2 Concrete Mountable Lip Curb (75 mm reveal ht, 300mm Wide) | Contract Drawings | m | 15 |  | 0
B097 | H.10 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 250 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | H.11 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 160 |  | 0
C055 | H.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E19
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 105 |  | 0
C058B | b) | Type MS2 |  | tonne | 130 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 10 |  | 0
JOINT AND CRACK SEALING
D006 | H.13 | Reflective Crack Maintenance | CW 3250-R7 | m | 350 |  | 0
LANDSCAPING
G001 | H.14 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 200 |  | 0
| H | Alley Surface Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement |  |  |  | Subtotal: | 0
| I | Alley City Funded Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement
EARTH AND BASE WORKS
A012 | I.1 | Grading of Boulevards | CW 3110-R22 | m² | 80 |  | 0
A010 | I.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 20 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | I.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 200 |  | 0
B097 | I.4 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B114rl | I.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B154rl | I.6 | Concrete Curb Renewal | CW 3240-R10
B168rlA | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht Integral) | SD-203B | m | 40 |  | 0
B184rl | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 35 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | I.7 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 200 |  | 0
B199 | I.8 | Construction of Asphalt Patches | CW 3410-R12, E19 | m² | 60 |  | 0
LANDSCAPING
G001 | I.9 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 40 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 40 |  | 0
| I | Alley City Funded Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement |  |  |  | Subtotal: | 0
| J | Alley Surface Works- Claremont Avenue/Kirkdale Street/Monck Avenue/St. Mary's Road (173 Monck Avenue) Local Improvement
EARTH AND BASE WORKS
A003 | J.1 | Excavation | CW 3110-R22 | m³ | 610 |  | 0
A004 | J.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 1070 |  | 0
A007 | J.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007B3 | i) | 100 mm Granular A Limestone |  | tonne | 870 |  | 0
A010 | J.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 170 |  | 0
A012 | J.5 | Grading of Boulevards | CW 3110-R22 | m² | 200 |  | 0
A022 | J.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 1070 |  | 0
A022A4 | J.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 1070 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | J.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 305 |  | 0
B135i | J.9 | Concrete Curb Installation | CW 3240-R10
| i) | Type 2 Concrete Mountable Lip Curb (75 mm reveal ht, 300mm Wide) | Contract Drawings | m | 75 |  | 0
B097 | J.10 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 250 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | J.11 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 305 |  | 0
C055 | J.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E19
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 110 |  | 0
C058B | b) | Type MS2 |  | tonne | 140 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 10 |  | 0
JOINT AND CRACK SEALING
D006 | J.13 | Reflective Crack Maintenance | CW 3250-R7 | m | 330 |  | 0
LANDSCAPING
G001 | J.14 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 150 |  | 0
| J | Alley Surface Works- Claremont Avenue/Kirkdale Street/Monck Avenue/St. Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| K | Alley City Funded Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement
EARTH AND BASE WORKS
A012 | K.1 | Grading of Boulevards | CW 3110-R22 | m² | 250 |  | 0
A010 | K.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 20 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | K.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 200 |  | 0
B097 | K.4 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B114rl | K.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B154rl | K.6 | Concrete Curb Renewal | CW 3240-R10
B168rlA | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht Integral) | SD-203B | m | 40 |  | 0
B178rl | ii) | Type 2 Concrete Curb and Gutter (40 mm reveal ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200
B178rl^2 | a) | 3 m to 30 m |  | m | 30 |  | 0
B184rl | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C,D | m | 20 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | K.7 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 200 |  | 0
B199 | K.8 | Construction of Asphalt Patches | CW 3410-R12, E19 | m² | 60 |  | 0
JOINT AND CRACK SEALING
D006 | K.9 | Reflective Crack Maintenance | CW 3250-R7 | m | 300 |  | 0
LANDSCAPING
G001 | K.10 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 200 |  | 0
| K | Alley City Funded Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| L | Alley LDS Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement
E003 | L.1 | Catch Basin | CW 2130-R13, E20
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
| L.2 | Land Drainage Sewers | CW 2130-R13
| i) | 250mm
| a) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 45 |  | 0
| L.3 | Sewer Inspection | CW 2145-R4
E022D | i) | 250 mm, PVC |  | m | 45 |  | 0
E036 | L.4 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm (PVC) Connecting Pipe
E041A | a) | Connecting to 600 mm (Concrete) Sewer |  | each | 1 |  | 0
| L | Alley LDS Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| M | Alley Surface Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement
EARTH AND BASE WORKS
A003 | M.1 | Excavation | CW 3110-R22 | m³ | 370 |  | 0
A004 | M.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 700 |  | 0
A007 | M.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A008A1 | i) | 100 mm Granular A Limestone |  | tonne | 520 |  | 0
A010 | M.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 125 |  | 0
A012 | M.5 | Grading of Boulevards | CW 3110-R22 | m² | 250 |  | 0
A022 | M.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 700 |  | 0
A022A4 | M.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 700 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | M.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 110 |  | 0
B135i | M.9 | Concrete Curb Installation | CW 3240-R10
| i) | Type 2 Concrete Mountable Lip Curb (75 mm reveal ht, 300mm Wide) | Contract Drawings | m | 35 |  | 0
B097 | M.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 150 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | M.11 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 110 |  | 0
C055 | M.12 | Construction of Asphaltic Concrete Pavements | CW 3410-R12, E19
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 80 |  | 0
C058B | b) | Type MS2 |  | tonne | 95 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 10 |  | 0
JOINT AND CRACK SEALING
D006 | M.13 | Reflective Crack Maintenance | CW 3250-R7 | m | 250 |  | 0
LANDSCAPING
G001 | M.14 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 200 |  | 0
| M | Alley Surface Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement |  |  |  | Subtotal: | 0
| N | Alley City Funded Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement
EARTH AND BASE WORKS
A012 | N.1 | Grading of Boulevards | CW 3110-R22 | m² | 50 |  | 0
A010 | N.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 10 |  | 0
ROADWORK - REMOVALS/RENEWALS
B001 | N.3 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 50 |  | 0
B097 | N.4 | Drilled Tie Bars | CW 3230-R8, E20
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B154rl | N.5 | Concrete Curb Renewal | CW 3240-R10
B168rlA | i) | Type 2 Concrete Modified Barrier (150 mm reveal ht Integral) | SD-203B | m | 40 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | N.6 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19, E20
C011 | i) | Construction of 150 mm Type 2 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
LANDSCAPING
G001 | N.7 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 50 |  | 0
| N | Alley City Funded Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement |  |  |  | Subtotal: | 0
| O | Winnipeg Transit Work
Audette Drive at George Marshall Way
A003 | O.1 | Excavation | CW 3110-R22 | m³ | 10 |  | 0
A010 | O.2 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 5 |  | 0
A012 | O.3 | Grading of Boulevards | CW 3110-R22 | m² | 30 |  | 0
B107i | O.4 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B113i | i) | Type 2 Concrete Monolithic Curb and Sidewalk | SD-228B | m² | 50 |  | 0
B114rl | O.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B126r | O.6 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 20 |  | 0
| O.7 | Transit Shelter Foundations (3.6 m x 1.8 m) | E26 | each | 2 |  | 0
Audette Drive at Edmund Gale Drive
A003 | O.8 | Excavation | CW 3110-R22 | m³ | 10 |  | 0
A010 | O.9 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 5 |  | 0
A012 | O.10 | Grading of Boulevards | CW 3110-R22 | m² | 90 |  | 0
B097 | O.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 50 |  | 0
B107i | O.12 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | E20, E25 | m² | 50 |  | 0
B114rl | O.13 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 2 Concrete Sidewalk | E20, E25
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B126r | O.14 | Concrete Curb Removal | CW 3240-R10
B132r | i) | Curb Ramp |  | m | 25 |  | 0
B135i | O.15 | Concrete Curb Installation | CW 3240-R10
B150iA | i) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 25 |  | 0
F009 | O.16 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
B219 | O.17 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 8 |  | 0
| O.18 | Transit Shelter Foundations (3.6 m x 1.8 m) | E26 | each | 2 |  | 0
Edmund Gale Drive at Kildare Avenue East
A003 | O.19 | Excavation | CW 3110-R22 | m³ | 6 |  | 0
A010 | O.20 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 5 |  | 0
A012 | O.21 | Grading of Boulevards | CW 3110-R22 | m² | 10 |  | 0
B107i | O.22 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B113i | i) | Type 2 Concrete Monolithic Curb and Sidewalk | SD-228B | m² | 35 |  | 0
B126r | O.23 | Concrete Curb Removal | CW 3240-R10
B131r | i) | Lip Curb | SD-202C | m | 10 |  | 0
B199 | O.24 | Construction of Asphalt Patches | CW 3410-R12, E19 | m² | 5 |  | 0
Transcona Boulevard at Edward Schreyer Parkway
A003 | O.25 | Excavation | CW 3110-R22 | m³ | 15 |  | 0
A010 | O.26 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 5 |  | 0
A012 | O.27 | Grading of Boulevards | CW 3110-R22 | m² | 100 |  | 0
B097 | O.28 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 40 |  | 0
B107i | O.29 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 1 Concrete 100 mm Sidewalk | E20, E25 | m² | 75 |  | 0
B114rl | O.30 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | E20, E25
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B126r | O.31 | Concrete Curb Removal | CW 3240-R10
B129r | i) | Curb and Gutter |  | m | 15 |  | 0
B135i | O.32 | Concrete Curb Installation | CW 3240-R10
B145i | i) | Type 1 Concrete Curb and Gutter (8-12 mm reveal ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 15 |  | 0
B219 | O.33 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 4 |  | 0
F009 | O.34 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
B199 | O.35 | Construction of Asphalt Patches | CW 3410-R12, E19 | m² | 10 |  | 0
| O.36 | Transit Shelter Foundations (3.6 m x 1.8 m) | E26 | each | 2 |  | 0
| O | Winnipeg Transit Work |  |  |  | Subtotal: | 0
| P | Water and Waste Work
Day Street - Regent Avenue West to Kildare Avenue West
S-MH40012465
| P.1 | Patching Existing Manholes | CW 2130-R13 | vert. m | 0.1 |  | 0
| P.2 | Manhole Inspection | CW 2145-R5 | each | 1 |  | 0
S-MH40012564
| P.3 | Patching Existing Manholes | CW 2130-R13 | vert. m | 0.4 |  | 0
| P.4 | Manhole Inspection | CW 2145-R5 | each | 1 |  | 0
S-MH40012567
| P.5 | Patching Existing Manholes | CW 2130-R13 | vert. m | 0.4 |  | 0
| P.6 | Manhole Inspection | CW 2145-R5 | each | 1 |  | 0
Yale Avenue - Winona Street to Day Street
E072 | P.7 | Watermain and Water Service Insulation | E17
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 210 |  | 0
S-MA40013766
E017 | P.8 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R13
E017C | i) | 200 mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | P.9 | Sewer Inspection ( following repair) | CW 2145-R5
E022D | i) | 250 mm, PVC |  | m | 90 |  | 0
S-MA40013769
E017 | P.10 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R13
E017C | i) | 200 mm
E017D | a) | Class 3 Backfill |  | each | 1 |  | 0
E022A | P.11 | Sewer Inspection ( following repair) | CW 2145-R5
E022D | i) | 250 mm, PVC |  | m | 98 |  | 0
| P | Water and Waste Work |  |  |  | Subtotal: | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D14.2-3, D15.4)
| Q | Yale Avenue West - Winona Street to Day Street, Street Lighting
| Q.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E37 | each | 8 |  | 0
| Q.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E37 | lin.m | 380 |  | 0
| Q.3 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E37 | lin.m | 50 |  | 0
| Q.4 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E37 | each | 10 |  | 0
| Q.5 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E37 | each | 4 |  | 0
| Q.6 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E37 | each | 1 |  | 0
| Q.7 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E37 | each | 1 |  | 0
| Q.8 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E37 | set | 10 |  | 0
| Q.9 | Splicing #4 Al C/N or 2 single conductor street light cables. | E37 | set | 10 |  | 0
| Q.10 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E37 | per span | 10 |  | 0
| Q.11 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E37 | per span | 10 |  | 0
| Q.12 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E37 | each | 1 |  | 0
| Q | Yale Avenue West - Winona Street to Day Street, Street Lighting |  |  |  | Subtotal: | 0
| R | Day Street - Regent Avenue West to Kildare Avenue West, Street Lighting
| R.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E37 | each | 4 |  | 0
| R.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E37 | lin.m | 50 |  | 0
| R.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E37 | each | 5 |  | 0
| R.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E37 | each | 1 |  | 0
| R.5 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E37 | set | 5 |  | 0
| R.6 | Splicing #4 Al C/N or 2 single conductor street light cables. | E37 | set | 5 |  | 0
| R | Day Street - Regent Avenue West to Kildare Avenue West, Street Lighting |  |  |  | Subtotal: | 0
| S | Mobilization/Demobilization
I001 | S.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| S | Mobilization/Demobilization |  |  |  | Subtotal: | 0
SUMMARY
PART 1 CITY FUNDED WORK
| A | Day Street - Regent Avenue West to Kildare Avenue West, Major Rehabilitation |  |  |  | Subtotal: | 0
| B | Yale Avenue - Winona Street to Day Street, Asphalt Reconstruction |  |  |  | Subtotal: | 0
| C | Sunglow Road - Kildonan Meadow Drive to Dawnville Drive, Thin Bituminous Overlay |  |  |  | Subtotal: | 0
| D | Barry Avenue - Plessis Road to Robson Street, Thin Bituminous Overlay |  |  |  | Subtotal: | 0
| E | Plessis Road/Rosseau Avenue West/Ravelston Avenue West/Brewster Street Alley, Asphalt Reconstruction |  |  |  | Subtotal: | 0
| F | Day Street/Regent Avenue East/Melrose Avenue East/Kanata Street Alley, Rehabilitation |  |  |  | Subtotal: | 0
| G | Sanford Fleming Road/Devonshire Drive/Whiteway Road/Clouston Drive Alley, Rehabilitation |  |  |  | Subtotal: | 0
| H | Alley Surface Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement |  |  |  | Subtotal: | 0
| I | Alley City Funded Works - Claremont Avenue/Monck Avenue (82 Claremont Av) Local Improvement |  |  |  | Subtotal: | 0
| J | Alley Surface Works- Claremont Avenue/Kirkdale Street/Monck Avenue/St. Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| K | Alley City Funded Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| L | Alley LDS Works - Claremont Avenue/Kirkdale Street/Monck Avenue/St Mary's Road (173 Monck Avenue) Local Improvement |  |  |  | Subtotal: | 0
| M | Alley Surface Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement |  |  |  | Subtotal: | 0
| N | Alley City Funded Works - Prosper Street/St. Catherine Street (568 Prosper Street) Local Improvement |  |  |  | Subtotal: | 0
| O | Winnipeg Transit Work |  |  |  | Subtotal: | 0
| P | Water and Waste Work |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 1 | 0
PART 2 MANITOBA HYDRO FUNDED WORK (See B10.6, B18.2.1, B19.6, D2.1, D14.2-3, D15.4)
| Q | Yale Avenue West - Winona Street to Day Street, Street Lighting |  |  |  | Subtotal: | 0
| R | Day Street - Regent Avenue West to Kildare Avenue West, Street Lighting |  |  |  | Subtotal: | 0
[6 empty] | (total price) PART 2 | 0
| S | Mobilization/Demobilization |  |  |  | Total: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0