## FORM B - PRICES
FORM B: PRICES (R1)
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| PART 1 | CITY FUNDED WORK
| A | ASPHALT REHABILITATION: CRESCENT DRIVE - PEMBINA HIGHWAY TO CRESCENT DRIVE PARK ENTRANCE
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 20 |  | 0
A004 | A.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 130 |  | 0
A010 | A.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 20 |  | 0
A012 | A.4 | Grading of Boulevards | CW 3110-R22 | m² | 2345 |  | 0
A022 | A.5 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 120 |  | 0
A022A4 | A.6 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 120 |  | 0
A024 | A.7 | Surfacing Material | CW 3150-R4
A025 | i) | Granular |  | tonne | 5 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.8 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 175 |  | 0
B100r | A.9 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 11 |  | 0
B107i | A.10 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 825 |  | 0
B114rl | A.11 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 40 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 145 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 60 |  | 0
B126r | A.12 | Concrete Curb Removal | CW 3240-R10
B128r | i) | Modified Barrier Separate |  | m | 38 |  | 0
B129r | ii) | Curb and Gutter |  | m | 9 |  | 0
B135i | A.13 | Concrete Curb Installation | CW 3240-R10
B143i | i) | Type 2 Concrete Curb and Gutter (100 mm reveal ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 54 |  | 0
B144i | ii) | Type 2 Concrete Curb and Gutter (40 mm reveal ht, Lip Curb, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 9 |  | 0
B145i | iii) | Type 2 Concrete Curb and Gutter (8-12 mm reveal ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 | m | 14 |  | 0
B150i | iv) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,C | m | 10 |  | 0
B154rl | A.14 | Concrete Curb Renewal | CW 3240-R10
B170rl | i) | Type 2 Concrete Curb and Gutter (100 mm reveal ht, Barrier, Integral, 600 mm width, 150 mm Plain Concrete Pavement) | SD-200
B170rlA1 | a) | Less than 3 m |  | m | 61 |  | 0
B170rlA2 | b) | 3 m to 30 m |  | m | 555 |  | 0
B170rl^3 | c) | Greater than 30 m |  | m | 385 |  | 0
| ii) | Type 2 Concrete Curb and Gutter Curb Ramp (8-12 mm reveal ht, Monolithic, 600 mm width, 150 mm Plain Concrete Pavement) |  | m | 20 |  | 0
| A.15 | Partial Depth Asphalt Pavement Repair | E13 | m2 | 1400 |  | 0
| A.16 | Full Depth Asphalt Pavement Repair | E13 | m2 | 2300 |  | 0
B190 | A.17 | Construction of Asphaltic Concrete Overlay | E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 1415 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 125 |  | 0
B195B | b) | Type MS2 |  | tonne | 40 |  | 0
B200 | A.18 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 8870 |  | 0
B219 | A.19 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 12 |  | 0
ROADWORKS - NEW CONSTRUCTION
| A.20 | Construction of Asphalt Speed Tables | SI-17, E34 | each | 4 |  | 0
JOINT AND CRACK SEALING
D006 | A.21 | Reflective Crack Maintenance | CW 3250-R7 | m | 445 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.22 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E007A | A.23 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 3 |  | 0
E008 | A.24 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 35 |  | 0
E022A | A.25 | Sewer Inspection (Pre Connection) | CW 2145-R5
E022H | i) | 600 mm, Concrete LDS |  | m | 50 |  | 0
E022I | ii) | 750 mm, Concrete LDS |  | m | 28 |  | 0
E022A | A.26 | Sewer Inspection (Post Connection) | CW 2145-R5
E022H | i) | 600 mm, Concrete LDS |  | m | 50 |  | 0
E022I | ii) | 750 mm, Concrete LDS |  | m | 28 |  | 0
E023 | A.27 | Frames & Covers | CW 3210-R8
E028 | i) | AP-011 - Barrier Curb and Gutter Frame |  | each | 1 |  | 0
E029 | ii) | AP-012 - Barrier Curb and Gutter Cover |  | each | 1 |  | 0
E032 | A.28 | Connecting to Existing Manhole | CW 2130-R13
E033 | i) | 250 mm Catch Basin Lead |  | each | 3 |  | 0
E034 | A.29 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | A.30 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm PVC Connecting Pipe
E041A | a) | Connecting to 600 mm Concrete Sewer |  | each | 4 |  | 0
E041B | b) | Connecting to 750 mm Concrete Sewer |  | each | 1 |  | 0
E044 | A.31 | Abandoning Existing Catch Basins | CW 2130-R13 | each | 2 |  | 0
E050 | A.32 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 1 |  | 0
E052s | A.33 | Corrugated Steel Pipe Culvert - Supply | CW 3610-R5
E053As | i) | (300 mm, Galvanized) |  | m | 6 |  | 0
E057i | A.34 | Corrugated Steel Pipe Culvert - Install | CW 3610-R5
E058Ai | i) | (300 mm, Galvanized) |  | m | 6 |  | 0
| A.35 | Manhole Inspections | CW2145 - R5 | each | 2 |  | 0
| A.36 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R13 | each | 4 |  | 0
ADJUSTMENTS
F001 | A.37 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 14 |  | 0
F003 | A.38 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 2 |  | 0
F009 | A.39 | Adjustment of Valve Boxes | CW 3210-R8 | each | 17 |  | 0
F010 | A.40 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | A.41 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 20 |  | 0
F015 | A.42 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 4 |  | 0
F018 | A.43 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F027 | A.44 | Barrier Curb and Gutter Riser Frame and Cover |  | each | 4 |  | 0
LANDSCAPING
G001 | A.45 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 60 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2285 |  | 0
MISCELLANEOUS
| A.46 | Pruning of Existing Trees and Shrubs | E27
| i) | Pruning of Existing Trees |  | each | 21 |  | 0
| A.47 | Tree Removal | E27 | each | 5 |  | 0
| A | ASPHALT REHABILITATION: CRESCENT DRIVE - PEMBINA HIGHWAY TO CRESCENT DRIVE PARK ENTRANCE |  |  |  | Subtotal: | 0
| B | ASPHALT REHABILITATION: BOSTON AVENUE - HUDSON STREET TO PEMBINA HIGHWAY
EARTH AND BASE WORKS
A012 | B.1 | Grading of Boulevards | CW 3110-R22 | m² | 835 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.2 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 55 |  | 0
B097 | B.3 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 10 |  | 0
B114rl | B.4 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 40 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 25 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 65 |  | 0
B124 | B.5 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 6 |  | 0
B126r | B.6 | Concrete Curb Removal | CW 3240-R10
B129r | i) | Curb and Gutter |  | m | 510 |  | 0
B135i | B.7 | Concrete Curb Installation | CW 3240-R10
B139i | i) | Type 2 Concrete Modified Barrier (125 mm reveal ht, Dowelled) | SD-203C | m | 11 |  | 0
B150i | ii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229C | m | 7 |  | 0
B154rl | B.8 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205, SD-206A | m | 6 |  | 0
B167rl | ii) | Type 2 Concrete Modified Barrier (125 mm reveal ht, Dowelled) | SD-203B | m | 4 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 4 |  | 0
B190 | B.9 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 430 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 10 |  | 0
B199 | B.10 | Full Depth Asphalt Pavement Repair | E13 | m² | 405 |  | 0
B200 | B.11 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 1180 |  | 0
B219 | B.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 1 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | B.13 | Concrete Pavements for Early Opening | CW 3310-R17
C029-72 | i) | Construction of 200 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 45 |  | 0
C032 | B.14 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
| i) | Construction of Type 2 Concrete Barrier Curb for Asphalt Pavement | SD-200A, E23 | m | 430 |  | 0
| ii) | Construction of Type 2 Concrete Lip Curb for Asphalt Pavement (40 mm ht, 20M vertical Tie Bar with 10M longitudinal Deformed Bar and 19.1mm Dowel) | SD-202D, E14 | m | 80 |  | 0
| iii) | Construction of Type 2 Concrete Integral Lip Curb for Asphalt Pavement (40 mm ht, 19.1 mm Dowel) | SD-202F, E14 | m | 20 |  | 0
JOINT AND CRACK SEALING
D006 | B.15 | Reflective Crack Maintenance | CW 3250-R7 | m | 120 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E007A | B.16 | Remove and Replace Existing Catch Basin | CW 2130-R12
E007B | i) | SD-024 |  | each | 1 |  | 0
E007D | B.17 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
E008 | B.18 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 7 |  | 0
E032 | B.19 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E034 | B.20 | Connecting to Existing Catch Basin | CW 2130-R12
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 1 |  | 0
| B.21 | Manhole Inspections | CW2145 - R5 | each | 1 |  | 0
ADJUSTMENTS
F001 | B.22 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 4 |  | 0
F003 | B.23 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 1 |  | 0
F009 | B.24 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | B.25 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | B.26 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | B.27 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | B.28 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 710 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 125 |  | 0
| B | ASPHALT REHABILITATION: BOSTON AVENUE - HUDSON STREET TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0
| C | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 1630 |  | 0
A004 | C.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 3195 |  | 0
| C.3 | Hauling and Placing Sub-base Material | E25
A007A1 | i) | 50 mm Granular B Recycled Concrete |  | tonne | 2445 |  | 0
A010 | C.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 270 |  | 0
A010C1 | ii) | Base Course Material - Granular C Limestone |  | m³ | 50 |  | 0
A012 | C.5 | Grading of Boulevards | CW 3110-R22 | m² | 1860 |  | 0
A022 | C.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 2615 |  | 0
A022A4 | C.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 2615 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 2580 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 65 |  | 0
B097 | C.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 55 |  | 0
B114rl | C.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 15 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 15 |  | 0
B124 | C.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B154rl | C.12 | Concrete Curb Renewal | CW 3240-R10
B174rl | i) | Type 2 Concrete Curb and Gutter (150 mm reveal ht, Modified Barrier, Integral, - 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B
B174rlA | a) | 3 m to 30 m |  | m | 20 |  | 0
B189 | C.13 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 125 |  | 0
B200 | C.14 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 55 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | C.15 | Concrete Pavements for Early Opening | CW 3310-R17
C029-72 | i) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 580 |  | 0
C032 | C.16 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19, E23
| i) | Construction of Concrete Barrier Curb for Asphalt Pavement (150 mm reveal ht Separate, 150 mm Plain Type 2 Concrete Pavement, 20M vertical Tie Bar with 2-10M longitudinal Deformed Bars and 2-19.1mm Dowels, Slip Form Paving) | SD-200A, E23 | m | 380 |  | 0
| ii) | Construction of Type 2 Concrete Modified Barrier Curb for Asphalt Pavement (150 mm ht, 20M vertical Tie Bar with 2-10M longitudinal Deformed Bars and 2-19.1mm Dowels) | SD-203C, E23 | m | 50 |  | 0
C044 | iii) | Construction of Type 2 Concrete Lip Curb for Asphalt Pavement (40 mm ht) | SD-202F, E23 | m | 180 |  | 0
C052 | C.17 | Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
C055 | C.18 | Construction of Asphaltic Concrete Pavements | E24
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 405 |  | 0
C058B | b) | Type MS2 |  | tonne | 405 |  | 0
JOINT AND CRACK SEALING
D006 | C.19 | Reflective Crack Maintenance | CW 3250-R7 | m | 155 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.20 | Catch Basin | CW 2130-R13
E004 | i) | SD-024, 1200 mm deep |  | each | 6 |  | 0
E008 | C.21 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 75 |  | 0
E022A | C.22 | Sewer Inspection (Pre Connection) | CW 2145-R5
E022D | i) | 250 mm, Concrete LDS |  | m | 16 |  | 0
E022A | C.23 | Sewer Inspection (Post Connection) | CW 2145-R5
E022D | i) | 250 mm, Concrete LDS |  | m | 16 |  | 0
E022D | ii) | 250 mm, PVC Lead |  | m | 33 |  | 0
E032 | C.24 | Connecting to Existing Manhole | CW 2130-R12
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | C.25 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm PVC Connecting Pipe
E041B | a) | Connecting to 250 Concrete LDS Sewer |  | each | 2 |  | 0
E044 | C.26 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 3 |  | 0
E046 | C.27 | Removal of Existing Catch Basins | CW 2130-R13 | each | 1 |  | 0
E051 | C.28 | Installation of Subdrains | CW 3120-R4 | m | 72 |  | 0
E072 | C.29 | Watermain and Water Service Insulation | E20
| i) | Pipe Under Roadway Excavation | SD-018 | m² | 500 |  | 0
| C.30 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R13 | each | 4 |  | 0
| C.31 | Sewers - LDS | CW 2130 – R13
| i) | 250mm PVC SDR-25
| a) | Trenchless installation, Class B Type 3 bedding, Class 4 backfill |  | m | 35 |  | 0
| C.32 | Manholes | CW 2130 – R13
| i) | SD-010
| a) | 1200mm Diam |  | vert.m | 1.3 |  | 0
ADJUSTMENTS
F001 | C.33 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 6 |  | 0
F003 | C.34 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
| iii) | C&G inlet frame riser ring |  | each | 6 |  | 0
F009 | C.35 | Adjustment of Valve Boxes | CW 3210-R8 | each | 4 |  | 0
F010 | C.36 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | C.37 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 3 |  | 0
F018 | C.38 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | C.39 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 25 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 1860 |  | 0
| C.40 | Pruning of Existing Trees and Shrubs | E27
| i) | Pruning of Existing Trees |  | each | 3 |  | 0
| ii) | Pruning of Existing Shrubs |  | lin.m | 12 |  | 0
MISCELLANEOUS
| C.41 | Tree Removal | E27 | each | 1 |  | 0
| C | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE |  |  |  | Subtotal: | 0
| D | ASPHALT RECONSTRUCTION: KENNETH STREET - DOWKER AVENUE TO END
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R22 | m³ | 480 |  | 0
A004 | D.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 925 |  | 0
A007 | D.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007B2 | i) | 50 mm Granular B Recycled Concrete |  | tonne | 750 |  | 0
A010 | D.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 85 |  | 0
A010C3 | ii) | Base Course Material - Granular C |  | m³ | 15 |  | 0
A012 | D.5 | Grading of Boulevards | CW 3110-R22 | m² | 540 |  | 0
A022 | D.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 755 |  | 0
A022A4 | D.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 755 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 100 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 775 |  | 0
B097 | D.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 30 |  | 0
B114rl | D.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 20 |  | 0
B154rl | D.11 | Concrete Curb Renewal | CW 3240-R10
B174rlA | i) | Type 2 Concrete Curb and Gutter (150 mm reveal ht, Modified Barrier, Integral, - 600 mm width, 150 mm Plain Concrete Pavement) | SD-200 SD-203B
B174rlA | a) | 3 m to 30 m |  | m | 10 |  | 0
ROADWORKS - NEW CONSTRUCTION
C019 | D.12 | Concrete Pavements for Early Opening | CW 3310-R17,
C029-72 | i) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 185 |  | 0
C032 | D.13 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
| i) | Construction of Concrete Barrier Curb for Asphalt Pavement (150 mm reveal ht, Separate, 150 mm Plain Type 2 Concrete Pavement, 20M vertical Tie Bar with 2-10M longitudinal Deformed Bars and 2-19.1mm Dowels, Slip Form Paving) | SD-200A | m | 120 |  | 0
| ii) | Construction of Lip Curb with integral approach for Asph pvmt (40 mm ht, Type 2, Integral) | SD-202F | m | 50 |  | 0
C055 | D.14 | Construction of Asphaltic Concrete Pavements | E24
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 115 |  | 0
C058B | b) | Type MS2 |  | tonne | 115 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 6 |  | 0
JOINT AND CRACK SEALING
D006 | D.15 | Reflective Crack Maintenance | CW 3250-R7 | m | 45 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.16 | Catch Basin | CW 2130-R13
E004 | i) | SD-024, 1200 mm deep |  | each | 2 |  | 0
E008 | D.17 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 23 |  | 0
E051 | D.18 | Installation of Subdrains | CW 3120-R4 | m | 48 |  | 0
E072 | D.19 | Watermain and Water Service Insulation | E20
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 100 |  | 0
| D.20 | Patching Existing Manholes | CW2130 - R12 | vert. m | 0.9 |  | 0
| D.21 | Manhole Inspections | CW2145 - R5 | each | 1 |  | 0
| D.22 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R13 | each | 8 |  | 0
ADJUSTMENTS
F009 | D.23 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | D.24 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | D.25 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F018 | D.26 | Curb Stop Extensions | CW 3210-R8 | each | 3 |  | 0
LANDSCAPING
G001 | D.27 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 10 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 530 |  | 0
| D | ASPHALT RECONSTRUCTION: KENNETH STREET - DOWKER AVENUE TO END |  |  |  | Subtotal: | 0
| E | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET
EARTH AND BASE WORKS
A003 | E.1 | Excavation | CW 3110-R22 | m³ | 2405 |  | 0
A004 | E.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 6355 |  | 0
| E.3 | Hauling and Placing Sub-base Material | E25
| i) | 50 mm Granular B Recycled Concrete |  | tonne | 5935 |  | 0
A010 | E.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 650 |  | 0
A012 | E.5 | Grading of Boulevards | CW 3110-R22 | m² | 2375 |  | 0
A022 | E.6 | Geotextile Fabric | CW 3130-R5
A022A2 | i) | Separation/Filtration Fabric |  | m² | 6075 |  | 0
A022A4 | E.7 | Supply and Install Geogrid | CW 3135-R2
A022A5 | i) | Class A Geogrid |  | m² | 6075 |  | 0
A023 | E.8 | Preparation of Existing Roadway | CW 3150-R4 | m² | 120 |  | 0
A024 | E.9 | Surfacing Material | CW 3150-R4
A026 | i) | Limestone |  | tonne | 17 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | E.10 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 5800 |  | 0
B097 | E.11 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 50 |  | 0
B114rl | E.12 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 30 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 70 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 700 |  | 0
B124 | E.13 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | E.14 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 8 |  | 0
B129r | ii) | Curb and Gutter |  | m | 5 |  | 0
B135i | E.15 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 2 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rlA2 | a) | 3 m to 30 m |  | m | 10 |  | 0
B189 | E.16 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 10 |  | 0
B190 | E.17 | Construction of Asphaltic Concrete Overlay | E24
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 35 |  | 0
B200 | E.18 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 180 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | E.19 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C008 | i) | Construction of 200 mm Type 2 Concrete Pavement - (Reinforced) |  | m² | 88 |  | 0
C011 | E.20 | Concrete Pavements for Early Opening | CW 3310-R19
C019 | i) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 350 |  | 0
C029-72 | E.21 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C036 | i) | Construction of Modified Barrier (150 mm ht, Type 2 Dowelled) | SD-203B | m | 20 |  | 0
C038A | ii) | Construction of Curb and Gutter (150 mm ht, Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement, Slip Form Paving) | SD-200 | m | 91 |  | 0
| iii) | Construction of Type 2 Concrete Modified Barrier Curb for Asphalt Pavement (150 mm ht, 20M vertical Tie Bar with 2-10M longitudinal Deformed Bars and 2-19.1mm Dowels) | SD-203D, E23 | m | 125 |  | 0
| iv) | Construction of Concrete Barrier Curb and Reversed Gutter for Asphalt Pavement (150 mm reveal ht, Integral, 450 mm width, 150 mm Plain Type 2 Concrete Pavement, Slip Form Paving) | SD-200B, E23 | m | 810 |  | 0
| v) | Construction of Lip Curb with Integral Approach for Asphalt Pavement (40 mm ht, Type 2, Integral) | SD-202F, E23 | m | 150 |  | 0
| vi) | Construction of Type 2 Concrete Curb Ramp for Asphalt Pavement (8-12mm ht, 20M vertical Tie Bar with 10M longitudinal Deformed Bar and 19.1mm Dowel) | SD-229F, E23 | m | 35 |  | 0
C055 | E.22 | Construction of Asphaltic Concrete Pavements | E24
C056 | i) | Main Line Paving
C058A | a) | Type MS1 |  | tonne | 770 |  | 0
C058B | b) | Type MS2 |  | tonne | 770 |  | 0
C059 | ii) | Tie-ins and Approaches
C060A | a) | Type MS1 |  | tonne | 75 |  | 0
C060B | b) | Type MS2 |  | tonne | 75 |  | 0
JOINT AND CRACK SEALING
D006 | E.23 | Reflective Crack Maintenance | CW 3250-R7 | m | 335 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | E.24 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 4 |  | 0
E005A | ii) | SD-025, 1800 mm deep |  | each | 2 |  | 0
E007D | E.25 | Remove and Replace Existing Catch Pit | CW 2130-R12
E007E | i) | SD-023 |  | each | 1 |  | 0
E008 | E.26 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 33 |  | 0
E023 | E.27 | Frames & Covers | CW 3210-R8
E025 | i) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 5 |  | 0
E028 | ii) | AP-011 - Barrier Curb and Gutter Frame |  | each | 8 |  | 0
E029 | iii) | AP-012 - Barrier Curb and Gutter Cover |  | each | 8 |  | 0
| iv) | TF-100 F&G |  | each | 1 |  | 0
E034 | E.28 | Connecting to Existing Catch Basin | CW 2130-R13
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 4 |  | 0
E036 | E.29 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 PVC Connecting Pipe
E041 | a) | Connecting to 525 mm Concrete Sewer |  | each | 9 |  | 0
E044 | E.30 | Abandoning Existing Catch Basins | CW 2130-R12 | each | 11 |  | 0
E045 | E.31 | Abandoning Existing Catch Pit | CW 2130-R12 | each | 4 |  | 0
E047 | E.32 | Removal of Existing Catch Pit | CW 2130-R12 | each | 1 |  | 0
E050 | E.33 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 1 |  | 0
E051 | E.34 | Installation of Subdrains | CW 3120-R4 | m | 168 |  | 0
E072 | E.35 | Watermain and Water Service Insulation | E20
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 815 |  | 0
| E.36 | Plugging Existing Sewers and Sewer Services Smaller Than 300mm | CW 2130-R13 | each | 12 |  | 0
| E.37 | Supply and Install SD-221 Curb Inlet with Catchbasin in Boulevard | SD-221 | each | 5 |  | 0
| E.38 | Supply and Install SD-222 Curb Inlet with Catchbasin in Boulevard | SD-222 | each | 1 |  | 0
| E.39 | Water Service Replacement | CW2110 - R13
| i) | 19mm
| a) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 12 |  | 0
| E.40 | Curb Stops - Replace Existing | CW2110 - R13
| i) | 19mm |  | each | 1 |  | 0
| E.41 | Curb Stop Boxes - Replace Existing | CW2110 - R13
| i) | 19mm |  | each | 1 |  | 0
| E.42 | 10.9 Kilogram Sacrificial Zinc Anodes | CW2110 - R13
| i) | On Water Services |  | each | 1 |  | 0
ADJUSTMENTS
F001 | E.43 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 17 |  | 0
F002 | E.44 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | E.45 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 15 |  | 0
F009 | E.46 | Adjustment of Valve Boxes | CW 3210-R8 | each | 8 |  | 0
F010 | E.47 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | E.48 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 30 |  | 0
F018 | E.49 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
| E.50 | Barrier Curb and Gutter Riser Frame and Cover |  | each | 14 |  | 0
LANDSCAPING
G001 | E.51 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 10 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2490 |  | 0
| E.52 | Pruning of Existing Shrubs | E27
| i) | Pruning of Existing Shrubs |  | lin.m | 38 |  | 0
| E | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET |  |  |  | Subtotal: | 0
| F | MAJOR REHABILITATION: WATERBURY DRIVE - LINDENWOOD DRIVE EAST TO LINDENWOOD DRIVE EAST
EARTH AND BASE WORKS
A012 | F.1 | Grading of Boulevards | CW 3110-R22 | m² | 2105 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | F.2 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 10 |  | 0
B004 | F.3 | Slab Replacement | CW 3230-R8
B014 | i) | 150 mm Type 4 Concrete Pavement (Reinforced) |  | m² | 50 |  | 0
B017 | F.4 | Partial Slab Patches | CW 3230-R8
B090-72 | i) | 150 mm Type 4 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B091-72 | ii) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B092-72 | iii) | 150 mm Type 4 Concrete Pavement (Type C) |  | m² | 10 |  | 0
B093A | F.5 | Partial Depth Planing of Existing Joints | E17 | m² | 10 |  | 0
B093B | F.6 | Asphalt Patching of Partial Depth Joints | E17 | m² | 10 |  | 0
B097 | F.7 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 15 |  | 0
B114rl | F.8 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 35 |  | 0
B126r | F.9 | Concrete Curb Removal | CW 3240-R10
B127rB | i) | Barrier Separate |  | m | 120 |  | 0
| ii) | Concrete Curb Removal - Mountable Curb (Removed by Planing) | E15 | m | 955 |  | 0
B135i | F.10 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 2 Concrete Barrier (100 mm reveal ht, Dowelled, Slip Form Paved) | SD-205 | m | 775 |  | 0
B139i | ii) | Type 2 Concrete Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 120 |  | 0
B147i | iii) | Type 2 Concrete Lip Curb (75 mm reveal ht, Dowelled) | SD-202A | m | 180 |  | 0
B150i | iv) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Integral) | SD-229A,B,C | m | 5 |  | 0
B154rl | F.11 | Concrete Curb Renewal | CW 3240-R10
B184rlA | i) | Type 5 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 17 |  | 0
B189 | F.12 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 65 |  | 0
B190 | F.13 | Construction of Asphaltic Concrete Overlay | E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 550 |  | 0
B193B | b) | Type MS2 |  | tonne | 550 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 45 |  | 0
B195B | b) | Type MS2 |  | tonne | 35 |  | 0
B200 | F.14 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 95 |  | 0
B206 | F.15 | Supply and Install Pavement Repair Fabric | CW 3140-R1
B206A | i) | Type A |  | m² | 4800 |  | 0
B219 | F.16 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 5 |  | 0
| F.17 | Construction of 150 mm Type 4 Concrete Pavement (Reinforced) - Stamped Concrete Approach | E26 | m² | 35 |  | 0
JOINT AND CRACK SEALING
D006 | F.18 | Reflective Crack Maintenance | CW 3250-R7 | m | 360 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | F.19 | Catch Basin | CW 2130-R12
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E008 | F.20 | Sewer Service | CW 2130-R12
E009 | i) | 250 mm, PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 9 |  | 0
E022A | F.21 | Sewer Inspection (Pre Connection) | CW 2145-R5
E022E | i) | 300 mm, Concrete LDS |  | m | 20 |  | 0
E022A | F.22 | Sewer Inspection (Post Connection) | CW 2145-R5
E022E | i) | 300 mm, Concrete LDS |  | m | 20 |  | 0
E023 | F.23 | Frames & Covers | CW 3210-R8
E028 | i) | AP-011 - Barrier Curb and Gutter Frame |  | each | 8 |  | 0
E029 | ii) | AP-012 - Barrier Curb and Gutter Cover |  | each | 8 |  | 0
| iii) | TF-100 F&G |  | each | 3 |  | 0
E036 | F.24 | Connecting to Existing Sewer | CW 2130-R12
E037 | i) | 250 mm PVC Connecting Pipe
E038 | a) | Connecting to 300 mm Concrete LDS |  | each | 1 |  | 0
E050A | F.25 | Catch Basin Cleaning | CW 2140-R5 | each | 3 |  | 0
| F.26 | Removal of Existing Mountable F&C |  | each | 10 |  | 0
ADJUSTMENTS
F001 | F.27 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 14 |  | 0
F003 | F.28 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 4 |  | 0
F009 | F.29 | Adjustment of Valve Boxes | CW 3210-R8 | each | 2 |  | 0
F010 | F.30 | Valve Box Extensions | CW 3210-R8 | each | 1 |  | 0
F011 | F.31 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 10 |  | 0
F018 | F.32 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
| F.33 | Square Concrete C&G Riser
| i) | 38 mm |  | each | 10 |  | 0
LANDSCAPING
G001 | F.34 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 10 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 2100 |  | 0
| F | MAJOR REHABILITATION: WATERBURY DRIVE - LINDENWOOD DRIVE EAST TO LINDENWOOD DRIVE EAST |  |  |  | Subtotal: | 0
| G | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 371 TO 419
ROADWORKS - REMOVALS/RENEWALS
B001 | G.1 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 40 |  | 0
B017 | G.2 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B093A | G.3 | Partial Depth Planing of Existing Joints | E17 | m² | 50 |  | 0
B093B | G.4 | Asphalt Patching of Partial Depth Joints | E17 | m² | 50 |  | 0
B114rl | G.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B154rl | G.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl | a) | Less than 3 m |  | m | 10 |  | 0
B169rl | ii) | Type 2 Concrete Mountable Curb (50 mm reveal ht Integral) | SD-201 | m | 10 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 7 |  | 0
B190 | G.7 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 145 |  | 0
ADJUSTMENTS
F001 | G.8 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
| G | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 371 TO 419 |  |  |  | Subtotal: | 0
| H | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 364 TO 412
ROADWORKS - REMOVALS/RENEWALS
B001 | H.1 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 90 |  | 0
B017 | H.2 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B093A | H.3 | Partial Depth Planing of Existing Joints | E17 | m² | 56 |  | 0
B093B | H.4 | Asphalt Patching of Partial Depth Joints | E17 | m² | 56 |  | 0
B114rl | H.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B154rl | H.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205
B155rl | a) | Less than 3 m |  | m | 10 |  | 0
B169rl | ii) | Type 2 Concrete Mountable Curb (50 mm reveal ht Integral) | SD-201 | m | 10 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 7 |  | 0
B190 | H.7 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 165 |  | 0
ADJUSTMENTS
F001 | H.8 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
| H | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 364 TO 412 |  |  |  | Subtotal: | 0
| I | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 348 TO 308
ROADWORKS - REMOVALS/RENEWALS
B001 | I.1 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 60 |  | 0
B017 | I.2 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B093A | I.3 | Partial Depth Planing of Existing Joints | E17 | m² | 45 |  | 0
B093B | I.4 | Asphalt Patching of Partial Depth Joints | E17 | m² | 45 |  | 0
B114rl | I.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B154rl | I.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205
B155rl | a) | Less than 3 m |  | m | 10 |  | 0
B169rl | ii) | Type 2 Concrete Mountable Curb (50 mm reveal ht Integral) | SD-201 | m | 10 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 7 |  | 0
B190 | I.7 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 140 |  | 0
ADJUSTMENTS
F001 | I.8 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
| I | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 348 TO 308 |  |  |  | Subtotal: | 0
| J | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 751 TO 787
ROADWORKS - REMOVALS/RENEWALS
B001 | J.1 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 250 |  | 0
B017 | J.2 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B093A | J.3 | Partial Depth Planing of Existing Joints | E17 | m² | 100 |  | 0
B093B | J.4 | Asphalt Patching of Partial Depth Joints | E17 | m² | 100 |  | 0
B114rl | J.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B154rl | J.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205
B155rl | a) | Less than 3 m |  | m | 10 |  | 0
B169rl | ii) | Type 2 Concrete Mountable Curb (50 mm reveal ht Integral) | SD-201 | m | 10 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 7 |  | 0
B190 | J.7 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 95 |  | 0
ADJUSTMENTS
F001 | J.8 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 1 |  | 0
| J | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 751 TO 787 |  |  |  | Subtotal: | 0
| K | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 795 TO 839
ROADWORKS - REMOVALS/RENEWALS
B001 | K.1 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 210 |  | 0
B017 | K.2 | Partial Slab Patches | CW 3230-R8
B026 | i) | 200 mm Type 2 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B093A | K.3 | Partial Depth Planing of Existing Joints | E17 | m² | 45 |  | 0
B093B | K.4 | Asphalt Patching of Partial Depth Joints | E17 | m² | 45 |  | 0
B114rl | K.5 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 10 |  | 0
B154rl | K.6 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 2 Concrete Barrier (125 mm reveal ht, Dowelled) | SD-205
B155rl | a) | Less than 3 m |  | m | 10 |  | 0
B169rl | ii) | Type 2 Concrete Mountable Curb (50 mm reveal ht Integral) | SD-201 | m | 10 |  | 0
B184rlA | iii) | Type 2 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 7 |  | 0
B185rlC | iv) | Type 2 Concrete Splash Strip (150 mm reveal ht, Monolithic Modified Barrier Curb, 750 mm width) | SD-223A, SD-203B | m | 3 |  | 0
B190 | K.7 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 125 |  | 0
ADJUSTMENTS
F001 | K.8 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 2 |  | 0
| K | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 795 TO 839 |  |  |  | Subtotal: | 0
| PART 2 | TRANSIT IMPROVEMENTS
| L | CRESCENT DRIVE BUS PLATFORMS
EARTH AND BASE WORKS
A003 | L.1 | Excavation | CW 3110-R22 | m³ | 20 |  | 0
A012 | L.2 | Grading of Boulevards | CW 3110-R22 | m² | 25 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B100r | L.3 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 45 |  | 0
B107i | L.4 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 123 |  | 0
LANDSCAPING
G001 | L.5 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 25 |  | 0
| L | CRESCENT DRIVE BUS PLATFORMS |  |  |  | Subtotal: | 0
| M | CRESCENT DRIVE BUFFERED BIKE LANE BUS STOP
EARTH AND BASE WORKS
A003 | M.1 | Excavation | CW 3110-R22 | m³ | 20 |  | 0
A004 | M.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 100 |  | 0
A007 | M.3 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 25 |  | 0
A010 | M.4 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 6 |  | 0
A012 | M.5 | Grading of Boulevards | CW 3110-R22 | m² | 27 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | M.6 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 80 |  | 0
B100r | M.7 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 6 |  | 0
B107i | M.8 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B112i | i) | Type 2 Concrete Bullnose | SD-227C | m² | 1 |  | 0
B135i | M.9 | Concrete Curb Installation | CW 3240-R10
| i) | Construction of Type 2 Concrete Barrier Curb for Asphalt Pavement | SD-200A, E33 | m | 40 |  | 0
| ii) | Construction of Type 2 Concrete Barrier Curb and Reversed Gutter for Asphalt Pavement (150 mm reveal ht, Integral, 450 mm width) | SD-200B, E33 | m | 32 |  | 0
B190 | M.10 | Construction of Asphaltic Concrete Overlay | E24
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 15 |  | 0
B219 | M.11 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
ROADWORKS - NEW CONSTRUCTION
C051 | M.12 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 50 |  | 0
C052 | M.13 | Interlocking Paving Stones | CW 3330-R5 | m² | 50 |  | 0
C054 | M.14 | Lean Concrete Base | CW 3335-R1 | m² | 50 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | M.15 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 1 |  | 0
E006 | M.16 | Catch Pit | CW 2130-R13
E007 | i) | SD-023 |  | each | 1 |  | 0
E008 | M.17 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm PVC
E011 | a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 12 |  | 0
E022A | M.18 | Sewer Inspection (Pre Connection) | CW 2145-R5
E022I | i) | 750 mm, Concrete |  | m | 34 |  | 0
E022A | M.19 | Sewer Inspection (Post Connection) | CW 2145-R5
E022I | i) | 750 mm, Concrete |  | m | 34 |  | 0
E036 | M.20 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm PVC Connecting Pipe
E041B | a) | Connecting to 750 mm Concrete Sewer |  | each | 1 |  | 0
E051 | M.21 | Installation of Subdrains | CW 3120-R4 | m | 12 |  | 0
LANDSCAPING
G001 | M.22 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 27 |  | 0
MISCELLANEOUS
| M.23 | Directional Tactile Strip |  | m² | 4 |  | 0
| M | CRESCENT DRIVE BUFFERED BIKE LANE BUS STOP |  |  |  | Subtotal: | 0
| PART 3 | WATER AND WASTE FUNDED WORK
| N | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| N.1 | Sewer Repair - Up to 3.0 metres Long (SD-022A) | CW 2130 – R13
| i) | 375mm Clay CS - (Reconect 1 Service)
| a) | Class B Type 3 bedding, Class 3 backfill |  | each | 1 |  | 0
| ii) | 375mm Clay CS - (Reconect 2 Service)
| a) | Class B Type 3 bedding, Class 3 backfill |  | each | 1 |  | 0
| iii) | 450mm Clay CS - (Reconect 1 Service)
| a) | Class B Type 3 bedding, Class 3 backfill |  | each | 1 |  | 0
| N.2 | Sewer Repair – In Addition to First 3.0 metres (SD-022B) | CW 2130 – R13
| i) | 375mm Clay CS
| a) | Class B Type 3 bedding, Class 3 backfill |  | m | 1 |  | 0
| ii) | 450mm Clay CS - (Reconect 1 Service)
| a) | Class B Type 3 bedding, Class 3 backfill |  | m | 1 |  | 0
| N.3 | Patching Existing Manholes | CW2130 - R12 | vert. m | 2.1 |  | 0
| N.4 | Water Service Replacement | CW2110 - R13
| i) | 19mm
| a) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 12 |  | 0
| N.5 | Corporation Stops | CW2110 - R13
| i) | 19mm |  | each | 1 |  | 0
| N.6 | Curb Stops - Replace Existing
| i) | 19mm |  | each | 1 |  | 0
| N.7 | Curb Stop Boxes - Replace Existing
| i) | 19mm |  | each | 1 |  | 0
| N.8 | 10.9 Kilogram Sacrificial Zinc Anodes | CW2110 - R13
| i) | On Water Services |  | each | 2 |  | 0
| N | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET |  |  |  | Subtotal: | 0
| O | WATERMAIN RENEWAL - PARKER AVENUE - ROCKMAN STREET TO CPR RIGHT-OF-WAY
Watermain Renewal
| O.1 | Watermain Renewal | CW2110 - R13
| i) | 200mm
| a) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 205 |  | 0
| O.2 | Hydrant Assembly (SD-007) | CW2110 - R13
| i) | SD-007 |  | each | 2 |  | 0
| O.3 | Water Main Valve | CW2110 - R13
| i) | 200mm |  | each | 2 |  | 0
| O.4 | Fittings | CW2110 - R13
| i) | Tees
| a) | 200mm x 200mm x 150mm |  | each | 1 |  | 0
| ii) | Bends (SD-004)
| a) | 200mm - 45˚ |  | each | 1 |  | 0
| iii) | Bends (SD-005)
| a) | 200mm - 45˚ |  | each | 2 |  | 0
| O.5 | Water Service Replacement | CW2110 - R13
| i) | 19mm
| a) | Trenchless installation, Class B sand bedding, Class 3 backfill |  | m | 40 |  | 0
| O.6 | Corporation Stops | CW2110 - R13
| i) | 19mm |  | each | 22 |  | 0
| O.7 | Curb Stops - Replace Existing | CW2110 - R13
| i) | 19mm |  | each | 4 |  | 0
| O.8 | Curb Stop Boxes - Replace Existing | CW2110 - R13
| i) | 19mm |  | each | 4 |  | 0
| O.9 | 10.9 Kilogram Sacrificial Zinc Anodes | CW2110 - R13
| i) | On Water Services |  | each | 26 |  | 0
| O.10 | Connecting to Existing Water Mains and Large Diameter Water Services | CW2110 - R13
| i) | In-line connection - no plug existing
| a) | 150mm |  | each | 1 |  | 0
| b) | 200mm |  | each | 2 |  | 0
| O.11 | Connecting Existing Copper Water Services to New Water Mains | CW2110 - R13
| i) | 19mm |  | each | 22 |  | 0
| O.12 | Continuity Bonding | CW2110 - R13 | each | 22 |  | 0
| O | WATERMAIN RENEWAL - PARKER AVENUE - ROCKMAN STREET TO CPR RIGHT-OF-WAY |  |  |  | Subtotal: | 0
| P | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
| P.1 | Patching Existing Manholes | CW2130 - R12 | vert. m | 0.5 |  | 0
| P.2 | Replacing Existing Risers | CW2130 - R12
| i) | 1200 mm dia. Pre-cast |  | vert. m | 1.5 |  | 0
| P.3 | Replace Manhole Benching | E14 | each | 1 |  | 0
| P.4 | Manhole Inspections | CW2145 - R5 | each | 4 |  | 0
| P.5 | Remove and Replace Existing Manhole | CW2130 - R13
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 3.3 |  | 0
| P.6 | Remove Existing Catch Basin and Replace With Manhole | CW2130 - R13
| i) | SD-010
| a) | 1200mm diameter base |  | vert. m | 1.2 |  | 0
| P.7 | Sewer Inspection | CW 2145 – R5
| i) | 250mm |  | m | 35 |  | 0
| P | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE |  |  |  | Subtotal: | 0
| Q | LAND DRAINAGE SEWER INSTALLATION - KENNETH STREET - DOWKER AVENUE TO END |  |  |  |  | `
LAND DRAINAGE SEWER INSTALLATION
| Q.1 | Sewers | CW 2130 – R13
| i) | 250mm PVC SDR-25
| a) | Trenchless installation, Class B Type 3 bedding, Class 3 backfill |  | m | 16 |  | 0
| b) | Trenchless installation, Class B Type 3 bedding, Class 4 backfill |  | m | 52 |  | 0
| Q.2 | Manholes | CW 2130 – R13
| i) | SD-010
| a) | 1200mm Diam |  | vert. m | 1.8 |  | 0
| b) | 1200mm Diam |  | vert. m | 2.3 |  | 0
| Q.3 | Connecting to Existing Manhole | CW 2130 – R13
| i) | 250mm |  | each | 1 |  | 0
| Q.4 | Sewer Inspection | CW 2145 – R5
| i) | 250mm |  | m | 68 |  | 0
| Q.5 | Asphalt Patching for LDS Sewer Connection at Dowker St. | E13 | m² | 6 |  | 0
| Q | LAND DRAINAGE SEWER INSTALLATION - KENNETH STREET - DOWKER AVENUE TO END |  |  |  | Subtotal: | 0
| PART 4 | MANITOBA HYDRO FUNDED WORK
| R | CROWSON BAY - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK
| R.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E36 | each | 7 |  | 0
| R.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E36 | lin. m | 360 |  | 0
| R.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E36 | each | 8 |  | 0
| R.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E36 | each | 4 |  | 0
| R.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E36 | each | 1 |  | 0
| R.6 | Install fused disconnect for temporary feed and maintain during construction. | E36 | each | 1 |  | 0
| R.7 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E36 | each | 1 |  | 0
| R.8 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E36 | set | 8 |  | 0
| R.9 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary overhead Feed. | E36 | per span | 8 |  | 0
| R.10 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E36 | per span | 8 |  | 0
| R | CROWSON BAY - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
| S | KENNETH STREET - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK
| S.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E36 | each | 2 |  | 0
| S.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E36 | lin. m | 110 |  | 0
| S.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E36 | each | 2 |  | 0
| S.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E36 | each | 1 |  | 0
| S.5 | Install lower 3 m of Cable Guard, ground lug, cable up pole, and first 3 m section of ground rod per Standard CD 315-5. | E36 | each | 1 |  | 0
| S.6 | Install fused disconnect for temporary feed and maintain during construction. | E36 | each | 1 |  | 0
| S.7 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E36 | set | 2 |  | 0
| S.8 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E36 | per span | 2 |  | 0
| S.9 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E36 | per span | 2 |  | 0
| S | KENNETH STREET - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
| T | WATERBURY DRIVE - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK
| T.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E36 | each | 13 |  | 0
| T.2 | Installation of 50 mm conduit(s) by boring method complete with cable insertion (#4 AL C/N or 1/0 AL Triplex). | E36 | lin.m | 623 |  | 0
| T.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E36 | each | 18 |  | 0
| T.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E36 | each | 8 |  | 0
| T.5 | Install fused disconnect for temporary feed and maintain during construction. | E36 | each | 2 |  | 0
| T.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E36 | set | 19 |  | 0
| T.7 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E36 | per span | 12 |  | 0
| T.8 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E36 | per span | 12 |  | 0
| T.9 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E36 | each | 1 |  | 0
| T | WATERBURY DRIVE - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
| PART 5 | SIDEWALK RENEWALS
| U | MANCHESTER BOULEVARD SOUTH - SIDEWALK RECONSTRUCTION
EARTH AND BASE WORKS
A012 | U.1 | Grading of Boulevards | CW 3110-R22 | m² | 1250 |  | 0
A014 | U.2 | Boulevard Excavation | CW 3110-R22 | m³ | 2 |  | 0
A024 | U.3 | Surfacing Material | CW 3150-R4
A025 | i) | Granular |  | tonne | 5 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B017 | U.4 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 4 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B031 | ii) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B100r | U.5 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 510 |  | 0
B107i | U.6 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111iA | i) | Type 4 Concrete 150 mm Reinforced Sidewalk |  | m² | 23 |  | 0
B114rl | U.7 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B124 | U.8 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B154rl | U.9 | Concrete Curb Renewal | CW 3240-R10
B155rlA | i) | Type 5 Concrete Barrier (150 mm reveal ht, Dowelled) | SD-205, SD-206A
B159rlA2 | a) | 3 m to 30 m |  | m | 15 |  | 0
B184rlA | ii) | Type 5 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 14 |  | 0
B189 | U.10 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | U.11 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 5 |  | 0
B219 | U.12 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 3 |  | 0
ROADWORKS - NEW CONSTRUCTION
C051 | U.13 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 615 |  | 0
ADJUSTMENTS
F009 | U.14 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F011 | U.15 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | U.16 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 125 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 515 |  | 0
| U.17 | Pruning of Existing Shrubs | E27
| i) | Pruning of Existing Shrubs |  | lin.m | 10 |  | 0
MISCELLANEOUS
| U.18 | Tree Removal | E27 | each | 2 |  | 0
| U | MANCHESTER BOULEVARD SOUTH - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
| V | BEAUMONT STREET - SIDEWALK RECONSTRUCTION
EARTH AND BASE WORKS
A003 | V.1 | Excavation | CW 3110-R22 | m³ | 10 |  | 0
A004 | V.2 | Sub-Grade Compaction | CW 3110-R22 | m² | 30 |  | 0
A010 | V.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 5 |  | 0
A012 | V.4 | Grading of Boulevards | CW 3110-R22 | m² | 650 |  | 0
A014 | V.5 | Boulevard Excavation | CW 3110-R22 | m³ | 25 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | V.6 | Pavement Removal | CW 3110-R22
B003 | i) | Asphalt Pavement |  | m² | 5 |  | 0
B017 | V.7 | Partial Slab Patches | CW 3230-R8
B030 | i) | 150 mm Type 4 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B031 | ii) | 150 mm Type 4 Concrete Pavement (Type B) |  | m² | 10 |  | 0
B100r | V.8 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 750 |  | 0
B107i | V.9 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111iA | i) | Type 4 Concrete 150 mm Reinforced Sidewalk |  | m² | 70 |  | 0
B114rl | V.10 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B124 | V.11 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | V.12 | Concrete Curb Removal | CW 3240-R10
B129r | i) | Curb and Gutter |  | m | 15 |  | 0
B189 | V.13 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
B190 | V.14 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E24
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 5 |  | 0
B219 | V.15 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 6 |  | 0
ROADWORK - NEW CONSTRUCTION
C001 | V.16 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C017 | i) | Construction of Monolithic Type 5 Curb and Sidewalk | SD-228B | m² | 75 |  | 0
C019 | V.17 | Concrete Pavements for Early Opening | CW 3310-R19
C029-72 | i) | Construction of 150 mm Type 4 Concrete Pavement for Early Opening 72 Hour (Reinforced) |  | m² | 30 |  | 0
C032 | V.18 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C037A | i) | Construction of Modified Barrier (150 mm ht, Type 4, Integral) | SD-203B | m | 2 |  | 0
C039A | ii) | Construction of Curb and Gutter (150 mm ht, Modified Barrier, Integral, 600 mm width, 150 mm Plain Type 2 Concrete Pavement) | SD-200 SD-203B | m | 8 |  | 0
C041 | iii) | Construction of Curb and Gutter (8-12 mm ht, Curb Ramp, Integral, 600 mm width, 150 mm Plain Type 5 Concrete Pavement) | SD-200 SD-229E | m | 14 |  | 0
C046A | iv) | Construction of Curb Ramp (8-12 mm ht, Type 5, Monolithic) | SD-229C | m | 23 |  | 0
C051 | V.19 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 735 |  | 0
ADJUSTMENTS
F009 | V.20 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F011 | V.21 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
F015 | V.22 | Adjustment of Curb and Gutter Frames | CW 3210-R8 | each | 1 |  | 0
LANDSCAPING
G001 | V.23 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 150 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 450 |  | 0
MISCELLANEOUS
| V.24 | Tree Removal | E27 | each | 2 |  | 0
| V | BEAUMONT STREET - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
| W | HOWARD AVENUE - SIDEWALK REHABILITATION AND RECONSTRUCTION
EARTH AND BASE WORKS
A012 | W.1 | Grading of Boulevards | CW 3110-R22 | m² | 175 |  | 0
A014 | W.2 | Boulevard Excavation | CW 3110-R22 | m³ | 15 |  | 0
ROADWORK - REMOVALS/RENEWALS
B100r | W.3 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 345 |  | 0
B114rl | W.4 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 25 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 120 |  | 0
B154rl | W.5 | Concrete Curb Renewal | CW 3240-R10
B168rl | i) | Type 2 Concrete Modified Barrier (100 mm reveal ht Integral) | SD-203B | m | 12 |  | 0
B184rlA | ii) | Type 5 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229D | m | 9 |  | 0
B189 | W.6 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 7 |  | 0
ROADWORK - NEW CONSTRUCTION
C032 | W.7 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C046A | i) | Construction of Curb Ramp (8-12 mm ht, Type 5, Monolithic) | SD-229C | m | 16 |  | 0
C051 | W.8 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5 | m² | 345 |  | 0
ADJUSTMENTS
F009 | W.9 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F011 | W.10 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | W.11 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 60 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 115 |  | 0
MISCELLANEOUS
| W.12 | Tree Removal | E27 | each | 1 |  | 0
| W | HOWARD AVENUE - SIDEWALK REHABILITATION AND RECONSTRUCTION |  |  |  | Subtotal: | 0
| X | WILDWOOD PARK - SIDEWALK RECONSTRUCTION
ROADWORK - REMOVALS/RENEWALS
A012 | X.1 | Grading of Boulevards | CW 3110-R22, E37 | m² | 9200 |  | 0
A014 | X.2 | Boulevard Excavation | CW 3110-R22 | m³ | 150 |  | 0
ROADWORK - REMOVALS/RENEWALS
B100r | X.3 | Miscellaneous Concrete Slab Removal | CW 3235-R9, E37
B104r | i) | 100 mm Sidewalk |  | m² | 3550 |  | 0
B114rl | X.4 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 5 |  | 0
B124 | X.5 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B184rlA | i) | Type 5 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229C,D | m | 7 |  | 0
B189 | X.6 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 5 |  | 0
ROADWORK - NEW CONSTRUCTION
C051 | X.7 | 100 mm Type 5 Concrete Sidewalk | CW 3325-R5, E37 | m² | 4525 |  | 0
ADJUSTMENTS
F009 | X.8 | Adjustment of Valve Boxes | CW 3210-R8 | each | 1 |  | 0
F011 | X.9 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 5 |  | 0
LANDSCAPING
G001 | X.10 | Sodding | CW 3510-R10, E37
G002 | i) | width < 600 mm |  | m² | 100 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 9100 |  | 0
| X.11 | Tree Removal | E27 | each | 10 |  | 0
| X | WILDWOOD PARK - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
| Y | MOBILIZATION /DEMOBILIZATION
| Y.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| Y | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
SUMMARY
| PART 1 | CITY FUNDED WORK
| A | ASPHALT REHABILITATION: CRESCENT DRIVE - PEMBINA HIGHWAY TO CRESCENT DRIVE PARK ENTRANCE |  |  |  | Subtotal: | 0
| B | ASPHALT REHABILITATION: BOSTON AVENUE - HUDSON STREET TO PEMBINA HIGHWAY |  |  |  | Subtotal: | 0
| C | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE |  |  |  | Subtotal: | 0
| D | ASPHALT RECONSTRUCTION: KENNETH STREET - DOWKER AVENUE TO END |  |  |  | Subtotal: | 0
| E | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET |  |  |  | Subtotal: | 0
| F | MAJOR REHABILITATION: WATERBURY DRIVE - LINDENWOOD DRIVE EAST TO LINDENWOOD DRIVE EAST |  |  |  | Subtotal: | 0
| G | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 371 TO 419 |  |  |  | Subtotal: | 0
| H | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 364 TO 412 |  |  |  | Subtotal: | 0
| I | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE EAST FRONTAGE ROAD 348 TO 308 |  |  |  | Subtotal: | 0
| J | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 751 TO 787 |  |  |  | Subtotal: | 0
| K | THIN BITUMINOUS OVERLAY: LINDENWOOD DRIVE WEST FRONTAGE ROAD 795 TO 839 |  |  |  | Subtotal: | 0
[6 empty] | Total Price of Part 1: | 0
| PART 2 | TRANSIT IMPROVEMENTS
| L | CRESCENT DRIVE BUS PLATFORMS |  |  |  | Subtotal: | 0
| M | CRESCENT DRIVE BUFFERED BIKE LANE BUS STOP |  |  |  | Subtotal: | 0
[6 empty] | Total Price of Part 2: | 0
| PART 3 | WATER AND WASTE FUNDED WORK
| N | ASPHALT RECONSTRUCTION: PARKER AVENUE - 1223 PARKER AVENUE TO WYNNE STREET |  |  |  | Subtotal: | 0
| O | WATERMAIN RENEWAL - PARKER AVENUE - ROCKMAN STREET TO CPR RIGHT-OF-WAY |  |  |  | Subtotal: | 0
| P | ASPHALT RECONSTRUCTION: CROWSON BAY - DOWKER AVENUE TO DOWKER AVENUE |  |  |  | Subtotal: | 0
| Q | LAND DRAINAGE SEWER INSTALLATION - KENNETH STREET - DOWKER AVENUE TO END |  |  |  | Subtotal: | 0
[6 empty] | Total Price of Part 3: | 0
| PART 4 | MANITOBA HYDRO FUNDED WORK
| R | CROWSON BAY - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
| S | KENNETH STREET - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
| T | WATERBURY DRIVE - STREET LIGHTING INSTALLATION AND ASSOCIATED WORK |  |  |  | Subtotal: | 0
[6 empty] | Total Price of Part 4: | 0
| PART 5 | SIDEWALK RENEWALS
| U | MANCHESTER BOULEVARD SOUTH - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
| V | BEAUMONT STREET - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
| W | HOWARD AVENUE - SIDEWALK REHABILITATION AND RECONSTRUCTION |  |  |  | Subtotal: | 0
| X | WILDWOOD PARK - SIDEWALK RECONSTRUCTION |  |  |  | Subtotal: | 0
[6 empty] | Total Price of Part 5: | 0
| Y | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0