## Asset Hierarchy
ASSET HIERARCHY FLOWCHART

## Asset Type
Asset Type Classification System
Date | Approved by
2018-06-16
2018-07-06
Asset Type Description | Asset Type CODE
SYSTEM, Domestic Hot water | WW-SYS_DHW
Shower, Emergency | WW-SHWR_EMR
ACTUATOR, Electric | WW-ACTU_EL
ACTUATOR, Manual | WW-ACTU_MN
ACTUATOR, Hydraulic | WW-ACTU_HY
ACTUATOR, Pneumatic | WW-ACTU_PN
SAMPLER, System | WW-SMPR_SM
ANALYZER, Gas | WW-ANAL_GA
TRANSMITTER, Analytic | WW-XMTR_AN
DETECTOR, Gas | WW-DETR_GA
PROBE | WW-PROBE
ALARM, FIRE | WW-ALRM_FI
ALARM, Audible/Visual | WW-ALRM_AV
SYSTEM, CCTV | WW-CCTV_SY
ACCESS CONTROL | WW-CTRL_AC
ALARM, SWITCH | WW-ALRM_SW
CLEANER, Ultrasonic | WW-CLNR_UT
DEHUMIDIFIER | WW-DEHUMID
DETECTOR, Smoke | WW-DETR_SM
SYSTEM, (Oil) Filter | WW-SYS_FTR
FILTER, Auto | WW-FIL_ATO
STRAINER, Auto | WW-STR_ATO
HEATER, Water | WW-HTR_WTR
HEATER, Electric Immersion | WW-HTR_EIM
FILTER, AIR | WW-FIL-AIR
FILTER, Compressed Air | WW-FIL_CA
FILTER, Potable Water Filter | WW-SYS_PWF
DOOR, Overhead | WW-DOR_OHD
EXTINGUISHER, Fire | WW-EXTR_FI
HEATER, Electric Space | WW-HTR_ESP
HEATER, Electric Water | WW-HTR_EWT
HEATER, Glycol | WW-HTR_GLY
HEATER, Unit | WW-HTR_UNT
HUMIDIFIER | WW-HUMID
METER, Potable | WW-METR_PO
METER, Portable | WW-METR_PR
METER, Total Suspended solid (TSS) | WW-METR_TS
METER, Dissolved Oxygen (DO) | WW-METR_DO
METER, Ph Calibration | WW-METR_PH
SAFETY, self retracting lanyard (SRL) | WW-SFTY_SR
SAFETY, Automated External Defibrillator (AED) | WW-SFTY_AD
SAFETY, Self-contained Breathing Apparatus (SCBA) | WW-SFTY_BA
SAFETY, Personal Gas Monitor (PGM) | WW-SFTY_GM
SAFETY, Personal Protective Equipment (PPE) | WW-SFTY-PE
SAFETY, Hoist/Restraint System (HST) | WW-SFTY_HT
WASHER, Pressure | WW-WASH_PR
TOOL, Misc | WW-TOOL
REGULATOR,Air | WW-REG_AIR
REGULATOR,Gas | WW-REG_GAS
LIGHTING, FIXTURES | WW-FIXT_LI
BEACON, Alarm | WW-BEAC_AL
HUMAN MACHINE INTERFACE | WW-HMI
STATION, Programming | WW-STA_PRG
COMPUTER, Hardware | WW-COM_HRD
COMMUNICATION, Equipment | WW-COM_EQP
FIBER OPTIC, Cable | WW-FIBER_CAB
STATION, Server | WW-STA_SVR
COUPLING, Grid | WW-CPLG_GR
COUPLING, Flexible | WW-CPLG_FX
COUPLING, Fluid | WW-CPLG_FU
COUPLING, Gear | WW-CPLG_GE
COUPLING, Magnetic/Eddy Current | WW-CPLG_MA
DAMPER | WW-DAMPER
HOIST | WW-HOIST
Gate (Weir/Slide/Flap/Sluice) | WW-GATE
GEARBOX, Planetary | WW-GRBX_PL
GEARBOX, Bevel | WW-GRBX_BE
GEARBOX, Worm | WW-GRBX_WO
ARRESTOR, Flame | WW-ARRE_FL
SEPARATOR, Oil | WW-SEPR_OI
VALVE, Backflow Preventer | WW-VALV_BP
VALVE, Group | WW-VALV_GRP
VALVE, Three Way | WW-VALV_3W
VALVE, Four Way | WW-VALV_4W
VALVE, Ball | WW-VALV_BA
VALVE, Butterfly | WW-VALV_BU
VALVE, Check | WW-VALV_CH
VALVE, Diaphragm | WW-VALV_DI
VALVE, Gate | WW-VALV_GA
VALVE, Globe | WW-VALV_GL
VALVE, Knife | WW-VALV_KN
VALVE, Needle | WW-VALV_NE
VALVE, Plug | WW-VALV_PL
VALVE, Poppet | WW-VALV_PO
VALVE, Regulator | WW-VALV_RE
VALVE, Silencer | WW-VALV_SI
VALVE, Misc | WW-VALV_MI
VALVE, Safety/Relief | WW-VALV_SA
VALVE, Solenoid | WW-VALV_SO
PANEL, Local Control | WW-PANL_LO
PANEL, Distribution Panel | WW-PANL_DS
TRANSMITTER, Flow, Level (Weir/Flume) | WW-XMTR_FL
TRANSMITTER, Flow, Magnetic | WW-XMTR_FM
TRANSMITTER, Flow, Orifice Plate | WW-XMTR_FO
TRANSMITTER, Flow, Thermal Dispersion | WW-XMTR_FT
TRANSMITTER, Level, Pressure | WW-XMTR_LP
TRANSMITTER, Level, Ultrasonic | WW-XMTR_LE
TRANSMITTER, Pressure | WW-XMTR_PR
TRANSMITTER, Speed | WW-XMTR_SP
TRANSMITTER, Flame Transducer | WW-XMTR_TR
TRANSMITTER, Power | WW-XMTR_PO
TRANSMITTER, Power | WW-XMTR_PN
TRANSMITTER, Light | WW-XMTR_LI
TRANSMITTER, Current Transducer | WW-XMTR_CT
TRANSMITTER, Voltage Transducer | WW-XMTR_VT
TRANSMITTER, Flow Positive Displacement | WW-XMTR_PD
TRANSMITTER, Density | WW-XMTR_DE
TRANSMITTER, Temperature (Thermostat) | WW-XMTR_TE
TRANSMITTER, Vibration | WW-XMTR_VI
TRANSMITTER, Flow, Ultrasonic | WW-XMTR_FU
TRANSMITTER, Flow, Mechanical | WW-XMTR_FW
INSTRUMENT, Group | WW-INSTR_GRP
CONTROLLER | WW-EQPT_CO
CONTROLLER,Positioner | WW-EQPT_PO
EQUIPMENT, Digital Control System | WW-EQPT_DC
INDICATOR | WW-IND
SWITCH, Differential Pressure | WW-SWIT_DP
SWITCH, Flow | WW-SWIT_FL
SWITCH, Humidity (Humidistat) | WW-SWIT_HM
SWITCH, Level | WW-SWIT_LE
SWITCH, Pressure | WW-SWIT_PR
SWITCH, Proximity | WW-SWIT_PX
SWITCH, Speed | WW-SWIT_SP
SWITCH, Temperature | WW-SWIT_TE
SWITCH, Voltage | WW-SWIT_VO
SWITCH, Vibration | WW-SWIT_VI
VALVE ACTUATOR | ACTUATOR
AIR CONDITIONING UNIT | ACU
AIR HANDLING UNIT | AHU
PROCESS ANALYSIS INSTRUMENTS CL2 / DE / DO / NH3 / NO3 / PO4 | ANALYZER
FLAME / SPARK ARRESTER | ARRESTER
AUGER | AUGER
BACKFLOW PREVENTER | BACKFLOW
BARSCREEN | BARSCREEN
PROCESS BLOWER | BLOWER
MOTORBOAT / CANOE | BOAT
BOILER | BOILER
BRIDGE MOTOR BRAKE | BRAKE
ELECTRICAL BREAKER | BREAKER
CLARIFIER BRIDGE | BRIDGE
BUILDING | BUILDING
WASTE GAS BURNER | BURNER
CATHODIC PROTECTION | CATHODIC
LOAD CELLS | CELL
CENTRIFUGE | CENTRIFUGE
CHANNEL | CHANNEL
BATTERY CHARGER | CHARGER
CHILLER AIR CONDITION UNIT | CHILLER
CHLORINE CHLORINATOR | CHLORINATR
CLASSIFIER | CLASSIFIER
CONTROL PANEL FDP / TC / LCP / MCP | CNTL PANEL
COMMUNICATION EQUIPMENT RADIOS/PAGERS/TELEPHONE/PAGING SYSTE | COMM
AIR COMPRESSOR | COMP-AIR
GAS COMPRESSOR | COMP-GAS
COMPUTER EQUIPMENT | COMPUTER
CONDENSER | CONDENSER
GRIT CONVEYOR | CONVEYOR
CRANE | CRANE
CULVERT | CULVERT
DAMPER | DAMPER
DISTRIBUTED CONTROL SYSTEM EQUIPMENT | DCS
OZONE CATALYTIC DESTRUCT | DESTRUCT
GAS DETECTOR CL2 / CO / H2S / LEL / O2 | DETECTOR
DIFFUSER | DIFFUSER
ELECTRICAL DISTRIBUTION PANEL | DIST PANEL
AIR DRYER | DRYER-AIR
ELECTRIC HEATING COIL | DUCT HTR
ELECTRICAL EQUIPMENT | ELEC EQPT
ELECTROLYZER | ELECTROLYZ
ELEVATOR | ELEVATOR
GAS / DIESEL ENGINE | ENGINE
CHLORINE EVAPORATOR | EVAPORATOR
FANS EXHAUST / CIRCULATION / FUMEHOOD | FAN
DISTRIBUTION FEEDERMAIN | FEEDERMAIN
FILTER AIR / MOISTURE / OIL | FILTER
FIRE EQUIPMENT | FIRE
Fleet Asset | FLEET
FLOWTUBE | FLOWTUBE
FLUID COUPLING | FLUIDCPLG
SEWER FORCEMAIN | FORCEMAIN
RETENTION BASIN FOUNTAIN | FOUNTAIN
FURNACE | FURNACE
GATE | GATE
GAUGE | GAUGE
GEARBOX | GEARBOX
STANDBY GENERATOR | GENERATOR
GRATE FOR CULVERTS, OUTFALLS, ETC | GRATE
GROUNDS | GROUNDS
HEAT EXCHANGER | HEAT EXCH
HEAT TRACE | HEAT TRACE
HUMAN MACHINE INTERFACE | HMI
CRANE / HOIST UNIT | HOIST
HOPPER | HOPPER
HEATING, VENTILATION, AND AIR CONDITIONING | HVAC
HYDRANT | HYDRANT
VERTICAL SCALE INDICATOR | INDICATOR
CHOLORINE / FERRIC CHLORIDE / CHEMICAL | INJECTOR
INLET GRATES | INLET
INSTRUMENTATION EQUIPMENT | INSTRUMENT
LAWNMOWER | LAWNMOWER
ELECTRICAL LIGHTS | LIGHTING
HVAC LOUVER | LOUVER
AIR LINE LUBRICATOR | LUBRICATOR
MANHOLE | MANHOLE
MOTOR CONTROL CENTRE | MCC
GAS METER | METER-GAS
WATER METER | METER-WTR
MIXER | MIXER
MOTOR | MOTOR
MOTOR PROTECTION EQUIPMENT | MOTOR-PROT
OVERHEAD DOOR | OVRHD-DOOR
POWER DISTRIBUTION CENTRE | PDC
PERSONAL GAS MONITOR | PGM
PIPE PROCESS / SERVICE | PIPE
PIT METER / VALVE | PIT
PROGRAMMABLE LOGIC CONTROLLER | PLC
DOMESTIC PLUMBING | PLUMBING
VALVE POSITIONER | POSITIONER
PROPERTY INFORMATION | PROPERTY
PUMP | PUMP
ENTIRE PUMP UNIT | PUMP-UNIT
GAS RECIRCULATOR | RECIRC
RECTIFIER | RECTIFIER
PRESSURE REGULATOR | REGULATOR
WATER DISTRIBUTION RESERVOIR | RESERVOIR
RIVER CROSSING | RIVER CROS
COST ROLLUP ASSET | ROLLUP
RESISTIVE TEMPERATURE DETECTOR | RTD
REMOTE TERMINAL UNIT | RTU
SAFETY RELATED EQUIPMENT | SAFETY
PROCESS SAMPLER | SAMPLER
SUPERVISORY CONTROL AND DATA AQUISITION | SCADA
WEIGH SCALE | SCALE
SELF CONTAINED BREATHING APPARATUS | SCBA
ODOUR CONTROL SCRUBBER | SCRUBBER
SECURITY EQUIPMENT | SECURITY
ELECTRICAL SERVICES | SERVICE
COMBINED SEWER AND SRS OUTFALLS | SEWER
SEWERMAIN | SEWERMAIN
PUMP SHAFT | SHAFT
DCS / SCADA CONTROL SYSTEM SIGNAL | SIGNAL
SILENCER | SILENCER
PSA SYSTEM | SKID
DAF SKIMMER MECHANISM | SKIMMER
SLUICE GATE | SLUICE
SOLIDSTATE MOTOR STARTER | SOFTSTART
STORM RETENTION BASIN | SRB
CHIMNEY OR ODOUR DISPERSION STACK | STACK
STRAINER | STRAINER
CLARIFIER & FERMENTER SWEEP MECHANISM | SWEEP
SWITCH LEVEL / PRESSURE / TEMPERATURE / VIBRATION | SWITCH
ELECTRICAL SWITCHGEAR | SWITCHGEAR
SYSTEM RELATING TO COMPUTER OR SOFTWARE | SYSTEM
TANK HOLDING / DIGESTOR / CLARIFIER / AERATION | TANK
TEST EQUIPMENT | TEST
SHOP EQUIPMENT AND TOOLS | TOOL
RAILWAY TRACK | TRACK
TRANSFER SWITCH | TRANS-SW
TRANSDUCER | TRANSDUCE
TRANSFORMER | TRANSFORM
TRANSMITTER FLOW / LEVEL / PRESSURE / TEMPERATURE | TRANSMIT
RAILWAY TURNOUT | TURNOUT
UNIT HEATER | UNIT-HTR
UNINTERRUPTIBLE POWER SUPPLY | UPS
ULTRASONIC CLEANER | USC
ULTRA VIOLET LIGHT MODULAR LAMP ASSEMBLY | UV MOD
ULTRA VIOLET LIGHT PROCESS UNIT | UV UNIT
VALVE | VALVE
VALVE PIT | VALVE PIT
VARIABLE SPEED DRIVE | VSD
WATERMAIN | WATERMAIN
Note on B21: change the Asset Type from SAMPLER, Refrigerated to SAMPLER, System
Note on B38: 1. why heater is part of filter system (MJ) 2. HEATER, Water and HEATER, Electrical immersion are same
Note on C72: Created new row for communication equipment
Note on C73: Created new row for communication equipment
Note on B132: Created new Asset Type and Code, Asset Type for controllers

## Data
Parent Asset | Asset Type CODE | Tag ID | Asset Description | Manufacturer | Model Number | Serial Number | Drawing Number (PPID or ESLD) Note: Assing PPID drawing for Process Equipment and ESLD drawing for Electrical assets.
*Ash Flood Station | Pump | P-F01 | Flood Pump 1 | WORTHINGTON | XXXXXXXX | 1507389 | 1-0XXF-PXXX
Notes: * Provided as an example
Note on H5: Drawing Number:Reference to most relevant drawing. For process equipment use PPID. For Electrical assets (MCCs; Panels) use ESLD. May be laeft blank for grouped assets. Maximum Data length = 24