## 3-2026
FORM B: PRICES
(SEE B10)
UNIT PRICES
CODE | ITEM | DESCRIPTION | SPEC. | UNIT | APPROX. | UNIT PRICE | AMOUNT
|  |  | REF. |  | QUANTITY
| A | ST. MARY AVE - EDMONTON ST TO MEMORIAL BLVD CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | A.1 | Excavation | CW 3110-R22 | m³ | 2050 |  | 0
A007 | A.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 70 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 3500 |  | 0
A010 | A.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1100 |  | 0
| ii) | Base Course Material - Granite A Base |  | m³ | 40 |  | 0
A012 | A.4 | Grading of Boulevards | CW 3110-R22 | m² | 100 |  | 0
A022 | A.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 4300 |  | 0
A022A4 | A.6 | Supply and Install Geogrid | CW 3135-R2, E21
A022A5 | i) | Class A Geogrid (InterAx NX650) |  | m² | 4300 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | A.7 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 6500 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 200 |  | 0
B094 | A.8 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 50 |  | 0
B097 | A.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 80 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 20 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 160 |  | 0
B100r | A.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 1400 |  | 0
| A.11 | Remove Existing Paving Stone | CW3330-R5 | m² | 220 |  | 0
| A.12 | Coloured Concrete 100 mm Sidewalk | E27 | m² | 110 |  | 0
B114A | A.13 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 1750 |  | 0
B114B | A.14 | Type 5 Concrete 150 mm Sidewalk with Block Outs | E13, E26 | m² | 150 |  | 0
B114E | A.15 | Paving Stone Indicator Surfaces - Clay Paver Dark Ironspot 194 x 93 x 57mm | E14, E35 | m² | 200 |  | 0
B114rl | A.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B120rl | a) | 5 sq.m. to 20 sq.m. |  | m² | 20 |  | 0
B121rl | b) | Greater than 20 sq.m. |  | m² | 40 |  | 0
B126r | A.17 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 20 |  | 0
B135i | A.18 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 20 |  | 0
B189 | A.19 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 200 |  | 0
B190 | A.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E54
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 100 |  | 0
B199 | A.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 60 |  | 0
B219 | A.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 23 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | A.23 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C002 | i) | Construction of 250 mm Type 1 Concrete Pavement (Reinforced) | E26 | m² | 150 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 2600 |  | 0
C004 | iii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 1000 |  | 0
C008 | iv) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 25 |  | 0
C015 | v) | Construction of Monolithic Type 1 Concrete 600mm Wide Bike Median Slabs, Slip Form Paving | SD-226A Detail "C" | m | 120 |  | 0
C019 | A.24 | Concrete Pavements for Early Opening | CW 3310-R19
C022 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 100 |  | 0
C026 | ii) | Construction of 200 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced) |  | m² | 25 |  | 0
C032 | A.25 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral), Slip Form Paving | SD-204 | m | 350 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 95 |  | 0
C037B | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 40 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 80 |  | 0
C047 | v) | Construction of Safety Curb (330 mm ht, Type 1) | SD-206B | m | 15 |  | 0
C050 | A.26 | Supply and Installation of Dowel Assemblies 28.6mm | CW 3310-R19 | m | 800 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | A.27 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 6 |  | 0
E006 | A.28 | Catch Pit | CW 2130-R13
E007 | i) | SD-023 |  | each | 2 |  | 0
E008 | A.29 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 3 Backfill |  | m | 15 |  | 0
E011 | b) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 40 |  | 0
E012 | A.30 | Drainage Connection Pipe | CW 2130-R13 | m | 14 |  | 0
E013 | A.31 | Sewer Service Risers | CW 2130-R13
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 12 |  | 0
E023 | A.32 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 10 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 8 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 2 |  | 0
E032 | A.33 | Connecting to Existing Manhole | CW 2130-R13
E033 | i) | 250 mm Catch Basin Lead |  | each | 2 |  | 0
E034 | A.34 | Connecting to Existing Catch Basin | CW 2130-R13
E035 | i) | 200 mm Drainage Connection Pipe |  | each | 1 |  | 0
E036 | A.35 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm (PVC) Connecting Pipe
E040 | a) | Connecting to 450 mm Conc Sewer |  | each | 2 |  | 0
E041B | b) | Connecting to 600 mm Conc Sewer |  | each | 1 |  | 0
E041B | c) | Connecting to 1500 mm Conc Sewer |  | each | 2 |  | 0
| A.36 | Supply and Install Curb inlet Box with New Frame | CW 2130-R13 | each | 1 |  | 0
E046 | A.37 | Removal of Existing Catch Basins | CW 2130-R13 | each | 7 |  | 0
| A.38 | Plugging Existing Sewer Service Under Pavement | CW 2130-R13 | each | 7 |  | 0
E050 | A.39 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 4 |  | 0
E051 | A.40 | Installation of Subdrains | CW 3120-R4 | m | 84 |  | 0
E072 | A.41 | Watermain and Water Service Insulation | E15
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 40 |  | 0
ADJUSTMENTS
F001 | A.42 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F002 | A.43 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 3 |  | 0
F003 | A.44 | Lifter Rings (AP-010) | CW 3210-R8
F005 | i) | 51 mm |  | each | 6 |  | 0
F006 | ii) | 64 mm |  | each | 1 |  | 0
F007 | iii) | 76 mm |  | each | 1 |  | 0
F009 | A.45 | Adjustment of Valve Boxes | CW 3210-R8 | each | 15 |  | 0
F010 | A.46 | Valve Box Extensions | CW 3210-R8 | each | 10 |  | 0
F011 | A.47 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | A.48 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F028 | A.49 | Adjustment of Traffic Signal Service Box Frames | CW 3210-R8 | each | 1 |  | 0
MISCELLANEOUS
| A.50 | Hydro Excavation | E20 | hr | 20 |  | 0
| A.51 | Green Bike Lane Treatment | CW 3510-R10, E19 | m² | 40 |  | 0
| A.52 | Construction of Landscaping Curb (<=200 mm ht, Type 5) | E29 | m | 30 |  | 0
WAYFINDING AND SITE FURNISHINGS
| A.53 | Wayfinding Sign | E37 | each | 4 |  | 0
| A.54 | Bench Type 2 | E38 | each | 2 |  | 0
| A.55 | Bike Rack Type 2 | E38 | each | 4 |  | 0
LANDSCAPING
G001 | A.56 | Sodding | CW 3510-R10
G003 | i) | width > or = 600 mm |  | m² | 100 |  | 0
| A.57 | Tree Removal | E42 | each | 3 |  | 0
| A | ST. MARY AVE - EDMONTON ST TO MEMORIAL BLVD CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | EDMONTON ST - BROADWAY TO GRAHAM AVE CONCRETE RECONSTRUCTION
EARTH AND BASE WORKS
A003 | B.1 | Excavation | CW 3110-R22 | m³ | 5000 |  | 0
A007 | B.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 500 |  | 0
A008A1 | ii) | 100 mm Granular A Limestone |  | tonne | 6500 |  | 0
A010 | B.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 1450 |  | 0
| ii) | Base Course Material - Granite A Base |  | m³ | 40 |  | 0
A012 | B.4 | Grading of Boulevards | CW 3110-R22 | m² | 450 |  | 0
A022 | B.5 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 8200 |  | 0
A022A4 | B.6 | Supply and Install Geogrid | CW 3135-R2, E21
A022A5 | i) | Class A Geogrid (InterAx NX650) |  | m² | 8200 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | B.7 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 9000 |  | 0
B003 | ii) | Asphalt Pavement |  | m² | 250 |  | 0
B094 | B.8 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 220 |  | 0
B097 | B.9 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 200 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 200 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 100 |  | 0
B100r | B.10 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 2900 |  | 0
B114A | B.11 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 3070 |  | 0
B114B | B.12 | Type 5 Concrete 150 mm Reinforced Sidewalk with Block Outs | E13, E26 | m² | 200 |  | 0
B114E | B.13 | Paving Stone Indicator Surfaces - Clay Paver Dark Ironspot 194 x 93 x 57mm | E14, E35 | m² | 365 |  | 0
| B.14 | Holland Paver 80mm, Sierra Grey | E35 | m² | 30 |  | 0
| B.15 | Thin Set Clay Pavers from Stockpile | E35 | L. sum | 1 |  | 0
B114rl | B.16 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 30 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 150 |  | 0
B126r | B.17 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 50 |  | 0
B135i | B.18 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 50 |  | 0
B189 | B.19 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 20 |  | 0
B190 | B.20 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E54
B194 | i) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 200 |  | 0
B199 | B.21 | Construction of Asphalt Patches | CW 3410-R12 | m² | 70 |  | 0
B200 | B.22 | Planing of Pavement | CW 3450-R6
B201 | i) | 1 - 50 mm Depth (Asphalt) |  | m² | 150 |  | 0
B219 | B.23 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 28 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | B.24 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C002 | i) | Construction of 250 mm Type 1 Concrete Pavement (Reinforced) | E26 | m² | 400 |  | 0
C004 | ii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled), Slip Form Paving |  | m² | 4350 |  | 0
C004 | iii) | Construction of 250 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 2500 |  | 0
C008 | iv) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) |  | m² | 50 |  | 0
C008 | v) | Construction of 200 mm Type 1 Concrete Pavement - (Reinforced) with Blockouts |  | m² | 400 |  | 0
C015 | vi) | Construction of Monolithic Type 1 Concrete 600mm Wide Bike Median Slabs, Slip Form Paving | SD-226A Detail "C" | m | 100 |  | 0
C015 | vii) | Construction of Monolithic Type 1 Concrete 900mm Wide Bike Median Slabs, Slip Form Paving | SD-226A Detail "C" | m | 250 |  | 0
C015 | viii) | Construction of Monolithic Type 1 Concrete 600mm Wide Mountable Bike Median Slabs | Detail ''B" | m | 30 |  | 0
C018 | ix) | Construction of Monolithic Type 1 Concrete Bull-noses | SD-227C | m² | 2 |  | 0
C019 | B.25 | Concrete Pavements for Early Opening | CW 3310-R19
C022 | i) | Construction of 250 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Plain-Dowelled) |  | m² | 200 |  | 0
C026 | ii) | Construction of 200 mm Type 3 Concrete Pavement for Early Opening 24 Hour (Reinforced) with Blockouts |  | m² | 70 |  | 0
C032 | B.26 | Concrete Curbs, Curb and Gutter, and Splash Strips | CW 3310-R19
C035B | i) | Construction of Barrier (180 mm ht, Type 1, Integral), Slip Form Paving | SD-204 | m | 700 |  | 0
C035B | ii) | Construction of Barrier (180 mm ht, Type 1, Integral) | SD-204 | m | 200 |  | 0
C037 | iii) | Construction of Modified Barrier (180 mm ht, Type 1, Integral) | SD-203B | m | 65 |  | 0
C046 | iv) | Construction of Curb Ramp (8-12 mm ht, Type 1, Integral) | SD-229C | m | 190 |  | 0
C050 | B.27 | Supply and Installation of Dowel Assemblies 28.6mm | CW 3310-R19 | m | 1800 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | B.28 | Catch Basin | CW 2130-R13
E004 | i) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E004A | ii) | SD-024, 1800 mm deep |  | each | 13 |  | 0
E005A | iii) | SD-025, 1800 mm deep |  | each | 2 |  | 0
E006 | B.29 | Catch Pit | CW 2130-R13
E007 | i) | SD-023 |  | each | 3 |  | 0
E008 | B.30 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 3 Backfill |  | m | 15 |  | 0
E011 | b) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 100 |  | 0
E012 | B.31 | Drainage Connection Pipe | CW 2130-R13 | m | 36 |  | 0
E023 | B.32 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 13 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 12 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E032 | B.33 | Connecting to Existing Manhole | CW 2130-R13
E033 | i) | 250 mm Catch Basin Lead |  | each | 6 |  | 0
E034 | B.34 | Connecting to Existing Catch Basin | CW 2130-R13
E035 | i) | 250 mm Drainage Connection Pipe |  | each | 3 |  | 0
E036 | B.35 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm Conc Sewer |  | each | 2 |  | 0
E038 | b) | Connecting to 300 mm Clay Sewer |  | each | 4 |  | 0
E039 | c) | Connecting to 375 mm Clay Sewer |  | each | 2 |  | 0
E040 | d) | Connecting to 450 mm Conc Sewer |  | each | 1 |  | 0
E042 | B.36 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R13
E043 | i) | 250 mm |  | each | 1 |  | 0
| B.37 | Supply and Install Curb inlet Box with New Frame | CW 2130-R13 | each | 1 |  | 0
E046 | B.38 | Removal of Existing Catch Basins | CW 2130-R13 | each | 16 |  | 0
E048 | B.39 | Relocation of Existing Catch Basins | CW 2130-R13 | each | 1 |  | 0
| B.40 | Plugging Existing Sewer Service Under Pavement | CW 2130-R13 | each | 16 |  | 0
E050 | B.41 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 7 |  | 0
E051 | B.42 | Installation of Subdrains | CW 3120-R4 | m | 180 |  | 0
| B.43 | Outlet Flow Restrictor | SD-025B
| i) | 150 mm |  | each | 4 |  | 0
E072 | B.44 | Watermain and Water Service Insulation | E15
E073 | i) | Pipe Under Roadway Excavation | SD-018 | m² | 315 |  | 0
ADJUSTMENTS
F001 | B.45 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 15 |  | 0
F002 | B.46 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 4 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
F003 | B.47 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 1 |  | 0
F005 | ii) | 51 mm |  | each | 10 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | B.48 | Adjustment of Valve Boxes | CW 3210-R8 | each | 28 |  | 0
F010 | B.49 | Valve Box Extensions | CW 3210-R8 | each | 14 |  | 0
F011 | B.50 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 13 |  | 0
F018 | B.51 | Curb Stop Extensions | CW 3210-R8 | each | 13 |  | 0
F022 | B.52 | Supply and Install Hydrant Riser (150mm) | CW 2110-R13 | each | 2 |  | 0
F026 | B.53 | Replacing Existing Flat Top Reducer | CW 2110-R13 | each | 4 |  | 0
MISCELLANEOUS
| B.54 | Hydro Excavation | E20 | hr | 120 |  | 0
| B.55 | Green Bike Lane Treatment | CW 3510-R10, E19 | m² | 430 |  | 0
WAYFINDING AND SITE FURNISHINGS
| B.56 | Wayfinding Sign | E37 | each | 8 |  | 0
| B.57 | Wayfinding Sign Wrap | E37 | each | 2 |  | 0
| B.58 | Bench Type 2 | E38 | each | 2 |  | 0
| B.59 | Bike Rack Type 2 | E38 | each | 9 |  | 0
LANDSCAPING
G001 | B.60 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 400 |  | 0
| B.61 | Tree Protection | E32 | each | 4 |  | 0
| B.62 | Tree Vaults | E34 | m³ | 20 |  | 0
| B.63 | Precast Concrete Sidewalk Panel | E34 | each | 8 |  | 0
| B.64 | Drainage Pipe | E33 | m | 2 |  | 0
| B.65 | Clay-Rich Planting Medium - Soil Cells | E40 | m³ | 8 |  | 0
| B.66 | Black Granite Mulch | E41 | m² | 49 |  | 0
| B.67 | Year One Landscape Maintenance | E43 | L. sum | 1 |  | 0
| B.68 | Year Two Landscape Maintenance | E43 | L. sum | 1 |  | 0
| B | EDMONTON ST - BROADWAY TO GRAHAM AVE CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | EDMONTON ST - GRAHAM AVE TO PORTAGE AVE MINOR REHABILITATION
EARTH AND BASE WORKS
A003 | C.1 | Excavation | CW 3110-R22 | m³ | 170 |  | 0
A007 | C.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 200 |  | 0
A010 | C.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 35 |  | 0
A022 | C.4 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 250 |  | 0
A022A4 | C.5 | Supply and Install Geogrid | CW 3135-R2, E21
A022A5 | i) | Class A Geogrid (InterAx NX650) |  | m² | 250 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | C.6 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 50 |  | 0
B004 | C.7 | Slab Replacement | CW 3230-R8
B008 | i) | 230 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 70 |  | 0
B017 | C.8 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Type 1 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B023 | ii) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 105 |  | 0
B025 | iii) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 20 |  | 0
B094 | C.9 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 235 |  | 0
B097 | C.10 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 25 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 150 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 235 |  | 0
B100r | C.11 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B104r | i) | 100 mm Sidewalk |  | m² | 665 |  | 0
B114A | C.12 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 465 |  | 0
B114E | C.13 | Paving Stone Indicator Surfaces - Clay Paver Dark Ironspot 194 x 93 x 57mm | E14, E35 | m² | 50 |  | 0
B114rl | C.14 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B118rl | i) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 25 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 40 |  | 0
B126r | C.15 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 110 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 15 |  | 0
B132r | iii) | Curb Ramp |  | m | 20 |  | 0
B135i | C.16 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled), Slip Form Paving | SD-205 | m | 80 |  | 0
B136i | ii) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 30 |  | 0
B139i | iii) | Type 1 Concrete Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 15 |  | 0
B150iA | iv) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 20 |  | 0
B154rl | C.17 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl^1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rl^2 | b) | 3 m to 30 m |  | m | 30 |  | 0
B188 | C.18 | Supply and Installation of Dowel Assemblies 28.6mm | CW 3310-R19 | m | 50 |  | 0
B190 | C.19 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E54
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 360 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 25 |  | 0
B200 | C.20 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 100 |  | 0
B206 | C.21 | Supply and Install Pavement Repair Fabric | CW 3140-R1 |  |  |  | 0
B206A | i) | Type A |  | m² | 300 |  | 0
B219 | C.22 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 2 |  | 0
ROADWORKS - NEW CONSTRUCTION
C001 | C.23 | Concrete Pavements, Median Slabs, Bull-noses, and Safety Medians | CW 3310-R19
C007 | i) | Construction of 230 mm Type 1 Concrete Pavement (Plain-Dowelled) |  | m² | 250 |  | 0
C015 | ii) | Construction of Monolithic Type 1 Concrete 900mm Wide Bike Median Slabs, Slip Form Paving | SD-226A Detail "C" | m | 85 |  | 0
JOINT AND CRACK SEALING
D005 | C.24 | Longitudinal Joint & Crack Filling ( > 25 mm in width ) | CW 3250-R7 | m | 50 |  | 0
D006 | C.25 | Reflective Crack Maintenance | CW 3250-R7 | m | 150 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | C.26 | Catch Basin | CW 2130-R13
E004 | i) | SD-024, 1200 mm deep |  | each | 1 |  | 0
E008 | C.27 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 3 Backfill |  | m | 10 |  | 0
E023 | C.28 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 7 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 6 |  | 0
E026 | iii) | AP-008 - Standard Grated Cover for Standard Frame |  | each | 1 |  | 0
E028 | iv) | AP-011 - Barrier Curb and Gutter Frame |  | each | 4 |  | 0
E029 | v) | AP-012 - Barrier Curb and Gutter Cover |  | each | 4 |  | 0
E036 | C.29 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm (PVC) Connecting Pipe
E040 | a) | Connecting to 450 mm Conc Sewer |  | each | 1 |  | 0
E046 | C.30 | Removal of Existing Catch Basins | CW 2130-R13 | each | 1 |  | 0
| C.31 | Plugging Existing Sewer Service Under Pavement | CW 2130-R13 | each | 1 |  | 0
E050 | C.32 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 1 |  | 0
ADJUSTMENTS
F001 | C.33 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 8 |  | 0
F002 | C.34 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F003 | C.35 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 2 |  | 0
F005 | ii) | 51 mm |  | each | 2 |  | 0
F006 | iii) | 64 mm |  | each | 2 |  | 0
F007 | iv) | 76 mm |  | each | 4 |  | 0
F009 | C.36 | Adjustment of Valve Boxes | CW 3210-R8 | each | 4 |  | 0
F010 | C.37 | Valve Box Extensions | CW 3210-R8 | each | 2 |  | 0
F011 | C.38 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 1 |  | 0
F018 | C.39 | Curb Stop Extensions | CW 3210-R8 | each | 1 |  | 0
F026 | C.40 | Replacing Existing Flat Top Reducer | CW 2110-R13 | each | 1 |  | 0
MISCELLANEOUS
| C.41 | Green Bike Lane Treatment | CW 3510-R10, E19 | m² | 40 |  | 0
PAVEMENT STAINING
| C.42 | Lithicrome Chemistain | E36 | m² | 5 |  | 0
WAYFINDING AND SITE FURNISHINGS
| C.43 | Wayfinding Sign | E37 | each | 3 |  | 0
| C.44 | Wayfinding Sign Wrap | E37 | each | 1 |  | 0
| C.45 | Bench Type 2 | E38 | each | 1 |  | 0
| C.46 | Bike Rack Type 2 | E38 | each | 2 |  | 0
| C | EDMONTON ST - GRAHAM AVE TO PORTAGE AVE MINOR REHABILITATION |  |  |  | Subtotal: | 0
| D | KENNEDY ST - ELLICE AVE TO CUMBERLAND AVE MAJOR REHABILITATION
EARTH AND BASE WORKS
A003 | D.1 | Excavation | CW 3110-R22 | m³ | 40 |  | 0
A007 | D.2 | Supplying and Placing Sub-base Material | CW 3110-R22
A007A1 | i) | 50 mm Granular A Limestone |  | tonne | 100 |  | 0
A010 | D.3 | Supplying and Placing Base Course Material | CW 3110-R22
A010A1 | i) | Base Course Material - Granular A Limestone |  | m³ | 100 |  | 0
| ii) | Base Course Material - Granite A Base |  | m³ | 270 |  | 0
A012 | D.4 | Grading of Boulevards | CW 3110-R22 | m² | 300 |  | 0
A014 | D.5 | Boulevard Excavation | CW 3110-R22 | m³ | 100 |  | 0
A022 | D.6 | Geotextile Fabric | CW 3130-R5 |  |  |  | 0
A022A2 | i) | Separation/Filtration Fabric |  | m² | 60 |  | 0
A022A4 | D.7 | Supply and Install Geogrid | CW 3135-R2, E21
A022A5 | i) | Class A Geogrid (InterAx NX650) |  | m² | 60 |  | 0
ROADWORKS - REMOVALS/RENEWALS
B001 | D.8 | Pavement Removal | CW 3110-R22
B002 | i) | Concrete Pavement |  | m² | 600 |  | 0
B004 | D.9 | Slab Replacement | CW 3230-R8
B008 | i) | 230 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 270 |  | 0
B011 | ii) | 200 mm Type 1 Concrete Pavement (Reinforced) |  | m² | 75 |  | 0
B017 | D.10 | Partial Slab Patches | CW 3230-R8
B022 | i) | 230 mm Type 1 Concrete Pavement (Type A) |  | m² | 10 |  | 0
B023 | ii) | 230 mm Type 1 Concrete Pavement (Type B) |  | m² | 100 |  | 0
B025 | iii) | 230 mm Type 1 Concrete Pavement (Type D) |  | m² | 50 |  | 0
B094 | D.11 | Drilled Dowels | CW 3230-R8
B096 | i) | 28.6 mm Diameter |  | each | 225 |  | 0
B097 | D.12 | Drilled Tie Bars | CW 3230-R8
B097A | i) | 15 M Deformed Tie Bar |  | each | 120 |  | 0
B098 | ii) | 20 M Deformed Tie Bar |  | each | 100 |  | 0
B099 | iii) | 25 M Deformed Tie Bar |  | each | 225 |  | 0
B100r | D.13 | Miscellaneous Concrete Slab Removal | CW 3235-R9
B101r | i) | Median Slab |  | m² | 60 |  | 0
B104r | ii) | 100 mm Sidewalk |  | m² | 2900 |  | 0
| D.14 | Remove Existing Paving Stone | CW3330-R5 | m² | 400 |  | 0
B107i | D.15 | Miscellaneous Concrete Slab Installation | CW 3235-R9
B111i | i) | Type 5 Concrete 100 mm Sidewalk | SD-228A | m² | 100 |  | 0
B114A | D.16 | Type 5 Concrete 100 mm Sidewalk with Block Outs | E13 | m² | 3700 |  | 0
B114E | D.17 | Paving Stone Indicator Surfaces - Holland Paver 60mm, Charcoal | E14, E35 | m² | 350 |  | 0
B114rl | D.18 | Miscellaneous Concrete Slab Renewal | CW 3235-R9
B116rl | i) | Type 1 Concrete Monolithic Median Slab | SD-226A | m² | 125 |  | 0
B118rl | ii) | 100 mm Type 5 Concrete Sidewalk | SD-228A
B119rl | a) | Less than 5 sq.m. |  | m² | 10 |  | 0
B120rl | b) | 5 sq.m. to 20 sq.m. |  | m² | 40 |  | 0
B121rl | c) | Greater than 20 sq.m. |  | m² | 100 |  | 0
B124 | D.19 | Adjustment of Precast Sidewalk Blocks | CW 3235-R9 | m² | 10 |  | 0
B125 | D.20 | Supply of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B125A | D.21 | Removal of Precast Sidewalk Blocks | CW 3235-R9 | m² | 5 |  | 0
B126r | D.22 | Concrete Curb Removal | CW 3240-R10
B127r | i) | Barrier Separate |  | m | 740 |  | 0
B128r | ii) | Modified Barrier Separate |  | m | 110 |  | 0
B132r | iii) | Curb Ramp |  | m | 150 |  | 0
B135i | D.23 | Concrete Curb Installation | CW 3240-R10
B136i | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled), Slip Form Paving | SD-205 | m | 530 |  | 0
B136i | ii) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205 | m | 180 |  | 0
B139i | iii) | Type 1 Concrete Modified Barrier (100 mm reveal ht, Dowelled) | SD-203B | m | 100 |  | 0
B140i | iv) | Type 1 Concrete Modified Barrier (100 mm reveal ht, Integral) | SD-203B | m | 25 |  | 0
B150iA | v) | Type 1 Concrete Curb Ramp (8-12 mm reveal ht, Monolithic) | SD-229A,B,C | m | 145 |  | 0
B154rl | D.24 | Concrete Curb Renewal | CW 3240-R10
B155rl | i) | Type 1 Concrete Barrier (100 mm reveal ht, Dowelled) | SD-205, SD-206A
B155rl^1 | a) | Less than 3 m |  | m | 5 |  | 0
B155rl^2 | b) | 3 m to 30 m |  | m | 20 |  | 0
B188 | D.25 | Supply and Installation of Dowel Assemblies 28.6mm | CW 3310-R19 | m | 60 |  | 0
B189 | D.26 | Regrading Existing Interlocking Paving Stones | CW 3330-R5 | m² | 250 |  | 0
B190 | D.27 | Construction of Asphaltic Concrete Overlay | CW 3410-R12, E54
B191 | i) | Main Line Paving
B193A | a) | Type MS1 |  | tonne | 1500 |  | 0
B194 | ii) | Tie-ins and Approaches
B195A | a) | Type MS1 |  | tonne | 150 |  | 0
B199 | D.28 | Construction of Asphalt Patches | CW 3410-R12 | m² | 25 |  | 0
B200 | D.29 | Planing of Pavement | CW 3450-R6
B202 | i) | 50 - 100 mm Depth (Asphalt) |  | m² | 4500 |  | 0
B206 | D.30 | Supply and Install Pavement Repair Fabric | CW 3140-R1 |  |  |  | 0
B206A | i) | Type A |  | m² | 5000 |  | 0
B219 | D.31 | Detectable Warning Surface Tiles | CW 3326-R3 | each | 16 |  | 0
JOINT AND CRACK SEALING
D006 | D.32 | Reflective Crack Maintenance | CW 3250-R7 | m | 400 |  | 0
ASSOCIATED DRAINAGE AND UNDERGROUND WORKS
E003 | D.33 | Catch Basin | CW 2130-R13
E004A | i) | SD-024, 1800 mm deep |  | each | 13 |  | 0
E008 | D.34 | Sewer Service | CW 2130-R13
E009 | i) | 250 mm, PVC
E010 | a) | In a Trench, Class B Type 2 Bedding, Class 3 Backfill |  | m | 10 |  | 0
E011 | b) | Trenchless Installation, Class B Type 2 Bedding, Class 3 Backfill |  | m | 37 |  | 0
E013 | D.35 | Sewer Service Risers | CW 2130-R13
E014 | i) | 250 mm
E016 | a) | SD-015 |  | vert. m | 3 |  | 0
E023 | D.36 | Frames & Covers | CW 3210-R8
E024 | i) | AP-006 - Standard Frame for Manhole and Catch Basin |  | each | 6 |  | 0
E025 | ii) | AP-007 - Standard Solid Cover for Standard Frame |  | each | 6 |  | 0
E032 | D.37 | Connecting to Existing Manhole | CW 2130-R13
E033 | i) | 250 mm Catch Basin Lead |  | each | 1 |  | 0
E036 | D.38 | Connecting to Existing Sewer | CW 2130-R13
E037 | i) | 250 mm (PVC) Connecting Pipe
E038 | a) | Connecting to 300 mm VC Sewer |  | each | 6 |  | 0
E041B | b) | Connecting to 1200 mm Conc Sewer |  | each | 1 |  | 0
E042 | D.39 | Connecting New Sewer Service to Existing Sewer Service | CW 2130-R13
E043 | i) | 250 mm |  | each | 5 |  | 0
E046 | D.40 | Removal of Existing Catch Basins | CW 2130-R13 | each | 13 |  | 0
E048 | D.41 | Relocation of Existing Catch Basins | CW 2130-R13 | each | 1 |  | 0
| D.42 | Plugging Existing Sewer Service Under Pavement | CW 2130-R13 | each | 6 |  | 0
E050 | D.43 | Abandoning Existing Drainage Inlets | CW 2130-R13 | each | 5 |  | 0
| D.44 | Outlet Flow Restrictor | SD-025B, E18
| i) | 150 mm |  | each | 5 |  | 0
ADJUSTMENTS
F001 | D.45 | Adjustment of Manholes/Catch Basins Frames | CW 3210-R8 | each | 10 |  | 0
F002 | D.46 | Replacing Existing Risers | CW 2130-R13
F002A | i) | Pre-cast Concrete Risers |  | vert. m | 1 |  | 0
F002B | ii) | Brick Risers |  | vert. m | 1 |  | 0
F003 | D.47 | Lifter Rings (AP-010) | CW 3210-R8
F004 | i) | 38 mm |  | each | 5 |  | 0
F005 | ii) | 51 mm |  | each | 3 |  | 0
F006 | iii) | 64 mm |  | each | 1 |  | 0
F007 | iv) | 76 mm |  | each | 1 |  | 0
F009 | D.48 | Adjustment of Valve Boxes | CW 3210-R8 | each | 31 |  | 0
F010 | D.49 | Valve Box Extensions | CW 3210-R8 | each | 15 |  | 0
F011 | D.50 | Adjustment of Curb Stop Boxes | CW 3210-R8 | each | 13 |  | 0
F018 | D.51 | Curb Stop Extensions | CW 3210-R8 | each | 5 |  | 0
MISCELLANEOUS
| D.52 | Hydro Excavation | E20 | hr | 30 |  | 0
WAYFINDING AND SITE FURNISHINGS
| D.53 | Wayfinding Sign | E37 | each | 5 |  | 0
| D.54 | Wayfinding Sign Wrap | E37 | each | 2 |  | 0
| D.55 | Bench Type 1 | E38 | each | 7 |  | 0
| D.56 | Bike Rack Type 1 | E38 | each | 12 |  | 0
LANDSCAPING
G001 | D.57 | Sodding | CW 3510-R10
G002 | i) | width < 600 mm |  | m² | 50 |  | 0
G003 | ii) | width > or = 600 mm |  | m² | 595 |  | 0
| D.58 | Tree Protection | E32 | each | 4 |  | 0
| D.59 | Tree Removal | E42 | each | 13 |  | 0
| D | KENNEDY ST - ELLICE AVE TO CUMBERLAND AVE MAJOR REHABILITATION |  |  |  | Subtotal: | 0
| E | TRAFFIC SIGNALS
ST. MARY AND MEMORIAL
| E.1 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 5 |  | 0
| ii) | Installation of Conduit - Double |  | m | 5 |  | 0
| E.2 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 1 |  | 0
| E.3 | Cutovers | CW 3620 | each | 1 |  | 0
ST. MARY AND KENNEDY
| E.4 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 250 |  | 0
| ii) | Installation of Conduit - Double |  | m | 180 |  | 0
| E.5 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base – Type G (Light Duty – 32 Dia. Bolts) | SD-313 | each | 1 |  | 0
| ii) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 5 |  | 0
| iii) | Controller Base | SD-300 | each | 1 |  | 0
| iv) | Pedestal Base | SD-302 | each | 1 |  | 0
| E.6 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E45 | each | 8 |  | 0
| E.7 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 5 |  | 0
| ii) | Removal of Existing Contoller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
| E.8 | Ground Rods (Electrodes) | CW 3620 | each | 1 |  | 0
| E.9 | Cutovers | CW 3620 | each | 2 |  | 0
EDMONTON AND GRAHAM
| E.10 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 35 |  | 0
| ii) | Installation of Conduit - Double |  | m | 185 |  | 0
| E.11 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 8 |  | 0
| ii) | Controller Base | SD-300 | each | 1 |  | 0
| E.12 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E45 | each | 4 |  | 0
| E.13 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 8 |  | 0
| E.14 | Cutovers | CW 3620 | each | 1 |  | 0
EDMONTON AND ST. MARY
| E.15 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 190 |  | 0
| ii) | Installation of Conduit - Double |  | m | 220 |  | 0
| E.16 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 7 |  | 0
| ii) | Controller Base | SD-300 | each | 1 |  | 0
| E.17 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E45 | each | 5 |  | 0
| E.18 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 6 |  | 0
| ii) | Removal of Existing Contoller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
EDMONTON AND YORK
| E.19 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 65 |  | 0
| ii) | Installation of Conduit - Double |  | m | 215 |  | 0
| E.20 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 8 |  | 0
| ii) | Controller Base | SD-300 | each | 1 |  | 0
| E.21 | Installation of Service Boxes
| i) | Service Box – Pre-Cast (17"x30") | SD-322, E45 | each | 4 |  | 0
| E.22 | Removal of Existing Bases and Service Boxes | CW 3620
| i) | Removal of Existing Signal Pole Base or Service Box | CW 3620 | each | 7 |  | 0
| ii) | Removal of Existing Contoller Base or Pedestal Base | CW 3620 | each | 1 |  | 0
EDMONTON AND BROADWAY
| E.23 | Installation of Conduit | CW 3620, E44
| i) | Installation of Conduit - Single |  | m | 10 |  | 0
| E.24 | Installation of Bases | CW 3620, E46, E47, E48
| i) | Signal Pole Base - Type OD (Medium Duty – 32 Dia. Bolts) | SD-312A | each | 1 |  | 0
| E.25 | Cutovers | CW 3620 | each | 1 |  | 0
| E | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| F | WATER AND WASTE WORK
ST. MARY AVENUE - VAUGHAN ST TO EDMONTON ST WATER MAIN RENEWAL
A. | F.1 | Watermain Renewal | CW 2110 |  |  | 0
| i) | 150mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 3 |  | 0
| ii) | 200mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 14 |  | 0
| iii) | 250mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 226 |  | 0
| iv) | 300mm
| a) | Trenchless Installation, Class B Sand Bedding, Class 3 Backfill |  | m | 19 |  | 0
A. | F.2 | Extraction of Existing Watermains to be Abandoned | CW 2110
| i) | 250mm |  | m | 40 |  | 0
A. | F.3 | Hydrant Assembly | CW 2110
| i) | SD-007 |  | each | 2 |  | 0
A. | F.4 | Watermain Valve | CW 2110
| i) | 150mm |  | each | 2 |  | 0
| ii) | 200mm |  | each | 4 |  | 0
| iii) | 250mm |  | each | 8 |  | 0
| iv) | 300mm |  | each | 1 |  | 0
A. | F.5 | Fittings | CW 2110
| i) | Tees
| a) | 250mm x 250mm x150 mm |  | each | 2 |  | 0
| b) | 250mm x 250mm x 200 mm |  | each | 3 |  | 0
| c) | 250mm x 250mm x 250 mm |  | each | 2 |  | 0
| ii) | Bends (SD-004)
| a) | 200mm - 45o |  | each | 2 |  | 0
| b) | 250mm - 45o |  | each | 6 |  | 0
| c) | 300mm - 45o |  | each | 2 |  | 0
| iii) | Crosses
| a) | 250mm X250mm X 200mm X 200mm |  | each | 1 |  | 0
| iv) | Reducers
| a) | 300mm - 250mm |  | each | 1 |  | 0
A. | F.6 | Connecting to Existing Watermains and Large Diameter Water Services | CW 2110
| i) | In-line Connection - No Plug Existing
| a) | 150mm |  | each | 2 |  | 0
| b) | 200mm |  | each | 5 |  | 0
| c) | 250mm |  | each | 3 |  | 0
| d) | 300mm |  | each | 1 |  | 0
A. | F.7 | 10.9 Kilogram Sacrificial Zinc Anodes | CW 2110
| i) | On Metallic Watermains |  | each | 2 |  | 0
PROVISIONAL ITEMS
| F.8 | Fittings | CW 2110, E51 |  |  | 0
| i) | Bends (SD-004)
| a) | 150mm - 45o |  | each | 2 |  | 0
| b) | 200mm - 22 1/2o |  | each | 2 |  | 0
| c) | 250mm - 22 1/2o |  | each | 2 |  | 0
| ii) | Bends (SD-005)
| a) | 200mm - 45o |  | each | 2 |  | 0
| b) | 250mm - 45o |  | each | 2 |  | 0
| iii) | Reducers
| a) | 250mm - 200mm |  | each | 2 |  | 0
| F.9 | Regrading of Existing Sewer Service - Up to 1.5 metres Long | CW 2110, E51
| i) | 250mm |  | each | 3 |  | 0
| F.10 | Regrading of Existing Sewer Service - Longer Than 1.5 metres | CW 2110, E51
| i) | 250mm |  | m | 3 |  | 0
| F.11 | Cement Stabilized Fill | CW 2030, E51 | m3 | 60 |  | 0
| F.12 | Abandonment of Existing Valve Pits | CW 2110, E52 | each | 3 |  | 0
EDMONTON ST - SEWER REPAIR (W&W Asset MA20015568)
| F.13 | Sewer Repair - Up to 3.0 Meters Long | CW 2130-R12
| i) | 375mm
| a) | Class 3 Backfill |  | each | 1 |  | 0
| F.14 | Sewer Inspection ( following repair) | CW 2145-R5
| i) | 375 mm, PVC |  | m | 3 |  | 0
| F | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| G | TREE PLANTINGS
ST. MARY AVENUE
STRUCTURAL SOIL CELL SYSTEM
| G.1 | Structural Soil Cell System | E33 | L. sum | 1 |  | 0
| G.2 | Drainage Pipe | E33 | m | 119 |  | 0
LANDSCAPING
| G.3 | Clay-Rich Planting Medium - Soil Cells | E40 | m³ | 124 |  | 0
| G.4 | Black Granite Mulch | E41 | m² | 27 |  | 0
| G.5 | Deciduous Trees | E41 | each | 12 |  | 0
| G.6 | Year One Landscape Maintenance | E43 | L. sum | 1 |  | 0
| G.7 | Year Two Landscape Maintenance | E43 | L. sum | 1 |  | 0
KENNEDY STREET
STRUCTURAL SOIL CELL SYSTEM
| G.8 | Structural Soil Cell System | E33 | L. sum | 1 |  | 0
| G.9 | Drainage Pipe | E33 | m | 290 |  | 0
| G.10 | Soil Cell Sump Pit | E33 | m3 | 6 |  | 0
LANDSCAPING
| G.11 | Clay-Rich Planting Medium - Soil Cells | E40 | m³ | 429 |  | 0
| G.12 | Black Granite Mulch | E41 | m² | 95 |  | 0
| G.13 | Deciduous Trees | E41 | each | 45 |  | 0
| G.14 | Year One Landscape Maintenance | E43 | L. sum | 1 |  | 0
| G.15 | Year Two Landscape Maintenance | E43 | L. sum | 1 |  | 0
| ` | TREE PLANTINGS |  |  |  | Subtotal: | 0
| H | STREETLIGHTING RENEWALS
ST. MARY AVENUE
| G.1 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E53 | each | 13 |  | 0
| G.2 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E53 | lin.m | 500 |  | 0
| G.3 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E53 | each | 13 |  | 0
| G.4 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E53 | each | 5 |  | 0
| G.5 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E53 | each | 1 |  | 0
| G.6 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E53 | set | 5 |  | 0
| G.7 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E53 | per span | 13 |  | 0
| G.8 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E53 | per span | 13 |  | 0
EDMONTON STREET
| G.9 | Removal of 25'/35' street light pole and precast, poured in place concrete, steel power installed base or direct buried including davit arm, luminaire and appurtenances | E53 | each | 17 |  | 0
| G.10 | Installation of conduit and #4 AL C/N or 1/0 AL Triplex streetlight cable in conduit by open trench method. | E53 | lin.m | 600 |  | 0
| G.11 | Installation of 25'/35' pole, davit arm and precast concrete base including luminaire and appurtenances. | E53 | each | 17 |  | 0
| G.12 | Installation of one (1) 10' ground rod at every 3rd street light, at the end of every street light circuit and anywhere else as shown on the design drawings. Trench #4 ground wire up to 1 m from rod location to new street light and connect (hammerlock) to top of the ground rod. | E53 | each | 7 |  | 0
| G.13 | Installation and connection of externally-mounted relay and PEC per Standards CD 315-12 and CD 315-13. | E53 | each | 3 |  | 0
| G.14 | Terminate 2/C #12 copper conductor to street light cables per Standard CD310-4, CD310-9 or CD310-10. | E53 | set | 5 |  | 0
| G.15 | Installation of overhead span of #6 duplex between new or existing streetlight poles and connect luminaire to provide temporary Overhead Feed. | E53 | per span | 17 |  | 0
| G.16 | Removal of overhead span of #6 duplex between new or existing streetlight poles to remove temporary Overhead Feed. | E53 | per span | 17 |  | 0
| G.17 | Expose underground cable entrance of existing streetlight pole and install new streetlight cable. | E53 | each | 4 |  | 0
| H | STREETLIGHTING RENEWALS |  |  |  | Subtotal: | 0
| I | MOBILIZATION /DEMOBILIZATION
I001 | H.1 | Mobilization/Demobilization | E2 | L. sum | 1 |  | 0
| I | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
SUMMARY
| A | ST. MARY AVE - EDMONTON ST TO MEMORIAL BLVD CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| B | EDMONTON ST - BROADWAY TO GRAHAM AVE CONCRETE RECONSTRUCTION |  |  |  | Subtotal: | 0
| C | EDMONTON ST - GRAHAM AVE TO PORTAGE AVE MINOR REHABILITATION |  |  |  | Subtotal: | 0
| D | KENNEDY ST - ELLICE AVE TO CUMBERLAND AVE MAJOR REHABILITATION |  |  |  | Subtotal: | 0
| E | TRAFFIC SIGNALS |  |  |  | Subtotal: | 0
| F | WATER AND WASTE WORK |  |  |  | Subtotal: | 0
| G | TREE PLANTINGS |  |  |  | Subtotal: | 0
| H | STREETLIGHTING RENEWALS |  |  |  | Subtotal: | 0
| I | MOBILIZATION /DEMOBILIZATION |  |  |  | Subtotal: | 0
| TOTAL BID PRICE (GST extra) (in figures) |  |  |  |  | 0
Note on E80: Pheifer, Henly: old version has vert m ( no period)
Note on E463: Pheifer, Henly: old version has vert m ( no period)